ONTARIO FUSION GENERATION

DEFINITIVE ENGINEERING ATLAS — REV 3

VOLUME 02 — SITE GEOGRAPHY, COORDINATES, LOGISTICS & CONSTRUCTION FIELD

Site datum, facilities, roads, heavy-haul/logistics, laydown, temporary works, field geography and story-date state

CONTROLLED STORY CONFIGURATION CUT: 19 APRIL 2031

# Atlas control doctrine

This volume is part of the definitive self-contained story bible, not a work-package report. It preserves source-derived granularity and the engineering/configuration thread. C = controlled story/source canon; V = verified real-world precedent; E = controlled fictional engineering reconstruction; OPEN = unresolved. No precedent dimension, screening assumption, sensitivity value, code class, coordinate, vendor property, test result, or physical action is silently promoted to OFG historical fact.

For every material configuration decision the controlling information chain is: originator → information → document/record → recipient → review → authority → decision → authorized action → physical consequence → inspection/test/as-built evidence → turnover/operations baseline → later change/supersession. CLOSED/APPROVED in an information system is not proof of physical execution.

# Integrated source map

Detailed DOCX sources integrated: 5. Controlled CSV/ledger sources integrated: 2.

DOCX · OFG_Encyclopedia_RevN_Volume_02(6).docx

DOCX · OFG_System_Encyclopedia_Rev1/OFG_S01R1_Site_Coordinate_Construction_Field_Atlas.docx

DOCX · OFG_Engineering_Encyclopedia_Rev2/OFG_E01_Site_Coordinate_Construction_Field_Atlas_Rev2.docx

DOCX · OFG_Engineering_Encyclopedia_Rev2/OFG_Engineering_Encyclopedia_Rev2_V02_Site_Coordinates_Field_Atlas.docx

DOCX · OFG_Rev3_Tranche_B_Physical_Coordination/OFG_B01_Coordinated_Site_Facility_Configuration_Rev3.docx

REGISTER · OFG_Engineering_Encyclopedia_Rev2/OFG_Rev2_Building_Coordinate_Register.csv

REGISTER · OFG_Rev3_Tranche_B_Physical_Coordination/OFG_B01_Facility_Placement_Register.csv

# Integrated controlled source — OFG_Encyclopedia_RevN_Volume_02(6).docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

# ONTARIO FUSION GENERATION PROJECT

# VOLUME II — COMMERCIAL ORIGINATION

Ontario need, HFRP due diligence, Japan-Canada development track and project formation

Complete chronological reference · canon cut: Saturday, 19 April 2031

Compiled from the Canonical Story Backbone Rev B, Master Reference, Backlogs 01–11, Revision Directives B–J, and controlled Rev A equipment/event datasets.

# Reference-status legend

| Status | Meaning |
| --- | --- |
| LOCKED CANON | Explicitly fixed by the controlling OFG canon at the 19 April 2031 cut. |
| CANONICAL FRAMEWORK | Institutional/technical architecture is fixed; some lower-level dates, names, quantities or records remain to be reconstructed. |
| VERIFIED PRECEDENT CONSTRAINT | Real-world analogue constrains plausibility; it is not itself an OFG event. |
| OPEN / CONTROLLED | The backlog identifies the subject, but the source set does not yet support a unique historical answer. Do not invent one. |
| WORKING DATASET | Rev A asset/event data support chronology and forensic work, but known semantic/date anomalies mean the rows are not self-authenticating canon. |

The encyclopedia favors explicit uncertainty over false precision. It records what is known at the story cut, what is structurally required by the project, and what remains unresolved.

# Period definition

Coverage: January-December 2023. This volume is chronological: every topical domain is described as it exists during this period rather than as a timeless subject.

# Canonical chronicle

## Q1 2023 — Opportunity definition

Ontario’s long-term electricity outlook creates a need for additional firm low-carbon generation. OPG begins technology screening across conventional nuclear expansion and advanced nuclear/fusion options. HMS provides controlled HFRP/Q-DEMO information; no OFG project organization yet exists.

## May-July — Technology access

OFG-AGR-TECH-001 gives OPG controlled due-diligence data access without construction IP rights. OFG-AGR-TECH-002 adds a limited feasibility/licensing-use right and an Ontario deployment negotiation option.

## Q2 2023 — HFRP due diligence

OPG forms a multidisciplinary evaluation team covering operating experience, reliability, blanket replacement, tritium self-sufficiency, remote maintenance, availability, construction history, capital cost, schedule, safety basis and waste streams. Canadian specialists begin regulatory applicability work; E&C enters as potential plant integrator.

## Aug-Oct — Development ecosystem forms

E&C Canada receives preliminary development scope; HMS creates a controlled project-specific information interface with E&C; AtkinsRéalis is retained for a narrow Canadian nuclear/licensing advisory role.

## Q3 — Ontario/Japan development track

HFRP becomes the preferred fusion technology. Ontario/OPG and Japanese parties move into a formal development dialogue. METI/ANRE participates because this would be the first major foreign commercial deployment of the Japanese platform; MOFA supports bilateral issues. IESO and Hydro One begin system/transmission studies.

## Q4 — Development decision

OPG authorizes detailed development; Clarington becomes the preferred site; early CNSC engagement begins; project-specific Indigenous engagement intensifies; OPG-HMS and OPG-E&C agreements move the concept into an organized development programme. There is still no FID and no commitment to construct.

# Institutional / business / government state

| Institution / actor | State in 2023 |
| --- | --- |
| OPG | Owner-side strategy/due diligence organization; no full OFG execution organization yet. |
| HMS | Technology owner controlling HFRP data/IP and evaluation support. |
| E&C Canada | Potential integrator under preliminary services; no EPC entitlement. |
| Ontario | Authorizes/frames development policy; project still pre-FID. |
| METI/ANRE | Japanese programme/export-policy interest in potential first major overseas HFRP deployment. |
| MOFA | Bilateral support. |
| CNSC | Early pre-application engagement; no project approval implied. |
| IESO/Hydro One | Preliminary system and transmission studies. |
| Williams Treaties First Nations | Project-specific engagement begins as site preference forms. |

# 2023 contract chronology

| Date | ID | Instrument | Effect |
| --- | --- | --- | --- |
| May 2023 | OFG-AGR-TECH-001 | OPG-HMS Confidentiality & Controlled Data Access | Due-diligence access; no construction licence to use HMS IP. |
| Jul 2023 | OFG-AGR-TECH-002 | HFRP Technical Evaluation & Deployment Option | Limited feasibility/licensing-use rights; Ontario negotiation option. |
| Aug 2023 | OFG-AGR-DEV-001 | OPG-E&C Preliminary Development Services | Canadian integration/plot/code-gap/cost/schedule; no EPC commitment. |
| Sep 2023 | OFG-AGR-HMS-001 | HMS-E&C Technical Information Interface | Controlled project access and reference-design query process. |
| Oct 2023 | OFG-SVC-NUC-001 | E&C-AtkinsRéalis Nuclear Advisory | Canadian code/licensing/safety methodology support. |
| Dec 2023 | OFG-AGR-TECH-003 | Preferred Technology / Exclusivity Framework | HFRP preferred platform through FID window. |

# Detailed source-derived canonical research

This section carries forward the detailed research already absorbed into the Canonical Story Backbone. It is reorganized under the period volume so other threads can reference the underlying institutional, contractual, technical and documentary history rather than only the compressed chronology.

## Detailed 2023 origination chronology

### For each scene involving plant hardware, we should identify

building → room/area → system → train → equipment tag → component → custody state → energy state → applicable work package.

### For example

H-101 / BHT Pump Vault A / BHT-401 / Train A / BHT-401-P-101A / outboard axial restraint / IC custody / pump isolated but system pressurized / M-88217.

### That one string immediately tells us

where Yuji is,

what PPE/access controls apply,

who owns the equipment,

what documents he can expect,

what energy remains,

who may authorize work,

and what kind of failure can occur.

That is the level I would now use as the normal technical resolution of Chapters 6 onward.

The next pass should take this one step further still: build the actual April 2031 Equipment & Commissioning Register for the roughly 25–30 systems on the First- Plasma critical path, with representative tag numbers, equipment counts, room/area locations, OEM/package contractor, turnover package, status, open commissioning items and inter-system dependencies. That will effectively give us the plant Yuji and Monica work inside rather than merely the plant an engineering report describes.

After comparing the OFG concept against DNNP, Barakah, LNG Canada, ITER, Crossrail and AWP practice, I would now lock the following as the OFG Integrated Master Schedule history through Saturday, April 19, 2031.

The schedule is aggressive but clears the plausibility threshold because OFG starts with an already-qualified HFRP reference design. Real DNNP is proceeding from construction authorization in 2025 toward grid connection around 2030; LNG Canada took roughly seven years from FID to first cargo while using extensive offshore modular fabrication; and Barakah Unit 1 took roughly nine years from first concrete to commercial operation using an imported reference plant.

### 1. Important pre-project condition

There is one necessary addition to canon.

The Clarington Energy Site exists as an OPG strategic future-generation site before OFG exists.

That does not mean somebody was secretly building a fusion plant before 2023.

### It means that during the late 2010s/early 2020s OPG had already

assembled/optioned the relevant land

maintained environmental baseline data

performed regional transmission studies

accumulated geotechnical and shoreline information

identified heavy-industrial access requirements

maintained consultation relationships in the region.

Without that, a completely greenfield nuclear project conceived in 2023 and pouring nuclear concrete in 2026 would be unnecessarily difficult to justify.

The precedent is conceptually similar to DNNP, where the site/environmental-development history long predates the eventual selection of the BWRX-300 technology. DNNP began site preparation in 2022, applied for its construction licence that year, received the LTC in

April 2025, and is now pursuing the operating licence well before startup.

### So

Site development history predates OFG. OFG commercial project history begins in 2023.

### 2. Level-0 project chronology

Phase

Period

Canonical meaning

Precondition

pre-2023

HFRP qualification + Clarington site reserve

Commercial origination

Jan 2023–Mar 2024

Decide whether Ontario should actually buy HFRP

Project authorization

Apr 2024

OFG officially exists

Reference adaptation / pre-FEED

Apr–Sep 2024

Turn HFRP into Canadian OFG concept

FEED / Development Phase

Jul 2024–Sep 2025

Define executable plant, contracts, schedule and cost

FID / execution authorization

Sep 2025

Irreversible commercial commitment

Site preparation

Jun 2025–May 2026

Prepare industrial construction site

Detailed engineering

Oct 2025–mid-2029

Issue construction/manufacturing design

Procurement/fabrication

late 2024–2030

Long-lead and bulk procurement

Nuclear/fusion civil construction

May 2026–2029

Permanent power-block civil works

Major machine erection

late 2027–late 2029

Assemble HFRP machine

Plant-system installation

2027–mid-2030

Mechanical/electrical/I&C installation

Construction completion/turnover

mid-2029–early 2031

Progressive system completion

Pre-commissioning

late 2029–2031

Cleaning/testing/loop checks

System commissioning

2030–2031

Operate individual systems

Integrated commissioning

Jan–Jun 2031

Make the machine function as a machine

Story present

19 Apr 2031

Late integrated commissioning

First Plasma baseline

30 Jun 2031

Current programme milestone

The important feature is overlap.

### This is not

engineering ends → procurement starts → construction ends → commissioning starts.

CII’s AWP methodology explicitly runs engineering, procurement, construction work packages and system/startup packages as an integrated progression.

### 3. 2023 — Commercial origination

Q1 2023 — Opportunity definition

Ontario’s emerging long-term electricity forecasts show a requirement for additional firm low-carbon generation.

OPG formally begins a technology-screening exercise.

The candidates include conventional nuclear expansion and advanced nuclear/fusion options.

HMS provides controlled access to HFRP commercial-reference-plant data derived from Q-DEMO.

No OFG project organization exists yet.

The work is owner-side strategy and technical due diligence.

Q2 2023 — HFRP due diligence

OPG establishes a small multidisciplinary evaluation team.

### It reviews

HFRP operating experience Q-DEMO reliability

## 2023 agreement genealogy and institutional formation

### 62. Therefore M-88217 becomes precise

By April 2031, Yuji should be able to click on the equipment tag and expect to see

### something like

BHT-401-P-101A

→ Equipment Master → Turnover Dossier → Commissioning Tests → Open Deficiencies → Temporary Modifications → Maintenance History.

### And under maintenance

M-88217 — Auxiliary restraint inspection/adjustment — CLOSED

He opens it.

The header exists.

Status exists.

approval timestamp exists.

maybe assigned technicians exist.

But the expected linked execution evidence is not there.

### Missing might include

as-found inspection sheet

work procedure

restraint dimensional readings

replacement parts record

torque/tension record

QC witness

as-left photograph

configuration confirmation.

Yet physical evidence strongly suggests somebody actually worked on it.

That discrepancy is now grounded in the exact kind of configuration-record control CNSC expects projects to establish from construction onward.

The essential distinction going forward

### There are therefore three documentary plants existing simultaneously

\textbf{Design Plant}

what drawings, calculations and requirements say should exist.

\textbf{Physical Plant}

what is actually installed.

\textbf{Evidence Plant}

what inspections, work orders and test records prove exists.

### A mature nuclear project continuously works to maintain

Design \equiv Physical \equiv Evidence.

### The novel begins with Yuji discovering a very small case in which

Physical \neq Evidence.

### Later, the investigation will show that in certain places

Design \neq Physical

as well.

And after the catastrophe, the central forensic task becomes reconstructing where, when and why those three plants stopped being the same plant.

That gives us the right documentary foundation for building the exact 2025–2031 work- package genealogy and then the April 2031 equipment/commissioning register.

the sequence by which the present 2031 contractual structure came into existence, including superseded agreements, assignments, direct agreements, parent

guarantees, financing closings, flow-downs, changes of counterparty, and the contractual boundaries between organizations.

I also found one structural correction that should now be locked. If Bechtel is to be the Ontario statutory constructor, a simple E&C→Bechtel subcontract is insufficiently clean. Ontario’s OHSA expects one party to have overall control of the construction project; an owner can designate a third party as constructor, but that relationship should be explicit. OFG therefore has a direct constructor appointment among OPG/OFG LP, E&C and Bechtel in addition to the E&C–Bechtel commercial construction agreement.

What follows is the detailed fictional OFG contract history I would now lock.

2023: OPG enters the HFRP ecosystem

May 2023 — OPG–HMS Confidentiality and Controlled Data Access Agreement

Parties: OPG ↔ HMS Contract number: OFG-AGR-TECH-001 Status by 2031: superseded for most purposes by the definitive Technology Licence, but confidentiality survives.

This is the first OFG-specific contractual relationship.

HMS does not yet grant OPG a right to build anything. It grants OPG access to a controlled HFRP data room containing the reference-plant design description, Q-DEMO operating results, indicative construction schedule, RAM data, blanket/tritium performance, major- component manufacturing history, planned-maintenance basis and reference cost information.

The agreement expressly says that disclosure does not constitute a licence to use HMS intellectual property for construction.

HMS may identify particularly sensitive material as Technology Controlled Information, with tighter access than ordinary commercial confidential information.

OPG may share specified information with named due-diligence advisers under equivalent confidentiality obligations.

This is analogous to the pre-selection relationship utilities establish with reactor technology vendors before choosing a technology.

July 2023 — HFRP Technical Evaluation and Deployment Option Agreement

Parties: OPG ↔ HMS Contract: OFG-AGR-TECH-002

This goes further.

### OPG receives a limited licence to use HFRP information strictly for

Canadian feasibility studies, preliminary licensing work, site adaptation studies, economic modelling and procurement planning.

HMS agrees to provide a defined number of engineering hours and access to Q-DEMO specialists.

OPG receives an Ontario deployment negotiation option through the end of 2024.

It is not yet complete commercial exclusivity. HMS remains free to pursue other countries.

But HMS agrees not to license the same reference project to another Ontario utility during OPG’s evaluation period.

That is the first time the Japanese technology side has a reason to devote real engineering resources specifically to Ontario.

August 2023 — OPG–E&C Canada Preliminary Development Services Agreement

Parties: OPG ↔ E&C Canada Contract: OFG-AGR-DEV-001

This is initially a relatively small reimbursable services agreement.

### E&C performs

Canadian plant-integration screening, preliminary plot planning, balance-of-plant definition, construction/logistics studies, Canadian code-gap analysis, preliminary estimate development and schedule development.

There is explicitly no promise that E&C will receive the EPC contract.

OPG can terminate the work and use its deliverables for further evaluation subject to IP provisions.

E&C cannot place major purchase orders.

It can obtain quotations and conduct vendor market sounding.

This relationship resembles the early planning/validation work that precedes an execution- phase contract in progressive delivery. Infrastructure Ontario’s progressive models deliberately separate a collaborative development phase from the final target-price execution agreement.

September 2023 — HMS–E&C Technical Information Interface Agreement

Parties: HMS ↔ E&C Canada Contract: OFG-AGR-HMS-001

This exists because OPG’s licence to review HFRP data does not automatically authorize E&C to use all of it.

HMS gives E&C controlled project-specific access.

### It defines three categories

HMS proprietary/reference-design information

shared OFG project information

E&C-developed site-specific information.

The agreement also establishes the first technical-question mechanism.

E&C submits a Reference Design Query.

### HMS replies with

reference-compliant, reference deviation, further analysis required, or technology- authority approval required.

That process later evolves into the formal HMS Technology Authority workflow.

October 2023 — E&C Canada–AtkinsRéalis Canadian Nuclear Advisory Services

Agreement

Parties: E&C Canada ↔ AtkinsRéalis Contract: OFG-SVC-NUC-001

### Atkins is initially engaged for

Canadian code mapping, CNSC licensing strategy support, nuclear QA expectations, safety-analysis methodology and Canadian nuclear constructability/operability advice.

Atkins does not become OFG architect-engineer.

That distinction must remain.

The real DNNP uses AtkinsRéalis as architect-engineer inside its delivery team,

demonstrating the credibility of the Canadian nuclear capability; OFG deliberately gives it a narrower role because E&C Canada is already the integrated plant engineer.

November 2023 — preliminary transmission relationships

OPG opens the formal connection process with IESO and Hydro One.

At this stage these are primarily application/study instruments rather than construction contracts.

The IESO relationship concerns system impact and connection requirements.

Hydro One begins engineering studies of the external transmission connection.

There is still no commitment by Hydro One to construct the final OFG transmission facilities.

# Integrated OFG encyclopedia — period state

## Ontario need and owner-side screening

In 2023 the project is an owner/government opportunity, not yet a construction programme. Ontario's electricity outlook creates a need for additional firm low-carbon capacity, and OPG screens multiple pathways rather than beginning from a predetermined fusion decision. HFRP survives because it is presented as an already-qualified reference architecture with a credible construction, maintenance and lifecycle story. OPG forms a multidisciplinary evaluation team and examines reliability, remote maintenance, breeding/fuel-cycle assumptions, reference capex, reference schedule, safety basis, waste streams and availability. The owner is deciding whether to spend development money, not whether to authorize concrete.

## Controlled technology access and business formation

HMS cannot simply hand over its entire commercial technology package. May-July agreements create controlled data access, evaluation rights and a deployment option without granting an unrestricted construction licence to use HMS IP. E&C begins as a potential Canadian plant integrator under preliminary services; HMS establishes a separate controlled interface with E&C so project questions can be answered without dissolving technology ownership. AtkinsRéalis enters narrowly for Canadian nuclear/licensing methodology. These relationships are deliberately provisional: the commercial structure is being assembled at the same time as the technology is being tested against Ontario requirements.

## Ontario-Japan political track

By Q3 HFRP is the preferred fusion technology and the proposition becomes bilateral. Ontario/OPG need confidence that the Japanese platform will be supported for a first major overseas deployment; Japanese stakeholders need confidence that Ontario is a credible owner market rather than a speculative demonstration. METI/ANRE becomes the programme/industrial-policy channel, MOFA supports diplomatic issues, and later fiscal/export-finance actors have a reason to enter. No Japanese ministry is in the site chain of command, and none can substitute for Canadian regulation. The political relationship exists to keep a sovereign-scale industrial transaction possible.

## Site, grid and rights-holder formation

Clarington becomes the preferred location because pre-existing OPG site knowledge can be combined with Lake Ontario heat rejection, Highway 401 access, rail, a purpose-built marine berth and a 500-kV transmission concept. IESO begins system-impact work; Hydro One begins transmission assessment. Project-specific Williams Treaties First Nations engagement develops alongside the site decision. The encyclopedia preserves a hard distinction between consultation/rights-holder obligations and any later economic investment vehicle.

## Regulatory strategy

CNSC engagement begins early because the project cannot wait for a frozen plant before testing licensing assumptions. Pre-application discussion and any vendor-design-review style activity are advisory/informational mechanisms, not certification or Commission approval. OPG and Canadian specialists begin translating HFRP hazards and design claims into a Canadian safety-case strategy while the owner is still deciding whether to commit to the technology. This is why licensing is already a design input in 2023 rather than a permit obtained after engineering is finished.

## End-of-year decision state

By Q4 OPG has authorized detailed development, Clarington is preferred, project-specific Indigenous engagement is active, HMS/OPG technology agreements exist and E&C Canada has a development relationship. What does not exist is equally important: no FID, no full EPC execution obligation, no Licence to Construct, no right to treat the project as inevitable. The December exclusivity/preferred-technology framework gives HFRP a protected development window, not a blank cheque.

# Organizations, authority and external involvement

The table is the authority map at the 19 April cut. In this period, use only the organizations whose involvement has already begun in the chronology above; later organizations must not be back-projected.

| Organization / institution | OFG role | Authority boundary |
| --- | --- | --- |
| OPG | Owner, CNSC licensee, project manager, commissioning authority, future operator, majority equity sponsor. | Cannot transfer licensed-facility responsibility to EPC contractors. |
| CNSC | Independent nuclear regulator. | Outside project hierarchy; licensing and regulatory hold points. |
| Ontario | OPG shareholder context, electricity policy, public completion support. | Political/economic influence without field technical authority. |
| IESO | Bulk-system planning and market/system integration. | External system-planning interface. |
| Hydro One | Transmission owner/operator and connection counterparty. | External transmission facilities and Point of Connection. |
| OEB | Economic/rate regulatory treatment where applicable. | Recovery/economic mechanism, not construction cash. |
| Infrastructure Ontario | Commercial/procurement advisory role when assigned. | Delivery-model and government commercial interface; no engineering authority. |
| Clarington | Municipal roads/services/planning interface. | Local government; no nuclear-design authority. |
| Williams Treaties First Nations | Rights-holder/consultation interface and separately an economic investor vehicle. | Equity participation does not extinguish consultation rights. |
| HMS Group / HMS | Technology parent and proprietary HFRP technology owner. | Controls qualified technology basis; not EPC constructor. |
| E&C Holdings / E&C Canada | Global engineering parent / Canadian EPC entity. | E&C Canada integrates detailed design/procurement/execution. |
| Bechtel | Principal construction contractor and designated constructor. | Construction sequencing, logistics, site H&S/constructor control; not HFRP design authority. |
| Aecon / Kiewit / E.S. Fox / Bird | Major field package contractors. | Execute defined packages beneath Bechtel. |
| MHI / IHI / JGC / BWXT / Arabelle / GE Vernova / Emerson / Westinghouse | Major OEM and specialist package suppliers. | Package scope only; not parallel EPCs. |
| AtkinsRéalis | Narrow Canadian nuclear/licensing/safety-analysis specialist. | Advisory/specialist support. |
| Fluor | Completion/turnover/commissioning surge support. | No parallel EPC/design authority. |
| Sargent & Lundy | Lenders Technical Adviser / Independent Engineer. | Translates physical progress and risk into finance-grade monitoring. |
| JPMorgan / MUFG / SMBC / bank syndicate | Banking/structuring/financing counterparties. | Economic/information rights; no nuclear decision authority. |
| METI/ANRE, MOFA, MOF, Cabinet Secretariat | Japanese industrial-policy, diplomacy, fiscal scrutiny and later central coordination. | External programme/political influence; no site chain of command. |

# Evidence / document state by period end

| Evidence family | What exists / why it matters |
| --- | --- |
| Commercial diligence | Controlled HMS data room, OPG evaluation records, independent reviews, deployment option/exclusivity agreements. |
| External interfaces | CNSC pre-application records, IESO/Hydro One studies, bilateral/government correspondence, rights-holder engagement records. |

# Backlog coverage absorbed into the encyclopedia

This is a coverage register only. It records which subjects from the research programme were absorbed into the history; it does not reproduce work packets, lenses, prompts or executable research instructions.

| Encyclopedia domain | Subjects absorbed into this period | Reference rule |
| --- | --- | --- |
| Technology Genealogy, Demonstration, Commercial Qualification & OFG Adaptation | Canadian market entry; OFG technology due diligence | Coverage assurance only. Historical claims must come from the chronological/source-derived sections in this volume; unresolved lower-level details remain controlled open items. |
| Project Origination, Institutional Formation, Site Selection & Implementation History | Opportunity recognition; First contact; Internal sponsor formation; Technology screening; Japanese export-policy screening; Confidential information framework; Pre-feasibility; Site candidate formation; Clarington site due diligence; Regulatory strategy formation; Provincial policy decision; Federal interface formation; Bilateral political framework | Coverage assurance only. Historical claims must come from the chronological/source-derived sections in this volume; unresolved lower-level details remain controlled open items. |
| Site Geography, Spatial Development, Environmental Basis & Physical Configuration | Survey control / geodesy; Topography / grading basis; Geology / geotechnical; Seismic / geodynamic hazards; Groundwater / hydrogeology; Lake Ontario hydrology; Meteorology / climate; External human hazards; Population / emergency geography; Environmental baseline; Indigenous / cultural landscape; Existing Darlington interfaces; Transmission / switchyard siting; Cooling-water concept siting | Coverage assurance only. Historical claims must come from the chronological/source-derived sections in this volume; unresolved lower-level details remain controlled open items. |
| Regulatory Evolution, Licensing, Safety Case & Compliance History | HFRP pre-application engagement; Vendor design review / technology assessment; Site-evaluation regulatory basis | Coverage assurance only. Historical claims must come from the chronological/source-derived sections in this volume; unresolved lower-level details remain controlled open items. |
| Commercial Formation, Financing, Contracting, Project Controls & Risk Allocation | Early cost / value proposition; Commercial sponsor formation; Market / revenue model study; Pre-feasibility estimate; Development funding; Commercial confidentiality / data room; Delivery-model options; Preferred commercial architecture | Coverage assurance only. Historical claims must come from the chronological/source-derived sections in this volume; unresolved lower-level details remain controlled open items. |
| Engineering, Procurement, Manufacturing, Supply Chain & Equipment Genealogy | Reference-design engineering baseline | Coverage assurance only. Historical claims must come from the chronological/source-derived sections in this volume; unresolved lower-level details remain controlled open items. |

# Safe cross-thread assumptions at period end

HFRP is preferred by Q3 2023 and detailed development is authorized by Q4.

Clarington is the preferred site; early CNSC, IESO/Hydro One and Indigenous engagement are active.

There is no FID or construction commitment yet.

# Continuity rule

The next volume starts from this exact technical, contractual, regulatory, financial and information state. Do not import a later organization, approval, maintenance history, financing instrument, plant state or knowledge state merely because it exists by 19 April 2031.

# Integrated controlled source — OFG_S01R1_Site_Coordinate_Construction_Field_Atlas.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION PROJECT

VOLUME S01R1 — SITE, COORDINATE SYSTEM & CONSTRUCTION FIELD ATLAS

Controlled spatial model, zones, buildings, routes, temporary works and site-state reconstruction

SYSTEM & SITE ENCYCLOPEDIA · REV 1 · DESIGN RECONSTRUCTION CUT 19 APRIL 2031

# Document control and epistemic status

This volume preserves the supplied Rev N story corpus as the canonical skeleton. Statements are classified as LOCKED/SOURCE-DERIVED, VERIFIED PRECEDENT CONSTRAINT, DESIGN RECONSTRUCTION, or OPEN/CONTROLLED. Real-world precedent constrains plausibility but does not silently create OFG canon.

Governing rule: Design Plant = Physical Plant = Evidence Plant. Design identity, installed identity, connectivity, custody/state, and objective evidence are tracked separately.

| Status | Meaning |
| --- | --- |
| LOCKED/SOURCE-DERIVED | Explicitly supported by supplied OFG corpus/control registers. |
| VERIFIED PRECEDENT CONSTRAINT | Supported by authoritative real-world practice; constrains but does not itself establish OFG history. |
| DESIGN RECONSTRUCTION | New OFG engineering design adopted for internal coherence; must not be misrepresented as previously sourced history. |
| OPEN/CONTROLLED | Evidence does not support a unique answer; intentionally unresolved. |

## Authoritative precedent used in Rev 1

CNSC REGDOC-2.5.2 v2.1: design authority, configuration management, SSC interfaces and facility-layout requirements. IAEA Commissioning for Nuclear Power Plants: transfer boundaries, partial-system commissioning, work control and construction/commissioning interfaces. ITER Organization: machine/support-system topology, cooling-water architecture and assembly/installation precedent. QST/JA-DEMO literature: DEMO-class functional architecture precedent.

No exact surveyed OFG coordinate, unprovided line endpoint, cable endpoint, I/O channel, nozzle schedule, serial-level BOM, or hidden historical fact is promoted to LOCKED status.

# 1. Spatial-control philosophy

The supplied corpus explicitly leaves authoritative surveyed easting/northing/elevation OPEN. Rev 1 therefore establishes a project-local Cartesian design grid for reconstruction only: OFG-X increases nominally east, OFG-Y north, OFG-Z upward. Origin OFG-0 is a design-control point, not a claimed real survey monument. Absolute geodetic transformation remains OPEN.

# 2. Eight-zone site architecture

| Zone | Controlled scope | Spatial design rule |
| --- | --- | --- |
| Z01 | Fusion Island: Tokamak Building, Assembly/Outage Hall, diagnostics, NBI/RF | Design parcel 1; exact boundary coordinates OPEN pending master plot. |
| Z02 | Tritium, Hot Cell, decontamination, activated/radioactive waste | Design parcel 2; exact boundary coordinates OPEN pending master plot. |
| Z03 | Blanket/divertor/vessel heat transport and steam-generation plant | Design parcel 3; exact boundary coordinates OPEN pending master plot. |
| Z04 | Turbine-generator and conventional power island | Design parcel 4; exact boundary coordinates OPEN pending master plot. |
| Z05 | Cryogenics, magnet power, electrical and control buildings | Design parcel 1; exact boundary coordinates OPEN pending master plot. |
| Z06 | Lake intake/outfall, circulating-water works and heavy-lift marine interface | Design parcel 2; exact boundary coordinates OPEN pending master plot. |
| Z07 | 500-kV switchyard, Hydro One interface and transmission corridor | Design parcel 3; exact boundary coordinates OPEN pending master plot. |
| Z08 | Logistics, warehouse, administration, maintenance and site services | Design parcel 4; exact boundary coordinates OPEN pending master plot. |

# 3. Permanent facility schedule

| ID | Facility | Zone | X | Y | Z | Status | Coordinate evidence |
| --- | --- | --- | --- | --- | --- | --- | --- |
| F-101 | Tokamak Building | Z01 | 100.0* | 100.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| F-102 | Diagnostics Building | Z01 | 250.0* | 100.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| F-103 | Tritium/Fuel Cycle Building | Z02 | 400.0* | 100.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| F-104 | Neutral Beam Building | Z01 | 550.0* | 100.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| F-105 | RF Heating Building | Z01 | 700.0* | 100.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| F-106 | Machine Assembly & Outage Hall | Z01 | 850.0* | 100.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| F-107 | Cask Transfer Galleries | Z01/Z02 | 1000.0* | 100.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| H-101 | Primary Heat Transport / Steam Generator Annex | Z03 | 1150.0* | 100.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| C-101 | Cryogenic Compressor Building | Z05 | 100.0* | 220.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| C-102 | Cryogenic Cold Box Building | Z05 | 250.0* | 220.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| P-101 | Coil Power Conversion Building A | Z05 | 400.0* | 220.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| P-102 | Coil Power Conversion Building B | Z05 | 550.0* | 220.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| P-103 | Fast Discharge & Switching | Z05 | 700.0* | 220.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| R-101 | Hot Cell | Z02 | 850.0* | 220.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| R-102 | Decontamination | Z02 | 1000.0* | 220.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| R-103 | Activated Component Store | Z02 | 1150.0* | 220.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| R-104 | Radwaste Processing | Z02 | 100.0* | 340.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| R-105 | Tritiated Waste Store | Z02 | 250.0* | 340.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| T-101 | Turbine Generator Building | Z04 | 400.0* | 340.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| T-102 | Feedwater / Condensate Building | Z04 | 550.0* | 340.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| U-101 | Central Utilities Building | Z05 | 700.0* | 340.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| U-104 | Water Treatment / Utility Support | Z08 | 850.0* | 340.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| U-105 | Fire Water Pump House | Z08 | 1000.0* | 340.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| W-101 | Lake Intake | Z06 | 1150.0* | 340.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| W-102 | Intake Tunnel | Z06 | 100.0* | 460.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| W-103 | Forebay / Circulating-Water Pumphouse | Z06 | 250.0* | 460.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| W-104 | Outfall | Z06 | 400.0* | 460.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| M-101 | Maintenance Building | Z08 | 550.0* | 460.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| M-102 | Warehouse | Z08 | 700.0* | 460.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| M-103 | Receiving / Quarantine | Z08 | 850.0* | 460.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| S-101 | Security / Access Control | Z08 | 1000.0* | 460.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| S-102 | Vehicle Screening | Z08 | 1150.0* | 460.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| S-103 | Security Control | Z08 | 100.0* | 580.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| A-101 | Administration | Z08 | 250.0* | 580.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| A-102 | Health Physics / Medical | Z08 | 400.0* | 580.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| A-103 | Laboratories | Z08 | 550.0* | 580.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| L-101 | Marine Terminal | Z06 | 700.0* | 580.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| L-102 | Rail Transload | Z08 | 850.0* | 580.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| L-103 | Heavy-Haul Staging | Z08 | 1000.0* | 580.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| L-104 | Laydown | Z08 | 1150.0* | 580.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| N-101 | Stormwater | Z08 | 100.0* | 700.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| N-102 | Sanitary | Z08 | 250.0* | 700.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |
| N-103 | Environmental Monitoring | Z08 | 400.0* | 700.0* | 0.0* | DESIGN RECONSTRUCTION | *Project-local planning coordinate; surveyed value OPEN |

# 4. Construction logistics network

## North Logistics Spine

Principal construction logistics route from external receiving/warehouse interface toward central workfronts.

## Heavy Component Route

Marine terminal to Z06/Z03/Z05/F-106 heavy-haul path designed around large turning radii, pavement/bridge capacity and controlled crossing points.

## Rail Transload Chain

External rail interface → L-102 transload → L-103 heavy-haul staging → controlled internal transport.

## Marine Heavy-Lift Chain

Lake Ontario approach → L-101 berth → SPMT/haul staging → heavy component route → assembly/installation workfront.

## Personnel Flow

Parking/bus drop → security/badging → pedestrian segregation → zone access → controlled building entry.

# 5. Construction field systems

## EARTHWORKS — 171 registered project-support assets

Primary location: Sitewide / Early Works. Equipment is controlled by tag, owner/custodian, inspection state, work package, spatial workfront, and interface to permanent plant. Where an asset crosses a turned-over boundary, the temporary configuration is subject to commissioning work control.

## CIVIL-PRODUCTION — 66 registered project-support assets

Primary location: Construction Production Area. Equipment is controlled by tag, owner/custodian, inspection state, work package, spatial workfront, and interface to permanent plant. Where an asset crosses a turned-over boundary, the temporary configuration is subject to commissioning work control.

## GROUNDWORKS — 76 registered project-support assets

Primary location: Excavations / major concrete workfronts. Equipment is controlled by tag, owner/custodian, inspection state, work package, spatial workfront, and interface to permanent plant. Where an asset crosses a turned-over boundary, the temporary configuration is subject to commissioning work control.

## HEAVY-LOGISTICS — 92 registered project-support assets

Primary location: Marine / haul / laydown. Equipment is controlled by tag, owner/custodian, inspection state, work package, spatial workfront, and interface to permanent plant. Where an asset crosses a turned-over boundary, the temporary configuration is subject to commissioning work control.

## LIFTING-HANDLING — 226 registered project-support assets

Primary location: Sitewide defined lift zones. Equipment is controlled by tag, owner/custodian, inspection state, work package, spatial workfront, and interface to permanent plant. Where an asset crosses a turned-over boundary, the temporary configuration is subject to commissioning work control.

## MARINE-CONSTRUCTION — 14 registered project-support assets

Primary location: Lake Ontario / marine works. Equipment is controlled by tag, owner/custodian, inspection state, work package, spatial workfront, and interface to permanent plant. Where an asset crosses a turned-over boundary, the temporary configuration is subject to commissioning work control.

## TUNNEL-CONSTRUCTION — 32 registered project-support assets

Primary location: Intake/outfall tunnels. Equipment is controlled by tag, owner/custodian, inspection state, work package, spatial workfront, and interface to permanent plant. Where an asset crosses a turned-over boundary, the temporary configuration is subject to commissioning work control.

## FAB-NDE-MET — 310 registered project-support assets

Primary location: Fabrication shops / workfronts. Equipment is controlled by tag, owner/custodian, inspection state, work package, spatial workfront, and interface to permanent plant. Where an asset crosses a turned-over boundary, the temporary configuration is subject to commissioning work control.

## TEMP-ACCESS — 280 registered project-support assets

Primary location: Sitewide. Equipment is controlled by tag, owner/custodian, inspection state, work package, spatial workfront, and interface to permanent plant. Where an asset crosses a turned-over boundary, the temporary configuration is subject to commissioning work control.

## TEMP-UTIL — 338 registered project-support assets

Primary location: Sitewide. Equipment is controlled by tag, owner/custodian, inspection state, work package, spatial workfront, and interface to permanent plant. Where an asset crosses a turned-over boundary, the temporary configuration is subject to commissioning work control.

## TEMP-DEWATER — 140 registered project-support assets

Primary location: Excavation zones. Equipment is controlled by tag, owner/custodian, inspection state, work package, spatial workfront, and interface to permanent plant. Where an asset crosses a turned-over boundary, the temporary configuration is subject to commissioning work control.

## TEMP-COMMISSIONING — 226 registered project-support assets

Primary location: Commissioning workfronts. Equipment is controlled by tag, owner/custodian, inspection state, work package, spatial workfront, and interface to permanent plant. Where an asset crosses a turned-over boundary, the temporary configuration is subject to commissioning work control.

# Rev 1 change and backward-propagation register

| Old statement | Rev 1 statement | Reason | Evidence class | Affected packets | Status |
| --- | --- | --- | --- | --- | --- |
| Exact coordinates unavailable. | A project-local engineering coordinate framework is introduced, but all numeric coordinates remain DESIGN RECONSTRUCTION until survey/master-plot evidence is supplied. | Needed to make the plant spatially computable without falsifying provenance. | Corpus + layout precedent | S01,S03-S10; earlier geography packets | CONTROLLED |
| System connectivity summarized functionally. | Interfaces are decomposed by process/electrical/I&C/network/structural/material-handling edge classes; unsupported endpoints remain OPEN. | Prevents inferred graphs from masquerading as as-built evidence. | Corpus + CNSC/IAEA | S02,S06,S07; commissioning packets | CONTROLLED |
| Temporary plant treated as support equipment. | Temporary commissioning and construction assets are configuration items whenever they interface with commissioned plant. | IAEA construction/commissioning interface practice and CRS-01 canon. | Corpus + IAEA | S05; CRS-01 investigation packets | LOCKED/EXPANDED |
| Construction completion used as broad maturity proxy. | Construction, MC, turnover, pre-commissioning, functional commissioning, integrated commissioning and operating acceptance are distinct states. | Explicit Rev N control rule and commissioning precedent. | Corpus + IAEA | All 2027-2031 field histories | LOCKED |

# Source register

Supplied OFG Encyclopedia Rev N Volumes 00-14, Master Canonical Story Backbone, Annex A controlled asset register, Annex B chronological registers, and prior System Encyclopedia Rev 0 volumes.

Canadian Nuclear Safety Commission, REGDOC-2.5.2, Design of Reactor Facilities, Version 2.1 (May 2023).

International Atomic Energy Agency, Commissioning for Nuclear Power Plants — guidance on interfaces, transfer, work control and partially installed systems.

ITER Organization official system descriptions and assembly/construction material, including cooling-water and machine/support-system architecture.

QST / Japanese DEMO conceptual-design publications used only as fusion-DEMO precedent where the supplied corpus calls for them.

# Integrated controlled source — OFG_E01_Site_Coordinate_Construction_Field_Atlas_Rev2.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION PROJECT

VOLUME E01 — SITE, COORDINATE DATUM & CONSTRUCTION FIELD DIGITAL ATLAS

Engineering coordinate system, zones, buildings, routes, utilities, construction compounds and spatial rules

REV 2 ENGINEERING RECONSTRUCTION · DESIGN CUT 19 APRIL 2031 · C/R/E/O PROVENANCE CONTROL

# 1. Coordinate control

E datum OFG-GRID-2031: local Cartesian engineering grid, metres. +E east, +N north, +Z elevation. Machine centreline MC-0 = E1000.000, N1000.000, Z112.000. Plant North = grid +N. These are engineered reconstruction coordinates, not surveyed real-world coordinates.

| ID | Facility | E | N | L m | W m | H m | Zone |
| --- | --- | --- | --- | --- | --- | --- | --- |
| F-101 | Tokamak Building | 1000 | 1000 | 118 | 118 | 52 | Z01 |
| F-102 | Assembly/Outage Hall | 1000 | 1135 | 95 | 135 | 42 | Z01 |
| F-103 | Tritium/Fuel Cycle Building | 865 | 1000 | 82 | 112 | 32 | Z02 |
| F-104 | Neutral Beam Building | 1135 | 1000 | 110 | 95 | 28 | Z01 |
| F-105 | RF/Heating Building | 1115 | 1115 | 80 | 72 | 26 | Z01 |
| H-101 | Heat Transport/Steam Generation | 1000 | 835 | 155 | 105 | 35 | Z03 |
| T-101 | Turbine Hall | 1000 | 665 | 210 | 78 | 38 | Z04 |
| T-102 | Condenser/Feedwater Annex | 1000 | 575 | 170 | 62 | 22 | Z04 |
| C-101 | Cryoplant Compressor Hall | 1275 | 845 | 130 | 72 | 26 | Z05 |
| C-102 | Cold Box/Storage | 1245 | 930 | 90 | 65 | 28 | Z05 |
| E-101 | Main Electrical Building | 760 | 835 | 135 | 72 | 25 | Z05 |
| E-102 | Magnet Power Conversion | 760 | 930 | 145 | 90 | 28 | Z05 |
| K-101 | Main Control/I&C Building | 850 | 1125 | 95 | 62 | 24 | Z05 |
| R-101 | Hot Cell/Radwaste | 845 | 865 | 95 | 92 | 32 | Z02 |
| U-101 | Central Utilities | 1260 | 700 | 120 | 80 | 22 | Z08 |
| W-101 | Lake Intake Pump House | 1010 | 260 | 80 | 45 | 18 | Z06 |
| W-102 | Outfall/Screening Structure | 1140 | 250 | 65 | 40 | 14 | Z06 |
| S-101 | 500-kV Switchyard | 610 | 650 | 230 | 170 | 0 | Z07 |
| L-101 | Main Warehouse/Receiving | 1420 | 1080 | 170 | 95 | 18 | Z08 |
| A-101 | Administration/Training | 680 | 1140 | 105 | 75 | 20 | Z08 |
| M-101 | Maintenance/Workshops | 1370 | 940 | 130 | 85 | 20 | Z08 |

# 2. Site movement geometry

| Route | Geometry / control | Design reconstruction |
| --- | --- | --- |
| North Logistics Spine | N=1260±6 m, E=520→1530 | 12 m paved heavy-haul carriageway; 18 m obstruction-free envelope |
| Heavy Component Route | L-101 → F-102 west/north apron | minimum 14 m paved width; turning radii checked for SPMT trains |
| Operating ring road | perimeter of process core | 8 m two-way fire/emergency access; hydrant spacing coordinated |
| Protected pedestrian spine | A-101/K-101/F-102 interface | segregated from heavy haul and construction logistics |
| Lake service corridor | W-101/W-102 → T-102/U-101 | buried/culvert utilities plus maintenance road |
| Transmission corridor | S-101 west boundary | 500-kV line approach and protected electrical clearances |

# 3. Construction field

| Field area | Coordinate envelope | Contents |
| --- | --- | --- |
| CA-01 Civil compound | E1320–1540 N760–930 | batch/laydown, rebar/formwork, earthworks support |
| CA-02 Mechanical fabrication | E1320–1530 N930–1060 | pipe spool fabrication, welding, PWHT, NDE, metrology |
| CA-03 Heavy lift staging | E1080–1290 N1180–1310 | SPMT staging, crane assembly, lift frames |
| CA-04 E&I prefab | E560–720 N920–1080 | tray/support prefab, cable drum storage, panels/JBs |
| CA-05 Commissioning yard | E1180–1320 N1030–1170 | temporary skids, flushing rigs, chemical cleaning, test equipment |
| CA-06 Controlled storage | E1460–1590 N1040–1210 | preserved vendor equipment, quarantine/NCR zones |

# 4. Spatial verification rules

No equipment coordinate is accepted without a reference point definition (centreline, nozzle, foundation or survey target).

Buried lines receive horizontal alignment, invert elevation, crossing register and isolation/access points.

Every heavy component has a transport path from receipt to installed position and a later maintenance/removal path.

Fire routes, security boundaries, radiological zoning and construction logistics are checked for incompatible crossings.

Building coordinates above are E-design values and therefore can be revised without rewriting source-derived canon.

# Integrated controlled source — OFG_Engineering_Encyclopedia_Rev2_V02_Site_Coordinates_Field_Atlas.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION PROJECT

ENGINEERING SYSTEM ENCYCLOPEDIA REV 2 — V02

SITE COORDINATE, BUILDING & CONSTRUCTION-FIELD ENGINEERING ATLAS

Controlled local grid, building coordinates, spatial interfaces and construction logistics

Status legend: LOCKED/SOURCE-DERIVED = supplied canon; VERIFIED PRECEDENT = authoritative real-world constraint; DESIGN RECONSTRUCTION = engineered fictional choice required to make OFG physically complete; OPEN/CONTROLLED = source set cannot support a unique answer.

# 1. Coordinate convention

Because the supplied canon does not contain the as-surveyed GEN-PLT-001 coordinate schedule, Rev 2 establishes a LOCAL ENGINEERING GRID as DESIGN RECONSTRUCTION. Origin OFG-GRID-0 = southwest project control monument; +E east, +N north; elevations use local datum EL 100.000 m. These coordinates are exact within the fictional Rev-2 model but are not claimed to be real Darlington survey coordinates.

| ID | Facility | E (m) | N (m) | EL (m) | L (m) | W (m) | Zone |
| --- | --- | --- | --- | --- | --- | --- | --- |
| F-101 | Tokamak Building | 620 | 520 | 112 | 150 | 135 | Z01 |
| F-102 | Diagnostics/Control Interface | 790 | 535 | 108 | 75 | 55 | Z01 |
| F-103 | Tritium Building | 805 | 430 | 108 | 85 | 70 | Z02 |
| F-104 | Neutral Beam Building | 455 | 535 | 108 | 135 | 60 | Z01 |
| F-105 | RF Heating Building | 620 | 690 | 108 | 105 | 55 | Z01 |
| F-106 | Assembly/Outage Hall | 620 | 345 | 108 | 150 | 110 | Z01 |
| H-101 | Heat Transport / Steam Generation | 920 | 520 | 105 | 190 | 150 | Z03 |
| T-101 | Turbine Building | 1160 | 520 | 103 | 210 | 120 | Z04 |
| T-102 | Condenser/Feedwater Building | 1160 | 365 | 102 | 210 | 105 | Z04 |
| C-101 | Cryogenic Compressor Building | 455 | 725 | 106 | 120 | 80 | Z05 |
| C-102 | Cryogenic Cold Box/Storage | 330 | 725 | 106 | 100 | 75 | Z05 |
| E-101 | Main Electrical Building | 880 | 730 | 106 | 120 | 70 | Z05 |
| E-102 | MV Distribution Building | 1015 | 730 | 106 | 100 | 65 | Z05 |
| E-103 | DC/UPS Building | 1125 | 730 | 106 | 80 | 60 | Z05 |
| E-104 | Magnet Power Conversion | 720 | 800 | 106 | 150 | 85 | Z05 |
| E-105 | Grid/Protection Building | 1290 | 735 | 105 | 90 | 65 | Z07 |
| R-101 | Hot Cell | 775 | 275 | 106 | 130 | 95 | Z02 |
| R-102 | Decontamination | 930 | 275 | 105 | 95 | 75 | Z02 |
| R-104 | Radioactive Waste | 1045 | 255 | 104 | 100 | 80 | Z02 |
| R-105 | Waste Store | 1165 | 245 | 104 | 100 | 70 | Z02 |
| U-101 | Component Cooling/Chilled Water | 990 | 680 | 104 | 120 | 80 | Z05 |
| U-102 | Compressed Air/Gases | 1115 | 670 | 104 | 80 | 65 | Z08 |
| U-103 | Water Treatment | 1260 | 650 | 103 | 100 | 75 | Z08 |
| U-104 | General Utilities | 1365 | 650 | 103 | 90 | 70 | Z08 |
| W-101 | Lake Water Intake Pump House | 950 | 80 | 99 | 90 | 65 | Z06 |
| W-103 | Outfall/Heat Rejection Structure | 1160 | 75 | 99 | 90 | 65 | Z06 |
| M-101 | Maintenance Shop | 350 | 350 | 105 | 110 | 75 | Z08 |
| M-102 | Central Warehouse | 250 | 350 | 105 | 125 | 85 | Z08 |
| M-103 | Spare/Controlled Storage | 250 | 455 | 105 | 100 | 70 | Z08 |
| A-102 | Access/RP Change Facility | 520 | 250 | 106 | 85 | 60 | Z08 |
| A-103 | Laboratory/Technical Services | 420 | 250 | 106 | 80 | 60 | Z08 |
| O-101 | Main Control/Operations Building | 720 | 620 | 108 | 90 | 70 | Z01 |
| N-103 | Environmental/Effluent Monitoring | 1290 | 165 | 101 | 65 | 50 | Z06 |

# 2. Construction-field spatial system

| Field element | Rev-2 coordinate/envelope | Engineering implementation |
| --- | --- | --- |
| North Logistics Spine | E=150..1450, N=900 | 14 m paved heavy-haul carriageway; turning radii and overhead clearances controlled |
| Heavy Component Route | Marine interface -> NLS -> F-106 | SPMT-compatible pavement/bridge load path; removable street furniture; survey before each exceptional move |
| Primary laydown | E 180-430, N 790-900 | heavy steel/machine modules; segregated preservation zones |
| Mechanical laydown | E 1030-1370, N 820-900 | piping/skids/duct; weather protection by commodity |
| Civil production | E 80-250, N 650-780 | batching, rebar, formwork, aggregate; progressively demobilized by 2031 |
| Fabrication/NDE | E 280-470, N 610-700 | spool fabrication, weld/NDE, metrology, controlled consumables |
| Temporary utilities corridor | NLS + branch corridors | construction power, water, compressed air, drainage; crossing permits required where permanent systems energize |
| Commissioning controlled boundary | progressive by system | temporary hoses/skids/cables only under configuration control after turnover |

# 3. Spatial verification rules

Every equipment foundation receives E/N/EL, orientation, maintenance envelope, lifting path and connected-service corridor.

Every process line receives from/to nozzle, line class, nominal size, design pressure/temperature, insulation/heat tracing, support class and routing zone.

Every cable receives source, destination, voltage/signal class, segregation class, tray/conduit route and fire-zone crossings.

Every room/area receives fire, confinement/radiological, flooding, seismic/environmental, access and custody attributes.

Temporary construction/commissioning items are included in clash, egress, fire-load and configuration reviews; 'temporary' is not a synonym for uncontrolled.

# Integrated controlled source — OFG_B01_Coordinated_Site_Facility_Configuration_Rev3.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION PROJECT

B01 — COORDINATED SITE & FACILITY CONFIGURATION MODEL

Local engineering datum, facility footprints, adjacency logic, protected corridors and model-control coordinates

SYSTEM & SITE ENGINEERING ENCYCLOPEDIA · REV 3 · TRANCHE B · PHYSICAL CONSTRAINT / COORDINATION MODEL

# 1. Coordinate system

| Field | Value | Status |
| --- | --- | --- |
| Coordinate system | OFG-LCS-01 local Cartesian engineering grid | E |
| Units | metres | E |
| Plant north | +N | E |
| Machine centre | E1000.000 / N1000.000 | E |
| Machine magnetic axis elevation | Z112.000 | E |
| Reference site grade around machine complex | Z100.000 | E |
| Survey meaning | Model-control datum only; not a real Darlington survey coordinate | E limitation |

# 2. Facility placement

| ID | Facility | Centre E | Centre N | Grade Z | L | W | H | Rot | Constraint |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| F-101 | Tokamak Building | 1000 | 1000 | 100 | 126 | 112 | 78 | 0 | HARD: machine/ports/shielding/maintenance |
| F-106 | Machine Assembly & Outage Hall | 1000 | 1148 | 100 | 104 | 86 | 62 | 0 | HARD: continuous crane/assembly axis with F-101 |
| F-102 | Diagnostics Building | 1000 | 900 | 100 | 120 | 58 | 40 | 0 | HARD: equatorial/lower port services and busbar galleries |
| F-107 | Cask Transfer Galleries | 875 | 1000 | 100 | 48 | 150 | 28 | 0 | HARD: F-101 to hot-cell cask corridor |
| R-101 | Hot Cell | 760 | 1000 | 100 | 116 | 126 | 42 | 0 | HARD: cask receipt, shielded remote maintenance |
| F-103 | Tritium/Fuel Cycle Building | 1125 | 1000 | 100 | 92 | 104 | 36 | 0 | HARD: short controlled tritium interfaces |
| F-104 | Neutral Beam Building | 1145 | 900 | 100 | 128 | 72 | 34 | 0 | HARD: tangential beamline geometry |
| F-105 | RF Heating Building | 1135 | 1115 | 100 | 90 | 70 | 30 | 0 | HARD: waveguide/transmission line lengths |
| H-101 | Primary Heat Transport / Steam Generator Annex | 1000 | 780 | 100 | 180 | 110 | 42 | 0 | HARD: short high-energy BHT/DHT/VHT interfaces |
| C-102 | Cryogenic Cold Box Building | 1260 | 1050 | 100 | 92 | 70 | 30 | 0 | HARD: cryoline bridge/termination to machine |
| C-101 | Cryogenic Compressor Building | 1380 | 1050 | 100 | 150 | 78 | 28 | 0 | SOFT/HARD: compressor noise/vibration + C-102 adjacency |
| P-101 | Coil Power Conversion A | 750 | 880 | 100 | 150 | 32 | 24 | 0 | HARD: busbar corridor to F-102/F-101 |
| P-102 | Coil Power Conversion B | 750 | 930 | 100 | 150 | 32 | 24 | 0 | HARD: busbar corridor to F-102/F-101 |
| P-103 | Fast Discharge & Switching | 830 | 905 | 100 | 70 | 52 | 24 | 0 | HARD: stored-energy path / busbar proximity |
| O-101 | Main Control Building | 845 | 1125 | 100 | 96 | 60 | 26 | 0 | HARD: protected/segregated control access |
| T-101 | Turbine Generator Building | 1000 | 575 | 100 | 220 | 84 | 42 | 0 | HARD: steam path from H-101 + generator export |
| T-102 | Feedwater / Water Chemistry Annex | 1000 | 660 | 100 | 150 | 54 | 24 | 0 | HARD: condenser/feedwater adjacency |
| E-101 | Main Transformer Yard | 780 | 575 | 100 | 120 | 90 | 0 | 0 | HARD: generator/grid corridor |
| E-102 | 500-kV Switchyard | 620 | 575 | 100 | 250 | 170 | 0 | 0 | HARD: grid approach / separation |
| E-103 | Station Electrical Building | 820 | 700 | 100 | 110 | 65 | 25 | 0 | HARD: station-service distribution |
| E-104 | Emergency Power Building | 700 | 760 | 100 | 95 | 62 | 24 | 0 | HARD: hazard/separation from main electrical |
| E-105 | Battery / UPS Building | 820 | 770 | 100 | 75 | 50 | 20 | 0 | HARD: protected DC/UPS distribution |
| U-101 | Site Services | 1300 | 720 | 100 | 120 | 78 | 22 | 0 | SOFT: utilities distribution |
| U-102 | Water Treatment | 1410 | 700 | 100 | 105 | 72 | 20 | 0 | SOFT: water/effluent routing |
| U-103 | Auxiliary Steam / Boiler House | 1320 | 800 | 100 | 95 | 65 | 24 | 0 | SOFT: steam users / stack clearance |
| U-104 | Industrial Gas Facility | 1450 | 820 | 100 | 90 | 60 | 18 | 0 | HARD: hazardous gas separation |
| U-105 | Fire Water Pump House | 1510 | 690 | 100 | 52 | 38 | 16 | 0 | HARD: independent firewater source |
| W-103 | Circulating-Water Pumphouse | 1000 | 370 | 96 | 110 | 55 | 22 | 0 | HARD: lake-water hydraulic corridor |
| W-104 | Outfall Structure | 1140 | 270 | 94 | 70 | 45 | 12 | 0 | HARD: discharge hydraulic corridor |
| L-103 | Heavy-Haul Staging | 1370 | 1200 | 100 | 180 | 120 | 0 | 0 | HARD: SPMT turning/staging |
| M-103 | Receiving / Quarantine | 1450 | 1080 | 100 | 150 | 90 | 22 | 0 | HARD: receipt-to-heavy-haul path |

# 3. Protected three-dimensional corridors

| Zone | Purpose | E min | E max | N min | N max | Z min | Z max | Class |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MC-CRYO-ENV | Cryostat + primary exclusion envelope | 982 | 1018 | 982 | 1018 | 92 | 144 | Machine envelope |
| MC-BIOSHIELD | Bioshield / port-cell annulus | 970 | 1030 | 970 | 1030 | 88 | 148 | Radiological/structural |
| MC-UPPER-MAINT | Upper blanket extraction volume | 965 | 1035 | 965 | 1035 | 126 | 158 | Remote handling / no permanent obstruction |
| MC-LOWER-MAINT | Lower divertor extraction volume | 968 | 1032 | 968 | 1032 | 88 | 106 | Remote handling / no permanent obstruction |
| MC-CRANE-AXIS | F106-F101 continuous heavy-lift axis | 960 | 1040 | 1000 | 1195 | 100 | 170 | Construction/outage heavy lift |
| MC-CASK-WEST | Cask transfer corridor to R-101 | 760 | 940 | 980 | 1020 | 94 | 116 | Shielded transport |
| MC-BHT-SOUTH | BHT high-energy penetration/header corridor | 945 | 1055 | 830 | 950 | 104 | 132 | High-energy piping |
| MC-CRYO-EAST | Cryoline bridge/distribution corridor | 1030 | 1270 | 1020 | 1080 | 118 | 138 | Cryogenic distribution |
| MC-BUSBAR-WEST | DC busbar corridor | 750 | 970 | 875 | 940 | 108 | 124 | High-current electrical |
| MC-NBI-SE | Neutral beam tangential corridor | 1025 | 1210 | 870 | 940 | 104 | 126 | Beamline / shielding |
| MC-RF-NE | RF transmission corridor | 1025 | 1180 | 1040 | 1140 | 110 | 132 | Waveguide/transmission |
| MC-TRIT-EAST | Fuel/tritium controlled corridor | 1030 | 1175 | 965 | 1035 | 100 | 126 | Tritium confinement |
| MC-CABLE-A | Electrical/I&C Division A gallery | 900 | 960 | 930 | 1080 | 88 | 98 | Separated safety/support routing |
| MC-CABLE-B | Electrical/I&C Division B gallery | 1040 | 1100 | 930 | 1080 | 88 | 98 | Separated safety/support routing |

# 4. Machine envelopes

| ID | Object | E | N | Axis Z | Horizontal envelope radius m | Vertical half-envelope m | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PLASMA | Plasma reference torus | 1000 | 1000 | 112 | 8.6 | 2.8 | Rmajor/minor; E |
| VV | Vacuum vessel envelope | 1000 | 1000 | 112 | 13.0 | 7.0 | E envelope |
| TF | TF coil envelope | 1000 | 1000 | 112 | 15.0 | 12.0 | 16 coils C; envelope E |
| CRYO | Cryostat envelope | 1000 | 1000 | 116 | 18.0 | 16.0 | E envelope |
| BIOSHIELD | Bioshield outer envelope | 1000 | 1000 | 116 | 30.0 | 30.0 | E/R envelope |

# 5. Adjacency / no-go logic

F-106 north of F-101: crane/assembly axis remains straight through the shared wall/opening; no permanent process building may interrupt the heavy-lift volume.

F-107 and R-101 west of F-101: cask transfer avoids crossing public/clean personnel routes and remains inside controlled/shielded material-flow territory.

H-101 south of F-101: high-energy BHT/DHT/VHT piping is kept short and separated from the assembly/outage hall and tritium building.

F-103 east of F-101: tritium/fuel-cycle routes are short, confined and do not cross the heavy-lift axis.

C-102 northeast/east of F-101: cryoline termination/distribution route avoids long low-temperature runs; C-101 is further out to isolate compressor vibration/noise.

P-101/P-102/P-103 west/southwest: DC busbar route is short and can enter F-102/F-101 through dedicated galleries without crossing tritium or high-energy steam corridors.

T-101/T-102 south: main steam/feedwater route proceeds away from the machine complex toward the conventional island and grid export corridor.

E-104 emergency power is physically separated from main station-service electrical facilities to reduce common-cause vulnerability.

# Controlled register — OFG_Rev2_Building_Coordinate_Register.csv

| Building_ID | Name | Center_E_m | Center_N_m | Length_m | Width_m | Height_m | Zone | Provenance |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| F-101 | Tokamak Building | 1000 | 1000 | 118 | 118 | 52 | Z01 | E |
| F-102 | Assembly/Outage Hall | 1000 | 1135 | 95 | 135 | 42 | Z01 | E |
| F-103 | Tritium/Fuel Cycle Building | 865 | 1000 | 82 | 112 | 32 | Z02 | E |
| F-104 | Neutral Beam Building | 1135 | 1000 | 110 | 95 | 28 | Z01 | E |
| F-105 | RF/Heating Building | 1115 | 1115 | 80 | 72 | 26 | Z01 | E |
| H-101 | Heat Transport/Steam Generation | 1000 | 835 | 155 | 105 | 35 | Z03 | E |
| T-101 | Turbine Hall | 1000 | 665 | 210 | 78 | 38 | Z04 | E |
| T-102 | Condenser/Feedwater Annex | 1000 | 575 | 170 | 62 | 22 | Z04 | E |
| C-101 | Cryoplant Compressor Hall | 1275 | 845 | 130 | 72 | 26 | Z05 | E |
| C-102 | Cold Box/Storage | 1245 | 930 | 90 | 65 | 28 | Z05 | E |
| E-101 | Main Electrical Building | 760 | 835 | 135 | 72 | 25 | Z05 | E |
| E-102 | Magnet Power Conversion | 760 | 930 | 145 | 90 | 28 | Z05 | E |
| K-101 | Main Control/I&C Building | 850 | 1125 | 95 | 62 | 24 | Z05 | E |
| R-101 | Hot Cell/Radwaste | 845 | 865 | 95 | 92 | 32 | Z02 | E |
| U-101 | Central Utilities | 1260 | 700 | 120 | 80 | 22 | Z08 | E |
| W-101 | Lake Intake Pump House | 1010 | 260 | 80 | 45 | 18 | Z06 | E |
| W-102 | Outfall/Screening Structure | 1140 | 250 | 65 | 40 | 14 | Z06 | E |
| S-101 | 500-kV Switchyard | 610 | 650 | 230 | 170 | 0 | Z07 | E |
| L-101 | Main Warehouse/Receiving | 1420 | 1080 | 170 | 95 | 18 | Z08 | E |
| A-101 | Administration/Training | 680 | 1140 | 105 | 75 | 20 | Z08 | E |
| M-101 | Maintenance/Workshops | 1370 | 940 | 130 | 85 | 20 | Z08 | E |

Rows preserved in this register: 21.

# Controlled register — OFG_B01_Facility_Placement_Register.csv

| ID | Name | Center_E_m | Center_N_m | Grade_Z_m | Length_m | Width_m | Height_m | Rotation_deg | Constraint |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| F-101 | Tokamak Building | 1000 | 1000 | 100 | 126 | 112 | 78 | 0 | HARD: machine/ports/shielding/maintenance |
| F-106 | Machine Assembly & Outage Hall | 1000 | 1148 | 100 | 104 | 86 | 62 | 0 | HARD: continuous crane/assembly axis with F-101 |
| F-102 | Diagnostics Building | 1000 | 900 | 100 | 120 | 58 | 40 | 0 | HARD: equatorial/lower port services and busbar galleries |
| F-107 | Cask Transfer Galleries | 875 | 1000 | 100 | 48 | 150 | 28 | 0 | HARD: F-101 to hot-cell cask corridor |
| R-101 | Hot Cell | 760 | 1000 | 100 | 116 | 126 | 42 | 0 | HARD: cask receipt, shielded remote maintenance |
| F-103 | Tritium/Fuel Cycle Building | 1125 | 1000 | 100 | 92 | 104 | 36 | 0 | HARD: short controlled tritium interfaces |
| F-104 | Neutral Beam Building | 1145 | 900 | 100 | 128 | 72 | 34 | 0 | HARD: tangential beamline geometry |
| F-105 | RF Heating Building | 1135 | 1115 | 100 | 90 | 70 | 30 | 0 | HARD: waveguide/transmission line lengths |
| H-101 | Primary Heat Transport / Steam Generator Annex | 1000 | 780 | 100 | 180 | 110 | 42 | 0 | HARD: short high-energy BHT/DHT/VHT interfaces |
| C-102 | Cryogenic Cold Box Building | 1260 | 1050 | 100 | 92 | 70 | 30 | 0 | HARD: cryoline bridge/termination to machine |
| C-101 | Cryogenic Compressor Building | 1380 | 1050 | 100 | 150 | 78 | 28 | 0 | SOFT/HARD: compressor noise/vibration + C-102 adjacency |
| P-101 | Coil Power Conversion A | 750 | 880 | 100 | 150 | 32 | 24 | 0 | HARD: busbar corridor to F-102/F-101 |
| P-102 | Coil Power Conversion B | 750 | 930 | 100 | 150 | 32 | 24 | 0 | HARD: busbar corridor to F-102/F-101 |
| P-103 | Fast Discharge & Switching | 830 | 905 | 100 | 70 | 52 | 24 | 0 | HARD: stored-energy path / busbar proximity |
| O-101 | Main Control Building | 845 | 1125 | 100 | 96 | 60 | 26 | 0 | HARD: protected/segregated control access |
| T-101 | Turbine Generator Building | 1000 | 575 | 100 | 220 | 84 | 42 | 0 | HARD: steam path from H-101 + generator export |
| T-102 | Feedwater / Water Chemistry Annex | 1000 | 660 | 100 | 150 | 54 | 24 | 0 | HARD: condenser/feedwater adjacency |
| E-101 | Main Transformer Yard | 780 | 575 | 100 | 120 | 90 | 0 | 0 | HARD: generator/grid corridor |
| E-102 | 500-kV Switchyard | 620 | 575 | 100 | 250 | 170 | 0 | 0 | HARD: grid approach / separation |
| E-103 | Station Electrical Building | 820 | 700 | 100 | 110 | 65 | 25 | 0 | HARD: station-service distribution |
| E-104 | Emergency Power Building | 700 | 760 | 100 | 95 | 62 | 24 | 0 | HARD: hazard/separation from main electrical |
| E-105 | Battery / UPS Building | 820 | 770 | 100 | 75 | 50 | 20 | 0 | HARD: protected DC/UPS distribution |
| U-101 | Site Services | 1300 | 720 | 100 | 120 | 78 | 22 | 0 | SOFT: utilities distribution |
| U-102 | Water Treatment | 1410 | 700 | 100 | 105 | 72 | 20 | 0 | SOFT: water/effluent routing |
| U-103 | Auxiliary Steam / Boiler House | 1320 | 800 | 100 | 95 | 65 | 24 | 0 | SOFT: steam users / stack clearance |
| U-104 | Industrial Gas Facility | 1450 | 820 | 100 | 90 | 60 | 18 | 0 | HARD: hazardous gas separation |
| U-105 | Fire Water Pump House | 1510 | 690 | 100 | 52 | 38 | 16 | 0 | HARD: independent firewater source |
| W-103 | Circulating-Water Pumphouse | 1000 | 370 | 96 | 110 | 55 | 22 | 0 | HARD: lake-water hydraulic corridor |
| W-104 | Outfall Structure | 1140 | 270 | 94 | 70 | 45 | 12 | 0 | HARD: discharge hydraulic corridor |
| L-103 | Heavy-Haul Staging | 1370 | 1200 | 100 | 180 | 120 | 0 | 0 | HARD: SPMT turning/staging |
| M-103 | Receiving / Quarantine | 1450 | 1080 | 100 | 150 | 90 | 22 | 0 | HARD: receipt-to-heavy-haul path |

Rows preserved in this register: 31.