ONTARIO FUSION GENERATION

DEFINITIVE ENGINEERING ATLAS — REV 3

VOLUME 07 — PRIMARY & BLANKET HEAT TRANSPORT — PHYSICAL CONFIGURATION AND FUNDAMENTAL ENGINEERING

PHT/BHT topology, equipment, coordinates, centrelines, supports, penetrations, hydraulics, transients, thermal expansion, hazards and constructability

CONTROLLED STORY CONFIGURATION CUT: 19 APRIL 2031

# Atlas control doctrine

This volume is part of the definitive self-contained story bible, not a work-package report. It preserves source-derived granularity and the engineering/configuration thread. C = controlled story/source canon; V = verified real-world precedent; E = controlled fictional engineering reconstruction; OPEN = unresolved. No precedent dimension, screening assumption, sensitivity value, code class, coordinate, vendor property, test result, or physical action is silently promoted to OFG historical fact.

For every material configuration decision the controlling information chain is: originator → information → document/record → recipient → review → authority → decision → authorized action → physical consequence → inspection/test/as-built evidence → turnover/operations baseline → later change/supersession. CLOSED/APPROVED in an information system is not proof of physical execution.

# Integrated source map

Detailed DOCX sources integrated: 14. Controlled CSV/ledger sources integrated: 25.

DOCX · OFG_Encyclopedia_RevN_Volume_07(6).docx

DOCX · OFG_Engineering_Encyclopedia_Rev2/OFG_E03_Primary_Process_Systems_Encyclopedia_Rev2.docx

DOCX · OFG_Engineering_Atlas_Rev0_PHTS01_FM05_Primary_Heat_Structural_Loadpath/OFG_Atlas_PHTS01_FM05_Primary_Heat_Structural_Loadpath.docx

DOCX · OFG_Engineering_Atlas_Rev0_PHTS02_FM06_SITESEIS01/OFG_Atlas_PHTS02_FM06_SITESEIS01.docx

DOCX · OFG_Engineering_Atlas_Rev0_PHTS03_FM07_SITE02/OFG_Atlas_PHTS03_FM07_SITE02.docx

DOCX · OFG_Engineering_Atlas_Rev0_PHTS04_FM08_SITE03/OFG_Atlas_PHTS04_FM08_SITE03.docx

DOCX · OFG_Engineering_Atlas_Rev0_PHTS05_FM09_SITE04_VER01/OFG_Atlas_PHTS05_FM09_SITE04_Post_Verification.docx

DOCX · OFG_Engineering_Atlas_Rev0_PHTS05_FM09_SITE04_VER01/OFG_Atlas_VER01_Cross_Atlas_Verification_Audit.docx

DOCX · OFG_Rev3_Tranche_C/OFG_B04_BHT_Physical_Configuration_Routing_Basis_Rev3.docx

DOCX · OFG_Rev3_Tranche_C/OFG_B05_BHT_Coordinate_Connection_Register_Rev3.docx

DOCX · OFG_Rev3_Tranche_C/OFG_B06_BHT_Hazard_Maintenance_Constructability_Rev3.docx

DOCX · OFG_Rev3_Tranche_C/OFG_B07_Backward_Propagation_Canon_Conflict_Register_Rev3.docx

DOCX · OFG_Rev3_Tranche_D/OFG_D00_BHT_Computational_Verification_Iteration1.docx

DOCX · OFG_Rev3_Tranche_E/OFG_E00_Fundamental_Engineering_BHT_Iteration2.docx

REGISTER · OFG_Rev3_Tranche_C/OFG_B05_BHT_Equipment_Coordinates.csv

REGISTER · OFG_Rev3_Tranche_C/OFG_B05_BHT_Line_Centrelines.csv

REGISTER · OFG_Rev3_Tranche_C/OFG_B05_BHT_Penetrations.csv

REGISTER · OFG_Rev3_Tranche_C/OFG_B05_BHT_Port_Register.csv

REGISTER · OFG_Rev3_Tranche_C/OFG_B05_BHT_Support_Nodes.csv

REGISTER · OFG_Rev3_Tranche_C/OFG_B07_Change_Provenance.csv

REGISTER · OFG_Rev3_Tranche_D/D01_Hydraulic_Diameter_Sensitivity.csv

REGISTER · OFG_Rev3_Tranche_D/D02_Coarse_Protected_Zone_Clashes.csv

REGISTER · OFG_Rev3_Tranche_D/D03_Train_Spacing_Verification.csv

REGISTER · OFG_Rev3_Tranche_D/D04_Validation_Matrix.csv

REGISTER · OFG_Rev3_Tranche_D/D05_Pipe_Pair_Clearance_Failures.csv

REGISTER · OFG_Rev3_Tranche_E/E01_Network_Hydraulic_Summary.csv

REGISTER · OFG_Rev3_Tranche_E/E02_Module_Branch_Sensitivity.csv

REGISTER · OFG_Rev3_Tranche_E/E03_Trunk_Sensitivity.csv

REGISTER · OFG_Rev3_Tranche_E/E04_Thermal_Expansion.csv

REGISTER · OFG_Rev3_Tranche_E/E05_Pressure_Thrust.csv

REGISTER · OFG_Rev3_Tranche_E/E06_Water_Hammer_Sensitivity.csv

REGISTER · OFG_Rev3_Tranche_E/E07_Insulation_Heat_Loss.csv

REGISTER · OFG_Rev3_Tranche_E/E08_Fundamental_Discipline_Matrix.csv

REGISTER · OFG_Rev3_Tranche_E/E09_Validation_Matrix.csv

REGISTER · OFG_Rev3_Tranche_E/E11_Backward_Propagation_Changes.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V04_F101_Equipment_Boundaries_Structural_Idealization/PIPE02_R01_BHT_PHT_Nodes.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V04_F101_Equipment_Boundaries_Structural_Idealization/PIPE02_R02_BHT_PHT_Edges.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V04_F101_Equipment_Boundaries_Structural_Idealization/PIPE02_R03_BHT_Temporary_Component_Decomposition.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V04_F101_Equipment_Boundaries_Structural_Idealization/PIPE02_R04_Hydraulic_Transient_Cases.csv

# Integrated controlled source — OFG_Encyclopedia_RevN_Volume_07(6).docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

# ONTARIO FUSION GENERATION PROJECT

# VOLUME VII — SYSTEMIZATION, TURNOVER & FIRST REBASELINE

Permanent power, mechanical completion, custody transfer and integration risk

Complete chronological reference · canon cut: Saturday, 19 April 2031

Compiled from the Canonical Story Backbone Rev B, Master Reference, Backlogs 01–11, Revision Directives B–J, and controlled Rev A equipment/event datasets.

# Reference-status legend

| Status | Meaning |
| --- | --- |
| LOCKED CANON | Explicitly fixed by the controlling OFG canon at the 19 April 2031 cut. |
| CANONICAL FRAMEWORK | Institutional/technical architecture is fixed; some lower-level dates, names, quantities or records remain to be reconstructed. |
| VERIFIED PRECEDENT CONSTRAINT | Real-world analogue constrains plausibility; it is not itself an OFG event. |
| OPEN / CONTROLLED | The backlog identifies the subject, but the source set does not yet support a unique historical answer. Do not invent one. |
| WORKING DATASET | Rev A asset/event data support chronology and forensic work, but known semantic/date anomalies mean the rows are not self-authenticating canon. |

The encyclopedia favors explicit uncertainty over false precision. It records what is known at the story cut, what is structurally required by the project, and what remains unresolved.

# Period definition

Coverage: January-December 2029. This volume is chronological: every topical domain is described as it exists during this period rather than as a timeless subject.

# Canonical chronicle

## H1 2029 — Integration dominates

Civil production declines. Sector joints/welds and metrology dominate the machine critical path; central-solenoid erection and blanket/divertor installation advance.

## Q2 — Permanent electrical backfeed

Permanent power enters designated buildings, changing access and authority. The same physical campus now contains construction-controlled areas beside energized/commissioning boundaries.

## Q3 — Mechanical Completion and turnover

Earliest utilities reach MC: service/demineralized water, instrument air, fire water, selected electrical distribution and HVAC. Joint walkdowns and turnover dossiers transfer custody; the previous construction party may re-enter only under receiving/licensee authorization.

## Q3 — Operating/commissioning licence package

OPG submits the main operating/commissioning package early enough for staged regulatory review and later commissioning evidence.

## Q4 — Machine structural closure

Toroidal closure, PF/CS installation, final vessel joints and dense electrical/I&C integration continue; vacuum-boundary completion becomes increasingly important.

## Late 2029 — OEB-2

Hundreds of ordinary delays consume margin. First Plasma moves 31 March → 31 May 2031. EPC Amendment No.2 adjusts milestone dates, staffing/vendor windows and duration costs while preserving disputed claims/causation positions. Technical readiness criteria do not change.

## Authority transition

Construction-to-Commissioning Interface Agreement formalizes custody, tagging, permits, post-turnover re-entry and work-control authority. Systemization replaces geography as the project’s primary organizing principle.

# Institutional / business / government state

# Construction-to-commissioning authority transition

| Rule | Canonical effect |
| --- | --- |
| System boundaries | Custody follows system/functional boundaries, not whole buildings. |
| Joint turnover | Transferring and receiving organizations inspect and agree configuration/deficiencies. |
| Post-turnover access | Former construction parties re-enter only under receiving/licensee authorization. |
| Regulatory responsibility | OPG remains responsible regardless of contractual execution. |
| Schedule control | MC/turnover/test readiness are distinct from percent installed. |

# Working asset/event chronology for this period

The Rev A asset/event datasets are included as a chronology aid, not as self-authenticating canon. Known semantic/date anomalies are quarantined; counts below are descriptive of the working dataset and must not override the controlling narrative/configuration record.

| Year | Procured / mobilized | Site arrivals | Installation starts | MC | Turnovers | Commissioning starts | Event rows |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2029 | 226 | 16030 | 18646 | 1215 | 999 | 369 | 37589 |

# Detailed source-derived canonical research

This section carries forward the detailed research already absorbed into the Canonical Story Backbone. It is reorganized under the period volume so other threads can reference the underlying institutional, contractual, technical and documentary history rather than only the compressed chronology.

## Detailed 2029 integration/rebaseline chronology

Tokamak Assembly Hall heavy crane is commissioned.

This is a critical construction milestone because machine erection cannot begin without it.

The first gigantic HFRP components arrive.

### 14. 2028 — Peak construction / machine erection

This is approximately when the site reaches its historical 1,700–2,100-person peak.

### The site now contains simultaneously

civil crews mechanical trades electrical trades fusion assembly specialists vendor teams module crews heavy lifting construction QA commissioning planners.

Major machine sequence

### The HFRP erection sequence is broadly descended from ITER

cryostat base/lower structures → lower magnet/support components → preassembled vessel/TF-coil sectors → sector joining

→ remaining coils → central solenoid → in-vessel systems → upper cryostat/closure.

ITER demonstrates the same fundamental logic of extremely large, precision-aligned components followed by staged machine closure.

Balance-of-plant

### At the same time

cryogenic compressors installed turbine-generator erection begins switchgear installed major transformers arrive pipe-rack/module installation accelerates tritium-process modules arrive.

### 15. 2029 — The project changes character

Civil construction is no longer dominant.

### The difficult work becomes

integration.

H1 2029

Major toroidal machine assembly approaches completion.

Sector field joints/welds and metrology dominate critical-path work.

Central solenoid erection.

Blanket/divertor installation advances.

Q2 2029

Permanent electrical power begins entering designated buildings.

This is one of the project’s most consequential transitions.

Buildings are no longer merely construction zones.

Q3

Earliest utility systems achieve Mechanical Completion.

### Examples

service water demineralized water instrument air fire water selected electrical distribution selected HVAC.

## Construction-to-commissioning contractual transition

### Investors and final aggregate allocations

Ontario Teachers — C$2.0B SLC Management — C$2.5B Manulife Investment Management — C$2.0B La Caisse — C$1.5B CPP Investments — C$1.0B OMERS — C$1.0B.

The note agreement contains a common covenant package and multiple funding dates.

That gives Daniel a single document architecture rather than six unrelated debt instruments.

Hybrid capital in 2027

A common Subordinated Capital Framework Agreement is established, with separate

### investor schedules

Apollo — C$1.5B KKR — C$1.0B Brookfield — C$1.0B.

OFG-FIN-HYB-001

These instruments are contractually subordinated to senior debt.

### Their economics include

higher coupon/preferred return, completion-risk step-ups and potentially PIK features.

Their rights are primarily economic.

They do not get to vote on plant configuration.

Hydro One contractual structure

By 2026 the preliminary study relationship becomes binding.

Connection Cost Recovery Agreement

OPG/OFG LP ↔ Hydro One.

### Defines who pays for

switching facilities, interconnection engineering, line upgrades and connection assets.

Connection Agreement

### Defines

Point of Connection electrical requirements protection coordination metering communications outage coordination testing operating responsibilities.

Construction Interface Agreement

### Coordinates

OFG 500-kV switchyard work Hydro One lines/switching station work energization boundaries.

Hydro One contractors remain outside Bechtel’s EPC construction chain where work occurs on Hydro One’s transmission project.

At the physical interconnection, two separately controlled projects meet.

## Mechanical-completion, punch, turnover, post-turnover and preservation records

### 41. Field changes

### A field condition can create

RFI-xxxxx — Request for Information

TQ-xxxxx — Technical Query

FCR-xxxxx — Field Change Request

FCN-xxxxx — Field Change Notice

NCR-xxxxx — Non-Conformance Report

DR-xxxxx — Design Resolution

DCN-xxxxx — Design Change Notice

ECN-xxxxx — Engineering Change Notice

Not all projects use all those exact names; OFG should standardize which mechanism is used for which situation.

### 42. Construction inspection evidence

### Each ITP creates inspection records such as

IR — Inspection Request

WIR — Work Inspection Request

QC-CHK — QC Checklist

HOLD-REL — Hold Point Release

WIT-REC — Witness Record

SURV-REP — Surveillance Report

PUNCH — Punch Item

NCR — Non-Conformance Report

This is where contractor QC and owner/E&C surveillance meet.

### 43. Electrical installation records

ELE-CP-xxx — Cable Pull Card

ELE-CAB-TEST-xxx — Cable Insulation/Continuity Test

ELE-TERM-xxx — Termination Record

ELE-MEG-xxx — Megger Record

ELE-GND-xxx — Grounding Continuity Test

ELE-MTR-xxx — Motor Test Sheet

ELE-BKR-xxx — Breaker Functional Test

ELE-REL-xxx — Protection Relay Test

### 44. Instrument installation records

### For BHT-401-PT-102

IC-HUK-PT102 — Hook-Up Drawing

IC-INST-PT102 — Installation Inspection

IC-CAL-PT102 — Calibration Record

IC-CAB-PT102 — Cable Test

IC-TERM-PT102 — Termination Record

IC-LC-PT102 — Loop Check

IC-FUNC-PT102 — Functional Test

One pressure transmitter can therefore have half a dozen individual quality records before commissioning begins.

### 45. Mechanical Completion documents

### When construction believes BHT-401 is complete

MC-BHT401-001 — Mechanical Completion Dossier Index

### contains

approved drawings installation records NDE pressure tests alignment calibrations NCR dispositions punch list vendor documents.

### Then

MC-CERT-BHT401 — Mechanical Completion Certificate

### It does not mean

commissioned.

### It means

construction believes the defined scope satisfies MC requirements.

### 46. Punch documentation

OFG needs a controlled deficiency classification.

### For example

A-Punch

must close before turnover/energization/test.

B-Punch

may remain open under controlled conditions.

C-Punch

cosmetic/final closeout.

### Documents

PUNCH-BHT401-001

PUNCH-WAIVER-xxx

PUNCH-CLOSE-xxx

The exact classification must eventually be reconciled with First-Plasma readiness classifications—those are related but should not be the same system.

### 47. Turnover dossier

CNSC specifically expects turnover documentation to identify configuration, deficiencies, boundaries, records, baseline inspection information and approved as-built information.

# Integrated OFG encyclopedia — period state

## Integration replaces bulk construction

By 2029 the critical problems are joints, interfaces, configuration and evidence closure rather than concrete volume. Major toroidal assembly approaches completion; vessel joints, metrology, central solenoid, blanket/divertor and dense electrical/I&C work dominate. This is the phase in which a project can look physically almost finished while still carrying large integration risk.

## Permanent power and custody transition

Permanent electrical backfeed turns parts of the campus into live plant. The earliest utilities achieve Mechanical Completion and formal turnover. Custody follows system boundaries rather than whole buildings: a room may contain a turned-over energized system beside residual construction scope. Joint walkdowns, boundary drawings, punch lists, as-builts, preservation status and outstanding NCRs become shared evidence between construction and commissioning. Former installers may no longer touch equipment without receiving-organization authorization.

## Operating/commissioning licensing

OPG submits the main operating/commissioning package in Q3 so the regulator can review organization, training, procedures, commissioning programme, maintenance, emergency preparedness, radiation protection, configuration management and safety evidence before the machine reaches plasma-capable states. The application does not transform unfinished systems into accepted systems; later stage evidence and hold points still matter.

## First major rebaseline

Accumulated ordinary delays consume margin. OEB-2 moves First Plasma from 31 March to 31 May 2031. EPC Amendment No.2 updates milestone dates, staffing/vendor support and duration costs while preserving disputed causation/claims positions. The change is neither a single-catastrophe story nor an admission that E&C alone caused delay. Most importantly, readiness criteria are not rewritten to make the new date easier.

## Completion finance and lender diligence

As the project transitions from installed quantity to completion evidence, lenders and the Independent Engineer increasingly care about turnover, test readiness, open items, contingency and the credibility of the completion forecast. The finance view still remains an abstraction: it consumes validated progress and risk signals rather than raw work orders or wrench-level field observations unless a material exception forces deeper diligence.

## Maintenance and operating readiness

Turnover activates owner maintenance obligations. Commissioning baselines, vendor recommendations, preservation history, initial PM due dates, spares and special tools need to migrate into the permanent asset/work-management environment. Remote maintenance and Hot Cell capability progress toward cold functional acceptance. The organization is beginning to behave like an operator while substantial construction is still present.

# Organizations, authority and external involvement

The table is the authority map at the 19 April cut. In this period, use only the organizations whose involvement has already begun in the chronology above; later organizations must not be back-projected.

| Organization / institution | OFG role | Authority boundary |
| --- | --- | --- |
| OPG | Owner, CNSC licensee, project manager, commissioning authority, future operator, majority equity sponsor. | Cannot transfer licensed-facility responsibility to EPC contractors. |
| CNSC | Independent nuclear regulator. | Outside project hierarchy; licensing and regulatory hold points. |
| Ontario | OPG shareholder context, electricity policy, public completion support. | Political/economic influence without field technical authority. |
| IESO | Bulk-system planning and market/system integration. | External system-planning interface. |
| Hydro One | Transmission owner/operator and connection counterparty. | External transmission facilities and Point of Connection. |
| OEB | Economic/rate regulatory treatment where applicable. | Recovery/economic mechanism, not construction cash. |
| Infrastructure Ontario | Commercial/procurement advisory role when assigned. | Delivery-model and government commercial interface; no engineering authority. |
| Clarington | Municipal roads/services/planning interface. | Local government; no nuclear-design authority. |
| Williams Treaties First Nations | Rights-holder/consultation interface and separately an economic investor vehicle. | Equity participation does not extinguish consultation rights. |
| HMS Group / HMS | Technology parent and proprietary HFRP technology owner. | Controls qualified technology basis; not EPC constructor. |
| E&C Holdings / E&C Canada | Global engineering parent / Canadian EPC entity. | E&C Canada integrates detailed design/procurement/execution. |
| Bechtel | Principal construction contractor and designated constructor. | Construction sequencing, logistics, site H&S/constructor control; not HFRP design authority. |
| Aecon / Kiewit / E.S. Fox / Bird | Major field package contractors. | Execute defined packages beneath Bechtel. |
| MHI / IHI / JGC / BWXT / Arabelle / GE Vernova / Emerson / Westinghouse | Major OEM and specialist package suppliers. | Package scope only; not parallel EPCs. |
| AtkinsRéalis | Narrow Canadian nuclear/licensing/safety-analysis specialist. | Advisory/specialist support. |
| Fluor | Completion/turnover/commissioning surge support. | No parallel EPC/design authority. |
| Sargent & Lundy | Lenders Technical Adviser / Independent Engineer. | Translates physical progress and risk into finance-grade monitoring. |
| JPMorgan / MUFG / SMBC / bank syndicate | Banking/structuring/financing counterparties. | Economic/information rights; no nuclear decision authority. |
| METI/ANRE, MOFA, MOF, Cabinet Secretariat | Japanese industrial-policy, diplomacy, fiscal scrutiny and later central coordination. | External programme/political influence; no site chain of command. |

# Evidence / document state by period end

| Evidence family | What exists / why it matters |
| --- | --- |
| Completion/turnover | MC certificates, punch/open items, turnover dossiers, boundary drawings, joint walkdowns, custody transfer. |
| Commissioning readiness | Pre-commissioning procedures, preservation and temporary-modification registers. |
| Commercial | OEB-2/EPC amendment, updated forecast/claims records, LTA monitoring. |

# Backlog coverage absorbed into the encyclopedia

This is a coverage register only. It records which subjects from the research programme were absorbed into the history; it does not reproduce work packets, lenses, prompts or executable research instructions.

| Encyclopedia domain | Subjects absorbed into this period | Reference rule |
| --- | --- | --- |
| Project Origination, Institutional Formation, Site Selection & Implementation History | Progressive turnover; Commissioning mobilization | Coverage assurance only. Historical claims must come from the chronological/source-derived sections in this volume; unresolved lower-level details remain controlled open items. |
| Site Geography, Spatial Development, Environmental Basis & Physical Configuration | Commissioning geography; Emergency / fire response geography; Radiological zoning evolution; Waste / activated-material routes; As-built spatial configuration | Coverage assurance only. Historical claims must come from the chronological/source-derived sections in this volume; unresolved lower-level details remain controlled open items. |
| Regulatory Evolution, Licensing, Safety Case & Compliance History | Commissioning programme approval; Turnover / configuration regulatory evidence; Operating-licence application formation | Coverage assurance only. Historical claims must come from the chronological/source-derived sections in this volume; unresolved lower-level details remain controlled open items. |
| Commercial Formation, Financing, Contracting, Project Controls & Risk Allocation | Lender technical diligence; Lender model / covenant architecture; Late-2029 rebaseline finance effect | Coverage assurance only. Historical claims must come from the chronological/source-derived sections in this volume; unresolved lower-level details remain controlled open items. |
| Engineering, Procurement, Manufacturing, Supply Chain & Equipment Genealogy | Mechanical completion dossier; Commissioning vendor support; Spare parts / special tools; Obsolescence / lifecycle support; Supplier performance history; Late engineering / field change | Coverage assurance only. Historical claims must come from the chronological/source-derived sections in this volume; unresolved lower-level details remain controlled open items. |
| Construction, Installation, Turnover, Completions & Field Execution | Systemization; Mechanical completion; Turnover package assembly; Joint walkdowns; Custody transfer; Outstanding work after turnover; Preservation after completion; Temporary commissioning modifications; Energization boundary control; Completion database; Late field backlog / punch burn-down | Coverage assurance only. Historical claims must come from the chronological/source-derived sections in this volume; unresolved lower-level details remain controlled open items. |
| Commissioning, Operations Readiness, First Plasma & Transition to Operation | Commissioning philosophy formation; Commissioning organization mobilization; Operating organization build-up; Commissioning management system; Systemization / test boundaries; Commissioning master programme; Test procedure development; Test equipment / calibration; Pre-commissioning / static testing | Coverage assurance only. Historical claims must come from the chronological/source-derived sections in this volume; unresolved lower-level details remain controlled open items. |
| Operating Experience, Corrective Action, Precursor Ecology & Information Propagation | 2029 precursor population | Coverage assurance only. Historical claims must come from the chronological/source-derived sections in this volume; unresolved lower-level details remain controlled open items. |
| Maintenance, Reliability, Work Management, Asset Health & Remote Maintenance History | Maintenance philosophy formation; Maintenance organization formation; Asset hierarchy / equipment master; Maintenance-basis development; Preventive-maintenance programme; Predictive / condition-based maintenance; Surveillance / functional testing; Reliability programme; System health programme; Work identification | Coverage assurance only. Historical claims must come from the chronological/source-derived sections in this volume; unresolved lower-level details remain controlled open items. |
| Emergency Preparedness, Fire Protection, Accident Management & Mass-Casualty Response | Emergency readiness during commissioning | Coverage assurance only. Historical claims must come from the chronological/source-derived sections in this volume; unresolved lower-level details remain controlled open items. |

# Safe cross-thread assumptions at period end

By late 2029 permanent power, MC and turnover create mixed custody.

OEB-2 moves First Plasma to 31 May 2031; readiness criteria remain unchanged.

# Continuity rule

The next volume starts from this exact technical, contractual, regulatory, financial and information state. Do not import a later organization, approval, maintenance history, financing instrument, plant state or knowledge state merely because it exists by 19 April 2031.

# Integrated controlled source — OFG_E03_Primary_Process_Systems_Encyclopedia_Rev2.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION PROJECT

VOLUME E03 — PRIMARY PROCESS, HEAT TRANSPORT, VACUUM, CRYOGENIC & FUEL-CYCLE ENCYCLOPEDIA

System design descriptions, train topology, equipment duties, line logic, controls and component breakdown

REV 2 ENGINEERING RECONSTRUCTION · DESIGN CUT 19 APRIL 2031 · C/R/E/O PROVENANCE CONTROL

# VAC — Vacuum

Location: F-101/F-102. Functional scope: roughing, high-vacuum, ducts, isolation, gauges, RGA.

| Subsystem | Equipment | Function |
| --- | --- | --- |
| Roughing | 4 trains dry roughing pumps + foreline isolation | pump vessel from atmosphere to crossover |
| High vacuum | 8 cryopump/turbomolecular-equivalent high-vacuum trains | plasma-vessel base pressure and exhaust |
| Duct/isolation | large conductance ducts + fast/slow isolation gates | connect vessel ports while preserving confinement |
| Measurement | Pirani/cold-cathode/ion gauges, RGA | pressure/composition across operating range |
| Gas handling | purge/vent/controlled exhaust | safe transition and maintenance |

Connection rule: every nozzle is assigned a process line or capped/maintenance function; every actuated valve has motive power, fail state, position indication and control consumer; every pressure volume has overpressure protection or a documented exemption basis.

# CRY — Cryogenic

Location: C-101/C-102/F-101. Functional scope: helium refrigeration, cold boxes, storage, distribution, magnet feeds.

| Subsystem | Equipment | Function |
| --- | --- | --- |
| Compression | 6 compressor trains | helium compression with oil removal/aftercooling |
| Cold boxes | 3 process cold boxes | expansion, heat exchange, phase management |
| Storage | warm helium tanks + liquid inventory vessels | inventory and transient buffering |
| Distribution | vacuum-jacketed headers/valve boxes | TF/PF/CS, thermal shields, cryopumps |
| Recovery | quench/recovery headers and storage | capture rapid helium discharge |

Connection rule: every nozzle is assigned a process line or capped/maintenance function; every actuated valve has motive power, fail state, position indication and control consumer; every pressure volume has overpressure protection or a documented exemption basis.

# BHT — Blanket heat transport

Location: H-101/F-101. Functional scope: 4 primary water trains, headers, pumps, SG interfaces.

| Item | Quantity | E duty / configuration | Key component anatomy |
| --- | --- | --- | --- |
| Primary pump | 8 | 2×50% per train; each ~1.15 m³/s; 15.5 MPa class | casing, impeller, shaft, bearings, mechanical seal, coupling, motor, baseplate, vibration/temp |
| Steam generator | 8 | 2×50% per train; ~412 MWth each | primary pressure boundary, tube bundle, secondary shell, separators/dryers as applicable, supports, relief |
| Pressurizer | 4 | 1/train | vessel, heaters, spray, relief/safety valves, level/pressure instrumentation |
| Primary purification HX/filter | 4 | sidestream | HX, letdown control, filters/ion exchange as chemistry basis requires |
| Hot/cold headers | 8 | one hot + one cold per train | forged/welded headers, branch nozzles, isolation, drains/vents, supports |

Flow path: blanket outlet manifolds → hot-leg sector branches → train hot header → steam-generator primary side → pump suction/discharge arrangement → cold header → blanket inlet manifolds. Exact pump/SG ordering is fixed by the selected hydraulic design and checked against NPSH, pressurizer connection, thermal transients and maintenance isolation.

Connection rule: every nozzle is assigned a process line or capped/maintenance function; every actuated valve has motive power, fail state, position indication and control consumer; every pressure volume has overpressure protection or a documented exemption basis.

# DHT — Divertor heat transport

Location: H-101/F-101. Functional scope: divertor cooling trains, HX, purification.

Minimum equipment decomposition: process vessels/tanks; pumps/compressors/blowers; heat exchangers; filters/separators; isolation/control/check/relief valves; sampling; drains/vents; local panels; pressure/temperature/flow/level/composition instrumentation; electrical drives; DCS/MPS interfaces; supports and confinement boundaries.

Connection rule: every nozzle is assigned a process line or capped/maintenance function; every actuated valve has motive power, fail state, position indication and control consumer; every pressure volume has overpressure protection or a documented exemption basis.

# VHT — Vessel heat transport

Location: H-101/F-101. Functional scope: vessel/port cooling and bakeout support.

Minimum equipment decomposition: process vessels/tanks; pumps/compressors/blowers; heat exchangers; filters/separators; isolation/control/check/relief valves; sampling; drains/vents; local panels; pressure/temperature/flow/level/composition instrumentation; electrical drives; DCS/MPS interfaces; supports and confinement boundaries.

Connection rule: every nozzle is assigned a process line or capped/maintenance function; every actuated valve has motive power, fail state, position indication and control consumer; every pressure volume has overpressure protection or a documented exemption basis.

# TEX — Tritium extraction

Location: F-103/H-101. Functional scope: blanket purge/extraction, separation, transfer.

Minimum equipment decomposition: process vessels/tanks; pumps/compressors/blowers; heat exchangers; filters/separators; isolation/control/check/relief valves; sampling; drains/vents; local panels; pressure/temperature/flow/level/composition instrumentation; electrical drives; DCS/MPS interfaces; supports and confinement boundaries.

Connection rule: every nozzle is assigned a process line or capped/maintenance function; every actuated valve has motive power, fail state, position indication and control consumer; every pressure volume has overpressure protection or a documented exemption basis.

# TSD — Tritium storage/delivery

Location: F-103. Functional scope: storage beds, isotope separation/delivery.

Minimum equipment decomposition: process vessels/tanks; pumps/compressors/blowers; heat exchangers; filters/separators; isolation/control/check/relief valves; sampling; drains/vents; local panels; pressure/temperature/flow/level/composition instrumentation; electrical drives; DCS/MPS interfaces; supports and confinement boundaries.

Connection rule: every nozzle is assigned a process line or capped/maintenance function; every actuated valve has motive power, fail state, position indication and control consumer; every pressure volume has overpressure protection or a documented exemption basis.

# FUE — Fuel cycle

Location: F-103/F-101. Functional scope: gas/pellet injection, exhaust processing, recycle.

Minimum equipment decomposition: process vessels/tanks; pumps/compressors/blowers; heat exchangers; filters/separators; isolation/control/check/relief valves; sampling; drains/vents; local panels; pressure/temperature/flow/level/composition instrumentation; electrical drives; DCS/MPS interfaces; supports and confinement boundaries.

Connection rule: every nozzle is assigned a process line or capped/maintenance function; every actuated valve has motive power, fail state, position indication and control consumer; every pressure volume has overpressure protection or a documented exemption basis.

# WDS — Water detritiation

Location: F-103. Functional scope: water cleanup, isotope recovery.

Minimum equipment decomposition: process vessels/tanks; pumps/compressors/blowers; heat exchangers; filters/separators; isolation/control/check/relief valves; sampling; drains/vents; local panels; pressure/temperature/flow/level/composition instrumentation; electrical drives; DCS/MPS interfaces; supports and confinement boundaries.

Connection rule: every nozzle is assigned a process line or capped/maintenance function; every actuated valve has motive power, fail state, position indication and control consumer; every pressure volume has overpressure protection or a documented exemption basis.

# Integrated controlled source — OFG_Atlas_PHTS01_FM05_Primary_Heat_Structural_Loadpath.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION - ENGINEERING ATLAS

PHTS01 / FM05 - PRIMARY HEAT TRANSPORT & MACHINE STRUCTURAL LOAD-PATH ENCYCLOPEDIA

REV 0 - EQUIPMENT/INTERFACE DESCENT PASS - 19 APRIL 2031 CONFIGURATION CUT

# 1. Purpose and evidence discipline

PHTS01 converts the locked high-pressure-water blanket coolant into a plant-level functional network and begins equipment sizing without silently freezing unresolved HFRP parameters. FM05 simultaneously converts the blanket/VV geometry into an explicit structural load graph. Real-world values are precedents; OFG values are C only where already locked by the controlled story corpus.

# 2. Research expansion

| Evidence family | Verified engineering consequence |
| --- | --- |
| ITER cooling-water implementation | A fusion machine cooling plant is a distributed multi-loop utility with primary heat-transfer, chemistry/volume control, drain/refill/drying, secondary heat transfer and heat rejection; ITER circulates about 33 m3/s during operation and uses piping up to about 1.6 m nominal diameter. |
| JA DEMO water-cooled blanket | Published pressure-tight blanket work uses PWR-like 15.5 MPa, 290-325 C water and explicitly analyzes module pressure drop and in-box LOCA pressure resistance. |
| EU DEMO WCLL PHTS | System-code work couples blanket PHTS inventory/pressure drop to BoP, energy storage and power conversion; experimental STEAM work reproduces DEMO-relevant primary and secondary conditions. |
| DEMO tritium/coolant research | Tritium permeation into primary water requires an integrated purification/detritiation strategy; primary water is therefore both heat-transfer medium and radioactive-material inventory. |
| PWR implementation precedent | Pressurized primary loops conventionally require circulation pumps, pressure control/pressurization, steam generators or heat exchangers, inventory control, overpressure protection and emergency/residual heat-removal functions. |
| Mechanical codes | ASME BPVC Section III Division 4 now exists for fusion energy devices; RCC-MRx is also a major fusion/research-reactor mechanical precedent. OFG code-of-record remains OPEN. |

# 3. PHTS functional breakdown

| ID | Function | Physical chain | Commodity | Status |
| --- | --- | --- | --- | --- |
| PHTS-01 | Blanket branch supply | main cold header -> sector isolation -> segment manifold -> internal channels | HP water | C function / E topology |
| PHTS-02 | Blanket branch return | segment outlet -> sector manifold -> hot header | HP water + permeated tritium | C function / E topology |
| PHTS-03 | Primary circulation | hot header -> pump(s) -> heat exchanger/steam generator -> cold header | HP water | E topology |
| PHTS-04 | Pressure control | surge line -> pressurizer / pressure-control equipment -> primary loop | steam/water | O architecture |
| PHTS-05 | Inventory/chemistry control | letdown -> purification/chemistry -> makeup/charging | water/chemicals/T | C function / O implementation |
| PHTS-06 | Coolant purification / detritiation interface | primary side-stream -> CPS/WDS -> return or recovered T routing | tritiated water | C function / O capacity |
| PHTS-07 | Overpressure protection | protected volume -> relief devices -> qualified discharge/collection | steam/water | C function / O setpoints |
| PHTS-08 | Drain/fill/drying | low points/high points -> drain tanks/fill/dry interfaces | water/gas | C function / O topology |
| PHTS-09 | Decay/residual heat removal | primary inventory -> independent/credited heat sink path | water | C function / O architecture |
| PHTS-10 | Leak detection / confinement | double-boundary/room collection -> monitoring -> detritiation | water/T | C function / O architecture |
| PHTS-11 | Sampling / radiation / tritium monitoring | sample taps -> analyzers -> historian/accountancy | water/T | C function |
| PHTS-12 | Secondary heat-transfer boundary | primary HX/OTSG wall -> PCS/IHTS | heat only nominally | O direct vs indirect architecture |

# 4. Hydraulic scale - E comparison only

Using the inherited non-canonical 3,000 MW fusion comparison case, an E blanket thermal duty of 2872 MW and a 35 K primary-water rise produces 15783 kg/s aggregate blanket flow. The four-loop arrangement below is a sizing comparison, not HFRP canon.

| Velocity m/s | Required loop ID m | Loop flow kg/s |
| --- | --- | --- |
| 4 | 1.32 | 3946 |
| 5 | 1.18 | 3946 |
| 6 | 1.08 | 3946 |
| 8 | 0.93 | 3946 |
| 10 | 0.84 | 3946 |

| Loop dP bar | Shaft MW/loop | Total MW |
| --- | --- | --- |
| 3 | 2.0 | 8.0 |
| 5 | 3.3 | 13.4 |
| 8 | 5.3 | 21.4 |
| 12 | 8.0 | 32.1 |
| 18 | 12.0 | 48.1 |

These dimensions expose building-scale consequences but cannot be used for final CAD. PHTS02 must replace velocity sizing with a nodal hydraulic model containing actual branch lengths, elevations, fittings, valves, blanket pressure drops, heat exchangers, pumps, NPSH, transients and support/anchor reactions.

# 5. Primary inventory, pressure control and expansion

| Main length/loop m | ID m | Main V m3 | Blanket/manifold V m3 | Total V m3 | Water mass t |
| --- | --- | --- | --- | --- | --- |
| 120 | 1.08 | 438 | 180.0 | 618 | 445 |
| 200 | 1.08 | 731 | 180.0 | 911 | 656 |
| 300 | 1.08 | 1096 | 180.0 | 1276 | 919 |

| Primary-volume fraction | E surge volume m3 |
| --- | --- |
| 3% | 27.3 |
| 5% | 45.5 |
| 8% | 72.9 |
| 10% | 91.1 |

Pressurizer/surge values are sensitivity cases only. The actual pressure-control volume must be obtained from heat-up/cool-down, load-change, pump trip, plasma trip, relief and break transients. Thermal expansion is similarly a piping-layout constraint, not an optional stress-analysis detail.

| Pipe length m | Delta T K | Free expansion mm |
| --- | --- | --- |
| 20 | 100 | 24 |
| 20 | 200 | 48 |
| 20 | 300 | 72 |
| 40 | 100 | 48 |
| 40 | 200 | 96 |
| 40 | 300 | 144 |
| 60 | 100 | 72 |
| 60 | 200 | 144 |
| 60 | 300 | 216 |
| 100 | 100 | 120 |
| 100 | 200 | 240 |
| 100 | 300 | 360 |

# 6. Tritium changes the water-system boundary

The primary blanket water cannot be treated as conventional clean process water. TRI03 established coolant-side tritium as a material inventory. PHTS01 therefore requires controlled letdown, purification/detritiation, sampling, radiation/tritium monitoring, leakage collection and accountancy interfaces. Capacities remain OPEN until a material-specific permeation/source model exists.

# 7. FM05 machine structural load graph

| From | To | Load | Transferred quantity | Status |
| --- | --- | --- | --- | --- |
| BLK segment | segment attachment keys/pads | gravity + pressure + thermal + EM | local attachment reaction | O/E |
| segment attachment keys/pads | VV sector port/rib/back-support region | mechanical | distributed sector load | O/E |
| VV sector | VV toroidal field joint / sector shell | membrane+bending+shear | sector resultant | O/E |
| VV sector | VV gravity support station | gravity/thermal/seismic/EM | support reaction | E/O |
| VV gravity support | machine support pedestal | vertical + lateral | pedestal/baseplate load | E/O |
| machine support pedestal | F-101 reinforced concrete foundation | bearing/shear/anchor | foundation reaction | O |
| F-101 foundation | subgrade / piles / mat system | soil-structure interaction | site response | O |
| cryostat shell | cryostat base/support ring | vacuum + deadweight + thermal/seismic | shell/support reaction | O |
| cryostat base/support ring | F-101 foundation | bearing/shear/anchor | foundation reaction | O |
| PHTS penetration/piping | VV/cryostat anchors & supports | pressure + thermal expansion + seismic | nozzle/support loads | O |

The graph prevents a common modelling error: blanket, VV, cryostat, piping and foundation cannot be qualified independently. PHTS nozzle loads and thermal movements enter the VV/cryostat model; machine reactions enter F-101; foundation motion returns as support displacement. The load path is therefore bidirectional in the coupled FE model.

# 8. Load-case control

| ID | Case | Status | Origin | Use |
| --- | --- | --- | --- | --- |
| LC-FM05-001 | Deadweight | AVAILABLE-E | machine/blanket self-weight | static vertical |
| LC-FM05-002 | Vacuum external pressure | AVAILABLE-E | VV/cryostat differential pressure | shell buckling/stress |
| LC-FM05-003 | Normal thermal | PARTIAL-E | component temperature/displacement maps | thermal strain/support displacement |
| LC-FM05-004 | PHTS pressure | PARTIAL-E | 15.5 MPa comparison case | blanket/channel/nozzle pressure load |
| LC-FM05-005 | Plasma EM/disruption | OPEN | requires plasma/magnet transient model | do not invent |
| LC-FM05-006 | Seismic | OPEN | requires OFG site-specific hazard/design basis | do not invent |
| LC-FM05-007 | LOCA jet/reaction | OPEN | requires break spectrum + hydraulic transient | PHTS02/accident model |
| LC-FM05-008 | Water hammer | OPEN | requires valve/pump transient | PHTS02 |
| LC-FM05-009 | Assembly/lift | OPEN | requires erection sequence/rigging model | construction Atlas |
| LC-FM05-010 | Maintenance transport | OPEN | requires RH payload/swept-path/dynamic factors | RH Atlas |

EM/disruption and seismic loads remain deliberately unresolved. No synthetic values have been inserted to make the structural packet look complete.

# 9. Information provenance and authority

| Originator | Information | Record | Recipient | Review | Authority | Decision | Physical consequence | Retained evidence |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| HFRP blanket design authority | qualified coolant identity, pressure/temperature envelope, allowable transients | HFRP-PHTS design basis | E&C PHTS + HMS ASC | design-basis review | SCE/design authority | allocate PHTS operating envelope | pipe/pump/HX/pressurizer sizing | controlled design basis |
| BLK03 neutronics/thermal model | segment-wise nuclear/surface heating | spatial heat-load map | PHTS/structural teams | multiphysics review | plant design authority | set branch flow and thermal loads | manifold sizes + thermal gradients | versioned CAE dataset |
| TRI03 accountancy model | coolant tritium source/permeation and inventory uncertainty | T mass-balance dataset | PHTS chemistry/CPS/safety | inventory review | operating/safety authority | set purification/monitoring duty | CPS/WDS equipment and sampling | historian + calculation |
| PHTS supplier | pump curves, HX performance, valve Cv, relief capacity, materials, NDE/FAT | MDR/FAT dossier | E&C/HMS/OPG | conformity review | procurement/design authority | accept qualified equipment | installed hydraulic capability | MDR/FAT/NCR |
| PHTS stress analysis | nozzle loads, pipe reactions, support loads, thermal movements | pipe-stress report / support load file | FM05/civil/VV teams | interface review | design authority | accept interface reactions | anchors/nozzles/foundation loads | CAE + ICD |
| Commissioning | hydro/leak/flush/chemistry/pump/HX/valve/relief/heat-balance tests | commissioning test packs | OPG/E&C/HMS | acceptance review | commissioning authority | release PHTS | qualified operating state | signed test records/historian |

# 10. Canon decision/conflict register

| ID | Decision | Status | Evidence | Disposition |
| --- | --- | --- | --- | --- |
| CDR-PHTS-001 | HFRP primary pressure/temperature | OPEN | Water coolant is canon; 15.5 MPa and ~290-325 C are strong JA/EU DEMO precedents only. | Recover story-source HFRP qualification basis before freezing. |
| CDR-PHTS-002 | Number of blanket PHTS loops | OPEN | Four-loop arrangement used in EU-DEMO RAMI work; OFG four-loop model is E comparison only. | Optimize against sector isolation, pipe size, availability, building geometry and accident inventory. |
| CDR-PHTS-003 | Direct vs indirect power-cycle coupling | OPEN | EU-DEMO investigates direct and IHTS/energy-storage arrangements. | Must align with HFRP commercial reference architecture and OFG grid duty. |
| CDR-PHTS-004 | Primary coolant tritium cleanup technology/capacity | OPEN | Water detritiation/purification required by DEMO studies; exact OFG source term absent. | Close after TRI04 permeation/source model. |
| CDR-FM05-001 | Structural code basis | OPEN | ASME BPVC III-4 and RCC-MRx are both relevant precedents; Canadian licensing/project code-of-record not recovered. | Do not select silently. |
| CDR-FM05-002 | Seismic design basis | OPEN | No site-specific OFG hazard spectrum recovered in current controlled skeleton. | Requires site/seismic work package before structural qualification. |

# 11. Mandatory backward propagation

| Prior | Old state | New state | Reason | Affected | Status |
| --- | --- | --- | --- | --- | --- |
| BLK02 | P/T remained E/O; water coolant locked. | 15.5 MPa and 290-325 C retained only as R/E DEMO comparison, not silently promoted to HFRP canon. | JA-DEMO/EU-DEMO convergence is precedent, not story source. | blanket channels/manifolds | QUALIFIED |
| BLK03 | 80 segments have heat/load handoff. | PHTS01 maps those segments into 16 sector branches and four-loop E comparison architecture. | Hydraulic topology must consume spatial heat loads. | PHTS/CAD | EXPANDED |
| TRI03 | Primary water identified as tritium-bearing inventory. | PHTS now requires side-stream purification/detritiation, sampling and accountancy interfaces. | DEMO literature treats permeation into coolant as material design issue. | CPS/WDS/buildings | EXPANDED |
| FM04 | VV/cryostat penetrations carry generic blanket services. | PHTS supply/return, drain/vent, sampling, relief and support reactions become named interface classes. | Physical piping network now exists. | VV/cryostat CAD | REVERIFY |
| FM05 handoff | Only blanket gravity/thermal placeholders existed. | Machine load graph now extends segment -> VV -> 16 supports -> F-101; EM/seismic/LOCA remain OPEN. | Prevents invented structural closure. | civil/VV/pipe stress | EXPANDED |
| Power conversion | Blanket heat export was abstract. | Direct PHTS-to-PCS versus IHTS/energy-storage remains an explicit unresolved architecture decision. | EU-DEMO studies support multiple credible layouts. | BOP/PCS | OPEN |
| Construction/commissioning | PHTS installation generic. | Hydrotest, flushing, cleanliness, chemistry conditioning, pump run, valve/relief testing, heat balance and tritium-monitoring turnover become explicit work packages. | Implementation evidence. | field execution | EXPANDED |

# 12. Verification matrix

| ID | Test | Status | Metric | Criterion | Next |
| --- | --- | --- | --- | --- | --- |
| PHTS01-V001 | Functional completeness | PASS | 12 PHTS functional groups instantiated | compare against ITER TCWS + PWR + DEMO functions | continue equipment decomposition |
| PHTS01-V002 | Loop count | E-OPEN | 4-loop comparison | RAMI/layout/availability optimization | do not freeze |
| PHTS01-V003 | Main-pipe sizing | SCREEN | velocity-based ID matrix generated | system-code hydraulic solution + code stress + water hammer | PHTS02 |
| PHTS01-V004 | Pump duty | SCREEN | ΔP sensitivity generated | actual network K-values/pump curves/NPSH/transients | PHTS02 |
| PHTS01-V005 | Primary inventory | SCREEN | main-pipe + blanket inventory sensitivity | CAD-derived volumes | PHTS02 |
| PHTS01-V006 | Pressure control | OPEN | surge-volume sensitivity only | transient pressure control and relief sizing | PHTS02 |
| PHTS01-V007 | Tritium purification | FUNCTIONAL | CPS/WDS interface explicit | TRI04 source term + technology sizing | TRI04/PHTS03 |
| FM05-V001 | Load path topology | PASS-PARTIAL | segment->VV->support->F-101 graph instantiated | FE model must replace graph | FM06 |
| FM05-V002 | Static support reaction | SCREEN | 16 equal vertical reactions retained | full stiffness/load redistribution | FM06 |
| FM05-V003 | EM/disruption | OPEN | no load invented | plasma/magnet transient | MAG/PLS |
| FM05-V004 | Seismic | OPEN | no spectrum invented | site hazard/design basis | SITE-SEIS |
| FM05-V005 | Pipe/nozzle reactions | OPEN | connection created | pipe stress model | PHTS02/FM06 |

# 13. Immediate continuation boundary

PHTS02 must now instantiate equipment and pipe nodes: sector isolation stations, headers, pumps, pressurizer/pressure control, heat exchangers/OTSGs, relief trains, charging/letdown, chemistry/CPS, drain/fill, residual heat removal, sampling and confinement collection. It must solve steady hydraulic balance and pump trip/valve closure/plasma trip/break transients. FM06 must ingest pipe/nozzle/support reactions and build the first stiffness-based VV-support-foundation model. In parallel, SITE-SEIS must recover or construct the OFG site geotechnical/seismic basis before any structural qualification can close.

# Integrated controlled source — OFG_Atlas_PHTS02_FM06_SITESEIS01.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION — ENGINEERING ATLAS

PHTS02 / FM06 / SITE-SEIS01 — EXECUTABLE PRIMARY LOOP, STRUCTURAL STIFFNESS & CLARINGTON GROUND MODEL

REV 0 · COUPLED PLANT / CIVIL DESCENT · 19 APRIL 2031 CONFIGURATION CUT

# 1. Continuation boundary

This pass advances three dependencies simultaneously. PHTS02 turns the previous functional list into an executable network. FM06 replaces equal support reactions with a coupled stiffness model. SITE-SEIS01 establishes the real Darlington/Clarington ground constraints needed before F-101 or any safety-significant support can be qualified.

# 2. PHTS02 physical topology

| Tag | Equipment | Type | Configuration | Status |
| --- | --- | --- | --- | --- |
| PHTS-P-101A/B | Primary circulation pump train A/B | pump | 2x100% or 3x50% OPEN | E topology |
| PHTS-HX-101 | Primary-to-secondary OTSG/HX | heat exchanger | duty allocation OPEN | E/R |
| PHTS-PRZ-101 | Pressure-control vessel/pressurizer | pressure vessel | volume/setpoint OPEN | E/R |
| PHTS-VLV-ISO-S | Sector supply isolation valves | valve | 16 sector stations | E |
| PHTS-VLV-ISO-R | Sector return isolation valves | valve | 16 sector stations | E |
| PHTS-CVC-101 | Charging/letdown and chemistry skid | process skid | capacity OPEN | C function/O size |
| PHTS-CPS-101 | Coolant purification/tritium interface | process skid | capacity OPEN | C function/O size |
| PHTS-RHR-101 | Residual heat removal train | HX+pump | redundancy OPEN | C function/O design |
| PHTS-REL-101 | Primary relief train | relief devices | setpoints/capacity OPEN | C function/O design |
| PHTS-DT-101 | Drain/collection tank | tank | volume OPEN | C function/O size |
| PHTS-SMP-101 | Sampling/monitoring panel | I&C/process | range OPEN | C function/O size |

The E four-loop comparison network contains 16 sector supply/return stations and all 80 canonical blanket replacement segments. Nominal E flow is 15783 kg/s total and 3946 kg/s per comparison loop. Four loops remain an engineering case, not canon.

# 3. Transient screening

| Wave speed m/s | Δv m/s | Joukowsky ΔP MPa | ΔP bar |
| --- | --- | --- | --- |
| 700 | 6.0 | 3.024 | 30.24 |
| 900 | 6.0 | 3.888 | 38.88 |
| 1100 | 6.0 | 4.752 | 47.52 |

The pump-trip curve and Joukowsky results are deliberately bounding screens. They establish why valve stroke laws, pump inertia, pressurizer response, stored heat, cavitation/flashing and relief behaviour must be solved together. They are not accident-analysis results.

# 4. FM06 stiffness-based load redistribution

The 16 supports are now coupled through an E ring stiffness rather than forced to carry identical reactions. A deliberately asymmetric sector load redistributes through the ring/support system. The numerical stiffnesses are solver-validation values; FM07 must obtain them from shell/support/foundation FE models.

| Support | Sector | Angle deg | Disp mm | Reaction MN | Applied MN |
| --- | --- | --- | --- | --- | --- |
| VV-SUP-01 | 1 | 0.0 | 2.4535 | 7.36 | 7.35 |
| VV-SUP-02 | 2 | 22.5 | 2.4600 | 7.38 | 7.35 |
| VV-SUP-03 | 3 | 45.0 | 2.4873 | 7.46 | 7.35 |
| VV-SUP-04 | 4 | 67.5 | 2.6037 | 7.81 | 8.09 |
| VV-SUP-05 | 5 | 90.0 | 2.4873 | 7.46 | 7.35 |
| VV-SUP-06 | 6 | 112.5 | 2.4600 | 7.38 | 7.35 |
| VV-SUP-07 | 7 | 135.0 | 2.4535 | 7.36 | 7.35 |
| VV-SUP-08 | 8 | 157.5 | 2.4517 | 7.35 | 7.35 |
| VV-SUP-09 | 9 | 180.0 | 2.4498 | 7.35 | 7.35 |
| VV-SUP-10 | 10 | 202.5 | 2.4433 | 7.33 | 7.35 |
| VV-SUP-11 | 11 | 225.0 | 2.4160 | 7.25 | 7.35 |
| VV-SUP-12 | 12 | 247.5 | 2.2996 | 6.90 | 6.62 |
| VV-SUP-13 | 13 | 270.0 | 2.4160 | 7.25 | 7.35 |
| VV-SUP-14 | 14 | 292.5 | 2.4433 | 7.33 | 7.35 |
| VV-SUP-15 | 15 | 315.0 | 2.4498 | 7.35 | 7.35 |
| VV-SUP-16 | 16 | 337.5 | 2.4517 | 7.35 | 7.35 |

# 5. SITE-SEIS01 — real Clarington/Darlington ground constraints

| Unit | Position | Status | Design consequence |
| --- | --- | --- | --- |
| Construction/engineered fill | surface | R site precedent | Shallow groundwater unit; not assumed nuclear bearing stratum. |
| Upper till | below fill | R site precedent | Low hydraulic conductivity; potential engineered support outside rock-founded nuclear island. |
| Interglacial silt/fine sand | between tills | R site precedent | Settlement/liquefaction/groundwater interaction must be checked. |
| Lower till | above bedrock | R site precedent | Aquitard; properties require local borings/tests. |
| Shale/limestone bedrock | ~sound rock target | R site precedent | DNNP reactor foundation precedent targets sound bedrock ~14 m below planned grade. |

Authoritative Darlington records describe surface fill over upper till, interglacial silt/fine sand, lower till and shale/limestone bedrock. DNNP commitments use sound bedrock near 64 masl, about 14 m below planned grade, as the reactor-foundation precedent. This is not silently copied as OFG's final elevation; it defines the local engineering reality that OFG's fictional site investigation must reconcile.

| Topic | Finding | Status |
| --- | --- | --- |
| Foundation founding | DNNP commitment: reactor foundations on sound bedrock around 64 masl, ~14 m below planned ground surface. | R precedent; OFG exact elevation O |
| Groundwater | General Darlington groundwater trends north-to-south toward Lake Ontario; shallow downward and bedrock predominantly upward flow. | R precedent; OFG local piezometry O |
| Dynamic properties | DNNP programme measures overburden shear strength and dynamic properties of overburden/sedimentary rock for SSI. | R precedent; OFG values O |
| Liquefaction | DNNP commitments include confirmatory liquefaction assessment of granular materials/stockpile. | R precedent; OFG assessment O |
| Methane | DNNP commitment requires addressing methane for permanent structures embedded in bedrock. | R precedent; OFG mitigation O |
| Blasting | DNNP seismic design considers nearby St. Marys quarry blasting. | R precedent; OFG 2031 quarry/interface O |
| Seismic input | Site-specific PSHA/design response spectrum required; no numeric OFG spectrum recovered. | OPEN — no invented PGA |
| Settlement | Groundwater drawdown and buried-infrastructure settlement require evaluation. | R precedent; OFG civil model O |

No OFG PGA or response spectrum is invented. DNNP records confirm that site-specific seismic and geotechnical characterization, liquefaction, dynamic properties, nearby quarry blasting and soil-structure interaction are design inputs. SITE02 must recover or construct the fictional OFG-specific investigation record before seismic qualification proceeds.

# 6. Foundation coordinate model

| ID | Name | E | N | Z | L | W | t | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| F-101-MAT | Tokamak/Fusion Island mat | 1000 | 1000 | 64.0 | 70 | 70 | 4.0 | E geometry; R founding concept |
| F-102-PHTS | PHTS/steam-generator foundation | 1075 | 1000 | 70.0 | 55 | 45 | 2.5 | E |
| F-103-TRI | Tritium/process building foundation | 1000 | 1070 | 70.0 | 45 | 40 | 2.0 | E |
| F-104-HOTCELL | Hot-cell/RH foundation | 925 | 1000 | 70.0 | 60 | 45 | 2.5 | E |

Coordinates remain Atlas local coordinates, not survey coordinates. They are sufficient for system coordination and interference modelling, but the transformation into the project survey grid remains an unresolved controlled interface.

# 7. Backward propagation

| Prior | Old | New | Reason | Affected | Status |
| --- | --- | --- | --- | --- | --- |
| PHTS01 | Four-loop topology was E comparison. | PHTS02 instantiates four loops only as executable comparison network; loop count remains OPEN. | Need transient/RAMI/layout trade before freeze. | PHTS/BOP/CAD | EXPANDED |
| PHTS01 | Pressure drop/pump power sensitivity only. | Network now has pump/HX/header/16-sector/80-segment connectivity plus trip and water-hammer screens. | Move toward nodal solver. | piping/supports/I&C | EXPANDED |
| FM05 | Equal support reactions. | FM06 replaces equality with stiffness-coupled 16-support ring surrogate and asymmetry test. | Foundation/support stiffness redistributes reactions. | VV/F-101 | SUPERSEDED |
| FM05 | Seismic OPEN. | SITE-SEIS01 creates site evidence basis but keeps numeric OFG spectrum OPEN. | Darlington geotechnical/seismic programme provides precedent, not OFG spectrum. | all safety-class structures | EXPANDED |
| Civil/site | Generic foundation assumption. | Sound-bedrock founding, groundwater stratigraphy, methane, liquefaction, quarry blasting and settlement become explicit constraints. | DNNP primary-source commitments. | F-101/utilities/excavation | NEW DEPENDENCY |
| Construction | Excavation/foundation generic. | Deep excavation to sound rock, groundwater control, rock acceptance, methane provisions, engineered backfill and regulatory hold-point evidence become work packages. | DNNP implementation precedent. | construction sequence | EXPANDED |

# 8. Decision/conflict register

| ID | Decision | Status | Evidence | Disposition |
| --- | --- | --- | --- | --- |
| CDR-PHTS02-001 | Loop count/topology | OPEN | Four-loop E network is executable but not canon. | Close with HFRP reference architecture + RAMI/layout/transient study. |
| CDR-PHTS02-002 | Pump arrangement | OPEN | No 2x100/3x50 selection. | Supplier/RAMI/NPSH/maintenance trade required. |
| CDR-PHTS02-003 | Pressure-control/relief setpoints | OPEN | No values invented. | System transient + code basis required. |
| CDR-FM06-001 | VV support stiffness | OPEN | Current spring/ring stiffness values are E solver checks. | Replace with FE-derived stiffness matrices. |
| CDR-SITE-001 | OFG foundation elevation | OPEN | DNNP ~64 masl sound-bedrock precedent cannot be silently copied. | Recover OFG survey/boring datum. |
| CDR-SITE-002 | OFG seismic spectrum/PGA | OPEN | No numeric site-specific spectrum recovered in controlled corpus. | Require site PSHA/design-basis record. |

# 9. Verification

| ID | Test | Status | Metric | Criterion | Next |
| --- | --- | --- | --- | --- | --- |
| PHTS02-V001 | Connectivity | PASS | 4 loops/16 sectors/80 segments connected | topological closure | advance |
| PHTS02-V002 | Steady hydraulics | SCREEN | quadratic calibrated loop curve | replace with segment-by-segment K/f/elevation/property model | PHTS03 |
| PHTS02-V003 | Pump trip | SCREEN | coastdown + heat-trip surrogate | RELAP-class transient with stored heat/pressurizer/HX | PHTS03 |
| PHTS02-V004 | Water hammer | SCREEN | Joukowsky envelope | MOC/system-code with valve laws and cavitation | PHTS03 |
| FM06-V001 | Stiffness redistribution | PASS-SCREEN | 16-support coupled matrix solves asymmetry | replace by shell/support/foundation FE | FM07 |
| SITE-V001 | Stratigraphy | R-PARTIAL | Darlington site sequence established | OFG borehole logs and local contours | SITE02 |
| SITE-V002 | Foundation rock | R-PARTIAL | DNNP sound-bedrock founding precedent | OFG local rock quality/bearing/shear data | SITE02 |
| SITE-V003 | Seismic | OPEN | no synthetic PGA/spectrum | site PSHA + response spectrum | SITE02 |

# 10. Next coupled descent

PHTS03 must replace the calibrated resistance curve with component-level hydraulic coefficients, elevations, water properties, pump curves, NPSH, pressurizer/relief dynamics, branch maldistribution and break/closure transients. FM07 must create shell/beam/spring finite-element meshes for the VV support ring, cryostat base and F-101 interface. SITE02 must descend into borehole/CPT/geophysical test locations, rock-quality and groundwater surfaces, excavation limits, dewatering, rock acceptance and soil-structure-interaction layers. These results then propagate into civil construction sequencing, underground services, PHTS pipe supports, hot-cell foundations and the seismic equipment-qualification register.

# Integrated controlled source — OFG_Atlas_PHTS03_FM07_SITE02.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION — ENGINEERING ATLAS

PHTS03 / FM07 / SITE02 — COMPONENT HYDRAULICS, SSI COUPLING & SUBSURFACE BIM INVESTIGATION MODEL

REV 0 · CONTINUOUS ENGINEERING DESCENT · 19 APRIL 2031 CONFIGURATION CUT

# 1. What changed

PHTS03 replaces the single calibrated loop resistance with component-owned hydraulic losses; FM07 explicitly couples machine support stiffness to foundation stiffness; SITE02 creates a coordinate-bearing subsurface-investigation model suitable for BIM/CAE coordination while preserving the distinction between fictional engineering layout and controlled survey/geotechnical truth.

# 2. PHTS03 component hydraulics

| Tag | Type | Flow kg/s | D m | L m | K | v m/s | Re | f | dP bar |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SUCTION-HDR | pipe/header | 3946 | 1.3 | 35 | 0.2 | 4.13 | 4.29e+07 | 0.0084 | 0.03 |
| MCP | pump | 3946 | 1.3 | 0 | 0 | 4.13 | 4.29e+07 | 0.0084 | 0.00 |
| DISCH-HDR | pipe/header | 3946 | 1.2 | 25 | 0.25 | 4.85 | 4.65e+07 | 0.0084 | 0.04 |
| OTSG-HX | equipment K-equivalent | 3946 | 1.0 | 0 | 3.5 | 6.98 | 5.58e+07 | 0.0083 | 0.61 |
| COLD-HDR | pipe/header | 3946 | 1.2 | 45 | 0.35 | 4.85 | 4.65e+07 | 0.0084 | 0.06 |
| SECTOR-MANIFOLD | manifold/equipment | 986 | 0.7 | 18 | 2.0 | 3.56 | 1.99e+07 | 0.0087 | 0.10 |
| BLANKET-BRANCH | aggregate segment branch | 197 | 0.3 | 12 | 8.0 | 3.88 | 9.30e+06 | 0.0091 | 0.45 |
| HOT-HDR | pipe/header | 3946 | 1.2 | 45 | 0.35 | 4.85 | 4.65e+07 | 0.0084 | 0.06 |

Every pressure loss now belongs to a named component. The values remain E because actual HFRP pipe geometry, supplier pump curves, OTSG/HX loss coefficients and blanket-channel networks have not been recovered. The next pass must replace these placeholders individually rather than recalibrating a global resistance.

# 3. NPSH, pressure control and hydraulic transients

| Suction MPa | Vapor MPa | Pressure-head margin m |
| --- | --- | --- |
| 12 | 6.5 | 779 |
| 12 | 7.5 | 637 |
| 12 | 8.5 | 496 |
| 12 | 9.5 | 354 |
| 13 | 6.5 | 921 |
| 13 | 7.5 | 779 |
| 13 | 8.5 | 637 |
| 13 | 9.5 | 496 |
| 14 | 6.5 | 1062 |
| 14 | 7.5 | 921 |
| 14 | 8.5 | 779 |
| 14 | 9.5 | 637 |
| 15 | 6.5 | 1204 |
| 15 | 7.5 | 1062 |
| 15 | 8.5 | 921 |
| 15 | 9.5 | 779 |

| ΔT K | E expansion m3 | Fraction primary |
| --- | --- | --- |
| 10 | 56 | 3.5% |
| 20 | 112 | 7.0% |
| 35 | 196 | 12.3% |
| 50 | 280 | 17.5% |
| 80 | 448 | 28.0% |

These are screens, not safety analyses. Published EU-DEMO work models complete PHTS loss-of-flow and pump-seizure events with RELAP5-class tools, including pump flywheel sensitivity. OFG must eventually do the same with its actual pump inertia, valve stroke laws, pressurizer, relief, stored heat and geometry.

# 4. FM07 support/foundation interaction

| Foundation k GN/m | Equivalent k GN/m | Max disp mm | Min disp mm | Max R MN | Min R MN |
| --- | --- | --- | --- | --- | --- |
| 1.0 | 0.75 | 10.1656 | 9.4477 | 7.62 | 7.09 |
| 3.0 | 1.50 | 5.1425 | 4.6642 | 7.71 | 7.00 |
| 10.0 | 2.31 | 3.3688 | 3.0056 | 7.77 | 6.94 |
| 30.0 | 2.73 | 2.8592 | 2.5345 | 7.80 | 6.91 |

This is the first explicit two-way stiffness handoff between machine and foundation. It is still a reduced ring/spring model. Final support loads require a 3-D shell/solid model and frequency-dependent soil/rock impedance.

# 5. SITE02 investigation geometry

The model instantiates 25 E boreholes, 12 E CPT locations, six E geophysical lines and five E piezometers around the fusion-island footprint. These coordinates are an investigation-planning/BIM scaffold only. They are not represented as actual OFG field records.

The breadth is supported by real Darlington practice. OPG's DNNP site work includes deep excavation/shoring and extensive site preparation; an offshore geotechnical programme used 16 boreholes extending roughly 35–65 m below bedrock. In 2026, the BWRX-300 basemat was placed in a reactor shaft about 35 m below grade. These precedents demonstrate that the Clarington subsurface and construction problem must be treated as a major engineered system, not a single 'bedrock elevation'.

# 6. Foundation/excavation BIM quantities

| Margin m | Excavation L m | B m | Depth m | E volume m3 |
| --- | --- | --- | --- | --- |
| 0 | 70 | 70 | 18 | 88200 |
| 5 | 80 | 80 | 18 | 115200 |
| 10 | 90 | 90 | 18 | 145800 |
| 15 | 100 | 100 | 18 | 180000 |

# 7. Construction evidence gates

| ID | Hold point | Retained evidence | Authority | Gate |
| --- | --- | --- | --- | --- |
| GEO-HP-01 | Survey control established | survey network closure/as-built control | OPG/E&C survey authority | before excavation |
| GEO-HP-02 | Shoring/dewatering ready | design release, instrumentation baseline, discharge path | construction/civil authority | before deep excavation |
| GEO-HP-03 | Excavation reaches inspection horizon | mapped geology, groundwater, unexpected-condition NCRs | geotechnical engineer | before final trim |
| GEO-HP-04 | Foundation rock accepted | rock mapping, RQD/core correlation, cleaning/scaling, proof/verification tests | geotechnical/design authority | before mudmat/rock treatment |
| GEO-HP-05 | Rock treatment complete | dental concrete/grout/anchors/drains as required | civil QA/design authority | before structural concrete |
| GEO-HP-06 | Embed/rebar/form pre-pour | IFC drawings, embed survey, rebar/weld/NDE, cleanliness | OPG/E&C QA | before concrete placement |
| GEO-HP-07 | Foundation as-built accepted | concrete records, survey, instrumentation, NCR closure | configuration authority | before supported SSC erection |

# 8. Backward propagation

| Prior | Old | New | Reason | Affected | Status |
| --- | --- | --- | --- | --- | --- |
| SITE-SEIS01 | Generic stratigraphy/constraints only. | SITE02 adds coordinate-bearing E borehole/CPT/geophysics/piezometer plan and synthetic surfaces for BIM plumbing. | Need explicit subsurface objects before civil CAD can progress. | F-101/excavation/utilities | EXPANDED |
| PHTS02 | Calibrated loop resistance. | PHTS03 decomposes resistance into named pipe/header/HX/manifold/blanket elements and pump/NPSH/closure screens. | Component ownership required for procurement and stress interfaces. | PHTS/FM07 | EXPANDED |
| FM06 | Foundation stiffness implicit. | FM07 places support and foundation springs in series and quantifies sensitivity. | SSI changes support reactions/displacements. | F-101/VV | EXPANDED |
| Construction | Foundation sequence conceptual. | Seven explicit geotechnical/civil hold points and retained evidence classes instantiated. | Real site work is evidence-controlled. | field QA/configuration | EXPANDED |
| Site coordinates | Atlas local grid only. | SITE02 preserves local grid and explicitly forbids interpreting E boreholes/surfaces as survey truth. | Avoid false precision. | all BIM | QUALIFIED |

# 9. Decision/conflict register

| ID | Decision | Status | Evidence | Disposition |
| --- | --- | --- | --- | --- |
| CDR-PHTS03-001 | Pump curve/inertia/NPSH | OPEN | Current curves are E solver inputs. | Require HFRP qualified pump family/supplier data. |
| CDR-PHTS03-002 | Valve closure laws | OPEN | Waterhammer screen demonstrates sensitivity only. | Require actuator/isolation safety functional requirements. |
| CDR-FM07-001 | Foundation stiffness matrix | OPEN | Scalar spring sensitivities are not SSI qualification. | Require site-specific 3-D soil/rock-structure model. |
| CDR-SITE02-001 | Investigation locations | OPEN | Current coordinate grid is E BIM planning layout. | Replace with fictional OFG field campaign records when authored/recovered. |
| CDR-SITE02-002 | Bedrock/GW surfaces | OPEN | Synthetic surfaces only. | Do not use as project survey/geotechnical truth. |

# 10. Verification

| ID | Test | Status | Metric | Criterion | Next |
| --- | --- | --- | --- | --- | --- |
| PHTS03-V001 | Component hydraulic ownership | PASS-SCREEN | 8 named resistance elements | replace E geometry/K with supplier/CAD values | PHTS04 |
| PHTS03-V002 | NPSH | SCREEN | pressure-margin matrix generated | real vapor pressure, elevations, suction losses, transients | PHTS04 |
| PHTS03-V003 | Waterhammer closure | SCREEN | closure-time sensitivity generated | MOC/system-code valve law | PHTS04 |
| FM07-V001 | Support-foundation coupling | PASS-SCREEN | series stiffness solved | 3-D FE/SSI matrices | FM08 |
| SITE02-V001 | Investigation density | E-PLAN | 25 BH + 12 CPT + 6 geophysics lines + 5 piezometers | optimize from actual geology/structure footprints | SITE03 |
| SITE02-V002 | Survey truth | OPEN | no project survey coordinates claimed | recover fictional controlled survey | SITE03 |

# 11. Immediate continuation

PHTS04 must replace the E component coefficients with a full branch-by-branch nodalization, component performance maps and controlled transient state machine. FM08 must create the first 3-D shell/beam/solid mesh specification and modal/SSI interface. SITE03 must turn the investigation scaffold into stratigraphic solids, excavation/shoring/dewatering geometry, rock-treatment zones, underground-service corridors and construction access/laydown constraints. The resulting physical volumes then become mandatory collision and sequencing inputs to the site-wide BIM model.

# Integrated controlled source — OFG_Atlas_PHTS04_FM08_SITE03.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION - ENGINEERING ATLAS

PHTS04 / FM08 / SITE03 - BRANCH NODALIZATION, DYNAMIC FE INTERFACE & SITE-WIDE PHYSICAL COORDINATION

REV 0 - BIM/CAE COORDINATION DESCENT - 19 APRIL 2031 CONFIGURATION CUT

# 1. Research/verification change

This pass changes the Atlas from component lists into coordinated physical state. PHTS04 owns every canonical blanket branch and its operating state; FM08 defines the first dynamic FE/SSI data contract; SITE03 converts subsurface planning into occupied stratigraphic, excavation, temporary-works and underground-service volumes. Numerical E objects remain explicitly non-canonical.

# 2. PHTS04 - 80 branch hydraulic ownership

All 80 canonical replacement segments now have a branch flow, velocity, Reynolds number, friction factor and pressure-loss record. The deliberately imposed maldistribution is a solver/coordination test, not a predicted OFG distribution. Published DEMO OTSG CFD work treats bundle flow uniformity as an explicit design-verification quantity; OFG must similarly close manifold distribution with CFD/test evidence rather than assuming equality.

# 3. Plant state machine and protection boundary

| State | Name | Pump | Plasma | Heat sink | Criterion | Status |
| --- | --- | --- | --- | --- | --- | --- |
| ST-00 | Shutdown-cold | pumps available/off | plasma off | RHR/chemistry | pressure/temperature controlled | E functional state |
| ST-10 | Heat-up | primary pumps on | plasma off | pressurizer/chemistry | controlled heat-up rate | E |
| ST-20 | Ready | pumps on | plasma ready | normal heat sink | all permissives satisfied | E |
| ST-30 | Pulse/full power | pumps on | plasma on | normal heat sink | normal P/T/flow | E |
| ST-40 | Dwell/low power | pumps strategy OPEN | plasma off/dwell | normal or storage coupling | decay/residual heat | E/R DEMO precedent |
| ST-50 | Pump trip/LOFA | coastdown | plasma trip demanded | SG/HX + RHR as credited | flow/temperature protection | R event class / E response |
| ST-60 | LOHS | pumps conditional | plasma trip | RHR/alternate sink | heat sink unavailable | R event class / E response |
| ST-70 | LOCA | isolation logic | plasma trip | makeup/collection/confinement | inventory loss | R event class / E response |
| ST-80 | Recovery | controlled lineup | plasma inhibited | RHR/cleanup | stable inventory/P/T | E |

| From | To | Trigger | Criterion | Authority |
| --- | --- | --- | --- | --- |
| ST-00 | ST-10 | heat-up authorization | P/T/inventory permissive | operator/plant control |
| ST-10 | ST-20 | temperature band reached | chemistry/pressure/flow acceptable | plant control |
| ST-20 | ST-30 | plasma start permissive | all heat removal trains aligned | integrated control |
| ST-30 | ST-40 | planned pulse end | plasma ramp-down | integrated control |
| ST-30 | ST-50 | MCP trip/low-flow | low-flow protection | automatic trip |
| ST-30 | ST-60 | heat-sink failure | secondary/heat-sink signal | automatic trip |
| ST-30 | ST-70 | inventory/pressure break signal | isolation + trip | protection |
| ST-50 | ST-80 | stable residual heat removal | P/T/level stable | operator/authority |
| ST-60 | ST-80 | alternate heat sink established | P/T stable | operator/authority |
| ST-70 | ST-80 | break isolated/inventory stabilized | confinement + inventory criteria | operator/authority |

EU-DEMO analyses establish LOFA and locked-rotor/pump-seizure as explicit initiating-event families and use complete RELAP5-class PHTS models. The OFG state machine therefore makes normal, dwell, LOFA, loss-of-heat-sink, LOCA and recovery configurations explicit without inventing trip setpoints.

# 4. Instrumentation ownership

| Class | Location | Function | Status |
| --- | --- | --- | --- |
| FT | segment/sector/main flow | flow protection, balance, heat accounting | redundancy/accuracy O |
| PT | pump suction/discharge, headers, pressurizer | pressure control, break detection | range/setpoint O |
| TT | segment outlet, headers, HX inlet/outlet | thermal balance, protection | response/accuracy O |
| LT | pressurizer/drain/collection | inventory control | technology O |
| DP | blanket/HX/filter | fouling/blockage/flow diagnosis | range O |
| T-MON | primary side-stream/rooms | tritium accountancy/leak detection | TRI04 capacity O |
| RAD | process/room/effluent | radiological monitoring | safety basis O |
| VIB | MCP bearings/shaft | condition monitoring/seizure precursor | supplier O |

# 5. FM08 - dynamic structural model contract

| ID | Component | Element | Mesh | Refinement | Status |
| --- | --- | --- | --- | --- | --- |
| FM08-M01 | VV shell | shell | global 0.25-0.50 m; local 0.05-0.10 m | ports/joints/supports refined | E mesh spec |
| FM08-M02 | VV ribs/attachments | shell/solid | 0.05-0.15 m | blanket keys/nozzles | E |
| FM08-M03 | gravity supports | solid/beam/contact | 0.03-0.10 m | baseplates/keys/anchors | E |
| FM08-M04 | cryostat shell/base | shell/solid | 0.25-0.50 m | base ring/penetrations | E |
| FM08-M05 | F-101 mat | solid/shell | 0.5-1.5 m | pedestals/embeds/openings | E |
| FM08-M06 | SSI interface | spring/impedance | 16+ distributed nodes | frequency dependent | O final |

The reduced 16-DOF modal solution is only a numerical interface test. NRC aseismic/SSI precedent requires the eventual model to connect site motion, foundation/bedrock conditions, structural response and equipment/piping qualification. SITE-specific impedance and the 3-D VV/cryostat/F-101 mesh therefore become upstream inputs, not post-processing.

# 6. SITE03 - physical site solids and temporary works

| Unit | Top Z | Bottom Z | Status | Use |
| --- | --- | --- | --- | --- |
| Engineered fill | 82 | 78 | R topology/E elevations | construction platform/utilities |
| Upper till | 78 | 73 | R topology/E elevations | stiff overburden/shoring |
| Interglacial silt/fine sand | 73 | 69 | R topology/E elevations | groundwater-bearing; dewatering/settlement |
| Lower till | 69 | 64 | R topology/E elevations | aquitard/foundation approach |
| Shale/limestone bedrock | 64 | 30 | R topology/E surface | foundation/excavation/anchors |

| ID | Excavation | E | N | L | W | Top | Bottom | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EXC-F101 | Fusion island excavation | 1000 | 1000 | 90 | 90 | 82 | 63 | E |
| EXC-PHTS | PHTS excavation | 1075 | 1000 | 65 | 55 | 82 | 68 | E |
| EXC-TRI | Tritium building excavation | 1000 | 1070 | 55 | 50 | 82 | 69 | E |
| EXC-HC | Hot cell excavation | 925 | 1000 | 70 | 55 | 82 | 68 | E |

OPG DNNP precedent confirms that grading, temporary roads, laydown, stormwater, utilities, shoring and deep excavation are integrated construction systems. In 2026 a 37 m basemat module was placed into a roughly 35 m-deep reactor shaft, further demonstrating that heavy-lift geometry and temporary works must exist in the site model alongside permanent plant volumes.

# 7. Underground and construction-field coordination

| ID | Service | E1 | N1 | E2 | N2 | Z | W | H | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| UG-01 | PHTS supply/return gallery | 1045 | 1000 | 1100 | 1000 | 72 | 8 | 6 | E corridor |
| UG-02 | TRI process gallery | 1000 | 1045 | 1000 | 1110 | 72 | 6 | 5 | E corridor |
| UG-03 | RH/hot-cell services | 955 | 1000 | 900 | 1000 | 72 | 6 | 5 | E corridor |
| UG-04 | electrical/I&C ductbank | 970 | 950 | 970 | 880 | 77 | 4 | 3 | E corridor |
| UG-05 | storm/dewatering discharge | 1050 | 1050 | 1130 | 1100 | 76 | 3 | 3 | E corridor |

| ID | Zone | E | N | L | W | Status | Use |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CON-01 | Heavy crawler crane pad | 900 | 900 | 70 | 70 | E | heavy lifts |
| CON-02 | Blanket/VV module laydown | 900 | 1080 | 120 | 80 | E | preassembly/storage |
| CON-03 | PHTS spool fabrication/laydown | 1120 | 1000 | 100 | 70 | E | large-bore piping |
| CON-04 | haul road corridor | 850 | 950 | 300 | 18 | E | SPMT/heavy haul |
| CON-05 | temporary dewatering treatment | 1100 | 1100 | 45 | 35 | E | construction water |

The plan-level checker flagged 0 overlap(s) among temporary construction zones. This is intentionally a primitive first collision layer; SITE04 must perform 3-D volume and time/sequence clashes, including crane tailswing, boom envelopes, SPMT swept paths, excavation exclusion zones and underground-service installation windows.

# 8. Research register

| ID | Source | Finding | Use |
| --- | --- | --- | --- |
| R-PHTS04-001 | EU-DEMO WCLL LOFA | Full RELAP5 model includes blanket, PHTS, BZ OTSGs and FW HXs; pump flywheel sensitivity used for complete MCP loss. | Requires component/state transient model. |
| R-PHTS04-002 | EU-DEMO locked rotor | Complete PHTS model evaluates pump seizure and loss of offsite power; management strategies draw on PWR experience. | Adds PIE/state transitions. |
| R-PHTS04-003 | STEAM/OTSG | 15.5 MPa, 328-295 C primary experimental loop; CFD work targets <2% bundle-flow deviation in mock-up. | Requires distributor/maldistribution verification. |
| R-SITE03-001 | OPG DNNP 2024 | Early works: grading, temporary roads/laydown, stormwater, site utilities; main works: shoring and reactor excavation. | Construction-field zoning precedent. |
| R-SITE03-002 | OPG DNNP 2026 | 37 m basemat module placed in shaft 35 m below grade; heavy crawler crane used. | Deep excavation/heavy lift precedent. |
| R-SITE03-003 | NRC NUREG/CR-5738 | Nuclear foundation investigations integrate geological, geophysical and geotechnical field investigation and sample management. | SITE investigation evidence model. |
| R-FM08-001 | NRC aseismic/SSI guidance | Seismic design requires site ground motions, foundation/bedrock investigation, ground stability, structural/equipment/piping analysis and SSI. | FM08/SITE coupling precedent. |

# 9. Information provenance

| Originator | Information | Record | Recipient | Review | Authority | Decision | Physical consequence | Evidence |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| HFRP design authority | qualified PHTS architecture and transient envelope | system design basis / transient requirements | E&C/HMS/OPG | design-basis review | plant design authority | freeze loop/equipment topology | PHTS IFC model | controlled basis |
| PHTS system analysis | branch flows, P/T histories, relief/isolation demands | system-code deck/results | mechanical/I&C/safety | multidiscipline review | design authority | size components/set protection requirements | equipment/nozzle/support loads | CAE archive |
| Site investigation team | borehole/geophysics/GW/rock data | field logs/lab reports/GIS surfaces | civil/SSI/construction | geotechnical interpretation | geotechnical design authority | accept ground model | excavation/foundation/shoring | controlled geotech model |
| Construction survey/QA | excavation/shoring/embed/as-built geometry | survey/ITP/NCR records | configuration management | hold-point review | OPG/E&C authority | release next workfront | physical construction state | signed turnover dossier |

# 10. Backward propagation

| Prior | Old | New | Reason | Affected | Status |
| --- | --- | --- | --- | --- | --- |
| PHTS03 | component-owned losses but no segment maldistribution | PHTS04 instantiates 80 branch flows and explicit operating/accident state machine | system behavior depends on branch distribution and protection states | BLK/I&C/safety | EXPANDED |
| FM07 | scalar SSI sensitivity | FM08 adds mesh specification, modal basis and frequency-dependent impedance interface | dynamic qualification needs modes/SSI, not static springs alone | VV/cryostat/F-101/equipment | EXPANDED |
| SITE02 | investigation scaffold | SITE03 converts it into stratigraphic solids, excavation/shoring/dewatering/utilities/construction zones | BIM requires occupied volumes and temporary works | civil/BIM/construction | EXPANDED |
| Construction Atlas | hold points only | adds crane pad, laydown, haul road, spool yard and water-treatment footprints | temporary works constrain permanent plant erection | logistics/site | EXPANDED |
| BLK03 | spatial heat handoff | PHTS04 requires per-segment branch flow and outlet instrumentation ownership | heat map must close to hydraulic balance | blanket/PHTS | NEW DEPENDENCY |

# 11. Canon decision/conflict register

| ID | Decision | Status | Evidence | Disposition |
| --- | --- | --- | --- | --- |
| CDR-PHTS04-001 | FW and breeder-zone separate circuits? | OPEN | EU-DEMO precedent separates FW/BZ; HFRP canon not recovered. | Do not copy WCLL topology silently. |
| CDR-PHTS04-002 | OTSG vs HX/IHTS | OPEN | Both remain credible depending HFRP power-cycle architecture. | Close with commercial reference design. |
| CDR-FM08-001 | Modal/SSI qualification model | OPEN | Reduced ring validates interface only. | Replace with 3-D FE + site impedance. |
| CDR-SITE03-001 | Shoring system | OPEN | Diaphragm/secant walls are E planning objects. | Select after excavation/groundwater/design study. |
| CDR-SITE03-002 | Construction field coordinates | E-OPEN | Atlas local grid, not project survey. | Transform only after controlled survey grid exists. |

# 12. Verification

| ID | Test | Status | Metric | Criterion | Next |
| --- | --- | --- | --- | --- | --- |
| PHTS04-V001 | 80-branch nodalization | PASS-SCREEN | all canonical segments receive branch record | replace E D/L/K and heat load | PHTS05 |
| PHTS04-V002 | state machine | PASS-FUNCTIONAL | normal+dwell+LOFA+LOHS+LOCA+recovery states | derive actual trip/setpoint logic | I&C/PHTS05 |
| PHTS04-V003 | maldistribution | SCREEN | E +/- branch factors instantiated | CFD/manifold test target | PHTS05 |
| FM08-V001 | modal solve | PASS-SCREEN | 10 reduced modes generated | 3-D FE correlation | FM09 |
| FM08-V002 | SSI impedance | SCREEN | frequency-dependent interface schema exists | site-specific impedance functions | FM09/SITE04 |
| SITE03-V001 | physical volumes | PASS-E | strata/excavation/shoring/dewatering/utilities/temp works instantiated | replace E coordinates with controlled site data | SITE04 |
| SITE03-V002 | collision test | PASS/REVIEW | 0 temporary-plan overlaps flagged | 3-D swept-volume/sequence clash detection | SITE04 |

# 13. Next continuation boundary

PHTS05 must add actual control volumes, junction elevations, heat structures, pump inertia, valve stroke laws, pressurizer/relief logic and PIE-specific transient decks, plus a CFD handoff for sector/header maldistribution. FM09 must instantiate the 3-D VV/cryostat/support/F-101 FE topology, modal correlation and seismic equipment-interface nodes. SITE04 must add 4-D construction sequencing, shoring stages, dewatering drawdown/settlement influence zones, crane/haul swept volumes, utility installation stages, temporary power/water/fire systems and the permanent site-road/drainage network. These outputs must then propagate into every building and system Atlas packet.

# Integrated controlled source — OFG_Atlas_PHTS05_FM09_SITE04_Post_Verification.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION — ENGINEERING ATLAS

PHTS05 / FM09 / SITE04 — SYSTEM-CODE CONTRACT, FULL FE TOPOLOGY & 4-D CONSTRUCTION COORDINATION

REV 0 · POST-VERIFICATION CONTINUATION · 19 APRIL 2031 CONFIGURATION CUT

# 1. PHTS05 — executable data contract

The comparison model now contains 132 named control volumes and 208 junctions. All 80 canonical blanket parent objects receive individual control-volume ownership, but the thermodynamic volumes, junction areas, loss coefficients, pump maps and control thresholds remain E/O until HFRP/OFG records or validated detailed models replace them.

| PIE | Initiating event | Initiator | Required outputs | Status |
| --- | --- | --- | --- | --- |
| PIE-PHTS-001 | Loss of one main coolant pump | pump trip/coastdown | flow, pressure, temperature, pressurizer, protection | R family / OFG thresholds O |
| PIE-PHTS-002 | Loss of all pumps / loss of offsite power | pump trip + power loss | natural circulation/residual heat removal | R family / OFG logic O |
| PIE-PHTS-003 | Loss of heat sink | HX secondary unavailable | primary heat-up/pressure response | R family / OFG logic O |
| PIE-PHTS-004 | In-vessel coolant leak | break at blanket/connection | inventory loss, confinement, plasma shutdown | R family / OFG break spectrum O |
| PIE-PHTS-005 | Ex-vessel high-energy line break | pipe break | jet/whip/flooding/dose/confinement | R/CNSC analogy / OFG break spectrum O |
| PIE-PHTS-006 | Isolation valve fast closure | valve transient | water hammer/support/nozzle loads | R/CNSC analogy / OFG valve law O |
| PIE-PHTS-007 | Pressurizer/pressure-control malfunction | control failure | over/under-pressure | R analogy / OFG architecture O |
| PIE-PHTS-008 | Tritium purification unavailable | CPS/WDS unavailable | inventory/concentration rise | fusion-specific / thresholds O |

The objective is no longer to create attractive transient curves. PHTS05 defines the minimum information a RELAP-class or equivalent system model must consume and return for each initiating event, including state-machine logic, component failure states, protection actions and structural/radiological handoffs.

# 2. Newly verified PHTS radiation dependency

EU-DEMO research on activated cooling water demonstrates that PHTS piping and isolation valves can become radiation-source geometry. PHTS therefore exports not only pressure/temperature/flow and tritium concentration, but activation source terms and shutdown-dose fields to radiation protection, shielding, remote maintenance, HVAC zoning and access control.

# 3. FM09 — 3-D FE topology specification

| ID | Part | Element family | Interfaces | Loads | Status |
| --- | --- | --- | --- | --- | --- |
| FM09-P01 | Vacuum vessel shell | shell/solid | ports, sector joints, blanket attachments | thermal/vacuum/EM/seismic/PHTS nozzle | O mesh |
| FM09-P02 | VV ribs/back support | shell/solid | blanket attachments/VV shell | local attachment reactions | O mesh |
| FM09-P03 | 16 gravity supports | solid/beam/contact | VV -> pedestal | vertical/lateral/thermal/seismic | O mesh |
| FM09-P04 | Cryostat shell/base | shell/solid | penetrations/base ring | vacuum/deadweight/thermal/seismic | O mesh |
| FM09-P05 | PHTS anchors/supports | beam/spring/solid | piping -> VV/cryostat/building | pressure/thermal/waterhammer/seismic | O mesh |
| FM09-P06 | F-101 mat/pedestals | solid | machine/cryostat/building -> rock | bearing/shear/anchor/SSI | O mesh |
| FM09-P07 | Rock/SSI boundary | frequency-dependent impedance | F-101 -> site model | seismic/settlement | O input |

| ID | Interface | Data | Owners | Fields | Evidence |
| --- | --- | --- | --- | --- | --- |
| IF-FM-001 | BLK->VV | 80 segment attachment resultants | BLK/FM | forces, moments, temperature, stiffness | versioned CAE interface |
| IF-FM-002 | PHTS->VV | nozzle loads at every penetration | PHTS/FM | 6DOF load envelope + thermal displacement | pipe stress interface |
| IF-FM-003 | VV->F101 | 16 support reactions/stiffness | FM/CIVIL | 6DOF stiffness/load histories | FE interface |
| IF-FM-004 | SITE->F101 | SSI impedance/ground motion | SITE/FM | frequency-dependent matrix + spectra/time histories | site response interface |
| IF-FM-005 | MAG/PLS->VV | EM/disruption loads | MAG/FM | time histories/spatial loads | OPEN |
| IF-FM-006 | RH->structures | maintenance/lift/transport loads | RH/FM | payload/dynamic/contact loads | OPEN |

FM09 deliberately stops before claiming a solved plant FE model. Its deliverable is the controlled topology and interface contract needed to prevent each discipline from inventing its own support stiffness, nozzle reaction, ground motion or blanket attachment load.

# 4. SITE04 — 4-D construction model

| ID | Workface | Area | Window | Scope | Status |
| --- | --- | --- | --- | --- | --- |
| WF-001 | Survey/environmental controls | sitewide | 2025-2026 | control network, erosion/stormwater, exclusion areas | R/C/E |
| WF-002 | Bulk earthworks/roads/laydown | sitewide | 2025-2026 | haul roads, laydown, temporary utilities | R/E |
| WF-003 | F-101 shoring/dewatering | fusion island | 2026 | shoring, wells, sumps, monitoring | E sequence |
| WF-004 | F-101 excavation/rock acceptance | fusion island | 2026-2027 | excavation, mapping, scaling, treatment | E sequence |
| WF-005 | F-101 foundation concrete/embeds | fusion island | 2027 | mudmat, embeds, rebar, pours, surveys | E sequence |
| WF-006 | Underground corridors | plantwide | 2026-2028 | ductbanks, drainage, process/utilities | E sequence |
| WF-007 | Tokamak building superstructure | fusion island | 2027-2029 | heavy concrete/steel, openings, crane interfaces | E sequence |
| WF-008 | Machine heavy-lift assembly | fusion island | 2028-2030 | VV/magnets/cryostat/blanket logistics | E sequence |
| WF-009 | PHTS large-bore installation | PHTS/reactor building | 2028-2030 | spools, anchors, valves, HX/pumps | E sequence |
| WF-010 | Hot cell/RH fitout | hot-cell complex | 2028-2030 | casks, transfer routes, manipulators, shielding | E sequence |
| WF-011 | Electrical/I&C/HVAC fitout | multiple | 2029-2030 | cable tray, grounding, ventilation, fire, controls | E sequence |
| WF-012 | System turnover/commissioning | plantwide | 2030-2031 | MC boundaries, flushing, pressure tests, energization, functional tests | C lifecycle/E detail |

# 5. Spatial constraints

| ID | Constraint | Area | Requirement | Status |
| --- | --- | --- | --- | --- |
| C4D-001 | Crawler crane exclusion/tailswing | heavy-lift zone | must not intersect energized/permanent SSC or occupied workface | O crane selection |
| C4D-002 | SPMT swept path | gate/laydown/fusion island | width, grade, turning radius, axle load, overhead clearance | O transporter/load |
| C4D-003 | Large-bore spool route | laydown -> PHTS building | bend radius/rigging envelope/temporary openings | E/O |
| C4D-004 | Dewatering influence zone | F-101 excavation | settlement/groundwater drawdown monitoring | R requirement/E geometry |
| C4D-005 | Shoring influence zone | F-101 perimeter | anchor/tieback conflict with undergrounds and adjacent foundations | E/O |
| C4D-006 | Underground freeze window | plantwide | later heavy foundations/roads must not make corridors inaccessible | E |
| C4D-007 | Remote-handling transfer route | tokamak -> hot cell | permanent clear envelope, shielding, doors, cask docking | R requirement/O OFG geometry |
| C4D-008 | Fire/HVAC zoning | buildings | construction turnover cannot invalidate confinement/fire boundaries | R/O |

Temporary works are now first-class BIM objects. A permanent coordinate is not verified merely because the permanent equipment fits: it must also survive the construction sequence, heavy-lift envelope, transport path, excavation/shoring/dewatering influence, underground installation windows and later remote-maintenance route.

# 6. New mandatory Atlas branches

| Branch | Reason |
| --- | --- |
| ELEC01 / EMC01 | Grounding, bonding, lightning, induced-current loops, cable segregation and electromagnetic compatibility affect physical coordination. |
| RAD01 | Activated-water, neutron/gamma shutdown fields and maintenance dose must become spatial fields. |
| RH01 / HOTCELL01 | Every replaceable activated component requires a removal, transfer, decontamination/repair/storage and return/disposal route. |
| HVAC-CONF01 / FIRE01 | Room-by-room pressure zoning, detritiation, ventilation isolation and fire boundaries must close against tritium and maintenance states. |
| RAMI01 / OPS01 | Loop count, redundancy, isolation, spares and maintenance architecture cannot freeze without availability/operability analysis. |
| SURVEY01 | Atlas local coordinates require controlled transformation to the project survey grid before exact-coordinate claims. |

# 7. Immediate continuation

The next descent is not another isolated PHTS refinement. It must run the new verification branches in parallel: RAD01 + RH01/HOTCELL01 + ELEC01/EMC01 + HVAC-CONF01/FIRE01 + SURVEY01, while PHTS05/FM09/SITE04 remain their shared physical backbone. Every result must propagate backward into blanket, vacuum vessel, tritium, buildings, construction, commissioning and configuration registers.

# Integrated controlled source — OFG_Atlas_VER01_Cross_Atlas_Verification_Audit.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION — ENGINEERING ATLAS

VER01 — CROSS-ATLAS INDEPENDENT VERIFICATION & BACKWARD-PROPAGATION AUDIT

REV 0 · BROADENED RESEARCH PASS · 19 APRIL 2031 CONFIGURATION CUT

# 1. Verification purpose

VER01 audits the completed Engineering Atlas work as an engineering evidence system rather than accepting packet completion as proof of design closure. It tests provenance, applicability, coordinate truth, physical interfaces, multiphysics dependencies, construction implementation and whether provisional engineering surrogates have leaked into canon.

# 2. Research boundary broadened

| Source family | Class | Verification use |
| --- | --- | --- |
| ITER Engineering Basis Handbook | Primary/engineering-basis | Plant layout, nuclear buildings, loads, materials, shielding, safety, assembly, remote handling, electrical/cooling/cryogenic/fuel-cycle integration are treated as one engineering basis. |
| ITER Vacuum Vessel | Primary implementation | VV is confinement barrier, cooled double-wall structure, support for in-vessel components, with ports for RH/diagnostics/heating/fuelling/vacuum. |
| ITER Blanket | Primary implementation | Blanket module geometry varies by position; blanket provides heat removal, shielding, and passages for diagnostics/heating. |
| ITER Remote Handling | Primary implementation | Activated in-vessel maintenance requires integrated transporters, casks, tools, hot-cell interfaces and control rooms; component masses up to tens of tonnes. |
| EU-DEMO WCLL PHTS integration | Peer-reviewed | Blanket/PHTS/IHTS/ESS/PCS are integrated; RELAP5 used for inventories and pressure drops. |
| EU-DEMO WCLL neutronics | Peer-reviewed | 3-D MCNP model evaluates TBR, shielding, nuclear heating, damage and helium production; engineering CAD detail affects results. |
| EU-DEMO tritium management integration | Peer-reviewed | Tritium extraction/inventory/environmental-release systems depend strongly on blanket/coolant architecture. |
| EU-DEMO activated-water valve dose | Peer-reviewed | Activated primary water produces component/area dose implications in pipe chases and isolation valves. |
| EU-DEMO LOFA thermal hydraulics | Peer-reviewed | PHTS transient analysis includes blanket, circuits, OTSG/HX and pump-loss scenarios with actuation logic. |
| CNSC REGDOC-1.1.1 v1.2 | Primary regulatory | Requires site-specific geology, hydrogeology, geotechnical properties, PSHA/response spectra, 3-D geological models and lifecycle re-evaluation. |
| CNSC REGDOC-2.5.2 v2.1 | Primary regulatory analogy | Requires comprehensive PIE loads, pressure-boundary integrity, high-energy-line effects, water hammer, inspection/testing/commissioning; non-water-cooled technologies reviewed case-by-case. |
| CNSC DNNP public summary | Primary project/regulatory | DNNP used a plant-parameter-envelope approach before technology selection; later selected BWRX-300 had to remain within assessed bounds. |
| ASME BPVC III Division 4 | Primary code | Fusion Energy Devices rules exist. |
| RCC-MRx | Primary code family | Rules for mechanical components of research/fusion installations include design, procurement, fabrication, welding and examination. |
| ITER Electrical Design Handbook | Primary engineering | Tokamak electrical design includes induced-current/earthing constraints and avoidance of parallel low-resistance loops. |

# 3. Findings by severity

| ID | Domain | Severity | Finding | Required correction | Status |
| --- | --- | --- | --- | --- | --- |
| AUD-001 | GLOBAL | MAJOR | Many Atlas coordinates are explicitly local/E, but user requirement is exact site coordinate. | Retain local coordinates only as model frame; add mandatory survey-grid transformation, datum, geoid/vertical datum and uncertainty fields before any coordinate is called exact. | OPEN |
| AUD-002 | GLOBAL | MAJOR | Some later packets label 80 blanket segments and 16 sectors C, but current accessible master timeline does not itself prove those geometry decisions. | Keep current controlled-canon status only as inherited story-source canon; require a source-corpus citation/decision-record ID in the canon register. | OPEN-TRACE |
| AUD-003 | BLK | CRITICAL | Earlier linear service-volume/TBR penalty was already downgraded, but any downstream use would be invalid. | Predictive TBR must come only from 3-D neutron/photon transport with CAD-consistent materials, penetrations, gaps and uncertainty. | CORRECTED |
| AUD-004 | PHTS | MAJOR | 15.5 MPa and ~290-328 C are strong DEMO/PWR precedents but not recovered HFRP canon. | Keep as R/E comparison. No equipment pressure class, relief setpoint or wall thickness may inherit them as C. | CORRECTED |
| AUD-005 | PHTS | MAJOR | Four-loop architecture is executable E comparison, not HFRP canon. | All tags/layout based on four loops must carry scenario ID; procurement or building freeze prohibited. | CORRECTED |
| AUD-006 | PHTS | MAJOR | Earlier Atlas focused on tritium in primary water but underrepresented activation products and shutdown dose. | Add activated-water source terms, pipe-chase dose, shielding, access zoning, isolation-valve qualification and maintenance dose fields. | NEW |
| AUD-007 | TRI | CRITICAL | Residence-time screens are not material accountancy. | Require component/species inventory, measurement uncertainty, decay, permeation, trapped inventory, release paths and reconciliation logic. | OPEN |
| AUD-008 | FM | CRITICAL | Reduced spring/ring models validate interfaces only. | No support/foundation qualification until 3-D FE + load combinations + material allowables + fatigue/fracture + SSI + seismic/EM/LOCA inputs exist. | OPEN |
| AUD-009 | SITE | CRITICAL | No OFG site-specific PSHA/response spectrum exists in Atlas. | Correctly remain OPEN. All seismic qualification claims prohibited. | PASS-OPEN |
| AUD-010 | SITE | MAJOR | SITE02/03 synthetic bedrock/GW surfaces are BIM plumbing, not evidence. | Every solid must carry E-SYNTHETIC provenance and be excluded from design acceptance quantities. | CORRECTED |
| AUD-011 | REG | MAJOR | CNSC water-cooled-reactor REGDOCs are not automatically fusion licensing requirements. | Use as high-level Canadian safety/design precedent only; fusion-specific licensing basis remains case-by-case/OPEN. | CORRECTED |
| AUD-012 | RH | CRITICAL | Plant geometry cannot be verified without replacement routes, casks, hot-cell interfaces, tooling envelopes and activated-component logistics. | Create RH verification layer across blanket/divertor/ports/PHTS isolation/buildings. | NEW |
| AUD-013 | ELEC | MAJOR | Electrical/earthing/induced-current coordination is missing from current physical Atlas frontier. | Create ELEC/EMC Atlas and feed constraints into VV/cryostat/piping/support interfaces. | NEW |
| AUD-014 | FIRE/HVAC | CRITICAL | Building HVAC/fire/detritiation are not yet co-verified with tritium inventories and maintenance states. | Create room-by-room confinement/HVAC/fire-zone model with normal/maintenance/accident states. | NEW |
| AUD-015 | CONST | MAJOR | SITE03 correctly added temporary geometry, but verification must include crane/SPMT ground bearing, shoring interaction, underground congestion and workface access. | SITE04 adds 4-D workface envelopes and hold-point provenance. | IN-PROGRESS |
| AUD-016 | CONFIG | CRITICAL | Accessible master timeline contains working-data statuses explicitly subject to later reconciliation. | Atlas cannot silently promote working timeline records to locked canon; every imported row must preserve status and revision provenance. | NEW |

# 4. Discipline coverage audit

| Discipline | Status | Finding |
| --- | --- | --- |
| Plasma physics / scenario | OPEN | Need reference plasma geometry, pulse/dwell, disruptions, heat/particle loads and operating envelope. |
| Neutronics / shielding | PARTIAL | Geometry contract exists; no authoritative OFG Monte Carlo solution yet. |
| Blanket thermal hydraulics | PARTIAL | Water-cooling architecture exists; actual HFRP geometry/materials/conditions unresolved. |
| Tritium / fuel cycle | PARTIAL | Functional topology exists; dynamic inventory/accountancy unresolved. |
| Vacuum / exhaust | PARTIAL | Prior packets exist; must reverify against fuel-cycle and building confinement. |
| Magnets / cryogenics | PARTIAL | Interfaces exist but not reverified in this pass against current blanket/PHTS/site geometry. |
| Structural / mechanics | PARTIAL | Reduced models only; 3-D FE qualification open. |
| Civil / geotechnical / seismic | PARTIAL | Darlington precedent researched; OFG field data and PSHA open. |
| Electrical / grounding / EMC | GAP | New critical work package. |
| I&C / protection / control | PARTIAL | State-machine skeleton exists; sensor/setpoint/redundancy/qualification open. |
| HVAC / confinement / detritiation | GAP | Must be room/state resolved. |
| Fire protection | GAP | Must be hazard/fire-zone/equipment-state resolved. |
| Remote handling / hot cell | GAP-MAJOR | Maintenance route and activated-component logistics not integrated globally. |
| Radiation protection / ALARA | GAP-MAJOR | Activated water and shutdown dose require spatial dose/access model. |
| Materials / irradiation / corrosion | PARTIAL | Needs component-specific property curves and surveillance/qualification basis. |
| Power conversion / BOP | OPEN | Direct/indirect coupling and storage remain unresolved. |
| Water chemistry / radwaste | PARTIAL | Functions exist; equipment capacities and waste routes unresolved. |
| Construction / temporary works | PARTIAL | SITE04 extends workface geometry; full 4-D sequence still ongoing. |
| Commissioning / turnover | PARTIAL | Evidence gates exist; system-by-system test boundary matrix incomplete. |
| Operations / maintenance / RAMI | GAP-MAJOR | Needs operating states, maintenance windows, spares, common-cause and availability model. |
| Configuration / information management | PARTIAL | Registers exist; canonical source IDs and supersession graph need normalization. |

# 5. High-consequence corrections

First, exact-coordinate claims remain prohibited until the Atlas local frame is transformed through a controlled survey record into the project horizontal and vertical datums. Second, the 15.5 MPa / DEMO-like water conditions and four-loop PHTS remain precedent/scenario inputs rather than HFRP canon. Third, no seismic qualification exists without the OFG-specific PSHA/response spectrum and field geotechnical model. Fourth, simplified TBR, tritium-holdup and reduced structural models remain screening tools only.

The audit also identifies two previously underdeveloped physical dependencies: activated-water radiation fields in PHTS pipe chases/valves, and global remote-handling/hot-cell transport. Both can change building layout, shielding, access, maintenance, HVAC and equipment placement.

# 6. Regulatory applicability correction

CNSC REGDOC-1.1.1 and REGDOC-2.5.2 provide authoritative Canadian site/design discipline. However, REGDOC-2.5.2 is written for water-cooled reactor facilities and explicitly states that alternative technologies are reviewed case-by-case. It is therefore an engineering and safety-objective precedent here, not silently the OFG fusion licensing basis.

# 7. Controlled-register audit

The accessible master event timeline explicitly carries rows marked 'WORKING DATASET — SUBJECT TO REV E/F/H/I RECONCILIATION'. VER01 therefore prohibits importing those rows into the Atlas as locked canon without preserving their original status and a reconciliation/supersession record.

# 8. Backward-propagation ledger

| ID | Affected | Old | New | Reason | Dependencies | Status |
| --- | --- | --- | --- | --- | --- | --- |
| REV-AUD-001 | All completed Atlas packets | Implicit completeness by packet completion | Packet completion does not equal design verification; every packet now receives verification status by discipline. | Cross-Atlas audit against ITER/EU-DEMO/CNSC/code precedents. | GLOBAL | ACTIVE |
| REV-AUD-002 | PHTS01-04 | Tritium was dominant radiological coolant concern | Add activated-water radionuclide/shutdown-dose branch and pipe-chase/isolation-valve shielding/access consequences. | EU-DEMO activated-water dose studies. | RAD/HVAC/RH/PHTS | ACTIVE |
| REV-AUD-003 | SITE02/03 | Synthetic surfaces usable for coordination | Explicitly prohibit design acceptance or exact-coordinate claims from synthetic surfaces. | CNSC requires site-specific data/3-D geological models. | SITE/CIVIL/FM | ACTIVE |
| REV-AUD-004 | FM05-08 | Static/reduced SSI screens | Treat only as interface/solver verification; no qualification claim. | CNSC seismic/geotechnical requirements and nuclear SSI practice. | FM/SITE | ACTIVE |
| REV-AUD-005 | BLK02/03 | Service-volume sensitivity | No predictive TBR use; only 3-D CAD-consistent neutron/photon transport may close TBR/shielding. | EU-DEMO heterogeneous MCNP precedent. | BLK/TRI/MAG | ACTIVE |
| REV-AUD-006 | REG basis | Water-cooled NPP REGDOC language used as design precedent | Mark as analogy/high-level Canadian safety precedent for fusion, case-by-case applicability. | CNSC explicit alternative-technology language. | LIC/SAFETY | ACTIVE |
| REV-AUD-007 | Construction/site | Temporary works treated as secondary geometry | 4-D temporary works become controlled spatial constraints with evidence gates. | Darlington/ITER implementation precedent. | SITE/CONST/BIM | ACTIVE |
| REV-AUD-008 | Global plant | Electrical interfaces underdeveloped | Create mandatory ELEC/EMC/grounding Atlas; induced-current and single-point-earthing constraints can affect physical interfaces. | ITER Electrical Design Handbook. | ELEC/FM/PHTS/I&C | NEW |
| REV-AUD-009 | Global plant | Maintenance treated locally | Create global RH/hot-cell route verification and activated-component logistics. | ITER remote handling precedent. | RH/BLK/VV/BUILDINGS | NEW |
| REV-AUD-010 | Controlled registers | Working timeline rows may be consumed as facts | Preserve original Canon_Status and reconciliation warning in every imported event/asset record. | Master event timeline status field. | HIST/CONFIG | NEW |

# 9. Verification disposition

The Atlas is internally useful as a progressively refined engineering model, but it is not yet a construction-issued or licensing-qualified plant definition. The verified portions are the controlled functional relationships, explicit unresolved-state discipline, and a growing set of coordinate-bearing engineering surrogates. The principal blockers are source-trace closure for canon geometry, OFG survey/geotechnical/seismic truth, full neutronics, dynamic tritium accountancy, 3-D structural/SSI qualification, remote-maintenance geometry, building confinement/fire/radiation models, electrical/EMC integration, and RAMI/operations closure.

# Integrated controlled source — OFG_B04_BHT_Physical_Configuration_Routing_Basis_Rev3.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION PROJECT

B04 — BHT PHYSICAL CONFIGURATION & ROUTING DESIGN BASIS

Research-backed translation of blanket heat transport physics into coordinated headers, equipment, penetrations, pipe corridors and support nodes

SYSTEM & SITE ENGINEERING ENCYCLOPEDIA · REV 3 · TRANCHE C · 19 APRIL 2031 CONFIGURATION CUT

# 1. Canon inherited and backward-propagation trigger

A03 fixes four main BHT trains BHT-401…404, common BHT-400 chemistry/volume control, a first-order total blanket coolant flow of 18,857 kg/s and 4,714 kg/s nominal per train. It also explicitly left branch allocation, diameter/velocity, transient, pipe stress/support, steam-generator sizing and relief analysis for later closure. This tranche advances those items only to physical coordination; it does not falsely mark the hydraulic/stress calculations complete.

# 2. External verification that changes the geometry

| Evidence | Verified fact | Physical consequence for OFG |
| --- | --- | --- |
| ITER blanket manifold FDR | Blanket cooling manifold uses pipe bundles routed mostly through upper ports; 3,120 kg/s total, 736 MW removed, ~6.5 km / 45 t piping. | OFG upper blanket services require dense bundle/manifold space and early-installation priority; ring/header and branch penetrations cannot be treated as ordinary late MEP. |
| ITER TCWS final design | TCWS integrates >36 km piping/fittings, ~12,000 supports, ~3,000 valves and ~100 equipment items in constrained Tokamak Complex; primary water up to 14 bar, 5 m³/s, ~10 m/s in ITER service. | OFG requires explicit support-node and routing registers; gross 'pipe corridor' boxes are insufficient. |
| QST JA-DEMO plant | Upper ring header serves blanket heat transport; lower ring header serves divertor; high-pressure water transfers heat to steam generation. | Supports distinct BHT upper and DHT lower header elevations and direct heat-exchanger/steam-generation adjacency. |
| QST JA-DEMO update | Blanket coolant combines behind backplate manifolds, passes through upper ring header to intermediate heat exchanger, then returns; N-16/N-17 activation affects shielding/auxiliary placement. | OFG keeps high-flow blanket headers close to machine and treats activated-water dose/shielding as a future equipment-placement constraint rather than assuming unrestricted access. |
| CNSC REGDOC-2.5.2 | Internal hazards include flooding, pipe whip, jet impact, missiles and releases from failed pressure systems. | BHT corridors require break/whip/jet zones, drainage and separation from redundant electrical/I&C galleries. |
| ASME B31.1 scope | Power piping code covers design, materials, fabrication, erection, testing, inspection, operation and maintenance; flexibility and support design are explicit engineering subjects. | Nominal pipe centreline alone cannot close BHT; stress/flexibility/support qualification remains a controlled prerequisite to final coordinate freeze. |

# 3. Physical architecture

BLK module outlet → backplate/sector collection manifold → upper hot ring/header → train hot branch → hot-leg isolation → steam generator / primary HX → cold leg → main coolant pump → check/isolation → train cold branch → upper cold distribution header → sector/backplate manifold → BLK module inlet.

Four train corridors are separated laterally in the F-101↔H-101 bridge/gallery. Cross-connects are not assumed; any future equalizing or maintenance cross-tie requires explicit safety and isolation justification.

BHT-400 purification/volume-control connects by smaller sidestreams in H-101; it does not occupy the four large primary-flow corridors.

Hot and cold primary lines are vertically separated in Freeze C0 (Z123 / Z113) to simplify support steel, break-zone analysis, drainability and maintenance access. This is an E choice, not canon.

# 4. Preliminary hydraulic geometry — deliberately not final

The inherited 4,714 kg/s/train flow makes single-pipe geometry extreme. Assuming hot pressurized-water density roughly 700–750 kg/m³ gives about 6.3–6.7 m³/s per train. A 1.2 m ID pipe would imply ~5.6–5.9 m/s; 1.4 m ID ~4.1–4.4 m/s; 1.6 m ID ~3.1–3.3 m/s. Freeze C0 therefore reserves a DN1200-class minimum physical corridor at equipment branches and DN1600-equivalent header space, but DOES NOT freeze final bore or wall thickness. Detailed pressure-drop, erosion/cavitation, pump head, transient and code-classification studies control final sizing.

# 5. Installation / maintenance sequence

Embedded plates, penetration sleeves and primary support steel precede closure of F-101/H-101 structural zones.

Machine-side blanket manifold bundles are installed during early machine assembly before later access is obstructed, consistent with ITER manifold sequencing precedent.

Large BHT bridge spools are installed before cable-tray/HVAC secondary services claim the corridor.

Steam generators/HXs and pumps enter H-101 through dedicated heavy-equipment doors/removable wall panels; motor/tube-bundle removal envelopes remain hard BIM volumes.

Pressure test, flushing, drying and cleanliness configurations are modeled separately from operating configuration; CRS-01 remains evidence-controlled and is not absorbed into permanent BHT geometry.

# 6. Authoritative research links

https://www.iter.org/node/20687/blanket-manifold-system-flows-through-its-final-design-review

https://www.iter.org/node/20687/final-design-achieved

https://www.iter.org/machine/supporting-systems/cooling-water

https://demo.qst.go.jp/reactor/9-plant.html

https://demo.qst.go.jp/news-topics/

https://www.cnsc-ccsn.gc.ca/eng/acts-and-regulations/regulatory-documents/published/html/regdoc2-5-2-v2/

https://www.asme.org/codes-standards/find-codes-standards/b31-1-power-piping

# Integrated controlled source — OFG_B05_BHT_Coordinate_Connection_Register_Rev3.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION PROJECT

B05 — BHT EQUIPMENT, PORT, LINE, SUPPORT & PENETRATION COORDINATE REGISTER

Freeze C0 model-control coordinates for four-train blanket heat transport and BHT-400 support equipment

SYSTEM & SITE ENGINEERING ENCYCLOPEDIA · REV 3 · TRANCHE C · 19 APRIL 2031 CONFIGURATION CUT

# 1. Status warning

All coordinates in this document are E model-control coordinates in OFG-LCS-01. They are internally coordinated with Tranche B but are not real survey coordinates and are not construction-issued dimensions. DN values marked E-prelim are reserved-space values pending hydraulic and code qualification.

# 2. Equipment reference points

| Tag | Description | E | N | Z | Rot | Status | Physical note |
| --- | --- | --- | --- | --- | --- | --- | --- |
| BHT-401-SG-101 | Vertical steam generator / primary HX | 930 | 790 | 100.5 | 0 | E | tube bundle vertical; secondary nozzles south/east; primary hot inlet Z~123, cold outlet Z~113 |
| BHT-401-P-101 | Main blanket coolant pump | 930 | 752 | 101.0 | 0 | E | horizontal/vertical pump package; motor removal toward south aisle |
| BHT-401-MOV-101 | Hot-leg isolation valve | 930 | 822 | 122.0 | 0 | E | hot-header branch isolation |
| BHT-401-MOV-102 | Cold-leg isolation valve | 930 | 815 | 112.0 | 0 | E | cold-header branch isolation |
| BHT-401-CV-103 | Main check valve | 930 | 770 | 111.5 | 0 | E | downstream of pump |
| BHT-401-STR-101 | Startup strainer | 930 | 735 | 110.5 | 0 | E | removable basket; lift access |
| BHT-401-SMP-101 | Chemistry sample panel | 942 | 775 | 102.0 | 0 | E | local sample conditioning |
| BHT-402-SG-101 | Vertical steam generator / primary HX | 975 | 790 | 100.5 | 0 | E | tube bundle vertical; secondary nozzles south/east; primary hot inlet Z~123, cold outlet Z~113 |
| BHT-402-P-101 | Main blanket coolant pump | 975 | 752 | 101.0 | 0 | E | horizontal/vertical pump package; motor removal toward south aisle |
| BHT-402-MOV-101 | Hot-leg isolation valve | 975 | 822 | 122.0 | 0 | E | hot-header branch isolation |
| BHT-402-MOV-102 | Cold-leg isolation valve | 975 | 815 | 112.0 | 0 | E | cold-header branch isolation |
| BHT-402-CV-103 | Main check valve | 975 | 770 | 111.5 | 0 | E | downstream of pump |
| BHT-402-STR-101 | Startup strainer | 975 | 735 | 110.5 | 0 | E | removable basket; lift access |
| BHT-402-SMP-101 | Chemistry sample panel | 987 | 775 | 102.0 | 0 | E | local sample conditioning |
| BHT-403-SG-101 | Vertical steam generator / primary HX | 1025 | 790 | 100.5 | 0 | E | tube bundle vertical; secondary nozzles south/east; primary hot inlet Z~123, cold outlet Z~113 |
| BHT-403-P-101 | Main blanket coolant pump | 1025 | 752 | 101.0 | 0 | E | horizontal/vertical pump package; motor removal toward south aisle |
| BHT-403-MOV-101 | Hot-leg isolation valve | 1025 | 822 | 122.0 | 0 | E | hot-header branch isolation |
| BHT-403-MOV-102 | Cold-leg isolation valve | 1025 | 815 | 112.0 | 0 | E | cold-header branch isolation |
| BHT-403-CV-103 | Main check valve | 1025 | 770 | 111.5 | 0 | E | downstream of pump |
| BHT-403-STR-101 | Startup strainer | 1025 | 735 | 110.5 | 0 | E | removable basket; lift access |
| BHT-403-SMP-101 | Chemistry sample panel | 1037 | 775 | 102.0 | 0 | E | local sample conditioning |
| BHT-404-SG-101 | Vertical steam generator / primary HX | 1070 | 790 | 100.5 | 0 | E | tube bundle vertical; secondary nozzles south/east; primary hot inlet Z~123, cold outlet Z~113 |
| BHT-404-P-101 | Main blanket coolant pump | 1070 | 752 | 101.0 | 0 | E | horizontal/vertical pump package; motor removal toward south aisle |
| BHT-404-MOV-101 | Hot-leg isolation valve | 1070 | 822 | 122.0 | 0 | E | hot-header branch isolation |
| BHT-404-MOV-102 | Cold-leg isolation valve | 1070 | 815 | 112.0 | 0 | E | cold-header branch isolation |
| BHT-404-CV-103 | Main check valve | 1070 | 770 | 111.5 | 0 | E | downstream of pump |
| BHT-404-STR-101 | Startup strainer | 1070 | 735 | 110.5 | 0 | E | removable basket; lift access |
| BHT-404-SMP-101 | Chemistry sample panel | 1082 | 775 | 102.0 | 0 | E | local sample conditioning |
| BHT-400-PRZ-101 | Pressurizer | 1080 | 805 | 101.0 | 0 | E | upper nozzle to hot/common pressure-control connection |
| BHT-400-MUT-101 | Makeup/volume control tank | 1080 | 760 | 100.5 | 0 | E | bunded equipment cell |
| BHT-400-IX-101 | Purification ion-exchange skid | 1045 | 742 | 100.3 | 0 | E | sidestream |
| BHT-400-FLT-101 | Purification filter skid | 1025 | 742 | 100.3 | 0 | E | sidestream |
| BHT-400-CHM-101 | Chemistry dosing skid | 1065 | 742 | 100.3 | 0 | E | sidestream |
| TMP-BHT-401-CRS-01 | Temporary commissioning recirculation skid | 915 | 742 | 100.2 | 0 | C/E | preserved commissioning bay; exact internal as-built dimensions OPEN |

# 3. Ports / nozzles

| Port | Parent | Function | E | N | Z | AxisE | AxisN | AxisZ | Size | Service | Mate | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BHT-401-SG-101-N1 | BHT-401-SG-101 | Primary hot inlet | 930 | 790 | 123.0 | 1 | 0 | 0 | DN1200 | BHT-HOT | BHT-401-MOV-101-P2 | E-prelim |
| BHT-401-SG-101-N2 | BHT-401-SG-101 | Primary cold outlet | 930 | 790 | 113.0 | 1 | 0 | 0 | DN1200 | BHT-COLD | BHT-401-P-101-SUC | E-prelim |
| BHT-401-P-101-SUC | BHT-401-P-101 | Pump suction | 930 | 752 | 111.0 | 0 | 1 | 0 | DN1200 | BHT-COLD | BHT-401-SG-101-N2 | E-prelim |
| BHT-401-P-101-DIS | BHT-401-P-101 | Pump discharge | 930 | 752 | 113.0 | 0 | -1 | 0 | DN1200 | BHT-COLD | BHT-401-CV-103-P1 | E-prelim |
| BHT-402-SG-101-N1 | BHT-402-SG-101 | Primary hot inlet | 975 | 790 | 123.0 | 1 | 0 | 0 | DN1200 | BHT-HOT | BHT-402-MOV-101-P2 | E-prelim |
| BHT-402-SG-101-N2 | BHT-402-SG-101 | Primary cold outlet | 975 | 790 | 113.0 | 1 | 0 | 0 | DN1200 | BHT-COLD | BHT-402-P-101-SUC | E-prelim |
| BHT-402-P-101-SUC | BHT-402-P-101 | Pump suction | 975 | 752 | 111.0 | 0 | 1 | 0 | DN1200 | BHT-COLD | BHT-402-SG-101-N2 | E-prelim |
| BHT-402-P-101-DIS | BHT-402-P-101 | Pump discharge | 975 | 752 | 113.0 | 0 | -1 | 0 | DN1200 | BHT-COLD | BHT-402-CV-103-P1 | E-prelim |
| BHT-403-SG-101-N1 | BHT-403-SG-101 | Primary hot inlet | 1025 | 790 | 123.0 | 1 | 0 | 0 | DN1200 | BHT-HOT | BHT-403-MOV-101-P2 | E-prelim |
| BHT-403-SG-101-N2 | BHT-403-SG-101 | Primary cold outlet | 1025 | 790 | 113.0 | 1 | 0 | 0 | DN1200 | BHT-COLD | BHT-403-P-101-SUC | E-prelim |
| BHT-403-P-101-SUC | BHT-403-P-101 | Pump suction | 1025 | 752 | 111.0 | 0 | 1 | 0 | DN1200 | BHT-COLD | BHT-403-SG-101-N2 | E-prelim |
| BHT-403-P-101-DIS | BHT-403-P-101 | Pump discharge | 1025 | 752 | 113.0 | 0 | -1 | 0 | DN1200 | BHT-COLD | BHT-403-CV-103-P1 | E-prelim |
| BHT-404-SG-101-N1 | BHT-404-SG-101 | Primary hot inlet | 1070 | 790 | 123.0 | 1 | 0 | 0 | DN1200 | BHT-HOT | BHT-404-MOV-101-P2 | E-prelim |
| BHT-404-SG-101-N2 | BHT-404-SG-101 | Primary cold outlet | 1070 | 790 | 113.0 | 1 | 0 | 0 | DN1200 | BHT-COLD | BHT-404-P-101-SUC | E-prelim |
| BHT-404-P-101-SUC | BHT-404-P-101 | Pump suction | 1070 | 752 | 111.0 | 0 | 1 | 0 | DN1200 | BHT-COLD | BHT-404-SG-101-N2 | E-prelim |
| BHT-404-P-101-DIS | BHT-404-P-101 | Pump discharge | 1070 | 752 | 113.0 | 0 | -1 | 0 | DN1200 | BHT-COLD | BHT-404-CV-103-P1 | E-prelim |

# 4. Primary line centreline endpoints

| Line | Function | E1 | N1 | Z1 | E2 | N2 | Z2 | Size | Class | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BHT-401-HL-001 | Hot leg: machine header to MOV101 | 930 | 944 | 123 | 930 | 822 | 123 | DN1200 | High-energy, insulated, shielded as required | E-prelim |
| BHT-401-HL-002 | MOV101 to SG hot inlet | 930 | 822 | 123 | 930 | 790 | 123 | DN1200 | High-energy | E-prelim |
| BHT-401-CL-001 | SG cold outlet to pump suction | 930 | 790 | 113 | 930 | 752 | 111 | DN1200 | High-energy; slope/drain TBD stress | E-prelim |
| BHT-401-CL-002 | Pump discharge to check valve / cold return | 930 | 752 | 113 | 930 | 835 | 113 | DN1200 | High-energy | E-prelim |
| BHT-401-CL-003 | Cold return bridge to machine header | 930 | 835 | 113 | 930 | 944 | 113 | DN1200 | High-energy | E-prelim |
| BHT-402-HL-001 | Hot leg: machine header to MOV101 | 975 | 944 | 123 | 975 | 822 | 123 | DN1200 | High-energy, insulated, shielded as required | E-prelim |
| BHT-402-HL-002 | MOV101 to SG hot inlet | 975 | 822 | 123 | 975 | 790 | 123 | DN1200 | High-energy | E-prelim |
| BHT-402-CL-001 | SG cold outlet to pump suction | 975 | 790 | 113 | 975 | 752 | 111 | DN1200 | High-energy; slope/drain TBD stress | E-prelim |
| BHT-402-CL-002 | Pump discharge to check valve / cold return | 975 | 752 | 113 | 975 | 835 | 113 | DN1200 | High-energy | E-prelim |
| BHT-402-CL-003 | Cold return bridge to machine header | 975 | 835 | 113 | 975 | 944 | 113 | DN1200 | High-energy | E-prelim |
| BHT-403-HL-001 | Hot leg: machine header to MOV101 | 1025 | 944 | 123 | 1025 | 822 | 123 | DN1200 | High-energy, insulated, shielded as required | E-prelim |
| BHT-403-HL-002 | MOV101 to SG hot inlet | 1025 | 822 | 123 | 1025 | 790 | 123 | DN1200 | High-energy | E-prelim |
| BHT-403-CL-001 | SG cold outlet to pump suction | 1025 | 790 | 113 | 1025 | 752 | 111 | DN1200 | High-energy; slope/drain TBD stress | E-prelim |
| BHT-403-CL-002 | Pump discharge to check valve / cold return | 1025 | 752 | 113 | 1025 | 835 | 113 | DN1200 | High-energy | E-prelim |
| BHT-403-CL-003 | Cold return bridge to machine header | 1025 | 835 | 113 | 1025 | 944 | 113 | DN1200 | High-energy | E-prelim |
| BHT-404-HL-001 | Hot leg: machine header to MOV101 | 1070 | 944 | 123 | 1070 | 822 | 123 | DN1200 | High-energy, insulated, shielded as required | E-prelim |
| BHT-404-HL-002 | MOV101 to SG hot inlet | 1070 | 822 | 123 | 1070 | 790 | 123 | DN1200 | High-energy | E-prelim |
| BHT-404-CL-001 | SG cold outlet to pump suction | 1070 | 790 | 113 | 1070 | 752 | 111 | DN1200 | High-energy; slope/drain TBD stress | E-prelim |
| BHT-404-CL-002 | Pump discharge to check valve / cold return | 1070 | 752 | 113 | 1070 | 835 | 113 | DN1200 | High-energy | E-prelim |
| BHT-404-CL-003 | Cold return bridge to machine header | 1070 | 835 | 113 | 1070 | 944 | 113 | DN1200 | High-energy | E-prelim |

# 5. Machine headers

| ID | Function | Building | E | N | Z | R | Reserved size | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BHT-HH-U | Blanket hot collection ring/header | F-101 | 1000 | 1000 | 123 | 38.0 | DN1600-equivalent bundle/header | E-prelim; final branch count from blanket heat map |
| BHT-CH-U | Blanket cold distribution ring/header | F-101 | 1000 | 1000 | 113 | 38.0 | DN1600-equivalent bundle/header | E-prelim |

# 6. Support/stress nodes

| Support | Train | E | N | Z | Type | Status | Qualification note |
| --- | --- | --- | --- | --- | --- | --- | --- |
| BHT-401-SUP-001 | 401 | 930 | 930 | 123 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-401-SUP-002 | 401 | 930 | 905 | 123 | Rest | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-401-SUP-003 | 401 | 930 | 875 | 123 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-401-SUP-004 | 401 | 930 | 845 | 123 | Anchor candidate | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-401-SUP-005 | 401 | 930 | 930 | 113 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-401-SUP-006 | 401 | 930 | 900 | 113 | Rest | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-401-SUP-007 | 401 | 930 | 870 | 113 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-401-SUP-008 | 401 | 930 | 840 | 113 | Anchor candidate | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-402-SUP-001 | 402 | 975 | 930 | 123 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-402-SUP-002 | 402 | 975 | 905 | 123 | Rest | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-402-SUP-003 | 402 | 975 | 875 | 123 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-402-SUP-004 | 402 | 975 | 845 | 123 | Anchor candidate | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-402-SUP-005 | 402 | 975 | 930 | 113 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-402-SUP-006 | 402 | 975 | 900 | 113 | Rest | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-402-SUP-007 | 402 | 975 | 870 | 113 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-402-SUP-008 | 402 | 975 | 840 | 113 | Anchor candidate | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-403-SUP-001 | 403 | 1025 | 930 | 123 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-403-SUP-002 | 403 | 1025 | 905 | 123 | Rest | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-403-SUP-003 | 403 | 1025 | 875 | 123 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-403-SUP-004 | 403 | 1025 | 845 | 123 | Anchor candidate | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-403-SUP-005 | 403 | 1025 | 930 | 113 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-403-SUP-006 | 403 | 1025 | 900 | 113 | Rest | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-403-SUP-007 | 403 | 1025 | 870 | 113 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-403-SUP-008 | 403 | 1025 | 840 | 113 | Anchor candidate | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-404-SUP-001 | 404 | 1070 | 930 | 123 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-404-SUP-002 | 404 | 1070 | 905 | 123 | Rest | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-404-SUP-003 | 404 | 1070 | 875 | 123 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-404-SUP-004 | 404 | 1070 | 845 | 123 | Anchor candidate | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-404-SUP-005 | 404 | 1070 | 930 | 113 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-404-SUP-006 | 404 | 1070 | 900 | 113 | Rest | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-404-SUP-007 | 404 | 1070 | 870 | 113 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-404-SUP-008 | 404 | 1070 | 840 | 113 | Anchor candidate | E-prelim | Final restraint directions/loads require flexibility + transient analysis |

# 7. Penetrations

| ID | Boundary | E | N | Z | Opening | Service | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PEN-F101-BHT-401-H | F-101 south wall | 930 | 944 | 123 | 3.0x3.0 m reserved opening | hot leg | E |
| PEN-F101-BHT-401-C | F-101 south wall | 930 | 944 | 113 | 3.0x3.0 m reserved opening | cold leg | E |
| PEN-H101-BHT-401-H | H-101 north wall | 930 | 835 | 123 | 3.0x3.0 m reserved opening | hot leg | E |
| PEN-H101-BHT-401-C | H-101 north wall | 930 | 835 | 113 | 3.0x3.0 m reserved opening | cold leg | E |
| PEN-F101-BHT-402-H | F-101 south wall | 975 | 944 | 123 | 3.0x3.0 m reserved opening | hot leg | E |
| PEN-F101-BHT-402-C | F-101 south wall | 975 | 944 | 113 | 3.0x3.0 m reserved opening | cold leg | E |
| PEN-H101-BHT-402-H | H-101 north wall | 975 | 835 | 123 | 3.0x3.0 m reserved opening | hot leg | E |
| PEN-H101-BHT-402-C | H-101 north wall | 975 | 835 | 113 | 3.0x3.0 m reserved opening | cold leg | E |
| PEN-F101-BHT-403-H | F-101 south wall | 1025 | 944 | 123 | 3.0x3.0 m reserved opening | hot leg | E |
| PEN-F101-BHT-403-C | F-101 south wall | 1025 | 944 | 113 | 3.0x3.0 m reserved opening | cold leg | E |
| PEN-H101-BHT-403-H | H-101 north wall | 1025 | 835 | 123 | 3.0x3.0 m reserved opening | hot leg | E |
| PEN-H101-BHT-403-C | H-101 north wall | 1025 | 835 | 113 | 3.0x3.0 m reserved opening | cold leg | E |
| PEN-F101-BHT-404-H | F-101 south wall | 1070 | 944 | 123 | 3.0x3.0 m reserved opening | hot leg | E |
| PEN-F101-BHT-404-C | F-101 south wall | 1070 | 944 | 113 | 3.0x3.0 m reserved opening | cold leg | E |
| PEN-H101-BHT-404-H | H-101 north wall | 1070 | 835 | 123 | 3.0x3.0 m reserved opening | hot leg | E |
| PEN-H101-BHT-404-C | H-101 north wall | 1070 | 835 | 113 | 3.0x3.0 m reserved opening | cold leg | E |

# Integrated controlled source — OFG_B06_BHT_Hazard_Maintenance_Constructability_Rev3.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION PROJECT

B06 — BHT SPATIAL HAZARD, MAINTENANCE & CONSTRUCTABILITY COORDINATION

Pipe-break/jet/whip, flooding, shielding, lifting, removal, access and temporary-work constraints

SYSTEM & SITE ENGINEERING ENCYCLOPEDIA · REV 3 · TRANCHE C · 19 APRIL 2031 CONFIGURATION CUT

# 1. High-energy line zones

| Zone | Physical rule | Reason / authority |
| --- | --- | --- |
| Hot-leg corridors | No redundant safety/I&C divisions inside unqualified break/jet/whip envelope; structural barriers where separation impossible. | CNSC internal hazards. |
| Cold-leg corridors | Drainage capacity and flood propagation paths explicitly modelled; penetrations sealed/curbed by flood compartment. | CNSC flooding initiators. |
| Pump cells | Rotating-equipment missile/vibration envelope, motor pull space, coupling access, seal-leak collection. | CNSC missile + maintenance. |
| Steam-generator cells | Tube-bundle/internal inspection access, relief discharge route, secondary-side isolation, lifting/removal path. | Maintainability + pressure boundary. |
| Activated-water areas | Occupancy/access zoning and shielding determined after N-16/N-17 source-term calculation; do not assume routine hands-on access. | QST DEMO precedent. |

# 2. Mandatory BIM envelopes

| Object | Envelope retained |
| --- | --- |
| Each SG/HX | Body + insulation + tube/primary inspection + lifting + replacement trajectory. |
| Each main pump | Base/foundation + motor/coupling pull + seal/bearing service + crane hook approach. |
| MOV/check valves | Actuator/bonnet removal + local work platform + rigging access. |
| Strainers | Basket removal + contaminated drain/collection zone. |
| Large pipe | Insulation + support steel + thermal displacement + stress-analysis movement envelope. |
| Penetration | Sleeve/seal + inspection access + local restraint/support + fire/flood/confinement closure. |

# 3. CRS-01 preservation boundary

The temporary CRS-01 bay remains a distinct configuration/evidence zone. No permanent BHT reroute, demolition, support modification or housekeeping action may erase as-found relationships until the investigation evidence release is documented. A03 explicitly requires comparison of design, installed/as-left, 10 April photographic baseline, M-88217 state and post-event as-found condition.

# Integrated controlled source — OFG_B07_Backward_Propagation_Canon_Conflict_Register_Rev3.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION PROJECT

B07 — BACKWARD-PROPAGATION AUDIT, CANON DECISION & CONFLICT REGISTER

Changes induced by Tranche C in previously completed Rev 3 work; unresolved conflicts retained rather than silently reconciled

SYSTEM & SITE ENGINEERING ENCYCLOPEDIA · REV 3 · TRANCHE C · 19 APRIL 2031 CONFIGURATION CUT

# 1. Backward-propagation changes

| Packet | Old statement/state | New statement/state | Reason | Affected packets | Canon status |
| --- | --- | --- | --- | --- | --- |
| A00 §2/§3 | Four BHT trains and 4,714 kg/s/train only; no spatial consequence. | Four-train flow now reserves four independent large-bore F101↔H101 corridors; final diameter remains OPEN/E-prelim. | Physical feasibility of inherited mass flow requires unusually large flow area. | A00,A03,B01,B02,B03 | E qualified; not canon change |
| A03 §3 | Parallel blanket-sector branches collect to hot header and return through cold header. | Machine-side architecture expanded to backplate/sector manifolds → upper hot/cold ring/header → four train branches; branch allocation still OPEN. | ITER + QST manifold precedent. | A03,B02,B04-B06 | E expansion |
| B01 site configuration | H-101 south of F-101 with generic BHT corridor. | H-101 relationship retained, but BHT bridge/gallery now occupies four train lanes with hot/cold vertical separation. | Detailed BHT physical routing. | B01,B02 | E refinement |
| B02 protected zone | MC-BHT-SOUTH generic E945–1055 / N830–950 / Z104–132. | Zone is now internally partitioned into four train axes E930/975/1025/1070 and hot/cold Z123/113 centreline bands. | Tranche C coordination. | B02,B05 | E refinement |
| B03 BIM handoff | Process ports require XYZ, size, class, endpoint. | First BHT port and penetration population now instantiated; DN is explicitly preliminary pending hydraulic/code closure. | Model population begins. | B03,B05 | E partial closure |
| A03 §7 | Pipe/header diameter, transient, stress/support analysis listed as future calculations. | Still unresolved. Coordinate freeze creates stress nodes and reserved sizes but does not claim calculation closure. | Avoid false completion. | A03,B05,B06 | O retained |

# 2. Canon / engineering decisions

| ID | Decision | Status | Basis |
| --- | --- | --- | --- |
| CDR-C-001 | Retain 16-sector / 80 blanket replaceable canon unchanged. | C | Rev N/A00 |
| CDR-C-002 | Retain four main BHT trains. | E inherited | A03 |
| CDR-C-003 | Use upper blanket hot/cold collection/distribution zone; do not merge with lower divertor ring. | E/R | QST DEMO physical precedent. |
| CDR-C-004 | Use four laterally separated train corridors between F-101 and H-101. | E | Flow scale + maintainability/common-cause control. |
| CDR-C-005 | Freeze hot/cold corridor elevations at Z123/Z113 only as Freeze C0 model-control values. | E revisable | Spatial coordination. |
| CDR-C-006 | Do not freeze pipe bore/wall thickness, pump head, SG duty split, support loads or break zones until calculations close. | O | Insufficient source/calc basis. |
| CDR-C-007 | Preserve CRS-01 geometry/evidence independently from permanent BHT design. | C/O | A03 forensic boundary. |

# 3. Conflicts / open engineering questions

The inherited 18,857 kg/s total BHT flow is physically very large. It is mathematically consistent with A00's 3,300 MW / cp 5.0 / ΔT35 K basis, but the resulting pipe sizes, pump power and pressure losses must be checked before the reference point is allowed to harden.

A03 names one pump and one steam-generator/HX per train as the working registered equipment population. At this flow scale, whether one physical unit per train is credible remains OPEN pending equipment/vendor-equivalent sizing. Do not silently multiply equipment yet.

QST JA-DEMO places ring headers and heat exchangers in the tokamak building, while OFG canon has a distinct H-101 Primary Heat Transport / Steam Generator Annex. OFG therefore uses QST as functional precedent, not copied building placement.

Activated-water shielding/access from N-16/N-17 production is now a required analysis dependency. No fixed shield thickness is invented in this tranche.

Pressure-boundary code classification for fusion nuclear heat transport in fictional 2031 Canada is not uniquely determined by the cited public sources. ASME B31.1 is used only as a power-piping design reference here; nuclear pressure-boundary classification remains a separate licensing/design-basis task.

# Integrated controlled source — OFG_D00_BHT_Computational_Verification_Iteration1.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

OFG REV 3 — TRANCHE D

COMPUTATIONAL PHYSICAL-PLACEMENT & SYSTEM VERIFICATION — BHT ITERATION 1

# 1. Purpose

This is a computational verification pass, not a prose-only design note. It tests the current BHT Freeze C0 geometry against mass/energy closure, preliminary hydraulic feasibility, corridor spacing and protected-volume conflicts. Failed/open tests remain design actions.

# 2. Source/canon inputs

Inherited Rev 3 basis: 18,857 kg/s total BHT flow; four trains; 4,714 kg/s nominal/train; 3,300 MWth recovered blanket heat; F-101/H-101 relationship; four train axes E930/975/1025/1070 and hot/cold bands Z123/Z113. These are not silently changed by the model.

# 3. Hydraulic sensitivity

| ID m | Area m² | v m/s | Re | f | ΔP/300m MPa | Head m | Pump MW |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1.2 | 1.131 | 5.75 | 5.558e+07 | 0.0101 | 0.030 | 4.3 | 0.2 |
| 1.4 | 1.539 | 4.22 | 4.764e+07 | 0.0099 | 0.014 | 1.9 | 0.1 |
| 1.6 | 2.011 | 3.23 | 4.168e+07 | 0.0097 | 0.007 | 1.0 | 0.1 |
| 1.8 | 2.545 | 2.56 | 3.705e+07 | 0.0095 | 0.004 | 0.5 | 0.0 |
| 2.0 | 3.142 | 2.07 | 3.335e+07 | 0.0094 | 0.002 | 0.3 | 0.0 |

The 300 m equivalent length is a sensitivity assumption only. It is not the final BHT equivalent length. The result is used to test whether the current reserved flow area is physically credible before detailed routing and component sizing.

# 4. Spatial verification

| Train A | Train B | Axis sep m | Gross clear m | Result |
| --- | --- | --- | --- | --- |
| 401 | 402 | 45 | 43.4 | PASS |
| 402 | 403 | 50 | 48.4 | PASS |
| 403 | 404 | 45 | 43.4 | PASS |

# 5. Protected-zone intersections

| Segment | Zone | Status |
| --- | --- | --- |
| BHT-401-HL-001 | MC-BUSBAR-WEST | REVIEW |
| BHT-401-CL-003 | MC-BUSBAR-WEST | REVIEW |
| BHT-403-HL-001 | MC-NBI-SE | REVIEW |
| BHT-403-CL-003 | MC-NBI-SE | REVIEW |
| BHT-404-HL-001 | MC-NBI-SE | REVIEW |
| BHT-404-CL-003 | MC-NBI-SE | REVIEW |

These are coarse axis-aligned bounding-box intersections, deliberately conservative. Each intersection is a coordination action, not automatically a physical collision. The next iteration must classify intended interfaces versus prohibited overlap.

# 6. Validation matrix

| ID | Test | Result | Metric | Criterion | Required action |
| --- | --- | --- | --- | --- | --- |
| V-D-001 | Mass/energy balance reproduces inherited 3,300 MWth basis | PASS | 3299.97 MW | 3300 ±1 MW | None |
| V-D-002 | Candidate primary diameter meets preliminary velocity screen | PASS | first passing D=1.6 m, v=3.23 m/s | v ≤4.0 m/s (E screening criterion) | Adopt ≥1.6 m ID reserved corridor pending full hydraulic/code study |
| V-D-003 | Adjacent train corridors preserve gross maintenance separation | PASS | minimum clear 43.4 m | ≥6 m E-screen | None at Freeze C0 |
| V-D-004 | BHT segments avoid protected non-BHT volumes in coarse box model | FAIL | 6 coarse intersections | 0 unresolved hard intersections | Review each coarse intersection; distinguish intended shared interface from prohibited clash |
| V-D-005 | Pairwise large-bore pipe clearance | FAIL | 16 failures | 0 | Adjust centrelines if any |
| V-D-006 | Final pipe stress/support qualification | OPEN | not calculated | Code + transient + seismic + thermal flexibility | Do not freeze supports |
| V-D-007 | Pipe break/jet/whip qualification | OPEN | not calculated | CNSC internal hazard closure | Generate break nodes and barrier/restraint design after stress model |
| V-D-008 | Pump NPSH/head and SG sizing | OPEN | not calculated | Hydraulic + thermal equipment closure | Vendor-equivalent sizing model required |

# 7. Design disposition

Iteration 1 does NOT validate the BHT as construction-ready. It validates that the four-train spatial separation is generous and that a ≥1.6 m-class reserved primary flow corridor is a credible starting point under the inherited flow basis. It does not validate pressure-boundary thickness, pump head/NPSH, steam-generator size, transient response, seismic/thermal flexibility, support loads, break/jet/whip zones, activated-water shielding or code classification.

The next BHT iteration must therefore build a node-edge hydraulic network from blanket sectors to H-101, solve pressure losses and pump operating point, generate a beam/spring piping flexibility surrogate, and feed resulting displacement/reaction envelopes back into the 3-D coordination model before the BHT geometry can advance from Freeze C0.

# Integrated controlled source — OFG_E00_Fundamental_Engineering_BHT_Iteration2.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

OFG REV 3 — TRANCHE E

FUNDAMENTAL ENGINEERING DISCIPLINE EXPANSION — BHT ITERATION 2

# 1. Change in verification boundary

The BHT is no longer checked only as a geometric routing problem. This iteration treats physical configuration as the intersection of fluid mechanics, heat transfer, thermodynamics, solid mechanics, structural dynamics, materials, fracture, vibration, seismic, activation/shielding, electromagnetics, chemistry, controls, reliability, maintainability, hazards, manufacturing and construction. A coordinate is not valid merely because it is clash-free.

# 2. Computational network

The model resolves 4 trains → 16 sectors → 80 blanket replaceables. Equal-flow initialization gives 4,714.2 kg/s/train, 1,178.6 kg/s/sector and 235.7 kg/s/blanket. Equal flow is an initialization assumption, not a final blanket heat map.

| Element | Flow kg/s | ID m | L m | K | Velocity m/s | ΔP MPa |
| --- | --- | --- | --- | --- | --- | --- |
| Train hot trunk | 4714.2 | 1.6 | 180 | 8.0 | 3.23 | 0.034 |
| Train cold trunk | 4714.2 | 1.6 | 190 | 8.0 | 3.23 | 0.035 |
| Sector branch | 1178.6 | 0.8 | 55 | 12.0 | 3.23 | 0.048 |
| Blanket module branch | 235.7 | 0.3 | 18 | 18.0 | 4.60 | 0.144 |

With explicit preliminary equipment/internal drops, the current surrogate loop is 1.70 MPa and requires approximately 13.0 MW shaft power per train at 85% pump efficiency. These are screening outputs, not final equipment duties.

# 3. Fundamental mechanical consequences

A straight 180 m hot run heated from 20 °C installation temperature to 325 °C would have about 878 mm unconstrained thermal growth using α=1.6e-05/K. Therefore the current straight corridor cannot be treated as a rigidly anchored line. Flexibility, offsets/loops, sliding guides and nozzle-load limits must drive the next geometry.

| ID m | Area m² | Pressure thrust at 15.5 MPa, MN |
| --- | --- | --- |
| 0.30 | 0.071 | 1.1 |
| 0.80 | 0.503 | 7.8 |
| 1.60 | 2.011 | 31.2 |
| 1.80 | 2.545 | 39.4 |
| 2.00 | 3.142 | 48.7 |

The thrust table is a force-scale screen, not a code break-load calculation. It demonstrates why support steel, anchors, penetrations and adjacent safety systems cannot be coordinated independently of piping mechanics.

# 4. Transient sensitivity

| Wave speed m/s | ΔV m/s | Joukowsky ΔP MPa |
| --- | --- | --- |
| 800 | 0.5 | 0.29 |
| 800 | 1.0 | 0.58 |
| 800 | 2.0 | 1.16 |
| 800 | 3.0 | 1.74 |
| 1000 | 0.5 | 0.36 |
| 1000 | 1.0 | 0.72 |
| 1000 | 2.0 | 1.45 |
| 1000 | 3.0 | 2.17 |
| 1200 | 0.5 | 0.43 |
| 1200 | 1.0 | 0.87 |
| 1200 | 2.0 | 1.74 |
| 1200 | 3.0 | 2.61 |

This sensitivity establishes that even modest rapid velocity changes can add multi-MPa pressure excursions. The next model therefore requires a time-domain hydraulic transient solver; steady Darcy losses alone cannot validate the BHT.

# 5. Fundamental discipline closure matrix

| Discipline | Required engineering | Status | Finding |
| --- | --- | --- | --- |
| Fluid mechanics | Network continuity, Darcy-Weisbach losses, local losses, Reynolds/friction, branch balancing, cavitation/NPSH, water hammer | PARTIAL | Network surrogate solved; pump curve/NPSH/transient remain open. |
| Heat transfer / thermodynamics | Q=m cp ΔT, SG duty, wall/film coefficients, heat loss, thermal transients | PARTIAL | Bulk energy closes; detailed HX/blanket coefficients and transient thermal fields open. |
| Solid mechanics / piping flexibility | Pressure thrust, deadweight, thermal expansion, support stiffness, nozzle loads, ratcheting/fatigue | SCREENED | Free thermal growth and thrust magnitudes computed; code stress model open. |
| Structural / civil | Support reactions, anchor groups, steel/concrete load path, vibration, seismic in-structure response | OPEN | Requires building FE/response spectra and support reactions. |
| Materials / metallurgy | Strength, fracture toughness, irradiation, corrosion, SCC, fatigue, weldability, erosion/FAC | OPEN | No final material selection; design must qualify against service environment. |
| Fracture mechanics / LBB | Critical flaw, stable tearing, leak rate/detection, degradation mechanisms | OPEN | CNSC permits LBB only with qualified methodology; no LBB claim. |
| Vibration / rotordynamics | Pump rotor criticals, hydraulic excitation, pipe acoustic/mechanical modes, vortex shedding | OPEN | Requires vendor rotor model and detailed spans/support stiffness. |
| Seismic dynamics | DBE/BDBE, inertial/kinematic multi-support input, equipment/support qualification | OPEN | Site-specific spectra and structural model required. |
| Nuclear / activation | N-16/N-17 source, activated corrosion products, shielding/access zoning, decay heat | OPEN | QST precedent makes this a mandatory geometry dependency. |
| Electromagnetics | Disruption-induced currents/forces in blanket manifolds/supports, grounding/isolation | OPEN | ITER precedent demonstrates EM/thermal support conflict; HFRP disruption loads required. |
| Chemistry / corrosion | pH/redox/DO/conductivity, purification, material compatibility, crud/ACP transport | OPEN | BHT-400 exists; chemistry regime not yet qualified. |
| Control / instrumentation | Flow/P/T/DP/vibration/leak detection, control valves, trips, sensor dynamics, redundancy | OPEN | Measurement architecture not yet computationally closed. |
| Reliability / RAMI | Train isolation, common cause, maintainability, spares, outage replacement | OPEN | Four-train geometry supports separation but RAMI allocation not solved. |
| Human factors / maintainability | Access, lifting, dose, valve/instrument reach, escape, tooling | PARTIAL | Large maintenance corridors reserved; task analysis open. |
| Fire / flooding / hazards | Pipe break, jet, whip, flood, fire barriers, drainage, missiles | OPEN | CNSC requires explicit analysis; coarse spatial screens only. |
| Manufacturing / welding / NDE | Forging/plate limits, weld access, PWHT, NDE, tolerances, transportability | OPEN | Large-bore manufacturability is now a critical design dependency. |
| Construction / erection | Module size, lift sequence, temporary supports, field welds, hydrotest/flushing | PARTIAL | Route and access concept exists; work-package level sequence open. |
| Configuration / BIM | Stable IDs, ports, coordinates, support nodes, penetrations, change provenance | PARTIAL | Computational graph exists; component geometry/IFC-level population incomplete. |

# 6. Validation matrix

| ID | Test | Status | Metric | Criterion | Next action |
| --- | --- | --- | --- | --- | --- |
| E-V001 | Energy balance | PASS | 3300.0 MW | 3300 MW inherited basis | None |
| E-V002 | Train trunk velocity screen | PASS | 3.23 m/s | ≤4 m/s E screen | Increase trunk ID/parallelize if failed |
| E-V003 | Sector branch velocity screen | PASS | 3.23 m/s | ≤5 m/s E screen | Resize sector branch |
| E-V004 | Module branch velocity screen | PASS | 4.60 m/s | ≤6 m/s E screen | Resize module branch |
| E-V005 | Total preliminary loop ΔP | SCREEN | 1.70 MPa | No fixed acceptance until pump/system design | Use for pump/HX architecture iteration |
| E-V006 | Preliminary pump shaft power | SCREEN | 13.0 MW/train | Must fit plant house-load and vendor feasibility | Feed electrical/thermal balance |
| E-V007 | Thermal growth of 180 m hot run | FAIL-AS-RIGID | 878 mm free growth | Must be accommodated by layout/support flexibility | Add loops/offsets/sliding guides; run flexibility model |
| E-V008 | 1.6 m full-bore pressure thrust scale | SCREEN | 31.2 MN | No direct allowable; load case input | Use in break/restraint/anchor design |
| E-V009 | Water hammer sensitivity | SCREEN | 2.61 MPa max sensitivity | Transient-specific acceptance | Build method-of-characteristics model |
| E-V010 | NPSH/cavitation validation | OPEN | static pressure head equiv. 2180 m | NPSHa > NPSHr + project margin | Need pump suction pressure/elevation/curve |
| E-V011 | Seismic qualification | OPEN | No site spectrum/model | CNSC/CSA/ASCE qualification | Build structural + subsystem dynamics |
| E-V012 | Fracture/LBB | OPEN | No flaw/leak model | Qualified CNSC methodology if credited | Materials + fracture + leak detection model |
| E-V013 | Activation/shielding | OPEN | No N-16/N-17 source term | Dose/access criteria | Neutronics/activation source model |
| E-V014 | EM disruption loads | OPEN | No HFRP disruption current/load case | Machine disruption envelope | Coupled EM/structural model |

# 7. Research-derived design controls

ITER's blanket manifold precedent demonstrates that fusion blanket cooling is not ordinary plant piping: its water bundles are routed mainly through upper ports, carry 3,120 kg/s in aggregate, remove up to 736 MW, and require supports that are electrically insulating yet thermally conducting because disruption-induced electromagnetic forces and nuclear heating act simultaneously. This expands OFG support design into a coupled thermal–structural–electromagnetic problem.

CNSC REGDOC-2.5.2 requires pressure-retaining codes commensurate with safety class, stress/deformation analysis for initiating-event loads, consideration of water hammer, fatigue and flow-accelerated corrosion where LBB is proposed, and seismic qualification using building/subsystem response. Therefore no BHT coordinate, support or penetration can reach final freeze until those load cases are attached to the model.

# 8. Iteration disposition

Iteration 2 rejects the idea that the BHT can be finalized from a centreline model alone. The 1.6 m trunk remains geometrically plausible under the present velocity screen, but the design is not validated. The next BHT iteration must add: (1) nonuniform blanket heat/flow balancing; (2) pump/system curve intersection and NPSH; (3) method-of-characteristics transient analysis; (4) beam/spring thermal-flexibility model with support reactions and nozzle loads; (5) material/corrosion/fatigue screening; (6) activation/shielding source terms; and (7) disruption electromagnetic load cases. Those results will move or resize components if required.

# Controlled register — OFG_B05_BHT_Equipment_Coordinates.csv

| Tag | Description | E | N | Z | Rotation | Status | Note |
| --- | --- | --- | --- | --- | --- | --- | --- |
| BHT-401-SG-101 | Vertical steam generator / primary HX | 930 | 790 | 100.5 | 0 | E | tube bundle vertical; secondary nozzles south/east; primary hot inlet Z~123, cold outlet Z~113 |
| BHT-401-P-101 | Main blanket coolant pump | 930 | 752 | 101.0 | 0 | E | horizontal/vertical pump package; motor removal toward south aisle |
| BHT-401-MOV-101 | Hot-leg isolation valve | 930 | 822 | 122.0 | 0 | E | hot-header branch isolation |
| BHT-401-MOV-102 | Cold-leg isolation valve | 930 | 815 | 112.0 | 0 | E | cold-header branch isolation |
| BHT-401-CV-103 | Main check valve | 930 | 770 | 111.5 | 0 | E | downstream of pump |
| BHT-401-STR-101 | Startup strainer | 930 | 735 | 110.5 | 0 | E | removable basket; lift access |
| BHT-401-SMP-101 | Chemistry sample panel | 942 | 775 | 102.0 | 0 | E | local sample conditioning |
| BHT-402-SG-101 | Vertical steam generator / primary HX | 975 | 790 | 100.5 | 0 | E | tube bundle vertical; secondary nozzles south/east; primary hot inlet Z~123, cold outlet Z~113 |
| BHT-402-P-101 | Main blanket coolant pump | 975 | 752 | 101.0 | 0 | E | horizontal/vertical pump package; motor removal toward south aisle |
| BHT-402-MOV-101 | Hot-leg isolation valve | 975 | 822 | 122.0 | 0 | E | hot-header branch isolation |
| BHT-402-MOV-102 | Cold-leg isolation valve | 975 | 815 | 112.0 | 0 | E | cold-header branch isolation |
| BHT-402-CV-103 | Main check valve | 975 | 770 | 111.5 | 0 | E | downstream of pump |
| BHT-402-STR-101 | Startup strainer | 975 | 735 | 110.5 | 0 | E | removable basket; lift access |
| BHT-402-SMP-101 | Chemistry sample panel | 987 | 775 | 102.0 | 0 | E | local sample conditioning |
| BHT-403-SG-101 | Vertical steam generator / primary HX | 1025 | 790 | 100.5 | 0 | E | tube bundle vertical; secondary nozzles south/east; primary hot inlet Z~123, cold outlet Z~113 |
| BHT-403-P-101 | Main blanket coolant pump | 1025 | 752 | 101.0 | 0 | E | horizontal/vertical pump package; motor removal toward south aisle |
| BHT-403-MOV-101 | Hot-leg isolation valve | 1025 | 822 | 122.0 | 0 | E | hot-header branch isolation |
| BHT-403-MOV-102 | Cold-leg isolation valve | 1025 | 815 | 112.0 | 0 | E | cold-header branch isolation |
| BHT-403-CV-103 | Main check valve | 1025 | 770 | 111.5 | 0 | E | downstream of pump |
| BHT-403-STR-101 | Startup strainer | 1025 | 735 | 110.5 | 0 | E | removable basket; lift access |
| BHT-403-SMP-101 | Chemistry sample panel | 1037 | 775 | 102.0 | 0 | E | local sample conditioning |
| BHT-404-SG-101 | Vertical steam generator / primary HX | 1070 | 790 | 100.5 | 0 | E | tube bundle vertical; secondary nozzles south/east; primary hot inlet Z~123, cold outlet Z~113 |
| BHT-404-P-101 | Main blanket coolant pump | 1070 | 752 | 101.0 | 0 | E | horizontal/vertical pump package; motor removal toward south aisle |
| BHT-404-MOV-101 | Hot-leg isolation valve | 1070 | 822 | 122.0 | 0 | E | hot-header branch isolation |
| BHT-404-MOV-102 | Cold-leg isolation valve | 1070 | 815 | 112.0 | 0 | E | cold-header branch isolation |
| BHT-404-CV-103 | Main check valve | 1070 | 770 | 111.5 | 0 | E | downstream of pump |
| BHT-404-STR-101 | Startup strainer | 1070 | 735 | 110.5 | 0 | E | removable basket; lift access |
| BHT-404-SMP-101 | Chemistry sample panel | 1082 | 775 | 102.0 | 0 | E | local sample conditioning |
| BHT-400-PRZ-101 | Pressurizer | 1080 | 805 | 101.0 | 0 | E | upper nozzle to hot/common pressure-control connection |
| BHT-400-MUT-101 | Makeup/volume control tank | 1080 | 760 | 100.5 | 0 | E | bunded equipment cell |
| BHT-400-IX-101 | Purification ion-exchange skid | 1045 | 742 | 100.3 | 0 | E | sidestream |
| BHT-400-FLT-101 | Purification filter skid | 1025 | 742 | 100.3 | 0 | E | sidestream |
| BHT-400-CHM-101 | Chemistry dosing skid | 1065 | 742 | 100.3 | 0 | E | sidestream |
| TMP-BHT-401-CRS-01 | Temporary commissioning recirculation skid | 915 | 742 | 100.2 | 0 | C/E | preserved commissioning bay; exact internal as-built dimensions OPEN |

Rows preserved in this register: 34.

# Controlled register — OFG_B05_BHT_Line_Centrelines.csv

| Line | Function | E1 | N1 | Z1 | E2 | N2 | Z2 | Size | Class | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BHT-401-HL-001 | Hot leg: machine header to MOV101 | 930 | 944 | 123 | 930 | 822 | 123 | DN1200 | High-energy, insulated, shielded as required | E-prelim |
| BHT-401-HL-002 | MOV101 to SG hot inlet | 930 | 822 | 123 | 930 | 790 | 123 | DN1200 | High-energy | E-prelim |
| BHT-401-CL-001 | SG cold outlet to pump suction | 930 | 790 | 113 | 930 | 752 | 111 | DN1200 | High-energy; slope/drain TBD stress | E-prelim |
| BHT-401-CL-002 | Pump discharge to check valve / cold return | 930 | 752 | 113 | 930 | 835 | 113 | DN1200 | High-energy | E-prelim |
| BHT-401-CL-003 | Cold return bridge to machine header | 930 | 835 | 113 | 930 | 944 | 113 | DN1200 | High-energy | E-prelim |
| BHT-402-HL-001 | Hot leg: machine header to MOV101 | 975 | 944 | 123 | 975 | 822 | 123 | DN1200 | High-energy, insulated, shielded as required | E-prelim |
| BHT-402-HL-002 | MOV101 to SG hot inlet | 975 | 822 | 123 | 975 | 790 | 123 | DN1200 | High-energy | E-prelim |
| BHT-402-CL-001 | SG cold outlet to pump suction | 975 | 790 | 113 | 975 | 752 | 111 | DN1200 | High-energy; slope/drain TBD stress | E-prelim |
| BHT-402-CL-002 | Pump discharge to check valve / cold return | 975 | 752 | 113 | 975 | 835 | 113 | DN1200 | High-energy | E-prelim |
| BHT-402-CL-003 | Cold return bridge to machine header | 975 | 835 | 113 | 975 | 944 | 113 | DN1200 | High-energy | E-prelim |
| BHT-403-HL-001 | Hot leg: machine header to MOV101 | 1025 | 944 | 123 | 1025 | 822 | 123 | DN1200 | High-energy, insulated, shielded as required | E-prelim |
| BHT-403-HL-002 | MOV101 to SG hot inlet | 1025 | 822 | 123 | 1025 | 790 | 123 | DN1200 | High-energy | E-prelim |
| BHT-403-CL-001 | SG cold outlet to pump suction | 1025 | 790 | 113 | 1025 | 752 | 111 | DN1200 | High-energy; slope/drain TBD stress | E-prelim |
| BHT-403-CL-002 | Pump discharge to check valve / cold return | 1025 | 752 | 113 | 1025 | 835 | 113 | DN1200 | High-energy | E-prelim |
| BHT-403-CL-003 | Cold return bridge to machine header | 1025 | 835 | 113 | 1025 | 944 | 113 | DN1200 | High-energy | E-prelim |
| BHT-404-HL-001 | Hot leg: machine header to MOV101 | 1070 | 944 | 123 | 1070 | 822 | 123 | DN1200 | High-energy, insulated, shielded as required | E-prelim |
| BHT-404-HL-002 | MOV101 to SG hot inlet | 1070 | 822 | 123 | 1070 | 790 | 123 | DN1200 | High-energy | E-prelim |
| BHT-404-CL-001 | SG cold outlet to pump suction | 1070 | 790 | 113 | 1070 | 752 | 111 | DN1200 | High-energy; slope/drain TBD stress | E-prelim |
| BHT-404-CL-002 | Pump discharge to check valve / cold return | 1070 | 752 | 113 | 1070 | 835 | 113 | DN1200 | High-energy | E-prelim |
| BHT-404-CL-003 | Cold return bridge to machine header | 1070 | 835 | 113 | 1070 | 944 | 113 | DN1200 | High-energy | E-prelim |

Rows preserved in this register: 20.

# Controlled register — OFG_B05_BHT_Penetrations.csv

| ID | Boundary | E | N | Z | Opening | Service | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PEN-F101-BHT-401-H | F-101 south wall | 930 | 944 | 123 | 3.0x3.0 m reserved opening | hot leg | E |
| PEN-F101-BHT-401-C | F-101 south wall | 930 | 944 | 113 | 3.0x3.0 m reserved opening | cold leg | E |
| PEN-H101-BHT-401-H | H-101 north wall | 930 | 835 | 123 | 3.0x3.0 m reserved opening | hot leg | E |
| PEN-H101-BHT-401-C | H-101 north wall | 930 | 835 | 113 | 3.0x3.0 m reserved opening | cold leg | E |
| PEN-F101-BHT-402-H | F-101 south wall | 975 | 944 | 123 | 3.0x3.0 m reserved opening | hot leg | E |
| PEN-F101-BHT-402-C | F-101 south wall | 975 | 944 | 113 | 3.0x3.0 m reserved opening | cold leg | E |
| PEN-H101-BHT-402-H | H-101 north wall | 975 | 835 | 123 | 3.0x3.0 m reserved opening | hot leg | E |
| PEN-H101-BHT-402-C | H-101 north wall | 975 | 835 | 113 | 3.0x3.0 m reserved opening | cold leg | E |
| PEN-F101-BHT-403-H | F-101 south wall | 1025 | 944 | 123 | 3.0x3.0 m reserved opening | hot leg | E |
| PEN-F101-BHT-403-C | F-101 south wall | 1025 | 944 | 113 | 3.0x3.0 m reserved opening | cold leg | E |
| PEN-H101-BHT-403-H | H-101 north wall | 1025 | 835 | 123 | 3.0x3.0 m reserved opening | hot leg | E |
| PEN-H101-BHT-403-C | H-101 north wall | 1025 | 835 | 113 | 3.0x3.0 m reserved opening | cold leg | E |
| PEN-F101-BHT-404-H | F-101 south wall | 1070 | 944 | 123 | 3.0x3.0 m reserved opening | hot leg | E |
| PEN-F101-BHT-404-C | F-101 south wall | 1070 | 944 | 113 | 3.0x3.0 m reserved opening | cold leg | E |
| PEN-H101-BHT-404-H | H-101 north wall | 1070 | 835 | 123 | 3.0x3.0 m reserved opening | hot leg | E |
| PEN-H101-BHT-404-C | H-101 north wall | 1070 | 835 | 113 | 3.0x3.0 m reserved opening | cold leg | E |

Rows preserved in this register: 16.

# Controlled register — OFG_B05_BHT_Port_Register.csv

| Port | Parent | Function | E | N | Z | AxisE | AxisN | AxisZ | Size | Service | Mate | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BHT-401-SG-101-N1 | BHT-401-SG-101 | Primary hot inlet | 930 | 790 | 123.0 | 1 | 0 | 0 | DN1200 | BHT-HOT | BHT-401-MOV-101-P2 | E-prelim |
| BHT-401-SG-101-N2 | BHT-401-SG-101 | Primary cold outlet | 930 | 790 | 113.0 | 1 | 0 | 0 | DN1200 | BHT-COLD | BHT-401-P-101-SUC | E-prelim |
| BHT-401-P-101-SUC | BHT-401-P-101 | Pump suction | 930 | 752 | 111.0 | 0 | 1 | 0 | DN1200 | BHT-COLD | BHT-401-SG-101-N2 | E-prelim |
| BHT-401-P-101-DIS | BHT-401-P-101 | Pump discharge | 930 | 752 | 113.0 | 0 | -1 | 0 | DN1200 | BHT-COLD | BHT-401-CV-103-P1 | E-prelim |
| BHT-402-SG-101-N1 | BHT-402-SG-101 | Primary hot inlet | 975 | 790 | 123.0 | 1 | 0 | 0 | DN1200 | BHT-HOT | BHT-402-MOV-101-P2 | E-prelim |
| BHT-402-SG-101-N2 | BHT-402-SG-101 | Primary cold outlet | 975 | 790 | 113.0 | 1 | 0 | 0 | DN1200 | BHT-COLD | BHT-402-P-101-SUC | E-prelim |
| BHT-402-P-101-SUC | BHT-402-P-101 | Pump suction | 975 | 752 | 111.0 | 0 | 1 | 0 | DN1200 | BHT-COLD | BHT-402-SG-101-N2 | E-prelim |
| BHT-402-P-101-DIS | BHT-402-P-101 | Pump discharge | 975 | 752 | 113.0 | 0 | -1 | 0 | DN1200 | BHT-COLD | BHT-402-CV-103-P1 | E-prelim |
| BHT-403-SG-101-N1 | BHT-403-SG-101 | Primary hot inlet | 1025 | 790 | 123.0 | 1 | 0 | 0 | DN1200 | BHT-HOT | BHT-403-MOV-101-P2 | E-prelim |
| BHT-403-SG-101-N2 | BHT-403-SG-101 | Primary cold outlet | 1025 | 790 | 113.0 | 1 | 0 | 0 | DN1200 | BHT-COLD | BHT-403-P-101-SUC | E-prelim |
| BHT-403-P-101-SUC | BHT-403-P-101 | Pump suction | 1025 | 752 | 111.0 | 0 | 1 | 0 | DN1200 | BHT-COLD | BHT-403-SG-101-N2 | E-prelim |
| BHT-403-P-101-DIS | BHT-403-P-101 | Pump discharge | 1025 | 752 | 113.0 | 0 | -1 | 0 | DN1200 | BHT-COLD | BHT-403-CV-103-P1 | E-prelim |
| BHT-404-SG-101-N1 | BHT-404-SG-101 | Primary hot inlet | 1070 | 790 | 123.0 | 1 | 0 | 0 | DN1200 | BHT-HOT | BHT-404-MOV-101-P2 | E-prelim |
| BHT-404-SG-101-N2 | BHT-404-SG-101 | Primary cold outlet | 1070 | 790 | 113.0 | 1 | 0 | 0 | DN1200 | BHT-COLD | BHT-404-P-101-SUC | E-prelim |
| BHT-404-P-101-SUC | BHT-404-P-101 | Pump suction | 1070 | 752 | 111.0 | 0 | 1 | 0 | DN1200 | BHT-COLD | BHT-404-SG-101-N2 | E-prelim |
| BHT-404-P-101-DIS | BHT-404-P-101 | Pump discharge | 1070 | 752 | 113.0 | 0 | -1 | 0 | DN1200 | BHT-COLD | BHT-404-CV-103-P1 | E-prelim |

Rows preserved in this register: 16.

# Controlled register — OFG_B05_BHT_Support_Nodes.csv

| Support | Train | E | N | Z | Type | Status | Note |
| --- | --- | --- | --- | --- | --- | --- | --- |
| BHT-401-SUP-001 | 401 | 930 | 930 | 123 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-401-SUP-002 | 401 | 930 | 905 | 123 | Rest | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-401-SUP-003 | 401 | 930 | 875 | 123 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-401-SUP-004 | 401 | 930 | 845 | 123 | Anchor candidate | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-401-SUP-005 | 401 | 930 | 930 | 113 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-401-SUP-006 | 401 | 930 | 900 | 113 | Rest | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-401-SUP-007 | 401 | 930 | 870 | 113 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-401-SUP-008 | 401 | 930 | 840 | 113 | Anchor candidate | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-402-SUP-001 | 402 | 975 | 930 | 123 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-402-SUP-002 | 402 | 975 | 905 | 123 | Rest | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-402-SUP-003 | 402 | 975 | 875 | 123 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-402-SUP-004 | 402 | 975 | 845 | 123 | Anchor candidate | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-402-SUP-005 | 402 | 975 | 930 | 113 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-402-SUP-006 | 402 | 975 | 900 | 113 | Rest | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-402-SUP-007 | 402 | 975 | 870 | 113 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-402-SUP-008 | 402 | 975 | 840 | 113 | Anchor candidate | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-403-SUP-001 | 403 | 1025 | 930 | 123 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-403-SUP-002 | 403 | 1025 | 905 | 123 | Rest | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-403-SUP-003 | 403 | 1025 | 875 | 123 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-403-SUP-004 | 403 | 1025 | 845 | 123 | Anchor candidate | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-403-SUP-005 | 403 | 1025 | 930 | 113 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-403-SUP-006 | 403 | 1025 | 900 | 113 | Rest | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-403-SUP-007 | 403 | 1025 | 870 | 113 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-403-SUP-008 | 403 | 1025 | 840 | 113 | Anchor candidate | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-404-SUP-001 | 404 | 1070 | 930 | 123 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-404-SUP-002 | 404 | 1070 | 905 | 123 | Rest | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-404-SUP-003 | 404 | 1070 | 875 | 123 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-404-SUP-004 | 404 | 1070 | 845 | 123 | Anchor candidate | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-404-SUP-005 | 404 | 1070 | 930 | 113 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-404-SUP-006 | 404 | 1070 | 900 | 113 | Rest | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-404-SUP-007 | 404 | 1070 | 870 | 113 | Guide | E-prelim | Final restraint directions/loads require flexibility + transient analysis |
| BHT-404-SUP-008 | 404 | 1070 | 840 | 113 | Anchor candidate | E-prelim | Final restraint directions/loads require flexibility + transient analysis |

Rows preserved in this register: 32.

# Controlled register — OFG_B07_Change_Provenance.csv

| Packet | Old | New | Reason | Affected | Status |
| --- | --- | --- | --- | --- | --- |
| A00 §2/§3 | Four BHT trains and 4,714 kg/s/train only; no spatial consequence. | Four-train flow now reserves four independent large-bore F101↔H101 corridors; final diameter remains OPEN/E-prelim. | Physical feasibility of inherited mass flow requires unusually large flow area. | A00,A03,B01,B02,B03 | E qualified; not canon change |
| A03 §3 | Parallel blanket-sector branches collect to hot header and return through cold header. | Machine-side architecture expanded to backplate/sector manifolds → upper hot/cold ring/header → four train branches; branch allocation still OPEN. | ITER + QST manifold precedent. | A03,B02,B04-B06 | E expansion |
| B01 site configuration | H-101 south of F-101 with generic BHT corridor. | H-101 relationship retained, but BHT bridge/gallery now occupies four train lanes with hot/cold vertical separation. | Detailed BHT physical routing. | B01,B02 | E refinement |
| B02 protected zone | MC-BHT-SOUTH generic E945–1055 / N830–950 / Z104–132. | Zone is now internally partitioned into four train axes E930/975/1025/1070 and hot/cold Z123/113 centreline bands. | Tranche C coordination. | B02,B05 | E refinement |
| B03 BIM handoff | Process ports require XYZ, size, class, endpoint. | First BHT port and penetration population now instantiated; DN is explicitly preliminary pending hydraulic/code closure. | Model population begins. | B03,B05 | E partial closure |
| A03 §7 | Pipe/header diameter, transient, stress/support analysis listed as future calculations. | Still unresolved. Coordinate freeze creates stress nodes and reserved sizes but does not claim calculation closure. | Avoid false completion. | A03,B05,B06 | O retained |

Rows preserved in this register: 6.

# Controlled register — D01_Hydraulic_Diameter_Sensitivity.csv

| ID_m | Area_m2 | Velocity_m_s | Re | Darcy_f | DP_300m_MPa | Head_m | PumpPower_MW_at85pct |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1.2 | 1.1309733552923256 | 5.74939609556297 | 55577495.59044204 | 0.010126763109228623 | 0.03033633627847954 | 4.266821233864289 | 0.2320698958228352 |
| 1.4 | 1.5393804002589984 | 4.2240461110258565 | 47637853.36323605 | 0.009892130770326487 | 0.01371034488940192 | 1.928367030240306 | 0.10488274790241461 |
| 1.6 | 2.0106192982974678 | 3.2340353037541707 | 41683121.69283153 | 0.009703350024928862 | 0.0068979571743750774 | 0.9702012092603703 | 0.052768672793992236 |
| 1.8 | 2.5446900494077327 | 2.555287153583542 | 37051663.72696136 | 0.009548667950822353 | 0.003766855624907829 | 0.5298101727814646 | 0.028816063496505857 |
| 2.0 | 3.141592653589793 | 2.0697825944026693 | 33346497.354265228 | 0.0094202800038841 | 0.0021943835687052897 | 0.3086411727587792 | 0.016786811746480994 |

Rows preserved in this register: 5.

# Controlled register — D02_Coarse_Protected_Zone_Clashes.csv

| Segment | Zone | Status |
| --- | --- | --- |
| BHT-401-HL-001 | MC-BUSBAR-WEST | REVIEW |
| BHT-401-CL-003 | MC-BUSBAR-WEST | REVIEW |
| BHT-403-HL-001 | MC-NBI-SE | REVIEW |
| BHT-403-CL-003 | MC-NBI-SE | REVIEW |
| BHT-404-HL-001 | MC-NBI-SE | REVIEW |
| BHT-404-CL-003 | MC-NBI-SE | REVIEW |

Rows preserved in this register: 6.

# Controlled register — D03_Train_Spacing_Verification.csv

| Train_A | Train_B | AxisSep_m | Clear_m | Result |
| --- | --- | --- | --- | --- |
| 401 | 402 | 45 | 43.4 | PASS |
| 402 | 403 | 50 | 48.4 | PASS |
| 403 | 404 | 45 | 43.4 | PASS |

Rows preserved in this register: 3.

# Controlled register — D04_Validation_Matrix.csv

| ID | Test | Result | Metric | Criterion | Action |
| --- | --- | --- | --- | --- | --- |
| V-D-001 | Mass/energy balance reproduces inherited 3,300 MWth basis | PASS | 3299.97 MW | 3300 ±1 MW | None |
| V-D-002 | Candidate primary diameter meets preliminary velocity screen | PASS | first passing D=1.6 m, v=3.23 m/s | v ≤4.0 m/s (E screening criterion) | Adopt ≥1.6 m ID reserved corridor pending full hydraulic/code study |
| V-D-003 | Adjacent train corridors preserve gross maintenance separation | PASS | minimum clear 43.4 m | ≥6 m E-screen | None at Freeze C0 |
| V-D-004 | BHT segments avoid protected non-BHT volumes in coarse box model | FAIL | 6 coarse intersections | 0 unresolved hard intersections | Review each coarse intersection; distinguish intended shared interface from prohibited clash |
| V-D-005 | Pairwise large-bore pipe clearance | FAIL | 16 failures | 0 | Adjust centrelines if any |
| V-D-006 | Final pipe stress/support qualification | OPEN | not calculated | Code + transient + seismic + thermal flexibility | Do not freeze supports |
| V-D-007 | Pipe break/jet/whip qualification | OPEN | not calculated | CNSC internal hazard closure | Generate break nodes and barrier/restraint design after stress model |
| V-D-008 | Pump NPSH/head and SG sizing | OPEN | not calculated | Hydraulic + thermal equipment closure | Vendor-equivalent sizing model required |

Rows preserved in this register: 8.

# Controlled register — D05_Pipe_Pair_Clearance_Failures.csv

| LineA | LineB | E_sep | Z_sep | Required | Result |
| --- | --- | --- | --- | --- | --- |
| BHT-401-HL-001 | BHT-401-HL-002 | 0 | 0.0 | 3.6 | FAIL |
| BHT-401-CL-001 | BHT-401-CL-002 | 0 | 1.0 | 3.6 | FAIL |
| BHT-401-CL-001 | BHT-401-CL-003 | 0 | 1.0 | 3.6 | FAIL |
| BHT-401-CL-002 | BHT-401-CL-003 | 0 | 0.0 | 3.6 | FAIL |
| BHT-402-HL-001 | BHT-402-HL-002 | 0 | 0.0 | 3.6 | FAIL |
| BHT-402-CL-001 | BHT-402-CL-002 | 0 | 1.0 | 3.6 | FAIL |
| BHT-402-CL-001 | BHT-402-CL-003 | 0 | 1.0 | 3.6 | FAIL |
| BHT-402-CL-002 | BHT-402-CL-003 | 0 | 0.0 | 3.6 | FAIL |
| BHT-403-HL-001 | BHT-403-HL-002 | 0 | 0.0 | 3.6 | FAIL |
| BHT-403-CL-001 | BHT-403-CL-002 | 0 | 1.0 | 3.6 | FAIL |
| BHT-403-CL-001 | BHT-403-CL-003 | 0 | 1.0 | 3.6 | FAIL |
| BHT-403-CL-002 | BHT-403-CL-003 | 0 | 0.0 | 3.6 | FAIL |
| BHT-404-HL-001 | BHT-404-HL-002 | 0 | 0.0 | 3.6 | FAIL |
| BHT-404-CL-001 | BHT-404-CL-002 | 0 | 1.0 | 3.6 | FAIL |
| BHT-404-CL-001 | BHT-404-CL-003 | 0 | 1.0 | 3.6 | FAIL |
| BHT-404-CL-002 | BHT-404-CL-003 | 0 | 0.0 | 3.6 | FAIL |

Rows preserved in this register: 16.

# Controlled register — E01_Network_Hydraulic_Summary.csv

| Item | mdot_kg_s | D_m | L_m | K | velocity_m_s | dp_MPa |
| --- | --- | --- | --- | --- | --- | --- |
| Train hot trunk | 4714.25 | 1.6 | 180 | 8.0 | 3.2340353037541707 | 0.03446982890781721 |
| Train cold trunk | 4714.25 | 1.6 | 190 | 8.0 | 3.2340353037541707 | 0.03469976081362971 |
| Sector branch | 1178.5625 | 0.8 | 55 | 12.0 | 3.2340353037541707 | 0.04835149199044392 |
| Blanket module branch | 235.7125 | 0.3 | 18 | 18.0 | 4.599516876450377 | 0.14407759129193679 |

Rows preserved in this register: 4.

# Controlled register — E02_Module_Branch_Sensitivity.csv

| D_m | velocity_m_s | dp_MPa | Re | Darcy_f |
| --- | --- | --- | --- | --- |
| 0.2 | 10.348912972013347 | 0.7482712649579077 | 16673248.677132616 | 0.014150492657427927 |
| 0.25 | 6.623304302088542 | 0.30176706555092453 | 13338598.94170609 | 0.01356146614436655 |
| 0.3 | 4.599516876450377 | 0.14407759129193679 | 11115499.11808841 | 0.013121396028136266 |
| 0.35 | 3.379236888820685 | 0.07723105181500944 | 9527570.672647208 | 0.012779053201733052 |
| 0.4 | 2.5872282430033366 | 0.04504221182546777 | 8336624.338566308 | 0.012505455901872782 |
| 0.45 | 2.0442297228668336 | 0.028011413258107156 | 7410332.745392271 | 0.012282678977112644 |

Rows preserved in this register: 6.

# Controlled register — E03_Trunk_Sensitivity.csv

| D_m | velocity_m_s | trunk_dp_MPa | loop_dp_MPa | pump_MW |
| --- | --- | --- | --- | --- |
| 1.4 | 4.2240461110258565 | 0.12039630554241713 | 1.7552544721071786 | 13.427518693924977 |
| 1.6 | 3.2340353037541707 | 0.06916958972144692 | 1.7040277562862083 | 13.035639513301838 |
| 1.8 | 2.555287153583542 | 0.04251684474021365 | 1.677375011304975 | 12.831748717313555 |
| 2.0 | 2.0697825944026693 | 0.02755360633233821 | 1.6624117728970995 | 12.717281461063129 |
| 2.2 | 1.7105641276055115 | 0.018632253251105197 | 1.6534904198158666 | 12.649034014794239 |

Rows preserved in this register: 5.

# Controlled register — E04_Thermal_Expansion.csv

| Straight_length_m | Free_growth_mm |
| --- | --- |
| 20 | 97.6 |
| 40 | 195.2 |
| 80 | 390.4 |
| 120 | 585.5999999999999 |
| 180 | 878.4 |

Rows preserved in this register: 5.

# Controlled register — E05_Pressure_Thrust.csv

| ID_m | Area_m2 | Pressure_thrust_MN_at15.5MPa |
| --- | --- | --- |
| 0.3 | 0.07068583470577035 | 1.0956304379394404 |
| 0.8 | 0.5026548245743669 | 7.791149780902687 |
| 1.6 | 2.0106192982974678 | 31.16459912361075 |
| 1.8 | 2.5446900494077327 | 39.442695765819856 |
| 2.0 | 3.141592653589793 | 48.6946861306418 |

Rows preserved in this register: 5.

# Controlled register — E06_Water_Hammer_Sensitivity.csv

| Wave_speed_m_s | DeltaV_m_s | DeltaP_MPa |
| --- | --- | --- |
| 800 | 0.5 | 0.29 |
| 800 | 1.0 | 0.58 |
| 800 | 2.0 | 1.16 |
| 800 | 3.0 | 1.74 |
| 1000 | 0.5 | 0.3625 |
| 1000 | 1.0 | 0.725 |
| 1000 | 2.0 | 1.45 |
| 1000 | 3.0 | 2.175 |
| 1200 | 0.5 | 0.435 |
| 1200 | 1.0 | 0.87 |
| 1200 | 2.0 | 1.74 |
| 1200 | 3.0 | 2.61 |

Rows preserved in this register: 12.

# Controlled register — E07_Insulation_Heat_Loss.csv

| Pipe_ID_m | Insulation_m | Heat_loss_W_per_m |
| --- | --- | --- |
| 0.8 | 0.1 | 459.082027380522 |
| 0.8 | 0.15 | 329.21013324897507 |
| 0.8 | 0.2 | 261.5706962712115 |
| 0.8 | 0.25 | 219.95421620370317 |
| 1.6 | 0.1 | 866.8773547852387 |
| 1.6 | 0.15 | 608.2362687973975 |
| 1.6 | 0.2 | 474.0103233841822 |
| 1.6 | 0.25 | 391.747051054847 |

Rows preserved in this register: 8.

# Controlled register — E08_Fundamental_Discipline_Matrix.csv

| Discipline | Required physics/engineering | Status | Current finding |
| --- | --- | --- | --- |
| Fluid mechanics | Network continuity, Darcy-Weisbach losses, local losses, Reynolds/friction, branch balancing, cavitation/NPSH, water hammer | PARTIAL | Network surrogate solved; pump curve/NPSH/transient remain open. |
| Heat transfer / thermodynamics | Q=m cp ΔT, SG duty, wall/film coefficients, heat loss, thermal transients | PARTIAL | Bulk energy closes; detailed HX/blanket coefficients and transient thermal fields open. |
| Solid mechanics / piping flexibility | Pressure thrust, deadweight, thermal expansion, support stiffness, nozzle loads, ratcheting/fatigue | SCREENED | Free thermal growth and thrust magnitudes computed; code stress model open. |
| Structural / civil | Support reactions, anchor groups, steel/concrete load path, vibration, seismic in-structure response | OPEN | Requires building FE/response spectra and support reactions. |
| Materials / metallurgy | Strength, fracture toughness, irradiation, corrosion, SCC, fatigue, weldability, erosion/FAC | OPEN | No final material selection; design must qualify against service environment. |
| Fracture mechanics / LBB | Critical flaw, stable tearing, leak rate/detection, degradation mechanisms | OPEN | CNSC permits LBB only with qualified methodology; no LBB claim. |
| Vibration / rotordynamics | Pump rotor criticals, hydraulic excitation, pipe acoustic/mechanical modes, vortex shedding | OPEN | Requires vendor rotor model and detailed spans/support stiffness. |
| Seismic dynamics | DBE/BDBE, inertial/kinematic multi-support input, equipment/support qualification | OPEN | Site-specific spectra and structural model required. |
| Nuclear / activation | N-16/N-17 source, activated corrosion products, shielding/access zoning, decay heat | OPEN | QST precedent makes this a mandatory geometry dependency. |
| Electromagnetics | Disruption-induced currents/forces in blanket manifolds/supports, grounding/isolation | OPEN | ITER precedent demonstrates EM/thermal support conflict; HFRP disruption loads required. |
| Chemistry / corrosion | pH/redox/DO/conductivity, purification, material compatibility, crud/ACP transport | OPEN | BHT-400 exists; chemistry regime not yet qualified. |
| Control / instrumentation | Flow/P/T/DP/vibration/leak detection, control valves, trips, sensor dynamics, redundancy | OPEN | Measurement architecture not yet computationally closed. |
| Reliability / RAMI | Train isolation, common cause, maintainability, spares, outage replacement | OPEN | Four-train geometry supports separation but RAMI allocation not solved. |
| Human factors / maintainability | Access, lifting, dose, valve/instrument reach, escape, tooling | PARTIAL | Large maintenance corridors reserved; task analysis open. |
| Fire / flooding / hazards | Pipe break, jet, whip, flood, fire barriers, drainage, missiles | OPEN | CNSC requires explicit analysis; coarse spatial screens only. |
| Manufacturing / welding / NDE | Forging/plate limits, weld access, PWHT, NDE, tolerances, transportability | OPEN | Large-bore manufacturability is now a critical design dependency. |
| Construction / erection | Module size, lift sequence, temporary supports, field welds, hydrotest/flushing | PARTIAL | Route and access concept exists; work-package level sequence open. |
| Configuration / BIM | Stable IDs, ports, coordinates, support nodes, penetrations, change provenance | PARTIAL | Computational graph exists; component geometry/IFC-level population incomplete. |

Rows preserved in this register: 18.

# Controlled register — E09_Validation_Matrix.csv

| ID | Test | Status | Metric | Criterion | Next action |
| --- | --- | --- | --- | --- | --- |
| E-V001 | Energy balance | PASS | 3300.0 MW | 3300 MW inherited basis | None |
| E-V002 | Train trunk velocity screen | PASS | 3.23 m/s | ≤4 m/s E screen | Increase trunk ID/parallelize if failed |
| E-V003 | Sector branch velocity screen | PASS | 3.23 m/s | ≤5 m/s E screen | Resize sector branch |
| E-V004 | Module branch velocity screen | PASS | 4.60 m/s | ≤6 m/s E screen | Resize module branch |
| E-V005 | Total preliminary loop ΔP | SCREEN | 1.70 MPa | No fixed acceptance until pump/system design | Use for pump/HX architecture iteration |
| E-V006 | Preliminary pump shaft power | SCREEN | 13.0 MW/train | Must fit plant house-load and vendor feasibility | Feed electrical/thermal balance |
| E-V007 | Thermal growth of 180 m hot run | FAIL-AS-RIGID | 878 mm free growth | Must be accommodated by layout/support flexibility | Add loops/offsets/sliding guides; run flexibility model |
| E-V008 | 1.6 m full-bore pressure thrust scale | SCREEN | 31.2 MN | No direct allowable; load case input | Use in break/restraint/anchor design |
| E-V009 | Water hammer sensitivity | SCREEN | 2.61 MPa max sensitivity | Transient-specific acceptance | Build method-of-characteristics model |
| E-V010 | NPSH/cavitation validation | OPEN | static pressure head equiv. 2180 m | NPSHa > NPSHr + project margin | Need pump suction pressure/elevation/curve |
| E-V011 | Seismic qualification | OPEN | No site spectrum/model | CNSC/CSA/ASCE qualification | Build structural + subsystem dynamics |
| E-V012 | Fracture/LBB | OPEN | No flaw/leak model | Qualified CNSC methodology if credited | Materials + fracture + leak detection model |
| E-V013 | Activation/shielding | OPEN | No N-16/N-17 source term | Dose/access criteria | Neutronics/activation source model |
| E-V014 | EM disruption loads | OPEN | No HFRP disruption current/load case | Machine disruption envelope | Coupled EM/structural model |

Rows preserved in this register: 14.

# Controlled register — E11_Backward_Propagation_Changes.csv

| Packet | Old | New | Reason | Affected | Status |
| --- | --- | --- | --- | --- | --- |
| D00 | Hydraulic model used a representative 300 m equivalent length. | Replaced by hierarchical train/sector/module network surrogate with explicit distributed/local/equipment losses. | Fundamental fluid-mechanics expansion. | D/E | E supersedes screening assumption. |
| B04/B05 | DN1200/DN1600 reserved-space values; 1.6 m appeared plausible. | 1.6 m trunk remains only a candidate; module/sector diameters and pump power now expose further architecture dependencies. | Network pressure-loss model. | B/C/D/E | E qualified. |
| B05 | Long straight hot/cold corridor centrelines. | 180 m hot-run free thermal growth is ~878 mm at preliminary α and ΔT; rigid straight-line support concept is invalid. | Thermal expansion mechanics. | B05/B06 | E requires redesign. |
| B06 | Support nodes were placeholders. | Support design must solve thermal, pressure, seismic, break, vibration and EM loads; current nodes cannot be frozen. | CNSC + ITER support precedent. | B06/E | OPEN. |
| A03 | BHT system treated primarily thermo-hydraulic/mechanical. | Activation, disruption EM loads, materials/fracture, chemistry and seismic dynamics are now explicit geometry dependencies. | Expanded fundamental-discipline research. | A03 onward | Dependency expansion; canon unchanged. |

Rows preserved in this register: 5.

# Controlled register — PIPE02_R01_BHT_PHT_Nodes.csv

| Node | Sector | Type | Lifecycle | Function_or_state | Closure |
| --- | --- | --- | --- | --- | --- |
| BHT-S01-SUP-HDR | 1 | sector supply header/interface | permanent | blanket/PHT sector distribution | OPEN XYZ/size/class |
| BHT-S01-BLK-MAN | 1 | blanket manifold | permanent | feeds five blanket assemblies | OPEN XYZ/size/class |
| BHT-S01-RET-HDR | 1 | sector return header/interface | permanent | collects sector return | OPEN XYZ/size/class |
| BHT-S01-ISO | 1 | sector isolation boundary | permanent | commissioning/maintenance boundary | OPEN valve schedule |
| BHT-S02-SUP-HDR | 2 | sector supply header/interface | permanent | blanket/PHT sector distribution | OPEN XYZ/size/class |
| BHT-S02-BLK-MAN | 2 | blanket manifold | permanent | feeds five blanket assemblies | OPEN XYZ/size/class |
| BHT-S02-RET-HDR | 2 | sector return header/interface | permanent | collects sector return | OPEN XYZ/size/class |
| BHT-S02-ISO | 2 | sector isolation boundary | permanent | commissioning/maintenance boundary | OPEN valve schedule |
| BHT-S03-SUP-HDR | 3 | sector supply header/interface | permanent | blanket/PHT sector distribution | OPEN XYZ/size/class |
| BHT-S03-BLK-MAN | 3 | blanket manifold | permanent | feeds five blanket assemblies | OPEN XYZ/size/class |
| BHT-S03-RET-HDR | 3 | sector return header/interface | permanent | collects sector return | OPEN XYZ/size/class |
| BHT-S03-ISO | 3 | sector isolation boundary | permanent | commissioning/maintenance boundary | OPEN valve schedule |
| BHT-S04-SUP-HDR | 4 | sector supply header/interface | permanent | blanket/PHT sector distribution | OPEN XYZ/size/class |
| BHT-S04-BLK-MAN | 4 | blanket manifold | permanent | feeds five blanket assemblies | OPEN XYZ/size/class |
| BHT-S04-RET-HDR | 4 | sector return header/interface | permanent | collects sector return | OPEN XYZ/size/class |
| BHT-S04-ISO | 4 | sector isolation boundary | permanent | commissioning/maintenance boundary | OPEN valve schedule |
| BHT-S05-SUP-HDR | 5 | sector supply header/interface | permanent | blanket/PHT sector distribution | OPEN XYZ/size/class |
| BHT-S05-BLK-MAN | 5 | blanket manifold | permanent | feeds five blanket assemblies | OPEN XYZ/size/class |
| BHT-S05-RET-HDR | 5 | sector return header/interface | permanent | collects sector return | OPEN XYZ/size/class |
| BHT-S05-ISO | 5 | sector isolation boundary | permanent | commissioning/maintenance boundary | OPEN valve schedule |
| BHT-S06-SUP-HDR | 6 | sector supply header/interface | permanent | blanket/PHT sector distribution | OPEN XYZ/size/class |
| BHT-S06-BLK-MAN | 6 | blanket manifold | permanent | feeds five blanket assemblies | OPEN XYZ/size/class |
| BHT-S06-RET-HDR | 6 | sector return header/interface | permanent | collects sector return | OPEN XYZ/size/class |
| BHT-S06-ISO | 6 | sector isolation boundary | permanent | commissioning/maintenance boundary | OPEN valve schedule |
| BHT-S07-SUP-HDR | 7 | sector supply header/interface | permanent | blanket/PHT sector distribution | OPEN XYZ/size/class |
| BHT-S07-BLK-MAN | 7 | blanket manifold | permanent | feeds five blanket assemblies | OPEN XYZ/size/class |
| BHT-S07-RET-HDR | 7 | sector return header/interface | permanent | collects sector return | OPEN XYZ/size/class |
| BHT-S07-ISO | 7 | sector isolation boundary | permanent | commissioning/maintenance boundary | OPEN valve schedule |
| BHT-S08-SUP-HDR | 8 | sector supply header/interface | permanent | blanket/PHT sector distribution | OPEN XYZ/size/class |
| BHT-S08-BLK-MAN | 8 | blanket manifold | permanent | feeds five blanket assemblies | OPEN XYZ/size/class |
| BHT-S08-RET-HDR | 8 | sector return header/interface | permanent | collects sector return | OPEN XYZ/size/class |
| BHT-S08-ISO | 8 | sector isolation boundary | permanent | commissioning/maintenance boundary | OPEN valve schedule |
| BHT-S09-SUP-HDR | 9 | sector supply header/interface | permanent | blanket/PHT sector distribution | OPEN XYZ/size/class |
| BHT-S09-BLK-MAN | 9 | blanket manifold | permanent | feeds five blanket assemblies | OPEN XYZ/size/class |
| BHT-S09-RET-HDR | 9 | sector return header/interface | permanent | collects sector return | OPEN XYZ/size/class |
| BHT-S09-ISO | 9 | sector isolation boundary | permanent | commissioning/maintenance boundary | OPEN valve schedule |
| BHT-S10-SUP-HDR | 10 | sector supply header/interface | permanent | blanket/PHT sector distribution | OPEN XYZ/size/class |
| BHT-S10-BLK-MAN | 10 | blanket manifold | permanent | feeds five blanket assemblies | OPEN XYZ/size/class |
| BHT-S10-RET-HDR | 10 | sector return header/interface | permanent | collects sector return | OPEN XYZ/size/class |
| BHT-S10-ISO | 10 | sector isolation boundary | permanent | commissioning/maintenance boundary | OPEN valve schedule |
| BHT-S11-SUP-HDR | 11 | sector supply header/interface | permanent | blanket/PHT sector distribution | OPEN XYZ/size/class |
| BHT-S11-BLK-MAN | 11 | blanket manifold | permanent | feeds five blanket assemblies | OPEN XYZ/size/class |
| BHT-S11-RET-HDR | 11 | sector return header/interface | permanent | collects sector return | OPEN XYZ/size/class |
| BHT-S11-ISO | 11 | sector isolation boundary | permanent | commissioning/maintenance boundary | OPEN valve schedule |
| BHT-S12-SUP-HDR | 12 | sector supply header/interface | permanent | blanket/PHT sector distribution | OPEN XYZ/size/class |
| BHT-S12-BLK-MAN | 12 | blanket manifold | permanent | feeds five blanket assemblies | OPEN XYZ/size/class |
| BHT-S12-RET-HDR | 12 | sector return header/interface | permanent | collects sector return | OPEN XYZ/size/class |
| BHT-S12-ISO | 12 | sector isolation boundary | permanent | commissioning/maintenance boundary | OPEN valve schedule |
| BHT-S13-SUP-HDR | 13 | sector supply header/interface | permanent | blanket/PHT sector distribution | OPEN XYZ/size/class |
| BHT-S13-BLK-MAN | 13 | blanket manifold | permanent | feeds five blanket assemblies | OPEN XYZ/size/class |
| BHT-S13-RET-HDR | 13 | sector return header/interface | permanent | collects sector return | OPEN XYZ/size/class |
| BHT-S13-ISO | 13 | sector isolation boundary | permanent | commissioning/maintenance boundary | OPEN valve schedule |
| BHT-S14-SUP-HDR | 14 | sector supply header/interface | permanent | blanket/PHT sector distribution | OPEN XYZ/size/class |
| BHT-S14-BLK-MAN | 14 | blanket manifold | permanent | feeds five blanket assemblies | OPEN XYZ/size/class |
| BHT-S14-RET-HDR | 14 | sector return header/interface | permanent | collects sector return | OPEN XYZ/size/class |
| BHT-S14-ISO | 14 | sector isolation boundary | permanent | commissioning/maintenance boundary | OPEN valve schedule |
| BHT-S15-SUP-HDR | 15 | sector supply header/interface | permanent | blanket/PHT sector distribution | OPEN XYZ/size/class |
| BHT-S15-BLK-MAN | 15 | blanket manifold | permanent | feeds five blanket assemblies | OPEN XYZ/size/class |
| BHT-S15-RET-HDR | 15 | sector return header/interface | permanent | collects sector return | OPEN XYZ/size/class |
| BHT-S15-ISO | 15 | sector isolation boundary | permanent | commissioning/maintenance boundary | OPEN valve schedule |
| BHT-S16-SUP-HDR | 16 | sector supply header/interface | permanent | blanket/PHT sector distribution | OPEN XYZ/size/class |
| BHT-S16-BLK-MAN | 16 | blanket manifold | permanent | feeds five blanket assemblies | OPEN XYZ/size/class |
| BHT-S16-RET-HDR | 16 | sector return header/interface | permanent | collects sector return | OPEN XYZ/size/class |
| BHT-S16-ISO | 16 | sector isolation boundary | permanent | commissioning/maintenance boundary | OPEN valve schedule |
| BHT-T1-SUP | - | BHT Train 1 supply interface | permanent | train boundary; restricted 19-Apr | C state |
| BHT-T1-RET | - | BHT Train 1 return interface | permanent | train boundary; restricted 19-Apr | C state |
| TMP-BHT-401-CRS-01 | - | temporary recirculation skid | temporary commissioning | isolated/held 19-Apr | C |
| CRS01-RST-L2 | - | temporary skid lateral restraint L2 | temporary support | evidence preserved after 12-Apr event | C |

Rows preserved in this register: 68.

# Controlled register — PIPE02_R02_BHT_PHT_Edges.csv

| From | To | Connection | Lifecycle |
| --- | --- | --- | --- |
| BHT-T1-SUP | BHT-S01-SUP-HDR | permanent supply distribution | permanent |
| BHT-S01-SUP-HDR | BHT-S01-ISO | sector isolation path | permanent |
| BHT-S01-ISO | BHT-S01-BLK-MAN | sector branch | permanent |
| BHT-S01-BLK-MAN | BHT-S01-RET-HDR | five blanket client branches abstracted | permanent |
| BHT-S01-RET-HDR | BHT-T1-RET | return collection | permanent |
| BHT-T1-SUP | BHT-S02-SUP-HDR | permanent supply distribution | permanent |
| BHT-S02-SUP-HDR | BHT-S02-ISO | sector isolation path | permanent |
| BHT-S02-ISO | BHT-S02-BLK-MAN | sector branch | permanent |
| BHT-S02-BLK-MAN | BHT-S02-RET-HDR | five blanket client branches abstracted | permanent |
| BHT-S02-RET-HDR | BHT-T1-RET | return collection | permanent |
| BHT-T1-SUP | BHT-S03-SUP-HDR | permanent supply distribution | permanent |
| BHT-S03-SUP-HDR | BHT-S03-ISO | sector isolation path | permanent |
| BHT-S03-ISO | BHT-S03-BLK-MAN | sector branch | permanent |
| BHT-S03-BLK-MAN | BHT-S03-RET-HDR | five blanket client branches abstracted | permanent |
| BHT-S03-RET-HDR | BHT-T1-RET | return collection | permanent |
| BHT-T1-SUP | BHT-S04-SUP-HDR | permanent supply distribution | permanent |
| BHT-S04-SUP-HDR | BHT-S04-ISO | sector isolation path | permanent |
| BHT-S04-ISO | BHT-S04-BLK-MAN | sector branch | permanent |
| BHT-S04-BLK-MAN | BHT-S04-RET-HDR | five blanket client branches abstracted | permanent |
| BHT-S04-RET-HDR | BHT-T1-RET | return collection | permanent |
| BHT-T1-SUP | BHT-S05-SUP-HDR | permanent supply distribution | permanent |
| BHT-S05-SUP-HDR | BHT-S05-ISO | sector isolation path | permanent |
| BHT-S05-ISO | BHT-S05-BLK-MAN | sector branch | permanent |
| BHT-S05-BLK-MAN | BHT-S05-RET-HDR | five blanket client branches abstracted | permanent |
| BHT-S05-RET-HDR | BHT-T1-RET | return collection | permanent |
| BHT-T1-SUP | BHT-S06-SUP-HDR | permanent supply distribution | permanent |
| BHT-S06-SUP-HDR | BHT-S06-ISO | sector isolation path | permanent |
| BHT-S06-ISO | BHT-S06-BLK-MAN | sector branch | permanent |
| BHT-S06-BLK-MAN | BHT-S06-RET-HDR | five blanket client branches abstracted | permanent |
| BHT-S06-RET-HDR | BHT-T1-RET | return collection | permanent |
| BHT-T1-SUP | BHT-S07-SUP-HDR | permanent supply distribution | permanent |
| BHT-S07-SUP-HDR | BHT-S07-ISO | sector isolation path | permanent |
| BHT-S07-ISO | BHT-S07-BLK-MAN | sector branch | permanent |
| BHT-S07-BLK-MAN | BHT-S07-RET-HDR | five blanket client branches abstracted | permanent |
| BHT-S07-RET-HDR | BHT-T1-RET | return collection | permanent |
| BHT-T1-SUP | BHT-S08-SUP-HDR | permanent supply distribution | permanent |
| BHT-S08-SUP-HDR | BHT-S08-ISO | sector isolation path | permanent |
| BHT-S08-ISO | BHT-S08-BLK-MAN | sector branch | permanent |
| BHT-S08-BLK-MAN | BHT-S08-RET-HDR | five blanket client branches abstracted | permanent |
| BHT-S08-RET-HDR | BHT-T1-RET | return collection | permanent |
| BHT-T1-SUP | BHT-S09-SUP-HDR | permanent supply distribution | permanent |
| BHT-S09-SUP-HDR | BHT-S09-ISO | sector isolation path | permanent |
| BHT-S09-ISO | BHT-S09-BLK-MAN | sector branch | permanent |
| BHT-S09-BLK-MAN | BHT-S09-RET-HDR | five blanket client branches abstracted | permanent |
| BHT-S09-RET-HDR | BHT-T1-RET | return collection | permanent |
| BHT-T1-SUP | BHT-S10-SUP-HDR | permanent supply distribution | permanent |
| BHT-S10-SUP-HDR | BHT-S10-ISO | sector isolation path | permanent |
| BHT-S10-ISO | BHT-S10-BLK-MAN | sector branch | permanent |
| BHT-S10-BLK-MAN | BHT-S10-RET-HDR | five blanket client branches abstracted | permanent |
| BHT-S10-RET-HDR | BHT-T1-RET | return collection | permanent |
| BHT-T1-SUP | BHT-S11-SUP-HDR | permanent supply distribution | permanent |
| BHT-S11-SUP-HDR | BHT-S11-ISO | sector isolation path | permanent |
| BHT-S11-ISO | BHT-S11-BLK-MAN | sector branch | permanent |
| BHT-S11-BLK-MAN | BHT-S11-RET-HDR | five blanket client branches abstracted | permanent |
| BHT-S11-RET-HDR | BHT-T1-RET | return collection | permanent |
| BHT-T1-SUP | BHT-S12-SUP-HDR | permanent supply distribution | permanent |
| BHT-S12-SUP-HDR | BHT-S12-ISO | sector isolation path | permanent |
| BHT-S12-ISO | BHT-S12-BLK-MAN | sector branch | permanent |
| BHT-S12-BLK-MAN | BHT-S12-RET-HDR | five blanket client branches abstracted | permanent |
| BHT-S12-RET-HDR | BHT-T1-RET | return collection | permanent |
| BHT-T1-SUP | BHT-S13-SUP-HDR | permanent supply distribution | permanent |
| BHT-S13-SUP-HDR | BHT-S13-ISO | sector isolation path | permanent |
| BHT-S13-ISO | BHT-S13-BLK-MAN | sector branch | permanent |
| BHT-S13-BLK-MAN | BHT-S13-RET-HDR | five blanket client branches abstracted | permanent |
| BHT-S13-RET-HDR | BHT-T1-RET | return collection | permanent |
| BHT-T1-SUP | BHT-S14-SUP-HDR | permanent supply distribution | permanent |
| BHT-S14-SUP-HDR | BHT-S14-ISO | sector isolation path | permanent |
| BHT-S14-ISO | BHT-S14-BLK-MAN | sector branch | permanent |
| BHT-S14-BLK-MAN | BHT-S14-RET-HDR | five blanket client branches abstracted | permanent |
| BHT-S14-RET-HDR | BHT-T1-RET | return collection | permanent |
| BHT-T1-SUP | BHT-S15-SUP-HDR | permanent supply distribution | permanent |
| BHT-S15-SUP-HDR | BHT-S15-ISO | sector isolation path | permanent |
| BHT-S15-ISO | BHT-S15-BLK-MAN | sector branch | permanent |
| BHT-S15-BLK-MAN | BHT-S15-RET-HDR | five blanket client branches abstracted | permanent |
| BHT-S15-RET-HDR | BHT-T1-RET | return collection | permanent |
| BHT-T1-SUP | BHT-S16-SUP-HDR | permanent supply distribution | permanent |
| BHT-S16-SUP-HDR | BHT-S16-ISO | sector isolation path | permanent |
| BHT-S16-ISO | BHT-S16-BLK-MAN | sector branch | permanent |
| BHT-S16-BLK-MAN | BHT-S16-RET-HDR | five blanket client branches abstracted | permanent |
| BHT-S16-RET-HDR | BHT-T1-RET | return collection | permanent |
| BHT-T1-RET | TMP-BHT-401-CRS-01 | temporary recirculation connection - exact tie-in OPEN | temporary |
| TMP-BHT-401-CRS-01 | BHT-T1-SUP | temporary recirculation connection - exact tie-in OPEN | temporary |
| TMP-BHT-401-CRS-01 | CRS01-RST-L2 | mechanical load path, not fluid | temporary support |

Rows preserved in this register: 83.

# Controlled register — PIPE02_R03_BHT_Temporary_Component_Decomposition.csv

| Object | Type | Required component model | Unsupported/unresolved | Status |
| --- | --- | --- | --- | --- |
| TMP-BHT-401-CRS-01 | temporary recirculation skid | pump(s); baseframe; temporary piping/spools; isolation/check/control valves; flexible/rigid connectors; instruments; drains/vents; electrical supply/control; restraints/supports | Exact manufacturer/model/counts OPEN | C asset / E decomposition |
| CRS01-RST-L2 | lateral restraint | restraint member; connection hardware; base/anchor interface; contact/gap interface; witness marks | Exact geometry/material/anchor design OPEN; photo baseline and M-88217 canonical | C/E |
| TMP-SPOOL-FAMILY | temporary spool family | pipe; fittings; flanges/welds; gaskets; vents/drains; supports | Rev C geometry canonical; detailed spool schedule OPEN | C/E |
| TMP-INST-FAMILY | temporary instrumentation | pressure; temperature; flow; vibration as required by test procedure | Actual instrument list/calibration IDs OPEN | E |

Rows preserved in this register: 4.

# Controlled register — PIPE02_R04_Hydraulic_Transient_Cases.csv

| Case | Scenario | Configuration | Inputs required | Outputs | Closure |
| --- | --- | --- | --- | --- | --- |
| HT-01 | steady recirculation | normal commissioning lineup | pump curve + system resistance + valve Cv + elevations + fluid state | flow/pressure/nozzle loads/support reactions | OPEN numeric |
| HT-02 | pump start | initial acceleration | pump inertia/start ramp + check valve behavior | pressure transient + restraint reaction | OPEN numeric |
| HT-03 | pump trip | loss of drive | pump coastdown + check valve closure | reverse flow/water hammer/support reaction | CRITICAL OPEN |
| HT-04 | rapid valve closure | credible operator/protection action | valve closure law + wave speed + line geometry | surge pressure + dynamic pipe/support loads | CRITICAL OPEN |
| HT-05 | air/gas pocket | incomplete venting | high-point geometry + gas volume | two-phase/compressibility transient | OPEN |
| HT-06 | temperature change | flush/cooldown/warmup | fluid/pipe temperature histories | thermal displacement + support/nozzle loads | OPEN |
| HT-07 | temporary-restraint degradation | reduced lateral stiffness/gap change | restraint nonlinear stiffness/contact + hydraulic forcing | skid displacement/vibration/crush envelope | EVENT RECONSTRUCTION |

Rows preserved in this register: 7.