ONTARIO FUSION GENERATION

DEFINITIVE ENGINEERING ATLAS — REV 3

VOLUME 12 — CONNECTIVITY, ROUTING, NOZZLES, FABRICATION, WELDS & SUPPORTS

Federated graph, routed geometry, nozzles, spools, valves, weld/NDE topology, supports/restraints, penetrations and BIM/CAD handoff

CONTROLLED STORY CONFIGURATION CUT: 19 APRIL 2031

# Atlas control doctrine

This volume is part of the definitive self-contained story bible, not a work-package report. It preserves source-derived granularity and the engineering/configuration thread. C = controlled story/source canon; V = verified real-world precedent; E = controlled fictional engineering reconstruction; OPEN = unresolved. No precedent dimension, screening assumption, sensitivity value, code class, coordinate, vendor property, test result, or physical action is silently promoted to OFG historical fact.

For every material configuration decision the controlling information chain is: originator → information → document/record → recipient → review → authority → decision → authorized action → physical consequence → inspection/test/as-built evidence → turnover/operations baseline → later change/supersession. CLOSED/APPROVED in an information system is not proof of physical execution.

# Integrated source map

Detailed DOCX sources integrated: 6. Controlled CSV/ledger sources integrated: 30.

DOCX · OFG_Engineering_Encyclopedia_Rev2/OFG_E08_Connectivity_Interface_Graph_Rev2.docx

DOCX · OFG_Engineering_Encyclopedia_Rev2/OFG_Engineering_Encyclopedia_Rev2_V07_Connectivity_Interface_Graph.docx

DOCX · OFG_System_Encyclopedia_Rev1/OFG_S06R1_Configuration_Connections_Interface_Graph.docx

DOCX · OFG_Rev3_Tranche_B_Physical_Coordination/OFG_B03_BIM_CAD_Coordination_Handoff_Spec_Rev3.docx

DOCX · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant_Geometry.docx

DOCX · OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology/OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology.docx

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/CDR08_R01_Canon_Decision_Conflict_Register.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/CONS08_R01_Routed_System_4D_State_Machine.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/CTRL08_R01_Epistemic_Status_Rules.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/ELEC08_R01_Cable_Tray_Routing_Constraints.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/GRAPH08_R01_Known_Logical_Route_Edges.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/HVAC08_R01_HVAC_Spatial_Coordination_Constraints.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/NODE08_R01_Equipment_Nozzle_and_Route_Node_Register.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/PEN08_R01_Penetration_Reservation_Schedule.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/PIPE08_R01_Piping_Stress_Model_Closure_Register.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/ROUTE08_R01_Routed_Object_Data_Contract.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/ROUTE08_R02_Routing_Priority_and_Reserved_Volume_Hierarchy.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/ROUTE08_R03_Verified_Routing_Design_Rules.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/SRC08_R01_Research_Application_Register.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/SYS08_R01_Federated_Route_Family_Register.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/VER14_R01_Routed_Plant_Verification_Results.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/VER14_R02_Backward_Propagation_Audit.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology/BHT09_R01_BHT401_Physical_Configuration_Objects.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology/CDR09_R01_Canon_Decision_Conflict_Register.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology/EQ09_R01_Equipment_Instance_Data_Contract.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology/EQ09_R02_Equipment_Class_Spatial_Requirements.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology/FAB09_R01_Piping_Fabrication_Topology.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology/FAB09_R02_Spool_Segmentation_Constructability_Rules.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology/FLEX09_R01_Bellows_Flexible_Interface_Closure.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology/NOZ09_R01_Nozzle_Interface_Data_Contract.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology/SRC09_R01_Research_Application_Register.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology/SUP09_R01_Pipe_Support_Restraint_Mechanics.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology/VER15_R01_Fabrication_Equipment_Verification_Results.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology/VER15_R02_Backward_Propagation_Audit.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology/VLV09_R01_Valve_Station_Assembly_Classes.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology/WELD09_R01_Joint_Weld_Record_Contract.csv

# Verified external engineering precedent applied

ITER assembly precedent is used to constrain installation integration, construction work packages, plant-system routing, early captive components, embedded support plates, cryoline alignment and crowded plant galleries. CNSC REGDOC-2.3.1 and REGDOC-2.5.2 constrain construction/commissioning responsibility, configuration control, test prerequisites/acceptance and as-built conformity. IAEA commissioning guidance constrains document/product/record control, contractor interfaces, temporary changes and consistency between physical plant state, test procedures and design requirements. ASME B31 references constrain piping lifecycle considerations. These are V-class precedents only; they do not silently establish OFG-specific dimensions or code-class allocation.

# Integrated controlled source — OFG_E08_Connectivity_Interface_Graph_Rev2.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION PROJECT

VOLUME E08 — CONFIGURATION, CONNECTION & INTERFACE GRAPH ENCYCLOPEDIA

Process, electrical, I&C, network, structural, spatial, material and custody edges

REV 2 ENGINEERING RECONSTRUCTION · DESIGN CUT 19 APRIL 2031 · C/R/E/O PROVENANCE CONTROL

# 1. Edge model

| Edge class | Endpoint A → B | Required attributes |
| --- | --- | --- |
| Process | equipment nozzle → line → valve/fitting → equipment nozzle | fluid, size, schedule/class, design P/T, insulation, tracing, weld IDs, supports |
| Electrical power | bus → breaker → cable/busduct → starter/VFD → load | voltage, ampacity, protection, cable route, grounding |
| I&C | sensor → cable → JB → I/O → logic → actuator | range, calibration, channel, logic ID, fail state, segregation |
| Network | node → switch → backbone → server/controller | protocol, redundancy, VLAN/security zone, time sync |
| Structural | equipment → support → anchor → foundation/building | loads, stiffness, seismic category, restraint directions |
| HVAC | room → grille/duct/damper/filter/fan → exhaust/supply | flow, pressure class, fire/confinement function |
| Material | source → transfer device → process/storage destination | material identity, confinement, accountancy, contamination control |
| Custody/configuration | construction → completions → commissioning → operations | boundary, status, authority, open items, evidence package |

# 2. Worked BHT-401 connectivity chain

BHT blanket outlet sector manifolds S01…S16 → branch isolation/check/measurement assemblies → BHT-401-HH-001 hot header → SG primary inlet manifolds → SG primary outlets → pump suction header → P-101A/B → BHT-401-CH-001 cold header → sector inlet branches → blanket inlet manifolds. Pressurizer surge connection is taken from the selected hot-leg/header point; relief discharges to a controlled collection/quench volume. Purification letdown and charging tie into hydraulically stable header locations.

# 3. Interface control documents

| ICD | Interface |
| --- | --- |
| ICD-MAG-CRY-001 | magnet ↔ cryogenic distribution |
| ICD-MAG-ELE-001 | magnet ↔ power conversion/protection |
| ICD-BHT-SGS-001 | blanket primary heat transport ↔ steam generation |
| ICD-SGS-TUR-001 | steam generation ↔ turbine island |
| ICD-TUR-GRID-001 | generator ↔ 500-kV grid |
| ICD-FUE-VAC-001 | fuel cycle ↔ vessel vacuum/exhaust |
| ICD-TEX-BLK-001 | tritium extraction ↔ breeding blanket |
| ICD-BLD-HVAC-001 | controlled buildings ↔ confinement HVAC |
| ICD-DCS-MPS-001 | process control ↔ machine protection |
| ICD-COM-OPS-001 | commissioning configuration ↔ operating custody |

# Integrated controlled source — OFG_Engineering_Encyclopedia_Rev2_V07_Connectivity_Interface_Graph.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION PROJECT

ENGINEERING SYSTEM ENCYCLOPEDIA REV 2 — V07

PLANT CONNECTIVITY, INTERFACE & CONFIGURATION GRAPH

From subsystem to equipment/component: process, electrical, I&C, structural and evidence connections

Status legend: LOCKED/SOURCE-DERIVED = supplied canon; VERIFIED PRECEDENT = authoritative real-world constraint; DESIGN RECONSTRUCTION = engineered fictional choice required to make OFG physically complete; OPEN/CONTROLLED = source set cannot support a unique answer.

# 1. Connection object model

| Connection class | Required endpoint data | Required engineering attributes | Evidence |
| --- | --- | --- | --- |
| Process line | from nozzle -> to nozzle | fluid, line no., NPS, schedule/class, P/T, insulation, slope, supports, valves/instruments | P&ID, line list, isometric, weld/NDE, pressure test |
| Cryoline | cold-box/valve-box/magnet endpoints | temperature level, vacuum jacket, contraction, supports, relief | P&ID, stress analysis, leak test |
| Vacuum duct | chamber/port -> pump/isolation | conductance, diameter, length, cleanliness, leak rate | vacuum diagram, leak test |
| Electrical feeder | bus -> transformer/MCC/load | kV, phases, ampacity, fault duty, protection, cable | one-line, load list, cable schedule, test |
| I&C loop | sensor -> I/O/logic -> actuator/HMI | range, accuracy, trip/setpoint, fail state, response, SIL/safety class where applicable | loop diagram, I/O list, calibration, functional test |
| Network | node -> switch -> consumer | protocol, VLAN/zone, redundancy, time sync, cybersecurity class | network architecture/config backup/test |
| Structural load path | equipment -> baseplate -> anchors -> structure -> foundation | dead/dynamic/seismic/EM/thermal loads | calc, embed/anchor drawing, torque/grout records |
| HVAC duct | room/AHU -> room/exhaust | flow, pressure class, damper/fire boundary, filtration | duct GA, TAB, fire-damper test |
| Material transfer | source -> destination | payload, contamination/radiation class, route, lifting/remote handling | handling study, route drawing, lift/transfer record |

# 2. Canonical major interfaces

| Interface | Endpoints | Engineering content |
| --- | --- | --- |
| ICD-MAG-CRY-001 | Magnet system <-> cryogenic plant | helium supply/return, quench recovery, instrumentation, thermal contraction and pressure relief |
| ICD-TUR-GRID-001 | Generator <-> Hydro One/grid | generator transformer, switchyard, protection, synchronization, metering, auxiliary import/export states |
| ICD-BLD-HVAC-001 | Tritium Building <-> confinement HVAC | pressure cascade, detritiation/filtration, isolation, stack monitoring, fire mode |
| BHT -> SGS -> MSP -> TUR -> CFW | primary-to-secondary-to-power chain | thermal energy, pressure boundary separation, inventory/control and trip propagation |
| CWS -> condenser/CCW -> loads | ultimate heat sink chain | lake intake/outfall, heat exchangers, pumps, electrical and environmental dependencies |
| TRI/TEX/BTX/TSD/FUE | fuel-cycle material chain | tritium-bearing material, accountancy boundary, confinement, sampling and isolation |
| CONTROL/E&I-BULK -> all plant systems | information/control chain | sensor power, I/O, networks, logic, HMI, historian, protection independence |

# 3. Completeness rule

The present source corpus does not contain a unique endpoint for every one of the 22,647 asset rows. Rev 2 therefore defines the graph schema and all major functional edges but does not fabricate tens of thousands of nozzle/cable endpoints. A connection becomes LOCKED only when supported by P&ID/one-line/cable/I/O/weld/interface evidence or a deliberate canon decision.

# Integrated controlled source — OFG_S06R1_Configuration_Connections_Interface_Graph.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION PROJECT

VOLUME S06R1 — CONFIGURATION, CONNECTIONS & INTERFACE GRAPH ENCYCLOPEDIA

Process, electrical, I&C, network, structural, HVAC, material-handling, custody and evidence edges

SYSTEM & SITE ENCYCLOPEDIA · REV 1 · DESIGN RECONSTRUCTION CUT 19 APRIL 2031

# Document control and epistemic status

This volume preserves the supplied Rev N story corpus as the canonical skeleton. Statements are classified as LOCKED/SOURCE-DERIVED, VERIFIED PRECEDENT CONSTRAINT, DESIGN RECONSTRUCTION, or OPEN/CONTROLLED. Real-world precedent constrains plausibility but does not silently create OFG canon.

Governing rule: Design Plant = Physical Plant = Evidence Plant. Design identity, installed identity, connectivity, custody/state, and objective evidence are tracked separately.

| Status | Meaning |
| --- | --- |
| LOCKED/SOURCE-DERIVED | Explicitly supported by supplied OFG corpus/control registers. |
| VERIFIED PRECEDENT CONSTRAINT | Supported by authoritative real-world practice; constrains but does not itself establish OFG history. |
| DESIGN RECONSTRUCTION | New OFG engineering design adopted for internal coherence; must not be misrepresented as previously sourced history. |
| OPEN/CONTROLLED | Evidence does not support a unique answer; intentionally unresolved. |

## Authoritative precedent used in Rev 1

CNSC REGDOC-2.5.2 v2.1: design authority, configuration management, SSC interfaces and facility-layout requirements. IAEA Commissioning for Nuclear Power Plants: transfer boundaries, partial-system commissioning, work control and construction/commissioning interfaces. ITER Organization: machine/support-system topology, cooling-water architecture and assembly/installation precedent. QST/JA-DEMO literature: DEMO-class functional architecture precedent.

No exact surveyed OFG coordinate, unprovided line endpoint, cable endpoint, I/O channel, nozzle schedule, serial-level BOM, or hidden historical fact is promoted to LOCKED status.

# 1. Edge classes

| Class | Canonical edge model | Required evidence |
| --- | --- | --- |
| PROCESS | equipment nozzle → line → valve/fitting → equipment nozzle | P&ID; line/valve/weld/support lists |
| ELECTRICAL | source bus → breaker → transformer/switchgear → cable → load | one-line; load list; cable schedule; relay settings |
| I&C | sensor → junction/marshalling → I/O → logic → HMI/alarm/trip → actuator | instrument index; loop/I/O/cable/logic diagrams |
| NETWORK | node → switch → segment/VLAN → gateway → server/controller | network architecture/configuration baseline |
| CRYOGENIC | cold box/valve box → supply/return cryoline → load → recovery | cryogenic P&ID/isometrics/interface register |
| VACUUM | vacuum volume → isolation → pump train → backing/exhaust | vacuum P&ID; valve/instrument lists |
| STRUCTURAL | equipment → baseplate → anchor → concrete/steel support → foundation/load path | structural drawings; anchor/support register |
| HVAC/CONFINEMENT | room boundary → supply/extract → filtration → isolation → stack/return | HVAC flow diagram; room/zone schedule |
| MATERIAL HANDLING | component → lift fixture/cask → crane/route → destination | lifting/removal-route drawings |
| EVIDENCE | requirement → design baseline → physical tag → as-built → test → turnover → maintenance/configuration state | CM baseline; completion/commissioning databases |

# 2. Supported plant-level interfaces

MAG/CPO/QPS ↔ CRY: cryogenic cooling and magnet power/protection.

CPO/QPS ↔ APS/DCP: AC/DC supply and protection/control power.

MAG/VVS ↔ DIA/PPC/MPS: machine/plasma sensing, control and protection.

VAC ↔ TEX/FUE: tokamak exhaust and fuel-cycle interface.

BLK ↔ BHT: blanket coolant manifolds to blanket heat-transport trains.

DIV ↔ DHT: divertor cooling interface.

VVS ↔ VHT/VVP: vessel cooling and pressure-suppression interfaces.

BHT/DHT/VHT ↔ MSP/TUR/CFW: heat-to-power-cycle interface; exact topology remains OPEN.

CCW ↔ CWS: closed-loop component cooling to Lake Ontario heat rejection.

TRITIUM family ↔ FUE: purification/storage/delivery/detritiation.

DCS/PPC/MPS/SIS ↔ ALL PROCESS: monitoring/control/protection; exact I/O graph OPEN.

RHM/HCL ↔ F-101 machine ports: remote maintenance/cask transfer.

# 3. Connectivity non-invention rule

No line number, cable number, I/O channel, nozzle identifier, weld number, room coordinate or port number is invented merely to close the graph. Unsupported endpoints are explicit OPEN nodes. The graph becomes as-built only when the corresponding controlled evidence exists.

# Rev 1 change and backward-propagation register

| Old statement | Rev 1 statement | Reason | Evidence class | Affected packets | Status |
| --- | --- | --- | --- | --- | --- |
| Exact coordinates unavailable. | A project-local engineering coordinate framework is introduced, but all numeric coordinates remain DESIGN RECONSTRUCTION until survey/master-plot evidence is supplied. | Needed to make the plant spatially computable without falsifying provenance. | Corpus + layout precedent | S01,S03-S10; earlier geography packets | CONTROLLED |
| System connectivity summarized functionally. | Interfaces are decomposed by process/electrical/I&C/network/structural/material-handling edge classes; unsupported endpoints remain OPEN. | Prevents inferred graphs from masquerading as as-built evidence. | Corpus + CNSC/IAEA | S02,S06,S07; commissioning packets | CONTROLLED |
| Temporary plant treated as support equipment. | Temporary commissioning and construction assets are configuration items whenever they interface with commissioned plant. | IAEA construction/commissioning interface practice and CRS-01 canon. | Corpus + IAEA | S05; CRS-01 investigation packets | LOCKED/EXPANDED |
| Construction completion used as broad maturity proxy. | Construction, MC, turnover, pre-commissioning, functional commissioning, integrated commissioning and operating acceptance are distinct states. | Explicit Rev N control rule and commissioning precedent. | Corpus + IAEA | All 2027-2031 field histories | LOCKED |

# Source register

Supplied OFG Encyclopedia Rev N Volumes 00-14, Master Canonical Story Backbone, Annex A controlled asset register, Annex B chronological registers, and prior System Encyclopedia Rev 0 volumes.

Canadian Nuclear Safety Commission, REGDOC-2.5.2, Design of Reactor Facilities, Version 2.1 (May 2023).

International Atomic Energy Agency, Commissioning for Nuclear Power Plants — guidance on interfaces, transfer, work control and partially installed systems.

ITER Organization official system descriptions and assembly/construction material, including cooling-water and machine/support-system architecture.

QST / Japanese DEMO conceptual-design publications used only as fusion-DEMO precedent where the supplied corpus calls for them.

# Integrated controlled source — OFG_B03_BIM_CAD_Coordination_Handoff_Spec_Rev3.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION PROJECT

B03 — BIM/CAD COORDINATION DATA DICTIONARY & MODEL HANDOFF SPECIFICATION

Geometry, ports, clearances, supports, routing, clash classes and required attributes for model generation

SYSTEM & SITE ENGINEERING ENCYCLOPEDIA · REV 3 · TRANCHE B · PHYSICAL CONSTRAINT / COORDINATION MODEL

# 1. Object placement fields

| Field | Requirement |
| --- | --- |
| GUID | Stable project-unique identifier; never recycled. |
| Tag | Engineering equipment/component tag. |
| Parent spatial element | Site/facility/building/level/room/zone. |
| Reference point | Defined origin on object: centreline, baseplate datum, nozzle datum or survey target. |
| E/N/Z | Reference point coordinates in OFG-LCS-01. |
| Rotation | Yaw/pitch/roll or local axis vector. |
| LOD geometry | Overall body, maintenance envelope, installation envelope, insulation, lifting points and connection ports. |
| Mass/CG | Dry/operating/flooded mass and centre of gravity where relevant. |
| Status | C/R/E/O provenance + configuration state on 19 Apr 2031. |

# 2. Port / connection fields

| Port class | Required attributes |
| --- | --- |
| Process nozzle | XYZ, axis vector, DN/NPS, schedule/class, end type, fluid/service, design P/T, insulation, mating endpoint. |
| Electrical terminal | XYZ, voltage, phases/poles, current, grounding, cable/busbar endpoint. |
| I&C port | XYZ, signal type, range, loop/channel, cable endpoint, segregation class. |
| Cryogenic connection | XYZ, process pipe(s), vacuum jacket, temperature level, contraction direction, support/anchor relation. |
| Structural interface | XYZ, load vector/envelope, anchor/bolt pattern, stiffness/restraint direction, supporting object. |
| HVAC port | XYZ, section size, flow direction, pressure/fire/confinement class. |

# 3. Clash / clearance categories

| Code | Meaning | Default action |
| --- | --- | --- |
| C1 | Solid-solid hard clash | Reject / reroute / relocate. |
| C2 | Solid-maintenance envelope | Reject unless maintenance method is changed and reverified. |
| C3 | Solid-installation/lift envelope | Reject unless construction sequence proves non-simultaneous removable obstruction. |
| C4 | Hazard separation violation | Reject or provide qualified barrier/protection. |
| C5 | Routing segregation violation | Reject; preserve electrical/safety/noise/security separation. |
| C6 | Access/egress encroachment | Reject or formally redesign route/access. |
| C7 | Temporary-temporary scheduled overlap | May accept with schedule/configuration constraint. |

# 4. Model federation

STR: civil/structural/foundations/embedded plates/anchors.

MEP-P: process piping/equipment/valves/supports/insulation.

MEP-H: HVAC/confinement/fire/smoke.

ELE: switchgear/transformers/busbars/cable trays/conduits/grounding.

I&C: instruments/JBs/cabinets/trays/loops.

FUS: tokamak/magnets/vessel/blanket/divertor/cryostat/ports.

RHM: cranes/casks/transporters/remote-handling swept volumes.

TMP: construction and commissioning temporary works.

ENV: security, roads, rail, marine, intake/outfall and environmental structures.

# Integrated controlled source — OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant_Geometry.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION — ENGINEERING ATLAS REV 2

VOLUME 08 — FEDERATED ROUTED-PLANT GEOMETRY & SPATIAL COORDINATION

CONTROLLED CONFIGURATION CUT: 19 APRIL 2031 | ROUTE08 / SYS08 / NODE08 / PEN08 / PIPE08 / ELEC08 / HVAC08 / CONS08 / VER14 / CDR08

# 1. Purpose

V08 binds the V07 civil model to routed plant systems. It defines the information required for pipes, ducts, cryolines, busbars, cable trays, I&C, gas lines and gravity drainage to become genuine spatial objects rather than lines on a system diagram. Metric centreline vertices are not invented where the controlled corpus does not supply them.

# 2. Routed-object data contract

| Field | Definition |
| --- | --- |
| route_id | unique route/segment identifier |
| system_id | parent system/subsystem |
| service | fluid/electrical/I&C/HVAC/vacuum/cryogenic/drain |
| from_node | controlled endpoint |
| to_node | controlled endpoint |
| medium | process fluid/signal/power/air/etc. |
| safety_quality_class | classification or OPEN |
| line_or_cable_class | material/voltage/fire/EMC class or OPEN |
| centreline | ordered E/N/Z vertices; OPEN until controlled geometry exists |
| section | OD/duct section/tray dimensions/busbar envelope |
| insulation_clearance | thermal/electrical/maintenance envelope |
| slope | required fall/rise where applicable |
| support_family | support type and interval basis |
| penetrations | controlled PEN IDs |
| isolation | valves/dampers/breakers/disconnects as applicable |
| inspection_access | weld/valve/instrument/IS inspection space |
| hazard_envelope | jet/whip/hot-surface/arc/fire/cryogenic/pressure |
| construction_state | fabricated/installed/tested/turned-over/etc. |
| evidence | isometric/cable schedule/duct drawing/survey/test package |

A routed object is not geometrically closed by two endpoints. It must carry section/envelope, supports, penetrations, isolation, inspection access, hazard envelope, construction state and evidence. These fields are necessary for clash, stress, maintenance and historical reconstruction.

# 3. Routing priority and reserved volumes

| ID | Class | Examples | Priority | Coordination rule |
| --- | --- | --- | --- | --- |
| RZ-00 | civil reserved volume | structure/opening/penetration | highest | cannot be invaded without civil change control |
| RZ-01 | machine hard interfaces | VV ports, magnet feeders, fixed cryolines/busbars | highest | fixed/irremovable interfaces dominate local routing |
| RZ-02 | large process piping | PHT/BHT/vacuum/major cooling | high | pressure boundary, stress/inspection/whip requirements |
| RZ-03 | large HVAC ducts | HVAC/confinement/exhaust | high | large section, fire/confinement dampers, ceiling zones |
| RZ-04 | electrical bus/large power cable | magnet power/essential distribution | high | EMC/fire/separation/heat constraints |
| RZ-05 | cable trays/I&C | power/I&C/communications | medium | separation, bend radius, fire stops, maintainability |
| RZ-06 | small-bore utilities | air/water/drains/sample lines | lower | reroute preferentially around active process systems where justified |
| RZ-07 | maintenance/egress/RH clearance | non-physical reserved volume | absolute exclusion | must remain free despite routing priority |

The highest-priority spatial objects are civil reservations and hard machine interfaces. Remote-handling, maintenance and egress envelopes are exclusion volumes rather than services and therefore cannot be consumed merely because another route has higher installation priority.

# 4. Federated route families

| System | Service | Medium | Functional path | Physical elements | Closure | Status |
| --- | --- | --- | --- | --- | --- | --- |
| PHT | primary heat transport / machine cooling | fluid | machine sectors -> headers -> heat exchange/interface | large pressure-boundary pipe bundles; sector manifolds; isolation; drains/vents; supports/restraints | actual P/T/diameters/routes OPEN | C/E |
| BHT | blanket heat transport | fluid | 80 blanket objects -> 16 sector manifolds -> train headers | supply/return, isolation, temporary BHT-401 commissioning interfaces | line sizes/materials/nozzles OPEN | C/E |
| VAC | vacuum | vacuum gas | VV/cryostat clients -> manifolds -> roughing/high-vac pumps | large low-pressure ducts/pipes, valves, bellows, pump interfaces | diameters/port coordinates OPEN | C/E |
| CRYO | cryogenic distribution | cryogenic fluid | cryoplant/cold boxes -> magnet/vacuum/thermal-shield clients | multiprocess cryolines, cold boxes, valves, reliefs, flexible/thermal interfaces | route/diameter/thermal anchors OPEN | C/E |
| MAGPWR | magnet power | electrical | conversion/distribution -> feeders -> coils | busbars/cables, feeders, switching/protection, cooling | voltage/current/envelopes/routes OPEN | C/E |
| HVAC | HVAC/confinement | air | AHU/fans -> ducts -> zones -> exhaust/return | large ducts, fire/confinement dampers, filters, access doors | flows/duct sizes/routes OPEN | E/V |
| ELEC | plant electrical | electrical | switchgear -> distribution -> loads | busduct/cables/trays, penetration seals, fire/EMC separation | one-lines/cable schedules/routes OPEN | E/V |
| IC | instrumentation/control | signal/data | sensors/actuators -> junctions -> cabinets/control | I&C trays/cables/fibre, separation/redundancy, loop access | channel routes/separation OPEN | E/V |
| DRAIN | drainage/leak collection | liquid/gravity | low points/equipment -> sumps/treatment | sloped gravity routes, traps/seals, leak/flood collection | inverts/capacity/routes OPEN | E/V |
| GAS | gas/fuelling/purge | gas | supply/process -> machine clients | small/medium bore, isolation, purge/vent, hazardous gas zoning | route/spec OPEN | E/V |

# 5. Machine/interface route nodes

The canonical 16-sector blanket architecture now produces 32 BHT supply/return logical nodes and 32 upper/lower remote-maintenance interface nodes. Their topology is usable immediately; their metric nozzle coordinates remain OPEN.

| Node | System | Class | Parent | Reference | Function | Closure | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| BHT-S01-SUP-NODE | BHT | sector supply interface | SS-01 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S01-RET-NODE | BHT | sector return interface | SS-01 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S01 | RH | upper maintenance interface | SS-01 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S01 | RH | lower maintenance interface | SS-01 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S02-SUP-NODE | BHT | sector supply interface | SS-02 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S02-RET-NODE | BHT | sector return interface | SS-02 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S02 | RH | upper maintenance interface | SS-02 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S02 | RH | lower maintenance interface | SS-02 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S03-SUP-NODE | BHT | sector supply interface | SS-03 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S03-RET-NODE | BHT | sector return interface | SS-03 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S03 | RH | upper maintenance interface | SS-03 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S03 | RH | lower maintenance interface | SS-03 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S04-SUP-NODE | BHT | sector supply interface | SS-04 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S04-RET-NODE | BHT | sector return interface | SS-04 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S04 | RH | upper maintenance interface | SS-04 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S04 | RH | lower maintenance interface | SS-04 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S05-SUP-NODE | BHT | sector supply interface | SS-05 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S05-RET-NODE | BHT | sector return interface | SS-05 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S05 | RH | upper maintenance interface | SS-05 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S05 | RH | lower maintenance interface | SS-05 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |

Complete node register supplied in the data package.

# 6. Penetration reservations

| Reservation | Class | System | Service | Host | Design functions | Closure | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PEN-RES-PHT | bioshield/building pressure-boundary cooling bundle family | PHT | machine cooling supply/return | bioshield/walls | sleeve/assembly; shielding; confinement; movement; inspection | instance count/XYZ/profile OPEN | E/V |
| PEN-RES-BHT | blanket cooling bundle family | BHT | 16-sector supply/return distribution | bioshield/walls | bundle routing; isolation access; shielding/fire closure | instance count/XYZ/profile OPEN | E |
| PEN-RES-VAC | vacuum duct family | VAC | VV/cryostat pumping | bioshield/walls | large duct/bellows/valve access; leak test | instance count/XYZ/profile OPEN | E/V |
| PEN-RES-CRYO | cryoline family | CRYO | magnet/vacuum/thermal-shield clients | walls/floors | thermal movement; vacuum jacket; relief; insulation clearance | instance count/XYZ/profile OPEN | E/V |
| PEN-RES-MAG | magnet feeder/bus family | MAGPWR | coils/feeders | bioshield/walls | electrical/cryogenic feeder envelope; fire/seal | instance count/XYZ/profile OPEN | E/V |
| PEN-RES-HVAC | duct family | HVAC | zone supply/return/exhaust | walls/slabs | fire/confinement dampers; access; firestop | instance count/XYZ/profile OPEN | E/V |
| PEN-RES-CABLE | tray/cable family | ELEC/IC | power and I&C | walls/slabs | firestop; EMC/separation; spare capacity | instance count/XYZ/profile OPEN | E/V |
| PEN-RES-DRAIN | drain family | DRAIN | gravity drainage | floors/walls | slope/invert; seal; flood boundary | instance count/XYZ/profile OPEN | E/V |

Penetration closure is now linked to the actual routed service. The model must know what passes through a wall, what exists on both sides, what relative movement occurs, and what fire/confinement/shielding properties must be restored before infill or sealing.

# 7. Verified routing rules

| ID | Topic | Rule | Source | Status |
| --- | --- | --- | --- | --- |
| RR-01 | fixed/irremovable routes | busbars, cryolines and machine hard interfaces become constraints around which later systems are coordinated | ITER systems installation | V |
| RR-02 | supports first | validated supports/embeds precede supported systems where sequence requires | ITER systems installation | V |
| RR-03 | high-level services | HVAC and cable trays are typically installed high before lower infill where access dictates | ITER systems installation | V |
| RR-04 | penetration purpose known before closure | system on both sides and within penetration must be defined before infill/backfill/sealing | ITER penetrations | V |
| RR-05 | restore barrier properties | penetration closure must restore applicable fire, confinement and shielding properties | ITER penetrations + CNSC containment principle | V |
| RR-06 | pressure/electrical separation | pressure-boundary piping/vessels separated from electrical/control systems to greatest practicable extent | CNSC REGDOC-2.5.2 | V |
| RR-07 | pressure-boundary inspectability | routing must preserve inspection access over design life or justified alternative surveillance | CNSC REGDOC-2.5.2 | V |
| RR-08 | high-energy line effects | routing/supports must address pipe whip, jet impact and dynamic/transient loads where applicable | CNSC REGDOC-2.5.2 | V |
| RR-09 | as-built stress basis | applicable piping stress/LBB evaluations must be reconciled to as-built configuration | CNSC REGDOC-2.5.2 | V |
| RR-10 | maintenance space | layout must preserve removal/replacement and valve/instrument access beyond mere code minimums | IAEA equipment-layout guidance | V |
| RR-11 | orthogonal routing preference | pipework should generally use orderly N-S/E-W/up-down routing where feasible, while maintaining function/maintenance | IAEA equipment-layout guidance | V |
| RR-12 | gravity drainage | gravity drain routing requires controlled fall/invert and must not be treated as arbitrary 3D path | IAEA equipment-layout guidance | V |

ITER field experience directly supports the construction sequence already emerging in OFG: validated supports first; large/high services coordinated early; irremovable busbars and cryolines treated as hard constraints; and penetration purpose established before closure. CNSC precedent adds pressure-boundary/electrical separation, inspection access, high-energy line-effect control and reconciliation to as-built piping configuration.

# 8. Piping stress-model closure

| ID | Input | Required data | Use | Status |
| --- | --- | --- | --- | --- |
| STR-PIP-01 | route centreline geometry | ordered node coordinates and bend radii | all piping stress models | OPEN |
| STR-PIP-02 | pipe section/material | OD/wall/material/temperature-dependent properties | weight/pressure/thermal/seismic | OPEN |
| STR-PIP-03 | operating/design states | P/T/fluid density/transients | sustained/occasional/fatigue | OPEN |
| STR-PIP-04 | support/restraint model | location/type/stiffness/gap/friction/preload/snubber properties | 6DOF boundary conditions | OPEN |
| STR-PIP-05 | equipment nozzle allowables | forces/moments/displacements | interface acceptance | OPEN |
| STR-PIP-06 | building/anchor movement | seismic/settlement/thermal differential displacement | support input | OPEN |
| STR-PIP-07 | dynamic events | water hammer/valve closure/pump trip/pipe break as applicable | dynamic load cases | OPEN |
| STR-PIP-08 | as-built reconciliation | surveyed support/route configuration | final qualification | OPEN |

This is a hard boundary against pseudo-engineering. No credible pipe-stress result can be produced until route geometry, pipe section/material, operating states, support stiffness/gaps, nozzle allowables, building movement and relevant transients are known.

# 9. Electrical and HVAC coordination

| ID | Electrical constraint | Rule | Object | Closure |
| --- | --- | --- | --- | --- |
| EL-01 | power vs I&C separation | segregate according to safety/EMC/fire basis | tray zoning + penetrations | classification/cable schedules OPEN |
| EL-02 | redundant train separation | physically separate redundant divisions where required | routes/fire areas | division architecture OPEN |
| EL-03 | bend/pull constraints | tray/conduit routes must support cable bend radius, pulling tension and access | route geometry | cable data OPEN |
| EL-04 | fire stopping | penetrations restore fire-sector rating | penetration assembly | fire-area model OPEN |
| EL-05 | heat/ampacity | tray fill and ambient conditions support ampacity/derating | tray/cable sizing | load/cable data OPEN |
| EL-06 | grounding/bonding | equipment/trays/penetrations integrate with grounding grid | electrical safety/EMC | grounding design OPEN |

| ID | HVAC constraint | Rule | Object | Closure |
| --- | --- | --- | --- | --- |
| HV-01 | duct section/access | duct + insulation + flange + damper/access-door maintenance envelope | duct solid + clearance | OPEN |
| HV-02 | fire/confinement boundary | crossings require controlled damper/seal function where design requires | penetration + damper | OPEN |
| HV-03 | equipment service space | filters/coils/fans/dampers require withdrawal and inspection space | clearance solid | OPEN |
| HV-04 | high-level sequence | high-level duct installation coordinated before lower infill where required | 4D state | E/V |
| HV-05 | support load path | duct/equipment supports terminate at validated embeds/structure | support graph | OPEN instances |
| HV-06 | condensate/drainage | cooling coils/low points require controlled drain route | drain graph | OPEN |

# 10. 4D route state machine

| State | Name | Physical condition |
| --- | --- | --- |
| RS-00 | reserved | space/penetration/support reservation exists; no installed route |
| RS-01 | support installed | support/embed accepted; route absent |
| RS-02 | route installed incomplete | spools/duct/tray/bus installed; open ends/temporary protection |
| RS-03 | joined/terminated | welds/flanges/terminations complete subject inspection |
| RS-04 | tested | required pressure/leak/IR/continuity/functional test accepted |
| RS-05 | insulated/sealed | insulation/firestop/penetration closure applied after prerequisites |
| RS-06 | as-built surveyed | route/support/penetration reconciled to model |
| RS-07 | turned over | configuration baseline accepted by commissioning/operations |
| RS-T | temporary modified state | approved temporary spool/jumper/bypass/restraint/route active |

The historical model now distinguishes reserved space from installed support, incomplete installation, joined/terminated configuration, tested configuration, sealed/insulated configuration, as-built survey and turnover. RS-T captures approved temporary route states such as commissioning spools, jumpers or bypasses.

# 11. Executable verification

| ID | Test | Actual | Expected | Result |
| --- | --- | --- | --- | --- |
| VER14-01 | BHT blanket logical connections | 160 | 160 | PASS |
| VER14-02 | BHT supply/return sector nodes | 32 | 32 | PASS |
| VER14-03 | maintenance interface nodes | 32 | 32 | PASS |
| VER14-04 | route-family coverage | 10 | 10 | PASS |
| VER14-05 | penetration reservation families | 8 | 8 | PASS |
| VER14-06 | metric route centreline clash test | 0 | >0 | BLOCKED - centreline vertices absent |
| VER14-07 | penetration host intersection test | 0 | >0 | BLOCKED - wall/slab solids and penetration XYZ absent |
| VER14-08 | support reachability/load-path test | 0 | >0 | BLOCKED - support coordinates absent |
| VER14-09 | piping stress analysis | 0 | >0 | BLOCKED - geometry/material/P-T/support data absent |
| VER14-10 | cable separation/fire-area test | 0 | >0 | BLOCKED - cable schedules/routes/fire areas absent |
| VER14-11 | HVAC access/duct clash test | 0 | >0 | BLOCKED - duct/equipment geometry absent |
| VER14-12 | unsupported metric OFG route values invented | 0 | 0 | PASS |

The graph validator closes all presently source-supported topology: 160 BHT blanket supply/return logical edges and 32 BHT sector nodes. Six metric tests remain blocked because actual centreline, penetration, support, cable/fire-area and duct geometry has not been established. No metric route values were invented to force closure.

# 12. Research application

| Class | Source | Applied constraint |
| --- | --- | --- |
| V | ITER systems installation / Anticipation and flexibility | supports first; high-level HVAC/cable trays; fixed busbars/cryolines constrain later routes; penetrations must be designed around actual services |
| V | ITER Plant Assembly | mechanical/piping scope includes vessels, pipes, heat exchangers, pumps/motors, cable trays, insulation, pressure testing/flushing; electrical/I&C includes busbars, switching, power and I&C cables/cabinets |
| V | ITER cooling water | machine cooling uses multiple closed loops and transfers heat through successive systems; precedent for hierarchical cooling network |
| V | ITER cryogenics | cryodistribution uses cryolines and cold boxes to distribute refrigeration to magnet/vacuum/thermal-shield clients |
| V | CNSC REGDOC-2.5.2 v2.1 | layout/access/egress; pressure boundary separation from electrical/control; inspectability; penetrations; high-energy line effects; as-built configuration in piping qualification |
| V | IAEA equipment-layout guidance | maintenance/replacement access, orderly/minimum-length piping, service-line rerouting preference, orthogonal routing where feasible, gravity drainage and pump suction considerations |

ITER's current plant-assembly documentation shows that routed-plant installation includes pressure-boundary piping, heat exchangers, pumps and motors, cable trays and pulling, thermal insulation, pressure testing/flushing, busbars, switching equipment and I&C cabinets. The Atlas therefore treats these as one federated spatial/configuration problem rather than isolated discipline drawings.

IAEA equipment-layout guidance further supports preserving replacement space and valve/instrument access, using orderly routing where feasible, controlling gravity drainage, and not resolving clashes by arbitrarily displacing the more functionally constrained process system.

# 13. Backward-propagation audit

| Change | Affected | Old | New | Basis | Packet |
| --- | --- | --- | --- | --- | --- |
| V08-001 | V04-V07 piping | functional topology without formal route object | route object now owns centreline, section, support, penetration, isolation, inspection and hazard envelope fields | ITER/CNSC/IAEA routing precedent | ROUTE08 |
| V08-002 | V07 penetrations | generic penetration contract | eight routed-system reservation families added; closure requires knowing systems on both sides before sealing | ITER penetration installation precedent | PEN08 |
| V08-003 | V05 supports | support taxonomy | supports now bind into piping-stress closure and routed load path; as-built route/support state required for final qualification | CNSC as-built piping qualification principle | PIPE08 |
| V08-004 | V06 construction precedence | supports/high services precedence | expanded into route-priority/reserved-volume hierarchy including irremovable machine interfaces and RH/egress exclusion volumes | ITER systems installation | ROUTE08 |
| V08-005 | V03-V05 electrical/I&C | functional connectivity | cable/tray route constraints now include separation, redundancy, pulling, firestop, ampacity and grounding | nuclear plant layout discipline | ELEC08 |
| V08-006 | V03-V07 HVAC | zone/function model | HVAC route objects now require duct solid, access envelope, fire/confinement crossings, support load path and condensate drain integration | plant-layout/constructability discipline | HVAC08 |
| V08-007 | all routed systems | static final-state representation | route lifecycle now has reserved/support/installed/joined/tested/sealed/surveyed/turnover plus temporary-modified state | historical reconstruction needs time-indexed geometry | CONS08 |

# 14. Canon decision/conflict register

| ID | Issue | Evidence | Decision | Status | Reason |
| --- | --- | --- | --- | --- | --- |
| CDR08-001 | PHT/BHT line sizes and routes | not established by controlled corpus | Remain OPEN; no ITER TCWS dimensions imported | OPEN | fusion cooling precedent is not OFG design data |
| CDR08-002 | penetration count | ITER has thousands/TCWS-specific penetrations | Do not import count; model reservation families only | OPEN | OFG architecture differs |
| CDR08-003 | gravity drain slope | IAEA guidance gives generic fall guidance | Treat slope as design requirement field, not silently assign OFG value | OPEN numeric | site/process geometry required |
| CDR08-004 | orthogonal routing | IAEA recommends orderly orthogonal routing where possible | Use as coordination preference, not mandatory geometry | E/V | machine annulus/ports may force non-orthogonal routes |
| CDR08-005 | pressure-boundary separation | CNSC requires greatest practicable separation from electrical/control systems | Promote to federated clash/separation verification requirement | V requirement applied as design principle | fusion licensing application still case-specific |
| CDR08-006 | BHT sector node XYZ | sector topology known but no nozzle coordinates | instantiate logical nodes only; metric coordinates OPEN | OPEN metric | prevents false CAD precision |

# 15. V09 quantitative descent

V09 must now descend into equipment/nozzle geometry and line-class engineering: pump and heat-exchanger nozzle frames, valve station assemblies, pipe spool segmentation, weld/joint maps, support-instance coordinates, flexible/bellows interfaces, thermal expansion anchors/guides, insulation envelopes, instrument root connections, drain/vent branches, cable-tray nodes, duct fittings/dampers and penetration assemblies. Wherever actual dimensions remain absent, the Atlas will maintain parametric geometry and data requirements rather than manufacturing numbers.

# Integrated controlled source — OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION — ENGINEERING ATLAS REV 2

VOLUME 09 — EQUIPMENT/NOZZLE GEOMETRY, FABRICATION TOPOLOGY & SUPPORT MECHANICS

CONTROLLED CONFIGURATION CUT: 19 APRIL 2031 | EQ09 / NOZ09 / FAB09 / WELD09 / SUP09 / VLV09 / FLEX09 / BHT09 / VER15 / CDR09

# 1. Purpose and closure boundary

V09 descends from routed systems into fabrication and equipment interfaces. A CAD/BIM plant cannot be qualified from centreline routes alone: equipment reference frames, nozzle faces, spools, field closure joints, valve assemblies, supports/restraints, flexible elements, weld maps and maintenance envelopes determine whether the designed network can actually be fabricated, installed, tested, operated and later reconstructed.

| Field | Equipment requirement |
| --- | --- |
| equipment_id | unique asset/component identifier |
| parent_system | system/subsystem owner |
| equipment_class | pump/HX/vessel/filter/skid/valve station/etc. |
| status | C/V/E/OPEN |
| reference_point | equipment datum used for placement |
| orientation | local equipment axes |
| bounding_solid | operating physical envelope |
| maintenance_solid | withdrawal/lift/service envelope |
| foundation_support | baseplate/support/anchor/civil host |
| dry_operating_test_mass | mass states, independently controlled |
| cog | centre of gravity for relevant state |
| nozzle_ids | all process/vent/drain/instrument connections |
| electrical_ic_interfaces | power/ground/I&C interfaces |
| lifting_points | rated lift/handling interfaces |
| vendor_doc | GA/data sheet/load/nozzle schedule |
| asbuilt_evidence | survey/receipt/FAT/SAT/MC/turnover evidence |

| Field | Nozzle requirement |
| --- | --- |
| nozzle_id | unique connection identifier |
| equipment_id | parent equipment |
| service | process/vent/drain/instrument/relief |
| size_class | nominal size/class or OPEN |
| face_center | E/N/Z of connection face |
| axis | unit vector/azimuth/elevation |
| connection | flange/weld/socket/thread/special |
| rating_material | pressure class/material or OPEN |
| allowable_load | forces/moments/displacements or OPEN |
| thermal_movement | design displacement vector |
| inspection_clearance | weld/flange/bolt/NDE access |
| mating_route | controlled route/spool ID |
| evidence | vendor GA/as-built survey/interface record |

# 2. Fabrication topology

| ID | Object | Constituents | Responsibility | Acceptance | Role |
| --- | --- | --- | --- | --- | --- |
| FAB-01 | shop spool | pipe + fittings + shop welds | fabricator | shop dimensional/NDE release | transportable unit |
| FAB-02 | field spool | site-fit pipe/fittings | field contractor | fit-up/weld/NDE | installed route segment |
| FAB-03 | field closure weld | final tie-in between installed units | field contractor | survey/fit-up/NDE/pressure-boundary acceptance | configuration-critical joint |
| FAB-04 | flanged joint | two flanges + gasket + bolting | field contractor | cleanliness/alignment/gasket/bolt control | demountable joint |
| FAB-05 | branch connection | tee/olet/reinforced branch/special | fabricator/field | pressure design + weld/NDE | main-to-branch topology |
| FAB-06 | expansion joint/bellows | flexible pressure-boundary element | vendor/field | movement/pressure/squirm/fatigue/anchor-load qualification | movement interface |
| FAB-07 | flexible hose/special connector | flexible interface | vendor/field | service/movement/fatigue qualification | local decoupling |
| FAB-08 | instrument root | root valve/fitting/tubing interface | field/instrument | orientation/access/leak test | process-to-instrument boundary |
| FAB-09 | vent/drain branch | high/low point branch + valve/cap/route | field | functional elevation/access/test | operability/commissioning |

The physical network is now explicitly segmented into shop spools, field spools, closure welds, demountable joints, branches, flexible interfaces, instrument roots and vent/drain branches. Each fabrication object must retain traceability to the drawing/isometric, WPS and qualification records, NDE, test boundary and as-built configuration.

| Field | Joint/weld record |
| --- | --- |
| joint_id | unique weld/joint identifier |
| spool_a | upstream/member A |
| spool_b | downstream/member B |
| joint_type | BW/SW/flange/other |
| weld_process | qualified process/WPS |
| welder_operator | qualification trace |
| material_pair | base/filler materials |
| fitup | gap/alignment/root condition |
| heat_treatment | PWHT/preheat requirement |
| nde | VT/PT/MT/RT/UT/other as applicable |
| pressure_test_boundary | test package membership |
| repair_history | repair excavation/re-weld/NDE chain |
| location | controlled as-designed/as-built coordinate |
| evidence | WPS/PQR/WPQ/weld map/NDE/test record |

# 3. Support and restraint mechanics

| ID | Type | DOF function | Purpose | Closure |
| --- | --- | --- | --- | --- |
| SUP-ANCHOR | anchor | restrains translations/rotations per design | thermal/seismic/dynamic load transfer | location/stiffness/allowables OPEN |
| SUP-GUIDE | guide | permits axial movement; restrains transverse DOF as designed | thermal growth control | gap/friction/stiffness OPEN |
| SUP-LINESTOP | line stop | restrains selected axial direction | thermal/dynamic load management | gap/stiffness OPEN |
| SUP-HANGER-R | rigid hanger | supports gravity at fixed elevation | weight load path | rod/attachment geometry OPEN |
| SUP-SPR-V | variable spring | gravity support over vertical movement | thermal vertical displacement | hot/cold loads/travel OPEN |
| SUP-SPR-C | constant effort support | near-constant support through travel | large vertical movement | load/travel setting OPEN |
| SUP-SNUB | snubber/dynamic restraint | permits slow thermal movement, restrains rapid dynamic motion | seismic/dynamic | stroke/lock velocity/load OPEN |
| SUP-SHOE | pipe shoe/rest | gravity support/sliding interface | weight + friction | friction/contact/stiffness OPEN |
| SUP-TRUN | trunnion/integral attachment | pipe-to-support load transfer | local shell stress | attachment geometry/stress OPEN |

Support symbols are no longer sufficient. The stress/configuration model must know which degrees of freedom are restrained, the stiffness, gap, friction, travel, preload or hot/cold setting where relevant, and the structural load path. ASME pipe-stress literature explicitly treats support stiffness, gaps, friction, anchor behavior and expansion joints as analysis variables.

# 4. Valve stations and maintainable equipment

| ID | Class | Physical assembly | Function | Spatial verification | Closure |
| --- | --- | --- | --- | --- | --- |
| VLV-ISO | isolation valve station | valve + flanges/weld ends + operator + local supports | isolate equipment/train | operator access; removal envelope; leak tightness; locking/tagging | size/class/actuation OPEN |
| VLV-CV | control valve station | control valve + isolation/bypass as design requires + instrument taps | flow/pressure control | straight-run/process requirements; actuator removal; noise/vibration | actual arrangement OPEN |
| VLV-NRV | check valve station | check valve + removable joint/support as required | reverse-flow prevention | orientation/access/transient effects | actual arrangement OPEN |
| VLV-REL | relief device station | relief valve/device + inlet/outlet discharge route | overpressure protection | set basis; reaction loads; safe discharge; maintenance | actual arrangement OPEN |
| VLV-ROOT | instrument root valve | root connection + valve/fittings | instrument isolation | access/orientation/leak test | actual arrangement OPEN |

| ID | Class | Constituents | Function | Required spatial model | Closure |
| --- | --- | --- | --- | --- | --- |
| PUMP-CENT | centrifugal pump set | pump + motor + baseplate/coupling + suction/discharge nozzles | flow service | foundation; alignment; suction layout; coupling/motor pull; valve/instrument access | instances/duty OPEN |
| HX-SHELL | shell-and-tube HX | shell + channel/head + tube bundle + nozzles | heat exchange | bundle-pull envelope; head removal; nozzle loads; supports | instances/duty OPEN |
| VESSEL | pressure vessel/tank | shell/heads/nozzles/supports | inventory/separation/surge | manway/internal access; lifting; relief; drain/vent | instances OPEN |
| FILTER | filter/strainer | body + element + cover + drain/vent | particulate control | element/cover removal; differential pressure instrumentation | instances OPEN |
| SKID | packaged skid | frame + equipment + piping + valves + I&C | modular function | transport/rigging; tie-ins; access; local load path | instances OPEN |

Maintenance solids are separate from operating solids. A pump that fits geometrically but cannot release its coupling or motor, or a heat exchanger whose bundle cannot be withdrawn, is not a spatially closed design.

# 5. Flexible and differential-movement interfaces

| ID | Input | Requirement | Status |
| --- | --- | --- | --- |
| BEL-01 | movement vector | axial/lateral/angular movement spectrum including installation offset | OPEN OFG |
| BEL-02 | pressure thrust | effective area x pressure and restraint/load path | OPEN OFG |
| BEL-03 | anchor/guide interaction | support stiffness, gaps and imposed movements | OPEN OFG |
| BEL-04 | fatigue/cycle basis | movement cycles and transient spectrum | OPEN OFG |
| BEL-05 | instability/squirm | pressure stability qualification | OPEN OFG |
| BEL-06 | installation alignment | cold-set/fit-up/tolerance and transport restraints | OPEN OFG |
| BEL-07 | inspection/protection | access and prevention of mechanical damage/foreign material | OPEN OFG |
| BEL-08 | building differential movement | settlement/seismic/thermal movement across structural interfaces | OPEN OFG |

ITER cryoline installation provides unusually strong physical precedent: individual inner pipes, outer jackets and thermal shields are welded after positioning; thermal contraction is partly accommodated by bellows; and the resulting forces are transmitted into robust supports. V09 therefore treats flexible elements and their anchor/support systems as a coupled mechanical problem, not as isolated catalogue components.

# 6. Spool segmentation and 施工性

| ID | Topic | Rule |
| --- | --- | --- |
| SP-01 | transport/handling | spool envelope and mass must fit fabrication, delivery and site handling constraints |
| SP-02 | field access | closure welds/flanges placed where welding, bolting and NDE are physically possible |
| SP-03 | tolerance absorption | field-fit/closure strategy accommodates civil/equipment/as-built tolerance without uncontrolled forcing |
| SP-04 | test boundary | spool/joint segmentation supports defined pressure/leak test packages and vents/drains |
| SP-05 | cleanliness/FME | open-end exposure and temporary caps controlled through storage/installation |
| SP-06 | support sequence | spool installation compatible with support readiness and temporary supports |
| SP-07 | maintenance | demountable joints positioned to permit equipment/valve/component replacement where required |
| SP-08 | weld minimization vs access | shop welds preferred where quality/handling permit; field joints retained where erection demands |

Spool boundaries are construction decisions. They must reconcile transport envelope, field welding/NDE access, tolerance absorption, test boundaries, cleanliness/FME, support readiness and future maintenance. The historical Atlas must preserve those boundaries because field-fit and closure decisions can materially change the installed configuration.

# 7. BHT-401 physical reconstruction

| ID | Object | Status | Parent/interface | Function | Closure |
| --- | --- | --- | --- | --- | --- |
| BHT401-SKID | temporary commissioning skid | C | BHT Train 1 | temporary pump/recirculation assembly | physical skid geometry/nozzles OPEN |
| BHT401-SPL-S | temporary supply spool set | C/E | BHT401-SKID -> Train 1 | temporary pressure-boundary connection | weld/flange map OPEN |
| BHT401-SPL-R | temporary return spool set | C/E | Train 1 -> BHT401-SKID | temporary pressure-boundary connection | weld/flange map OPEN |
| CRS01-RST-L2 | restraint/support object implicated in evidence chain | C | BHT401 temporary configuration | support/restraint physical load path | exact DOF/geometry/setting OPEN |
| BHT401-INST | temporary instrument set | C/E | BHT401 loop | commissioning measurement/control | tag/channel list OPEN |

The BHT-401 event thread is now represented as physical configuration objects rather than narrative references. The skid, temporary supply and return spools, instrumentation and CRS01-RST-L2 restraint belong to one time-dependent mechanical configuration. The restraint's exact geometry, degrees of freedom and setting remain unresolved and therefore block any credible mechanical replay of the near miss.

# 8. Verification results

| ID | Test | Actual | Expected | Result |
| --- | --- | --- | --- | --- |
| VER15-01 | equipment contract fields | 16 | 16 | PASS |
| VER15-02 | nozzle contract fields | 13 | 13 | PASS |
| VER15-03 | fabrication topology classes | 9 | 9 | PASS |
| VER15-04 | support mechanics classes | 9 | 9 | PASS |
| VER15-05 | BHT-401 controlled physical objects | 5 | 5 | PASS |
| VER15-06 | actual nozzle-coordinate closure | 0 | >0 | BLOCKED - vendor/as-built geometry absent |
| VER15-07 | actual spool/weld map closure | 0 | >0 | BLOCKED - fabrication/isometric records absent |
| VER15-08 | support load/stress closure | 0 | >0 | BLOCKED - loads/stiffness/coordinates absent |
| VER15-09 | bellows qualification | 0 | >0 | BLOCKED - movement/pressure/cycle data absent |
| VER15-10 | equipment maintenance swept-volume check | 0 | >0 | BLOCKED - equipment GA absent |
| VER15-11 | BHT-401 physical restraint reconstruction | 0 | 1 | BLOCKED - CRS01-RST-L2 geometry/setting evidence unresolved |
| VER15-12 | unsupported fabrication dimensions invented | 0 | 0 | PASS |

The information-model tests pass. Six engineering tests remain blocked: nozzle coordinates, spool/weld map, support-load/stress closure, bellows qualification, equipment maintenance swept volumes and the BHT-401 restraint reconstruction. No dimensions were invented to convert those blockers into passes.

# 9. Research incorporated

| Class | Source | Applied constraint |
| --- | --- | --- |
| V | ASME B31.1 official training/guide | piping integrity requires component/system design, flexibility, supports, fabrication, welding, inspection and testing; expansion-joint behavior is part of analysis |
| V | ASME Pipe Stress Engineering | support friction/stiffness/displacement, springs, integral attachments, bellows and flexible connections are analysis variables rather than drawing annotations |
| V | ITER cryoline installation | multi-process cryoline sections are individually positioned and welded; jacket and thermal shield are also welded; bellows accommodate contraction and supports carry thermal forces |
| V | ITER plant assembly | field scope explicitly includes vessels, piping, HX, pumps/motors, cable trays, insulation, pressure tests and flushing |
| V | ITER embedded plates | supports for cooling systems, cryolines, feeders and cable trays attach to plates positioned from the 3D configuration model before concrete pour |
| V | IAEA equipment-layout guidance | layout must preserve access to components, valves and instruments for commissioning/testing/maintenance/replacement; pipe routing must permit dismantling |

The ASME research boundary now includes component/system pressure design, piping flexibility, supports, fabrication, welding, inspection and testing. ITER field evidence independently confirms the practical fabrication chain: equipment, piping, heat exchangers, pumps/motors, cable trays, insulation, pressure testing and flushing are integrated installation scopes rather than abstract system diagrams.

# 10. Backward-propagation audit

| Change | Affected | Old | New | Basis | Packet |
| --- | --- | --- | --- | --- | --- |
| V09-001 | V05/V08 equipment | equipment represented primarily by tags/functions | equipment now requires placement datum, operating/maintenance solids, foundation, mass/COG, nozzles, lift points and evidence | fabrication/maintenance spatial closure | EQ09 |
| V09-002 | V08 routes | route segments without fabrication hierarchy | shop spool/field spool/closure weld/flange/branch/flexible/root/vent-drain objects added | ASME/ITER fabrication precedent | FAB09 |
| V09-003 | V05/V08 supports | support type/DOF conceptual | support mechanics now distinguish anchors, guides, line stops, hangers, springs, snubbers, shoes and integral attachments | pipe-stress engineering | SUP09 |
| V09-004 | V08 flexibility | thermal movement listed as route concern | bellows/flexible interfaces now own movement, pressure thrust, fatigue, stability, installation and structural-differential-movement requirements | ASME + ITER cryoline precedent | FLEX09 |
| V09-005 | BHT-401 thread | temporary skid/spools/restraint known but geometry unresolved | five explicit physical configuration objects created; CRS01-RST-L2 remains hard reconstruction blocker | controlled event evidence chain | BHT09 |
| V09-006 | V07/V08 constructability | route state and civil state separate | spool segmentation now couples transport, field access, tolerance, test boundary, cleanliness, support readiness and maintenance | field fabrication discipline | FAB09 |

# 11. Canon decision/conflict register

| ID | Issue | Evidence | Decision | Status | Reason |
| --- | --- | --- | --- | --- | --- |
| CDR09-001 | applicable OFG piping code class | ASME B31 precedent researched; nuclear-class scope not yet allocated per system | Do not assign B31.1/B31.3/Section III class silently | OPEN | classification/licensing basis required |
| CDR09-002 | bellows numerical movement | ITER values are project-specific | do not import ITER movement/contraction/load values into OFG | OPEN | use only as physical precedent |
| CDR09-003 | support spacing | generic code/handbook values exist | no generic spacing assigned to OFG | OPEN | depends size/material/service/dynamics |
| CDR09-004 | BHT401 restraint behavior | record chain identifies restraint object but exact geometry/DOF not established | retain CRS01-RST-L2 as unresolved physical evidence object | OPEN detail/C identity | central accident-chain sensitivity |
| CDR09-005 | equipment maintenance envelope | class requirements established but vendor GA absent | keep parametric until vendor/field evidence recovered | OPEN metric | prevents false clash PASS |

# 12. V10 descent

V10 must build the actual discipline-level specification architecture: piping line classes and material specifications; pressure/temperature design-condition matrices; valve and flange selection logic; welding/NDE/heat-treatment matrices; insulation/coating/cleanliness classes; instrument hook-up families; equipment data sheets; pump/HX/vessel mechanical design inputs; electrical termination and tray-fill data; and procurement-to-FAT-to-receipt-to-installation evidence packages. The code-class allocation itself remains OPEN until the OFG licensing/classification basis is reconstructed rather than guessed.

# Controlled register — CDR08_R01_Canon_Decision_Conflict_Register.csv

| ID | Issue | Evidence | Decision | Status | Reason |
| --- | --- | --- | --- | --- | --- |
| CDR08-001 | PHT/BHT line sizes and routes | not established by controlled corpus | Remain OPEN; no ITER TCWS dimensions imported | OPEN | fusion cooling precedent is not OFG design data |
| CDR08-002 | penetration count | ITER has thousands/TCWS-specific penetrations | Do not import count; model reservation families only | OPEN | OFG architecture differs |
| CDR08-003 | gravity drain slope | IAEA guidance gives generic fall guidance | Treat slope as design requirement field, not silently assign OFG value | OPEN numeric | site/process geometry required |
| CDR08-004 | orthogonal routing | IAEA recommends orderly orthogonal routing where possible | Use as coordination preference, not mandatory geometry | E/V | machine annulus/ports may force non-orthogonal routes |
| CDR08-005 | pressure-boundary separation | CNSC requires greatest practicable separation from electrical/control systems | Promote to federated clash/separation verification requirement | V requirement applied as design principle | fusion licensing application still case-specific |
| CDR08-006 | BHT sector node XYZ | sector topology known but no nozzle coordinates | instantiate logical nodes only; metric coordinates OPEN | OPEN metric | prevents false CAD precision |

Rows preserved in this register: 6.

# Controlled register — CONS08_R01_Routed_System_4D_State_Machine.csv

| State | Name | Physical_condition |
| --- | --- | --- |
| RS-00 | reserved | space/penetration/support reservation exists; no installed route |
| RS-01 | support installed | support/embed accepted; route absent |
| RS-02 | route installed incomplete | spools/duct/tray/bus installed; open ends/temporary protection |
| RS-03 | joined/terminated | welds/flanges/terminations complete subject inspection |
| RS-04 | tested | required pressure/leak/IR/continuity/functional test accepted |
| RS-05 | insulated/sealed | insulation/firestop/penetration closure applied after prerequisites |
| RS-06 | as-built surveyed | route/support/penetration reconciled to model |
| RS-07 | turned over | configuration baseline accepted by commissioning/operations |
| RS-T | temporary modified state | approved temporary spool/jumper/bypass/restraint/route active |

Rows preserved in this register: 9.

# Controlled register — CTRL08_R01_Epistemic_Status_Rules.csv

| Code | Meaning | Rule |
| --- | --- | --- |
| C | supplied controlled story/source corpus | May be treated as story canon unless a controlled conflict exists. |
| V | verified real-world precedent | Constrains engineering method; never silently becomes OFG fact. |
| E | controlled fictional engineering reconstruction | Permitted for coherent design; must remain visibly fictional. |
| OPEN | unresolved | No unsupported closure permitted. |

Rows preserved in this register: 4.

# Controlled register — ELEC08_R01_Cable_Tray_Routing_Constraints.csv

| ID | Constraint | Rule | Model_object | Closure |
| --- | --- | --- | --- | --- |
| EL-01 | power vs I&C separation | segregate according to safety/EMC/fire basis | tray zoning + penetrations | classification/cable schedules OPEN |
| EL-02 | redundant train separation | physically separate redundant divisions where required | routes/fire areas | division architecture OPEN |
| EL-03 | bend/pull constraints | tray/conduit routes must support cable bend radius, pulling tension and access | route geometry | cable data OPEN |
| EL-04 | fire stopping | penetrations restore fire-sector rating | penetration assembly | fire-area model OPEN |
| EL-05 | heat/ampacity | tray fill and ambient conditions support ampacity/derating | tray/cable sizing | load/cable data OPEN |
| EL-06 | grounding/bonding | equipment/trays/penetrations integrate with grounding grid | electrical safety/EMC | grounding design OPEN |

Rows preserved in this register: 6.

# Controlled register — GRAPH08_R01_Known_Logical_Route_Edges.csv

| From | To | Relation | Status |
| --- | --- | --- | --- |
| BLK-S01-I1 | BHT-S01-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S01-I1 | BHT-S01-RET-NODE | BHT return logical connection | C-derived |
| BLK-S01-I2 | BHT-S01-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S01-I2 | BHT-S01-RET-NODE | BHT return logical connection | C-derived |
| BLK-S01-O1 | BHT-S01-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S01-O1 | BHT-S01-RET-NODE | BHT return logical connection | C-derived |
| BLK-S01-O2 | BHT-S01-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S01-O2 | BHT-S01-RET-NODE | BHT return logical connection | C-derived |
| BLK-S01-O3 | BHT-S01-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S01-O3 | BHT-S01-RET-NODE | BHT return logical connection | C-derived |
| BLK-S02-I1 | BHT-S02-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S02-I1 | BHT-S02-RET-NODE | BHT return logical connection | C-derived |
| BLK-S02-I2 | BHT-S02-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S02-I2 | BHT-S02-RET-NODE | BHT return logical connection | C-derived |
| BLK-S02-O1 | BHT-S02-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S02-O1 | BHT-S02-RET-NODE | BHT return logical connection | C-derived |
| BLK-S02-O2 | BHT-S02-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S02-O2 | BHT-S02-RET-NODE | BHT return logical connection | C-derived |
| BLK-S02-O3 | BHT-S02-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S02-O3 | BHT-S02-RET-NODE | BHT return logical connection | C-derived |
| BLK-S03-I1 | BHT-S03-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S03-I1 | BHT-S03-RET-NODE | BHT return logical connection | C-derived |
| BLK-S03-I2 | BHT-S03-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S03-I2 | BHT-S03-RET-NODE | BHT return logical connection | C-derived |
| BLK-S03-O1 | BHT-S03-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S03-O1 | BHT-S03-RET-NODE | BHT return logical connection | C-derived |
| BLK-S03-O2 | BHT-S03-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S03-O2 | BHT-S03-RET-NODE | BHT return logical connection | C-derived |
| BLK-S03-O3 | BHT-S03-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S03-O3 | BHT-S03-RET-NODE | BHT return logical connection | C-derived |
| BLK-S04-I1 | BHT-S04-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S04-I1 | BHT-S04-RET-NODE | BHT return logical connection | C-derived |
| BLK-S04-I2 | BHT-S04-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S04-I2 | BHT-S04-RET-NODE | BHT return logical connection | C-derived |
| BLK-S04-O1 | BHT-S04-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S04-O1 | BHT-S04-RET-NODE | BHT return logical connection | C-derived |
| BLK-S04-O2 | BHT-S04-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S04-O2 | BHT-S04-RET-NODE | BHT return logical connection | C-derived |
| BLK-S04-O3 | BHT-S04-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S04-O3 | BHT-S04-RET-NODE | BHT return logical connection | C-derived |
| BLK-S05-I1 | BHT-S05-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S05-I1 | BHT-S05-RET-NODE | BHT return logical connection | C-derived |
| BLK-S05-I2 | BHT-S05-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S05-I2 | BHT-S05-RET-NODE | BHT return logical connection | C-derived |
| BLK-S05-O1 | BHT-S05-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S05-O1 | BHT-S05-RET-NODE | BHT return logical connection | C-derived |
| BLK-S05-O2 | BHT-S05-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S05-O2 | BHT-S05-RET-NODE | BHT return logical connection | C-derived |
| BLK-S05-O3 | BHT-S05-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S05-O3 | BHT-S05-RET-NODE | BHT return logical connection | C-derived |
| BLK-S06-I1 | BHT-S06-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S06-I1 | BHT-S06-RET-NODE | BHT return logical connection | C-derived |
| BLK-S06-I2 | BHT-S06-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S06-I2 | BHT-S06-RET-NODE | BHT return logical connection | C-derived |
| BLK-S06-O1 | BHT-S06-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S06-O1 | BHT-S06-RET-NODE | BHT return logical connection | C-derived |
| BLK-S06-O2 | BHT-S06-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S06-O2 | BHT-S06-RET-NODE | BHT return logical connection | C-derived |
| BLK-S06-O3 | BHT-S06-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S06-O3 | BHT-S06-RET-NODE | BHT return logical connection | C-derived |
| BLK-S07-I1 | BHT-S07-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S07-I1 | BHT-S07-RET-NODE | BHT return logical connection | C-derived |
| BLK-S07-I2 | BHT-S07-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S07-I2 | BHT-S07-RET-NODE | BHT return logical connection | C-derived |
| BLK-S07-O1 | BHT-S07-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S07-O1 | BHT-S07-RET-NODE | BHT return logical connection | C-derived |
| BLK-S07-O2 | BHT-S07-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S07-O2 | BHT-S07-RET-NODE | BHT return logical connection | C-derived |
| BLK-S07-O3 | BHT-S07-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S07-O3 | BHT-S07-RET-NODE | BHT return logical connection | C-derived |
| BLK-S08-I1 | BHT-S08-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S08-I1 | BHT-S08-RET-NODE | BHT return logical connection | C-derived |
| BLK-S08-I2 | BHT-S08-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S08-I2 | BHT-S08-RET-NODE | BHT return logical connection | C-derived |
| BLK-S08-O1 | BHT-S08-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S08-O1 | BHT-S08-RET-NODE | BHT return logical connection | C-derived |
| BLK-S08-O2 | BHT-S08-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S08-O2 | BHT-S08-RET-NODE | BHT return logical connection | C-derived |
| BLK-S08-O3 | BHT-S08-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S08-O3 | BHT-S08-RET-NODE | BHT return logical connection | C-derived |
| BLK-S09-I1 | BHT-S09-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S09-I1 | BHT-S09-RET-NODE | BHT return logical connection | C-derived |
| BLK-S09-I2 | BHT-S09-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S09-I2 | BHT-S09-RET-NODE | BHT return logical connection | C-derived |
| BLK-S09-O1 | BHT-S09-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S09-O1 | BHT-S09-RET-NODE | BHT return logical connection | C-derived |
| BLK-S09-O2 | BHT-S09-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S09-O2 | BHT-S09-RET-NODE | BHT return logical connection | C-derived |
| BLK-S09-O3 | BHT-S09-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S09-O3 | BHT-S09-RET-NODE | BHT return logical connection | C-derived |
| BLK-S10-I1 | BHT-S10-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S10-I1 | BHT-S10-RET-NODE | BHT return logical connection | C-derived |
| BLK-S10-I2 | BHT-S10-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S10-I2 | BHT-S10-RET-NODE | BHT return logical connection | C-derived |
| BLK-S10-O1 | BHT-S10-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S10-O1 | BHT-S10-RET-NODE | BHT return logical connection | C-derived |
| BLK-S10-O2 | BHT-S10-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S10-O2 | BHT-S10-RET-NODE | BHT return logical connection | C-derived |
| BLK-S10-O3 | BHT-S10-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S10-O3 | BHT-S10-RET-NODE | BHT return logical connection | C-derived |
| BLK-S11-I1 | BHT-S11-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S11-I1 | BHT-S11-RET-NODE | BHT return logical connection | C-derived |
| BLK-S11-I2 | BHT-S11-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S11-I2 | BHT-S11-RET-NODE | BHT return logical connection | C-derived |
| BLK-S11-O1 | BHT-S11-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S11-O1 | BHT-S11-RET-NODE | BHT return logical connection | C-derived |
| BLK-S11-O2 | BHT-S11-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S11-O2 | BHT-S11-RET-NODE | BHT return logical connection | C-derived |
| BLK-S11-O3 | BHT-S11-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S11-O3 | BHT-S11-RET-NODE | BHT return logical connection | C-derived |
| BLK-S12-I1 | BHT-S12-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S12-I1 | BHT-S12-RET-NODE | BHT return logical connection | C-derived |
| BLK-S12-I2 | BHT-S12-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S12-I2 | BHT-S12-RET-NODE | BHT return logical connection | C-derived |
| BLK-S12-O1 | BHT-S12-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S12-O1 | BHT-S12-RET-NODE | BHT return logical connection | C-derived |
| BLK-S12-O2 | BHT-S12-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S12-O2 | BHT-S12-RET-NODE | BHT return logical connection | C-derived |
| BLK-S12-O3 | BHT-S12-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S12-O3 | BHT-S12-RET-NODE | BHT return logical connection | C-derived |
| BLK-S13-I1 | BHT-S13-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S13-I1 | BHT-S13-RET-NODE | BHT return logical connection | C-derived |
| BLK-S13-I2 | BHT-S13-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S13-I2 | BHT-S13-RET-NODE | BHT return logical connection | C-derived |
| BLK-S13-O1 | BHT-S13-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S13-O1 | BHT-S13-RET-NODE | BHT return logical connection | C-derived |
| BLK-S13-O2 | BHT-S13-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S13-O2 | BHT-S13-RET-NODE | BHT return logical connection | C-derived |
| BLK-S13-O3 | BHT-S13-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S13-O3 | BHT-S13-RET-NODE | BHT return logical connection | C-derived |
| BLK-S14-I1 | BHT-S14-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S14-I1 | BHT-S14-RET-NODE | BHT return logical connection | C-derived |
| BLK-S14-I2 | BHT-S14-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S14-I2 | BHT-S14-RET-NODE | BHT return logical connection | C-derived |
| BLK-S14-O1 | BHT-S14-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S14-O1 | BHT-S14-RET-NODE | BHT return logical connection | C-derived |
| BLK-S14-O2 | BHT-S14-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S14-O2 | BHT-S14-RET-NODE | BHT return logical connection | C-derived |
| BLK-S14-O3 | BHT-S14-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S14-O3 | BHT-S14-RET-NODE | BHT return logical connection | C-derived |
| BLK-S15-I1 | BHT-S15-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S15-I1 | BHT-S15-RET-NODE | BHT return logical connection | C-derived |
| BLK-S15-I2 | BHT-S15-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S15-I2 | BHT-S15-RET-NODE | BHT return logical connection | C-derived |
| BLK-S15-O1 | BHT-S15-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S15-O1 | BHT-S15-RET-NODE | BHT return logical connection | C-derived |
| BLK-S15-O2 | BHT-S15-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S15-O2 | BHT-S15-RET-NODE | BHT return logical connection | C-derived |
| BLK-S15-O3 | BHT-S15-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S15-O3 | BHT-S15-RET-NODE | BHT return logical connection | C-derived |
| BLK-S16-I1 | BHT-S16-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S16-I1 | BHT-S16-RET-NODE | BHT return logical connection | C-derived |
| BLK-S16-I2 | BHT-S16-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S16-I2 | BHT-S16-RET-NODE | BHT return logical connection | C-derived |
| BLK-S16-O1 | BHT-S16-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S16-O1 | BHT-S16-RET-NODE | BHT return logical connection | C-derived |
| BLK-S16-O2 | BHT-S16-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S16-O2 | BHT-S16-RET-NODE | BHT return logical connection | C-derived |
| BLK-S16-O3 | BHT-S16-SUP-NODE | BHT supply logical connection | C-derived |
| BLK-S16-O3 | BHT-S16-RET-NODE | BHT return logical connection | C-derived |
| CRYO-F101-IN | CRY-TRAIN-A | cryogenic distribution logical interface | C/E |
| CRYO-F101-IN | CRY-TRAIN-B | cryogenic distribution logical interface | C/E |
| CRYO-F101-IN | CRY-TRAIN-C | cryogenic distribution logical interface | C/E |
| MAGPWR-F101-IN | F101-MPS | power/protection interface class | E |
| VAC-VV-MAN | VAC-RGH-TR2 | vacuum roughing interface | C/E |

Rows preserved in this register: 165.

# Controlled register — HVAC08_R01_HVAC_Spatial_Coordination_Constraints.csv

| ID | Constraint | Rule | Model_object | Closure |
| --- | --- | --- | --- | --- |
| HV-01 | duct section/access | duct + insulation + flange + damper/access-door maintenance envelope | duct solid + clearance | OPEN |
| HV-02 | fire/confinement boundary | crossings require controlled damper/seal function where design requires | penetration + damper | OPEN |
| HV-03 | equipment service space | filters/coils/fans/dampers require withdrawal and inspection space | clearance solid | OPEN |
| HV-04 | high-level sequence | high-level duct installation coordinated before lower infill where required | 4D state | E/V |
| HV-05 | support load path | duct/equipment supports terminate at validated embeds/structure | support graph | OPEN instances |
| HV-06 | condensate/drainage | cooling coils/low points require controlled drain route | drain graph | OPEN |

Rows preserved in this register: 6.

# Controlled register — NODE08_R01_Equipment_Nozzle_and_Route_Node_Register.csv

| Node | System | Class | Parent | Reference | Function | Closure | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| BHT-S01-SUP-NODE | BHT | sector supply interface | SS-01 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S01-RET-NODE | BHT | sector return interface | SS-01 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S01 | RH | upper maintenance interface | SS-01 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S01 | RH | lower maintenance interface | SS-01 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S02-SUP-NODE | BHT | sector supply interface | SS-02 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S02-RET-NODE | BHT | sector return interface | SS-02 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S02 | RH | upper maintenance interface | SS-02 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S02 | RH | lower maintenance interface | SS-02 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S03-SUP-NODE | BHT | sector supply interface | SS-03 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S03-RET-NODE | BHT | sector return interface | SS-03 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S03 | RH | upper maintenance interface | SS-03 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S03 | RH | lower maintenance interface | SS-03 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S04-SUP-NODE | BHT | sector supply interface | SS-04 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S04-RET-NODE | BHT | sector return interface | SS-04 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S04 | RH | upper maintenance interface | SS-04 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S04 | RH | lower maintenance interface | SS-04 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S05-SUP-NODE | BHT | sector supply interface | SS-05 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S05-RET-NODE | BHT | sector return interface | SS-05 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S05 | RH | upper maintenance interface | SS-05 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S05 | RH | lower maintenance interface | SS-05 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S06-SUP-NODE | BHT | sector supply interface | SS-06 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S06-RET-NODE | BHT | sector return interface | SS-06 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S06 | RH | upper maintenance interface | SS-06 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S06 | RH | lower maintenance interface | SS-06 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S07-SUP-NODE | BHT | sector supply interface | SS-07 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S07-RET-NODE | BHT | sector return interface | SS-07 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S07 | RH | upper maintenance interface | SS-07 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S07 | RH | lower maintenance interface | SS-07 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S08-SUP-NODE | BHT | sector supply interface | SS-08 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S08-RET-NODE | BHT | sector return interface | SS-08 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S08 | RH | upper maintenance interface | SS-08 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S08 | RH | lower maintenance interface | SS-08 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S09-SUP-NODE | BHT | sector supply interface | SS-09 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S09-RET-NODE | BHT | sector return interface | SS-09 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S09 | RH | upper maintenance interface | SS-09 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S09 | RH | lower maintenance interface | SS-09 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S10-SUP-NODE | BHT | sector supply interface | SS-10 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S10-RET-NODE | BHT | sector return interface | SS-10 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S10 | RH | upper maintenance interface | SS-10 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S10 | RH | lower maintenance interface | SS-10 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S11-SUP-NODE | BHT | sector supply interface | SS-11 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S11-RET-NODE | BHT | sector return interface | SS-11 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S11 | RH | upper maintenance interface | SS-11 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S11 | RH | lower maintenance interface | SS-11 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S12-SUP-NODE | BHT | sector supply interface | SS-12 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S12-RET-NODE | BHT | sector return interface | SS-12 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S12 | RH | upper maintenance interface | SS-12 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S12 | RH | lower maintenance interface | SS-12 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S13-SUP-NODE | BHT | sector supply interface | SS-13 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S13-RET-NODE | BHT | sector return interface | SS-13 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S13 | RH | upper maintenance interface | SS-13 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S13 | RH | lower maintenance interface | SS-13 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S14-SUP-NODE | BHT | sector supply interface | SS-14 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S14-RET-NODE | BHT | sector return interface | SS-14 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S14 | RH | upper maintenance interface | SS-14 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S14 | RH | lower maintenance interface | SS-14 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S15-SUP-NODE | BHT | sector supply interface | SS-15 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S15-RET-NODE | BHT | sector return interface | SS-15 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S15 | RH | upper maintenance interface | SS-15 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S15 | RH | lower maintenance interface | SS-15 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| BHT-S16-SUP-NODE | BHT | sector supply interface | SS-16 | sector-centre frame | blanket supply distribution | XYZ/nozzle OPEN | C/E |
| BHT-S16-RET-NODE | BHT | sector return interface | SS-16 | sector-centre frame | blanket return collection | XYZ/nozzle OPEN | C/E |
| UMP-S16 | RH | upper maintenance interface | SS-16 | upper frame | blanket access/removal | profile/XYZ OPEN | C/E |
| LMP-S16 | RH | lower maintenance interface | SS-16 | lower frame | divertor access/removal | profile/XYZ OPEN | C/E |
| VAC-VV-MAN | VAC | VV vacuum manifold interface | F101-ZPC | machine annulus | vacuum collection/distribution | XYZ/profile OPEN | E |
| CRYO-F101-IN | CRYO | F101 cryogenic incoming interface | FED-F101-Z05 | service boundary | cryogenic distribution entry | XYZ/profile OPEN | E |
| MAGPWR-F101-IN | MAGPWR | magnet power incoming interface | FED-F101-E01 | service boundary | power distribution entry | XYZ/profile OPEN | E |
| HVAC-F101-BOUND | HVAC | F101 HVAC boundary node | F101 | building boundary | supply/return/exhaust integration | XYZ/profile OPEN | E |
| DRAIN-F101-LOW | DRAIN | F101 gravity collection node | F101 lowest controlled level | low-point family | drain/sump collection | Z/invert OPEN | E |

Rows preserved in this register: 69.

# Controlled register — PEN08_R01_Penetration_Reservation_Schedule.csv

| Reservation | Class | System | Service | Host_family | Design_functions | Closure | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PEN-RES-PHT | bioshield/building pressure-boundary cooling bundle family | PHT | machine cooling supply/return | bioshield/walls | sleeve/assembly; shielding; confinement; movement; inspection | instance count/XYZ/profile OPEN | E/V |
| PEN-RES-BHT | blanket cooling bundle family | BHT | 16-sector supply/return distribution | bioshield/walls | bundle routing; isolation access; shielding/fire closure | instance count/XYZ/profile OPEN | E |
| PEN-RES-VAC | vacuum duct family | VAC | VV/cryostat pumping | bioshield/walls | large duct/bellows/valve access; leak test | instance count/XYZ/profile OPEN | E/V |
| PEN-RES-CRYO | cryoline family | CRYO | magnet/vacuum/thermal-shield clients | walls/floors | thermal movement; vacuum jacket; relief; insulation clearance | instance count/XYZ/profile OPEN | E/V |
| PEN-RES-MAG | magnet feeder/bus family | MAGPWR | coils/feeders | bioshield/walls | electrical/cryogenic feeder envelope; fire/seal | instance count/XYZ/profile OPEN | E/V |
| PEN-RES-HVAC | duct family | HVAC | zone supply/return/exhaust | walls/slabs | fire/confinement dampers; access; firestop | instance count/XYZ/profile OPEN | E/V |
| PEN-RES-CABLE | tray/cable family | ELEC/IC | power and I&C | walls/slabs | firestop; EMC/separation; spare capacity | instance count/XYZ/profile OPEN | E/V |
| PEN-RES-DRAIN | drain family | DRAIN | gravity drainage | floors/walls | slope/invert; seal; flood boundary | instance count/XYZ/profile OPEN | E/V |

Rows preserved in this register: 8.

# Controlled register — PIPE08_R01_Piping_Stress_Model_Closure_Register.csv

| ID | Input | Required_data | Use | Status |
| --- | --- | --- | --- | --- |
| STR-PIP-01 | route centreline geometry | ordered node coordinates and bend radii | all piping stress models | OPEN |
| STR-PIP-02 | pipe section/material | OD/wall/material/temperature-dependent properties | weight/pressure/thermal/seismic | OPEN |
| STR-PIP-03 | operating/design states | P/T/fluid density/transients | sustained/occasional/fatigue | OPEN |
| STR-PIP-04 | support/restraint model | location/type/stiffness/gap/friction/preload/snubber properties | 6DOF boundary conditions | OPEN |
| STR-PIP-05 | equipment nozzle allowables | forces/moments/displacements | interface acceptance | OPEN |
| STR-PIP-06 | building/anchor movement | seismic/settlement/thermal differential displacement | support input | OPEN |
| STR-PIP-07 | dynamic events | water hammer/valve closure/pump trip/pipe break as applicable | dynamic load cases | OPEN |
| STR-PIP-08 | as-built reconciliation | surveyed support/route configuration | final qualification | OPEN |

Rows preserved in this register: 8.

# Controlled register — ROUTE08_R01_Routed_Object_Data_Contract.csv

| Field | Definition |
| --- | --- |
| route_id | unique route/segment identifier |
| system_id | parent system/subsystem |
| service | fluid/electrical/I&C/HVAC/vacuum/cryogenic/drain |
| from_node | controlled endpoint |
| to_node | controlled endpoint |
| medium | process fluid/signal/power/air/etc. |
| safety_quality_class | classification or OPEN |
| line_or_cable_class | material/voltage/fire/EMC class or OPEN |
| centreline | ordered E/N/Z vertices; OPEN until controlled geometry exists |
| section | OD/duct section/tray dimensions/busbar envelope |
| insulation_clearance | thermal/electrical/maintenance envelope |
| slope | required fall/rise where applicable |
| support_family | support type and interval basis |
| penetrations | controlled PEN IDs |
| isolation | valves/dampers/breakers/disconnects as applicable |
| inspection_access | weld/valve/instrument/IS inspection space |
| hazard_envelope | jet/whip/hot-surface/arc/fire/cryogenic/pressure |
| construction_state | fabricated/installed/tested/turned-over/etc. |
| evidence | isometric/cable schedule/duct drawing/survey/test package |

Rows preserved in this register: 19.

# Controlled register — ROUTE08_R02_Routing_Priority_and_Reserved_Volume_Hierarchy.csv

| ID | Route_class | Examples | Priority | Coordination_rule |
| --- | --- | --- | --- | --- |
| RZ-00 | civil reserved volume | structure/opening/penetration | highest | cannot be invaded without civil change control |
| RZ-01 | machine hard interfaces | VV ports, magnet feeders, fixed cryolines/busbars | highest | fixed/irremovable interfaces dominate local routing |
| RZ-02 | large process piping | PHT/BHT/vacuum/major cooling | high | pressure boundary, stress/inspection/whip requirements |
| RZ-03 | large HVAC ducts | HVAC/confinement/exhaust | high | large section, fire/confinement dampers, ceiling zones |
| RZ-04 | electrical bus/large power cable | magnet power/essential distribution | high | EMC/fire/separation/heat constraints |
| RZ-05 | cable trays/I&C | power/I&C/communications | medium | separation, bend radius, fire stops, maintainability |
| RZ-06 | small-bore utilities | air/water/drains/sample lines | lower | reroute preferentially around active process systems where justified |
| RZ-07 | maintenance/egress/RH clearance | non-physical reserved volume | absolute exclusion | must remain free despite routing priority |

Rows preserved in this register: 8.

# Controlled register — ROUTE08_R03_Verified_Routing_Design_Rules.csv

| ID | Topic | Rule | Source | Status |
| --- | --- | --- | --- | --- |
| RR-01 | fixed/irremovable routes | busbars, cryolines and machine hard interfaces become constraints around which later systems are coordinated | ITER systems installation | V |
| RR-02 | supports first | validated supports/embeds precede supported systems where sequence requires | ITER systems installation | V |
| RR-03 | high-level services | HVAC and cable trays are typically installed high before lower infill where access dictates | ITER systems installation | V |
| RR-04 | penetration purpose known before closure | system on both sides and within penetration must be defined before infill/backfill/sealing | ITER penetrations | V |
| RR-05 | restore barrier properties | penetration closure must restore applicable fire, confinement and shielding properties | ITER penetrations + CNSC containment principle | V |
| RR-06 | pressure/electrical separation | pressure-boundary piping/vessels separated from electrical/control systems to greatest practicable extent | CNSC REGDOC-2.5.2 | V |
| RR-07 | pressure-boundary inspectability | routing must preserve inspection access over design life or justified alternative surveillance | CNSC REGDOC-2.5.2 | V |
| RR-08 | high-energy line effects | routing/supports must address pipe whip, jet impact and dynamic/transient loads where applicable | CNSC REGDOC-2.5.2 | V |
| RR-09 | as-built stress basis | applicable piping stress/LBB evaluations must be reconciled to as-built configuration | CNSC REGDOC-2.5.2 | V |
| RR-10 | maintenance space | layout must preserve removal/replacement and valve/instrument access beyond mere code minimums | IAEA equipment-layout guidance | V |
| RR-11 | orthogonal routing preference | pipework should generally use orderly N-S/E-W/up-down routing where feasible, while maintaining function/maintenance | IAEA equipment-layout guidance | V |
| RR-12 | gravity drainage | gravity drain routing requires controlled fall/invert and must not be treated as arbitrary 3D path | IAEA equipment-layout guidance | V |

Rows preserved in this register: 12.

# Controlled register — SRC08_R01_Research_Application_Register.csv

| Class | Source | Applied_constraint |
| --- | --- | --- |
| V | ITER systems installation / Anticipation and flexibility | supports first; high-level HVAC/cable trays; fixed busbars/cryolines constrain later routes; penetrations must be designed around actual services |
| V | ITER Plant Assembly | mechanical/piping scope includes vessels, pipes, heat exchangers, pumps/motors, cable trays, insulation, pressure testing/flushing; electrical/I&C includes busbars, switching, power and I&C cables/cabinets |
| V | ITER cooling water | machine cooling uses multiple closed loops and transfers heat through successive systems; precedent for hierarchical cooling network |
| V | ITER cryogenics | cryodistribution uses cryolines and cold boxes to distribute refrigeration to magnet/vacuum/thermal-shield clients |
| V | CNSC REGDOC-2.5.2 v2.1 | layout/access/egress; pressure boundary separation from electrical/control; inspectability; penetrations; high-energy line effects; as-built configuration in piping qualification |
| V | IAEA equipment-layout guidance | maintenance/replacement access, orderly/minimum-length piping, service-line rerouting preference, orthogonal routing where feasible, gravity drainage and pump suction considerations |

Rows preserved in this register: 6.

# Controlled register — SYS08_R01_Federated_Route_Family_Register.csv

| System | Service | Medium | Functional_path | Physical_elements | Quantitative_closure | Status |
| --- | --- | --- | --- | --- | --- | --- |
| PHT | primary heat transport / machine cooling | fluid | machine sectors -> headers -> heat exchange/interface | large pressure-boundary pipe bundles; sector manifolds; isolation; drains/vents; supports/restraints | actual P/T/diameters/routes OPEN | C/E |
| BHT | blanket heat transport | fluid | 80 blanket objects -> 16 sector manifolds -> train headers | supply/return, isolation, temporary BHT-401 commissioning interfaces | line sizes/materials/nozzles OPEN | C/E |
| VAC | vacuum | vacuum gas | VV/cryostat clients -> manifolds -> roughing/high-vac pumps | large low-pressure ducts/pipes, valves, bellows, pump interfaces | diameters/port coordinates OPEN | C/E |
| CRYO | cryogenic distribution | cryogenic fluid | cryoplant/cold boxes -> magnet/vacuum/thermal-shield clients | multiprocess cryolines, cold boxes, valves, reliefs, flexible/thermal interfaces | route/diameter/thermal anchors OPEN | C/E |
| MAGPWR | magnet power | electrical | conversion/distribution -> feeders -> coils | busbars/cables, feeders, switching/protection, cooling | voltage/current/envelopes/routes OPEN | C/E |
| HVAC | HVAC/confinement | air | AHU/fans -> ducts -> zones -> exhaust/return | large ducts, fire/confinement dampers, filters, access doors | flows/duct sizes/routes OPEN | E/V |
| ELEC | plant electrical | electrical | switchgear -> distribution -> loads | busduct/cables/trays, penetration seals, fire/EMC separation | one-lines/cable schedules/routes OPEN | E/V |
| IC | instrumentation/control | signal/data | sensors/actuators -> junctions -> cabinets/control | I&C trays/cables/fibre, separation/redundancy, loop access | channel routes/separation OPEN | E/V |
| DRAIN | drainage/leak collection | liquid/gravity | low points/equipment -> sumps/treatment | sloped gravity routes, traps/seals, leak/flood collection | inverts/capacity/routes OPEN | E/V |
| GAS | gas/fuelling/purge | gas | supply/process -> machine clients | small/medium bore, isolation, purge/vent, hazardous gas zoning | route/spec OPEN | E/V |

Rows preserved in this register: 10.

# Controlled register — VER14_R01_Routed_Plant_Verification_Results.csv

| ID | Test | Actual | Expected | Result |
| --- | --- | --- | --- | --- |
| VER14-01 | BHT blanket logical connections | 160 | 160 | PASS |
| VER14-02 | BHT supply/return sector nodes | 32 | 32 | PASS |
| VER14-03 | maintenance interface nodes | 32 | 32 | PASS |
| VER14-04 | route-family coverage | 10 | 10 | PASS |
| VER14-05 | penetration reservation families | 8 | 8 | PASS |
| VER14-06 | metric route centreline clash test | 0 | >0 | BLOCKED - centreline vertices absent |
| VER14-07 | penetration host intersection test | 0 | >0 | BLOCKED - wall/slab solids and penetration XYZ absent |
| VER14-08 | support reachability/load-path test | 0 | >0 | BLOCKED - support coordinates absent |
| VER14-09 | piping stress analysis | 0 | >0 | BLOCKED - geometry/material/P-T/support data absent |
| VER14-10 | cable separation/fire-area test | 0 | >0 | BLOCKED - cable schedules/routes/fire areas absent |
| VER14-11 | HVAC access/duct clash test | 0 | >0 | BLOCKED - duct/equipment geometry absent |
| VER14-12 | unsupported metric OFG route values invented | 0 | 0 | PASS |

Rows preserved in this register: 12.

# Controlled register — VER14_R02_Backward_Propagation_Audit.csv

| Change | Affected | Old | New | Basis | Packet |
| --- | --- | --- | --- | --- | --- |
| V08-001 | V04-V07 piping | functional topology without formal route object | route object now owns centreline, section, support, penetration, isolation, inspection and hazard envelope fields | ITER/CNSC/IAEA routing precedent | ROUTE08 |
| V08-002 | V07 penetrations | generic penetration contract | eight routed-system reservation families added; closure requires knowing systems on both sides before sealing | ITER penetration installation precedent | PEN08 |
| V08-003 | V05 supports | support taxonomy | supports now bind into piping-stress closure and routed load path; as-built route/support state required for final qualification | CNSC as-built piping qualification principle | PIPE08 |
| V08-004 | V06 construction precedence | supports/high services precedence | expanded into route-priority/reserved-volume hierarchy including irremovable machine interfaces and RH/egress exclusion volumes | ITER systems installation | ROUTE08 |
| V08-005 | V03-V05 electrical/I&C | functional connectivity | cable/tray route constraints now include separation, redundancy, pulling, firestop, ampacity and grounding | nuclear plant layout discipline | ELEC08 |
| V08-006 | V03-V07 HVAC | zone/function model | HVAC route objects now require duct solid, access envelope, fire/confinement crossings, support load path and condensate drain integration | plant-layout/constructability discipline | HVAC08 |
| V08-007 | all routed systems | static final-state representation | route lifecycle now has reserved/support/installed/joined/tested/sealed/surveyed/turnover plus temporary-modified state | historical reconstruction needs time-indexed geometry | CONS08 |

Rows preserved in this register: 7.

# Controlled register — BHT09_R01_BHT401_Physical_Configuration_Objects.csv

| ID | Object | Status | Parent/interface | Function | Closure |
| --- | --- | --- | --- | --- | --- |
| BHT401-SKID | temporary commissioning skid | C | BHT Train 1 | temporary pump/recirculation assembly | physical skid geometry/nozzles OPEN |
| BHT401-SPL-S | temporary supply spool set | C/E | BHT401-SKID -> Train 1 | temporary pressure-boundary connection | weld/flange map OPEN |
| BHT401-SPL-R | temporary return spool set | C/E | Train 1 -> BHT401-SKID | temporary pressure-boundary connection | weld/flange map OPEN |
| CRS01-RST-L2 | restraint/support object implicated in evidence chain | C | BHT401 temporary configuration | support/restraint physical load path | exact DOF/geometry/setting OPEN |
| BHT401-INST | temporary instrument set | C/E | BHT401 loop | commissioning measurement/control | tag/channel list OPEN |

Rows preserved in this register: 5.

# Controlled register — CDR09_R01_Canon_Decision_Conflict_Register.csv

| ID | Issue | Evidence | Decision | Status | Reason |
| --- | --- | --- | --- | --- | --- |
| CDR09-001 | applicable OFG piping code class | ASME B31 precedent researched; nuclear-class scope not yet allocated per system | Do not assign B31.1/B31.3/Section III class silently | OPEN | classification/licensing basis required |
| CDR09-002 | bellows numerical movement | ITER values are project-specific | do not import ITER movement/contraction/load values into OFG | OPEN | use only as physical precedent |
| CDR09-003 | support spacing | generic code/handbook values exist | no generic spacing assigned to OFG | OPEN | depends size/material/service/dynamics |
| CDR09-004 | BHT401 restraint behavior | record chain identifies restraint object but exact geometry/DOF not established | retain CRS01-RST-L2 as unresolved physical evidence object | OPEN detail/C identity | central accident-chain sensitivity |
| CDR09-005 | equipment maintenance envelope | class requirements established but vendor GA absent | keep parametric until vendor/field evidence recovered | OPEN metric | prevents false clash PASS |

Rows preserved in this register: 5.

# Controlled register — EQ09_R01_Equipment_Instance_Data_Contract.csv

| Field | Required_definition |
| --- | --- |
| equipment_id | unique asset/component identifier |
| parent_system | system/subsystem owner |
| equipment_class | pump/HX/vessel/filter/skid/valve station/etc. |
| status | C/V/E/OPEN |
| reference_point | equipment datum used for placement |
| orientation | local equipment axes |
| bounding_solid | operating physical envelope |
| maintenance_solid | withdrawal/lift/service envelope |
| foundation_support | baseplate/support/anchor/civil host |
| dry_operating_test_mass | mass states, independently controlled |
| cog | centre of gravity for relevant state |
| nozzle_ids | all process/vent/drain/instrument connections |
| electrical_ic_interfaces | power/ground/I&C interfaces |
| lifting_points | rated lift/handling interfaces |
| vendor_doc | GA/data sheet/load/nozzle schedule |
| asbuilt_evidence | survey/receipt/FAT/SAT/MC/turnover evidence |

Rows preserved in this register: 16.

# Controlled register — EQ09_R02_Equipment_Class_Spatial_Requirements.csv

| ID | Class | Constituents | Function | Required_spatial_model | Closure |
| --- | --- | --- | --- | --- | --- |
| PUMP-CENT | centrifugal pump set | pump + motor + baseplate/coupling + suction/discharge nozzles | flow service | foundation; alignment; suction layout; coupling/motor pull; valve/instrument access | instances/duty OPEN |
| HX-SHELL | shell-and-tube HX | shell + channel/head + tube bundle + nozzles | heat exchange | bundle-pull envelope; head removal; nozzle loads; supports | instances/duty OPEN |
| VESSEL | pressure vessel/tank | shell/heads/nozzles/supports | inventory/separation/surge | manway/internal access; lifting; relief; drain/vent | instances OPEN |
| FILTER | filter/strainer | body + element + cover + drain/vent | particulate control | element/cover removal; differential pressure instrumentation | instances OPEN |
| SKID | packaged skid | frame + equipment + piping + valves + I&C | modular function | transport/rigging; tie-ins; access; local load path | instances OPEN |

Rows preserved in this register: 5.

# Controlled register — FAB09_R01_Piping_Fabrication_Topology.csv

| ID | Object | Constituents | Responsibility | Acceptance | Configuration_role |
| --- | --- | --- | --- | --- | --- |
| FAB-01 | shop spool | pipe + fittings + shop welds | fabricator | shop dimensional/NDE release | transportable unit |
| FAB-02 | field spool | site-fit pipe/fittings | field contractor | fit-up/weld/NDE | installed route segment |
| FAB-03 | field closure weld | final tie-in between installed units | field contractor | survey/fit-up/NDE/pressure-boundary acceptance | configuration-critical joint |
| FAB-04 | flanged joint | two flanges + gasket + bolting | field contractor | cleanliness/alignment/gasket/bolt control | demountable joint |
| FAB-05 | branch connection | tee/olet/reinforced branch/special | fabricator/field | pressure design + weld/NDE | main-to-branch topology |
| FAB-06 | expansion joint/bellows | flexible pressure-boundary element | vendor/field | movement/pressure/squirm/fatigue/anchor-load qualification | movement interface |
| FAB-07 | flexible hose/special connector | flexible interface | vendor/field | service/movement/fatigue qualification | local decoupling |
| FAB-08 | instrument root | root valve/fitting/tubing interface | field/instrument | orientation/access/leak test | process-to-instrument boundary |
| FAB-09 | vent/drain branch | high/low point branch + valve/cap/route | field | functional elevation/access/test | operability/commissioning |

Rows preserved in this register: 9.

# Controlled register — FAB09_R02_Spool_Segmentation_Constructability_Rules.csv

| ID | Topic | Rule |
| --- | --- | --- |
| SP-01 | transport/handling | spool envelope and mass must fit fabrication, delivery and site handling constraints |
| SP-02 | field access | closure welds/flanges placed where welding, bolting and NDE are physically possible |
| SP-03 | tolerance absorption | field-fit/closure strategy accommodates civil/equipment/as-built tolerance without uncontrolled forcing |
| SP-04 | test boundary | spool/joint segmentation supports defined pressure/leak test packages and vents/drains |
| SP-05 | cleanliness/FME | open-end exposure and temporary caps controlled through storage/installation |
| SP-06 | support sequence | spool installation compatible with support readiness and temporary supports |
| SP-07 | maintenance | demountable joints positioned to permit equipment/valve/component replacement where required |
| SP-08 | weld minimization vs access | shop welds preferred where quality/handling permit; field joints retained where erection demands |

Rows preserved in this register: 8.

# Controlled register — FLEX09_R01_Bellows_Flexible_Interface_Closure.csv

| ID | Input | Requirement | Status |
| --- | --- | --- | --- |
| BEL-01 | movement vector | axial/lateral/angular movement spectrum including installation offset | OPEN OFG |
| BEL-02 | pressure thrust | effective area x pressure and restraint/load path | OPEN OFG |
| BEL-03 | anchor/guide interaction | support stiffness, gaps and imposed movements | OPEN OFG |
| BEL-04 | fatigue/cycle basis | movement cycles and transient spectrum | OPEN OFG |
| BEL-05 | instability/squirm | pressure stability qualification | OPEN OFG |
| BEL-06 | installation alignment | cold-set/fit-up/tolerance and transport restraints | OPEN OFG |
| BEL-07 | inspection/protection | access and prevention of mechanical damage/foreign material | OPEN OFG |
| BEL-08 | building differential movement | settlement/seismic/thermal movement across structural interfaces | OPEN OFG |

Rows preserved in this register: 8.

# Controlled register — NOZ09_R01_Nozzle_Interface_Data_Contract.csv

| Field | Required_definition |
| --- | --- |
| nozzle_id | unique connection identifier |
| equipment_id | parent equipment |
| service | process/vent/drain/instrument/relief |
| size_class | nominal size/class or OPEN |
| face_center | E/N/Z of connection face |
| axis | unit vector/azimuth/elevation |
| connection | flange/weld/socket/thread/special |
| rating_material | pressure class/material or OPEN |
| allowable_load | forces/moments/displacements or OPEN |
| thermal_movement | design displacement vector |
| inspection_clearance | weld/flange/bolt/NDE access |
| mating_route | controlled route/spool ID |
| evidence | vendor GA/as-built survey/interface record |

Rows preserved in this register: 13.

# Controlled register — SRC09_R01_Research_Application_Register.csv

| Class | Source | Applied_constraint |
| --- | --- | --- |
| V | ASME B31.1 official training/guide | piping integrity requires component/system design, flexibility, supports, fabrication, welding, inspection and testing; expansion-joint behavior is part of analysis |
| V | ASME Pipe Stress Engineering | support friction/stiffness/displacement, springs, integral attachments, bellows and flexible connections are analysis variables rather than drawing annotations |
| V | ITER cryoline installation | multi-process cryoline sections are individually positioned and welded; jacket and thermal shield are also welded; bellows accommodate contraction and supports carry thermal forces |
| V | ITER plant assembly | field scope explicitly includes vessels, piping, HX, pumps/motors, cable trays, insulation, pressure tests and flushing |
| V | ITER embedded plates | supports for cooling systems, cryolines, feeders and cable trays attach to plates positioned from the 3D configuration model before concrete pour |
| V | IAEA equipment-layout guidance | layout must preserve access to components, valves and instruments for commissioning/testing/maintenance/replacement; pipe routing must permit dismantling |

Rows preserved in this register: 6.

# Controlled register — SUP09_R01_Pipe_Support_Restraint_Mechanics.csv

| ID | Type | DOF_function | Purpose | Closure |
| --- | --- | --- | --- | --- |
| SUP-ANCHOR | anchor | restrains translations/rotations per design | thermal/seismic/dynamic load transfer | location/stiffness/allowables OPEN |
| SUP-GUIDE | guide | permits axial movement; restrains transverse DOF as designed | thermal growth control | gap/friction/stiffness OPEN |
| SUP-LINESTOP | line stop | restrains selected axial direction | thermal/dynamic load management | gap/stiffness OPEN |
| SUP-HANGER-R | rigid hanger | supports gravity at fixed elevation | weight load path | rod/attachment geometry OPEN |
| SUP-SPR-V | variable spring | gravity support over vertical movement | thermal vertical displacement | hot/cold loads/travel OPEN |
| SUP-SPR-C | constant effort support | near-constant support through travel | large vertical movement | load/travel setting OPEN |
| SUP-SNUB | snubber/dynamic restraint | permits slow thermal movement, restrains rapid dynamic motion | seismic/dynamic | stroke/lock velocity/load OPEN |
| SUP-SHOE | pipe shoe/rest | gravity support/sliding interface | weight + friction | friction/contact/stiffness OPEN |
| SUP-TRUN | trunnion/integral attachment | pipe-to-support load transfer | local shell stress | attachment geometry/stress OPEN |

Rows preserved in this register: 9.

# Controlled register — VER15_R01_Fabrication_Equipment_Verification_Results.csv

| ID | Test | Actual | Expected | Result |
| --- | --- | --- | --- | --- |
| VER15-01 | equipment contract fields | 16 | 16 | PASS |
| VER15-02 | nozzle contract fields | 13 | 13 | PASS |
| VER15-03 | fabrication topology classes | 9 | 9 | PASS |
| VER15-04 | support mechanics classes | 9 | 9 | PASS |
| VER15-05 | BHT-401 controlled physical objects | 5 | 5 | PASS |
| VER15-06 | actual nozzle-coordinate closure | 0 | >0 | BLOCKED - vendor/as-built geometry absent |
| VER15-07 | actual spool/weld map closure | 0 | >0 | BLOCKED - fabrication/isometric records absent |
| VER15-08 | support load/stress closure | 0 | >0 | BLOCKED - loads/stiffness/coordinates absent |
| VER15-09 | bellows qualification | 0 | >0 | BLOCKED - movement/pressure/cycle data absent |
| VER15-10 | equipment maintenance swept-volume check | 0 | >0 | BLOCKED - equipment GA absent |
| VER15-11 | BHT-401 physical restraint reconstruction | 0 | 1 | BLOCKED - CRS01-RST-L2 geometry/setting evidence unresolved |
| VER15-12 | unsupported fabrication dimensions invented | 0 | 0 | PASS |

Rows preserved in this register: 12.

# Controlled register — VER15_R02_Backward_Propagation_Audit.csv

| Change | Affected | Old | New | Basis | Packet |
| --- | --- | --- | --- | --- | --- |
| V09-001 | V05/V08 equipment | equipment represented primarily by tags/functions | equipment now requires placement datum, operating/maintenance solids, foundation, mass/COG, nozzles, lift points and evidence | fabrication/maintenance spatial closure | EQ09 |
| V09-002 | V08 routes | route segments without fabrication hierarchy | shop spool/field spool/closure weld/flange/branch/flexible/root/vent-drain objects added | ASME/ITER fabrication precedent | FAB09 |
| V09-003 | V05/V08 supports | support type/DOF conceptual | support mechanics now distinguish anchors, guides, line stops, hangers, springs, snubbers, shoes and integral attachments | pipe-stress engineering | SUP09 |
| V09-004 | V08 flexibility | thermal movement listed as route concern | bellows/flexible interfaces now own movement, pressure thrust, fatigue, stability, installation and structural-differential-movement requirements | ASME + ITER cryoline precedent | FLEX09 |
| V09-005 | BHT-401 thread | temporary skid/spools/restraint known but geometry unresolved | five explicit physical configuration objects created; CRS01-RST-L2 remains hard reconstruction blocker | controlled event evidence chain | BHT09 |
| V09-006 | V07/V08 constructability | route state and civil state separate | spool segmentation now couples transport, field access, tolerance, test boundary, cleanliness, support readiness and maintenance | field fabrication discipline | FAB09 |

Rows preserved in this register: 6.

# Controlled register — VLV09_R01_Valve_Station_Assembly_Classes.csv

| ID | Class | Physical_assembly | Function | Spatial_verification | Closure |
| --- | --- | --- | --- | --- | --- |
| VLV-ISO | isolation valve station | valve + flanges/weld ends + operator + local supports | isolate equipment/train | operator access; removal envelope; leak tightness; locking/tagging | size/class/actuation OPEN |
| VLV-CV | control valve station | control valve + isolation/bypass as design requires + instrument taps | flow/pressure control | straight-run/process requirements; actuator removal; noise/vibration | actual arrangement OPEN |
| VLV-NRV | check valve station | check valve + removable joint/support as required | reverse-flow prevention | orientation/access/transient effects | actual arrangement OPEN |
| VLV-REL | relief device station | relief valve/device + inlet/outlet discharge route | overpressure protection | set basis; reaction loads; safe discharge; maintenance | actual arrangement OPEN |
| VLV-ROOT | instrument root valve | root connection + valve/fittings | instrument isolation | access/orientation/leak test | actual arrangement OPEN |

Rows preserved in this register: 5.

# Controlled register — WELD09_R01_Joint_Weld_Record_Contract.csv

| Field | Required_definition |
| --- | --- |
| joint_id | unique weld/joint identifier |
| spool_a | upstream/member A |
| spool_b | downstream/member B |
| joint_type | BW/SW/flange/other |
| weld_process | qualified process/WPS |
| welder_operator | qualification trace |
| material_pair | base/filler materials |
| fitup | gap/alignment/root condition |
| heat_treatment | PWHT/preheat requirement |
| nde | VT/PT/MT/RT/UT/other as applicable |
| pressure_test_boundary | test package membership |
| repair_history | repair excavation/re-weld/NDE chain |
| location | controlled as-designed/as-built coordinate |
| evidence | WPS/PQR/WPQ/weld map/NDE/test record |

Rows preserved in this register: 14.