ONTARIO FUSION GENERATION

DEFINITIVE ENGINEERING ATLAS — REV 3

VOLUME 17 — VERIFICATION, VALIDATION, FMEA, OPEN ITEMS & BACKWARD PROPAGATION

Cross-domain validation, computational checks, FMEA, canon conflicts, open inputs, verification gates and revision/change provenance

CONTROLLED STORY CONFIGURATION CUT: 19 APRIL 2031

# Atlas control doctrine

This volume is part of the definitive self-contained story bible, not a work-package report. It preserves source-derived granularity and the engineering/configuration thread. C = controlled story/source canon; V = verified real-world precedent; E = controlled fictional engineering reconstruction; OPEN = unresolved. No precedent dimension, screening assumption, sensitivity value, code class, coordinate, vendor property, test result, or physical action is silently promoted to OFG historical fact.

For every material configuration decision the controlling information chain is: originator → information → document/record → recipient → review → authority → decision → authorized action → physical consequence → inspection/test/as-built evidence → turnover/operations baseline → later change/supersession. CLOSED/APPROVED in an information system is not proof of physical execution.

# Integrated source map

Detailed DOCX sources integrated: 5. Controlled CSV/ledger sources integrated: 25.

DOCX · OFG_Engineering_Encyclopedia_Rev2/OFG_E11_Verification_FMEA_Design_Closure_Rev2.docx

DOCX · OFG_System_Encyclopedia_Rev1/OFG_S09R1_Verification_Design_Basis_Open_Items.docx

DOCX · OFG_Engineering_Atlas_Rev0_Plantwide_Pass1/OFG_Atlas_A04_Verification_Release_Control.docx

DOCX · OFG_Engineering_Atlas_Rev0_PHTS05_FM09_SITE04_VER01/OFG_Atlas_PHTS05_FM09_SITE04_Post_Verification.docx

DOCX · OFG_Engineering_Atlas_Rev0_PHTS05_FM09_SITE04_VER01/OFG_Atlas_VER01_Cross_Atlas_Verification_Audit.docx

REGISTER · OFG_Engineering_Atlas_Rev2_V01_SiteState_F101_ModelDefinition/VER07_R01_Backward_Propagation.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V02_F101_Structures_Rooms_Penetrations_MEP/VER08_R01_V02_Verification_Ledger.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V03_F101_Machine_Interface_Networks/VER09_R01_Executable_Validation_Results.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V03_F101_Machine_Interface_Networks/VER09_R02_Backward_Propagation.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V04_F101_Equipment_Boundaries_Structural_Idealization/VER10_R01_Executable_and_Engineering_Verification.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V04_F101_Equipment_Boundaries_Structural_Idealization/VER10_R02_Backward_Propagation.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V05_Component_Instances_Digital_Thread/VER11_R01_Backward_Propagation_Audit.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V05_Component_Instances_Digital_Thread/VER11_R02_Model_Consistency_Tests.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V06_F101_Spatial_Construction_Model/VER12_R01_Executable_Spatial_Verification_Specification.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V06_F101_Spatial_Construction_Model/VER12_R02_Backward_Propagation_Audit.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V07_F101_Federated_Civil_Structural_Model/VER13_R01_Civil_Spatial_Verification_Results.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V07_F101_Federated_Civil_Structural_Model/VER13_R02_Backward_Propagation_Audit.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/VER14_R01_Routed_Plant_Verification_Results.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/VER14_R02_Backward_Propagation_Audit.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology/VER15_R01_Fabrication_Equipment_Verification_Results.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology/VER15_R02_Backward_Propagation_Audit.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V05_Component_Instances_Digital_Thread/CDR05_R01_Canon_Decision_Conflict_Register.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V06_F101_Spatial_Construction_Model/CDR06_R01_Canon_Decision_Conflict_Register.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V07_F101_Federated_Civil_Structural_Model/CDR07_R01_Canon_Decision_Conflict_Register.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V08_Federated_Routed_Plant/CDR08_R01_Canon_Decision_Conflict_Register.csv

REGISTER · OFG_Engineering_Atlas_Rev2_V09_Equipment_Fabrication_Topology/CDR09_R01_Canon_Decision_Conflict_Register.csv

REGISTER · OFG_Rev3_Tranche_C/OFG_B07_Change_Provenance.csv

REGISTER · OFG_Rev3_Tranche_D/D04_Validation_Matrix.csv

REGISTER · OFG_Rev3_Tranche_E/E09_Validation_Matrix.csv

REGISTER · OFG_Rev3_Tranche_E/E11_Backward_Propagation_Changes.csv

# Verified external engineering precedent applied

ITER assembly precedent is used to constrain installation integration, construction work packages, plant-system routing, early captive components, embedded support plates, cryoline alignment and crowded plant galleries. CNSC REGDOC-2.3.1 and REGDOC-2.5.2 constrain construction/commissioning responsibility, configuration control, test prerequisites/acceptance and as-built conformity. IAEA commissioning guidance constrains document/product/record control, contractor interfaces, temporary changes and consistency between physical plant state, test procedures and design requirements. ASME B31 references constrain piping lifecycle considerations. These are V-class precedents only; they do not silently establish OFG-specific dimensions or code-class allocation.

# Integrated controlled source — OFG_E11_Verification_FMEA_Design_Closure_Rev2.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION PROJECT

VOLUME E11 — ENGINEERING VERIFICATION, HAZARD, FMEA & DESIGN-CLOSURE REGISTER

Calculation checks, interface verification, constructability, maintainability, hazards and open-item governance

REV 2 ENGINEERING RECONSTRUCTION · DESIGN CUT 19 APRIL 2031 · C/R/E/O PROVENANCE CONTROL

# 1. Iterative verification loop

Functional requirement → physics/process calculation → architecture → equipment sizing → spatial placement → interfaces → hazards → constructability → maintainability → commissioning → operations → evidence review → design iteration.

Changes to heat balance propagate to flow, pipe/pump/SG sizing, electrical load, cooling rejection, building space and site utilities.

Changes to machine geometry propagate to ports, remote handling, shielding, cryostat, magnets, building structure and maintenance routes.

Changes to protection logic propagate to sensors, I/O, networks, power switching, test procedures and operating limits.

# 2. High-level FMEA

| Failure | Detection | Immediate response | Design consequence |
| --- | --- | --- | --- |
| BHT pump trip | breaker/protection, flow/pressure decay | trip affected train/plasma response per protection logic | coastdown, redundancy, thermal transient analysis |
| Primary leak | inventory/pressure/radiation/leak detection | isolate/terminate plasma, confinement response | break location, flooding, pressure boundary, drainage |
| Loss of offsite power | bus undervoltage/frequency | generator trip, essential DC/UPS/diesel or alternate supply | decay/afterheat, cryogenic and confinement loads prioritized |
| Magnet quench | voltage/temperature/strain | converter block + fast discharge | energy extraction, helium relief/recovery, structural loads |
| Vacuum breach | pressure rise, fast gauges | fuel/heating inhibit, isolation | port isolation and confinement |
| Tritium leak | area/process monitors | isolate, detritiation/confinement | pressure cascade, recovery, accountancy |
| Loss of cooling water | flow/temperature | load reduction/trip | thermal inertia, alternate heat sink where credited |
| DCS network loss | network diagnostics/watchdogs | fail-safe/local protection remains | segregation of protection from control |

# 3. Open-item rule

O status is reserved for story-significant uncertainty or items requiring specialist nuclear/neutronic/structural/environmental analysis beyond this integrated reference design. Ordinary missing authoring detail is assigned E and designed, rather than hidden behind OPEN.

# Integrated controlled source — OFG_S09R1_Verification_Design_Basis_Open_Items.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION PROJECT

VOLUME S09R1 — VERIFICATION, DESIGN-BASIS & OPEN-ITEM REGISTER

Verification studies, constructability, maintainability, safety/configuration checks and unresolved design facts

SYSTEM & SITE ENCYCLOPEDIA · REV 1 · DESIGN RECONSTRUCTION CUT 19 APRIL 2031

# Document control and epistemic status

This volume preserves the supplied Rev N story corpus as the canonical skeleton. Statements are classified as LOCKED/SOURCE-DERIVED, VERIFIED PRECEDENT CONSTRAINT, DESIGN RECONSTRUCTION, or OPEN/CONTROLLED. Real-world precedent constrains plausibility but does not silently create OFG canon.

Governing rule: Design Plant = Physical Plant = Evidence Plant. Design identity, installed identity, connectivity, custody/state, and objective evidence are tracked separately.

| Status | Meaning |
| --- | --- |
| LOCKED/SOURCE-DERIVED | Explicitly supported by supplied OFG corpus/control registers. |
| VERIFIED PRECEDENT CONSTRAINT | Supported by authoritative real-world practice; constrains but does not itself establish OFG history. |
| DESIGN RECONSTRUCTION | New OFG engineering design adopted for internal coherence; must not be misrepresented as previously sourced history. |
| OPEN/CONTROLLED | Evidence does not support a unique answer; intentionally unresolved. |

## Authoritative precedent used in Rev 1

CNSC REGDOC-2.5.2 v2.1: design authority, configuration management, SSC interfaces and facility-layout requirements. IAEA Commissioning for Nuclear Power Plants: transfer boundaries, partial-system commissioning, work control and construction/commissioning interfaces. ITER Organization: machine/support-system topology, cooling-water architecture and assembly/installation precedent. QST/JA-DEMO literature: DEMO-class functional architecture precedent.

No exact surveyed OFG coordinate, unprovided line endpoint, cable endpoint, I/O channel, nozzle schedule, serial-level BOM, or hidden historical fact is promoted to LOCKED status.

# Functional completeness

Every required plant function maps to at least one system and controlled interface.

Rev 1 disposition: study framework ESTABLISHED; detailed calculation/result remains OPEN unless supported by supplied design records.

# Single-point interface audit

Check unsupported assumptions at cross-system boundaries, especially heat transport/power cycle, fuel cycle, cryogenics, magnet power and controls.

Rev 1 disposition: study framework ESTABLISHED; detailed calculation/result remains OPEN unless supported by supplied design records.

# Constructability

Heavy lifts, access, sequence, temporary support, weld/NDE access, module transport and congestion.

Rev 1 disposition: study framework ESTABLISHED; detailed calculation/result remains OPEN unless supported by supplied design records.

# Maintainability

Isolation, drainage, decontamination, lifting/removal route, laydown, dose/industrial exposure and spare strategy.

Rev 1 disposition: study framework ESTABLISHED; detailed calculation/result remains OPEN unless supported by supplied design records.

# Commissionability

Flush/fill/vent/drain, temporary test plant, test boundaries, partial-system conditions, control-room awareness and restoration.

Rev 1 disposition: study framework ESTABLISHED; detailed calculation/result remains OPEN unless supported by supplied design records.

# Electrical coordination

Load classification, source redundancy, protection/selectivity, grounding, cable segregation and temporary construction power interfaces.

Rev 1 disposition: study framework ESTABLISHED; detailed calculation/result remains OPEN unless supported by supplied design records.

# I&C verification

sensor-to-actuator traceability, channel allocation, setpoint/logic verification, alarm rationalization, network/time synchronization.

Rev 1 disposition: study framework ESTABLISHED; detailed calculation/result remains OPEN unless supported by supplied design records.

# Configuration management

design baseline ↔ physical installation ↔ as-built/evidence; temporary modifications and post-turnover re-entry.

Rev 1 disposition: study framework ESTABLISHED; detailed calculation/result remains OPEN unless supported by supplied design records.

# Site/logistics

marine/rail/road route envelopes, crane setup, laydown, security segregation, emergency access and construction traffic.

Rev 1 disposition: study framework ESTABLISHED; detailed calculation/result remains OPEN unless supported by supplied design records.

# Flood/fire/environment

internal/external flooding, drainage, fire zones, hazardous materials, Lake Ontario interfaces and environmental monitoring.

Rev 1 disposition: study framework ESTABLISHED; detailed calculation/result remains OPEN unless supported by supplied design records.

# Priority OPEN/CONTROLLED items

Authoritative surveyed coordinate schedule and geodetic transformation.

GEN-PLT-001 and federated GEN-MDL-001 as-built geometry.

Complete P&ID endpoint graph and line list.

Cable schedule, electrical one-lines and protection settings at equipment endpoint level.

I/O list, loop diagrams and logic/channel allocation.

Machine port/nozzle schedule and detailed HFRP component BOM.

Exact BHT/DHT/VHT-to-steam/power-cycle topology.

Room-by-room fire/radiation/confinement schedule.

Serial-level equipment genealogy for all registered assets.

Complete April 19 custody/configuration state for every asset.

# Rev 1 change and backward-propagation register

| Old statement | Rev 1 statement | Reason | Evidence class | Affected packets | Status |
| --- | --- | --- | --- | --- | --- |
| Exact coordinates unavailable. | A project-local engineering coordinate framework is introduced, but all numeric coordinates remain DESIGN RECONSTRUCTION until survey/master-plot evidence is supplied. | Needed to make the plant spatially computable without falsifying provenance. | Corpus + layout precedent | S01,S03-S10; earlier geography packets | CONTROLLED |
| System connectivity summarized functionally. | Interfaces are decomposed by process/electrical/I&C/network/structural/material-handling edge classes; unsupported endpoints remain OPEN. | Prevents inferred graphs from masquerading as as-built evidence. | Corpus + CNSC/IAEA | S02,S06,S07; commissioning packets | CONTROLLED |
| Temporary plant treated as support equipment. | Temporary commissioning and construction assets are configuration items whenever they interface with commissioned plant. | IAEA construction/commissioning interface practice and CRS-01 canon. | Corpus + IAEA | S05; CRS-01 investigation packets | LOCKED/EXPANDED |
| Construction completion used as broad maturity proxy. | Construction, MC, turnover, pre-commissioning, functional commissioning, integrated commissioning and operating acceptance are distinct states. | Explicit Rev N control rule and commissioning precedent. | Corpus + IAEA | All 2027-2031 field histories | LOCKED |

# Source register

Supplied OFG Encyclopedia Rev N Volumes 00-14, Master Canonical Story Backbone, Annex A controlled asset register, Annex B chronological registers, and prior System Encyclopedia Rev 0 volumes.

Canadian Nuclear Safety Commission, REGDOC-2.5.2, Design of Reactor Facilities, Version 2.1 (May 2023).

International Atomic Energy Agency, Commissioning for Nuclear Power Plants — guidance on interfaces, transfer, work control and partially installed systems.

ITER Organization official system descriptions and assembly/construction material, including cooling-water and machine/support-system architecture.

QST / Japanese DEMO conceptual-design publications used only as fusion-DEMO precedent where the supplied corpus calls for them.

# Integrated controlled source — OFG_Atlas_A04_Verification_Release_Control.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION — ENGINEERING ATLAS

A04 — VERIFICATION, BACKWARD-PROPAGATION & RELEASE CONTROL

Plant-wide verification ledger and rules for computational iteration

REV 0 · PLANT-WIDE PASS 1 · CONFIGURATION CUT 19 APRIL 2031

# 1. Current plant-wide status

| Family | System values |
| --- | --- |
| Construction/Temporary | 14 |
| Cryogenic | 2 |
| Electrical/I&C | 2 |
| Fuel/Tritium | 11 |
| Fusion Machine | 5 |
| Other | 1 |
| Plasma Auxiliary/Diagnostics | 7 |
| Remote Handling/Waste | 7 |
| Site/Protection/Utilities | 9 |
| Support | 2 |
| Thermal/Power Conversion | 30 |
| Vacuum | 4 |

BHT is the only family branch with substantial computational work from Rev3 Tranches C–E. The other system values are now brought under the same acceptance framework rather than being implicitly treated as complete.

# 2. Verification gates

| Gate | Required evidence |
| --- | --- |
| G0 Canon/evidence | source provenance, conflicts and open facts |
| G1 Functional | requirements, modes, interfaces, capacity allocation |
| G2 Physics | discipline equations/models and bounding load cases |
| G3 Equipment/component | sizing, materials, geometry, ports, loads, qualification |
| G4 Spatial | XYZ, routing, supports, penetrations, access/removal, clash/hazard separation |
| G5 Constructability | manufacture, transport, lift, sequence, temporary states |
| G6 Commissioning | test boundaries, acceptance criteria, temporary configuration, records |
| G7 Operations | procedures, surveillance, maintenance, spares, training, limits |
| G8 Integrated plant | cross-system transients/hazards/common cause, integrated commissioning |
| G9 As-built/configuration | verified installed state and retained evidence |

# 3. Backward-propagation rule

Every solver writes changed assumptions, outputs and affected IDs. Any changed geometry, load, material, capacity, state, hazard or interface invalidates dependent PASS states until reverified. No packet is exempt because it was previously issued.

# 4. Immediate computational sequence after BHT prototype

| Order | System family | First computational models |
| --- | --- | --- |
| 1 | Fusion Machine | machine geometry + neutron/thermal source map + EM/structural load graph + maintenance extraction envelopes |
| 2 | Magnets/Cryogenics/Power | coil current/field/force + stored energy/quench + helium heat-load network + feeder/busbar geometry |
| 3 | Vacuum | gas-load/conductance/pumping network + vessel/duct pressure/structural interfaces |
| 4 | Blanket/Divertor | sector/module thermal-hydraulic network + structural/EM/irradiation + remote replacement |
| 5 | Fuel/Tritium | isotope inventory/mass balance + confinement/permeation + detritiation/accountancy |
| 6 | Heating/Diagnostics | beam/RF power propagation + port allocation/shielding + cooling/electrical/control |
| 7 | DHT/VHT/CCW/CWS/Steam cycle | hydraulic/thermal networks + rotating equipment + heat sink |
| 8 | Electrical/I&C | load flow/short circuit/protection + cable routing/segregation + I/O/interlock graph |
| 9 | HVAC/Fire/Drainage/Rad protection | air/flood/fire/source-term networks and separation |
| 10 | Remote handling/Hot cell/Waste | kinematics/swept paths + shielding/confinement + material flow |
| 11 | Civil/site/logistics | foundation/load-path + seismic + geotechnical + roads/rail/marine/heavy haul |
| 12 | Integrated plant | multi-physics transients, hazards, construction/commissioning states and final BIM federation |

# Integrated controlled source — OFG_Atlas_PHTS05_FM09_SITE04_Post_Verification.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION — ENGINEERING ATLAS

PHTS05 / FM09 / SITE04 — SYSTEM-CODE CONTRACT, FULL FE TOPOLOGY & 4-D CONSTRUCTION COORDINATION

REV 0 · POST-VERIFICATION CONTINUATION · 19 APRIL 2031 CONFIGURATION CUT

# 1. PHTS05 — executable data contract

The comparison model now contains 132 named control volumes and 208 junctions. All 80 canonical blanket parent objects receive individual control-volume ownership, but the thermodynamic volumes, junction areas, loss coefficients, pump maps and control thresholds remain E/O until HFRP/OFG records or validated detailed models replace them.

| PIE | Initiating event | Initiator | Required outputs | Status |
| --- | --- | --- | --- | --- |
| PIE-PHTS-001 | Loss of one main coolant pump | pump trip/coastdown | flow, pressure, temperature, pressurizer, protection | R family / OFG thresholds O |
| PIE-PHTS-002 | Loss of all pumps / loss of offsite power | pump trip + power loss | natural circulation/residual heat removal | R family / OFG logic O |
| PIE-PHTS-003 | Loss of heat sink | HX secondary unavailable | primary heat-up/pressure response | R family / OFG logic O |
| PIE-PHTS-004 | In-vessel coolant leak | break at blanket/connection | inventory loss, confinement, plasma shutdown | R family / OFG break spectrum O |
| PIE-PHTS-005 | Ex-vessel high-energy line break | pipe break | jet/whip/flooding/dose/confinement | R/CNSC analogy / OFG break spectrum O |
| PIE-PHTS-006 | Isolation valve fast closure | valve transient | water hammer/support/nozzle loads | R/CNSC analogy / OFG valve law O |
| PIE-PHTS-007 | Pressurizer/pressure-control malfunction | control failure | over/under-pressure | R analogy / OFG architecture O |
| PIE-PHTS-008 | Tritium purification unavailable | CPS/WDS unavailable | inventory/concentration rise | fusion-specific / thresholds O |

The objective is no longer to create attractive transient curves. PHTS05 defines the minimum information a RELAP-class or equivalent system model must consume and return for each initiating event, including state-machine logic, component failure states, protection actions and structural/radiological handoffs.

# 2. Newly verified PHTS radiation dependency

EU-DEMO research on activated cooling water demonstrates that PHTS piping and isolation valves can become radiation-source geometry. PHTS therefore exports not only pressure/temperature/flow and tritium concentration, but activation source terms and shutdown-dose fields to radiation protection, shielding, remote maintenance, HVAC zoning and access control.

# 3. FM09 — 3-D FE topology specification

| ID | Part | Element family | Interfaces | Loads | Status |
| --- | --- | --- | --- | --- | --- |
| FM09-P01 | Vacuum vessel shell | shell/solid | ports, sector joints, blanket attachments | thermal/vacuum/EM/seismic/PHTS nozzle | O mesh |
| FM09-P02 | VV ribs/back support | shell/solid | blanket attachments/VV shell | local attachment reactions | O mesh |
| FM09-P03 | 16 gravity supports | solid/beam/contact | VV -> pedestal | vertical/lateral/thermal/seismic | O mesh |
| FM09-P04 | Cryostat shell/base | shell/solid | penetrations/base ring | vacuum/deadweight/thermal/seismic | O mesh |
| FM09-P05 | PHTS anchors/supports | beam/spring/solid | piping -> VV/cryostat/building | pressure/thermal/waterhammer/seismic | O mesh |
| FM09-P06 | F-101 mat/pedestals | solid | machine/cryostat/building -> rock | bearing/shear/anchor/SSI | O mesh |
| FM09-P07 | Rock/SSI boundary | frequency-dependent impedance | F-101 -> site model | seismic/settlement | O input |

| ID | Interface | Data | Owners | Fields | Evidence |
| --- | --- | --- | --- | --- | --- |
| IF-FM-001 | BLK->VV | 80 segment attachment resultants | BLK/FM | forces, moments, temperature, stiffness | versioned CAE interface |
| IF-FM-002 | PHTS->VV | nozzle loads at every penetration | PHTS/FM | 6DOF load envelope + thermal displacement | pipe stress interface |
| IF-FM-003 | VV->F101 | 16 support reactions/stiffness | FM/CIVIL | 6DOF stiffness/load histories | FE interface |
| IF-FM-004 | SITE->F101 | SSI impedance/ground motion | SITE/FM | frequency-dependent matrix + spectra/time histories | site response interface |
| IF-FM-005 | MAG/PLS->VV | EM/disruption loads | MAG/FM | time histories/spatial loads | OPEN |
| IF-FM-006 | RH->structures | maintenance/lift/transport loads | RH/FM | payload/dynamic/contact loads | OPEN |

FM09 deliberately stops before claiming a solved plant FE model. Its deliverable is the controlled topology and interface contract needed to prevent each discipline from inventing its own support stiffness, nozzle reaction, ground motion or blanket attachment load.

# 4. SITE04 — 4-D construction model

| ID | Workface | Area | Window | Scope | Status |
| --- | --- | --- | --- | --- | --- |
| WF-001 | Survey/environmental controls | sitewide | 2025-2026 | control network, erosion/stormwater, exclusion areas | R/C/E |
| WF-002 | Bulk earthworks/roads/laydown | sitewide | 2025-2026 | haul roads, laydown, temporary utilities | R/E |
| WF-003 | F-101 shoring/dewatering | fusion island | 2026 | shoring, wells, sumps, monitoring | E sequence |
| WF-004 | F-101 excavation/rock acceptance | fusion island | 2026-2027 | excavation, mapping, scaling, treatment | E sequence |
| WF-005 | F-101 foundation concrete/embeds | fusion island | 2027 | mudmat, embeds, rebar, pours, surveys | E sequence |
| WF-006 | Underground corridors | plantwide | 2026-2028 | ductbanks, drainage, process/utilities | E sequence |
| WF-007 | Tokamak building superstructure | fusion island | 2027-2029 | heavy concrete/steel, openings, crane interfaces | E sequence |
| WF-008 | Machine heavy-lift assembly | fusion island | 2028-2030 | VV/magnets/cryostat/blanket logistics | E sequence |
| WF-009 | PHTS large-bore installation | PHTS/reactor building | 2028-2030 | spools, anchors, valves, HX/pumps | E sequence |
| WF-010 | Hot cell/RH fitout | hot-cell complex | 2028-2030 | casks, transfer routes, manipulators, shielding | E sequence |
| WF-011 | Electrical/I&C/HVAC fitout | multiple | 2029-2030 | cable tray, grounding, ventilation, fire, controls | E sequence |
| WF-012 | System turnover/commissioning | plantwide | 2030-2031 | MC boundaries, flushing, pressure tests, energization, functional tests | C lifecycle/E detail |

# 5. Spatial constraints

| ID | Constraint | Area | Requirement | Status |
| --- | --- | --- | --- | --- |
| C4D-001 | Crawler crane exclusion/tailswing | heavy-lift zone | must not intersect energized/permanent SSC or occupied workface | O crane selection |
| C4D-002 | SPMT swept path | gate/laydown/fusion island | width, grade, turning radius, axle load, overhead clearance | O transporter/load |
| C4D-003 | Large-bore spool route | laydown -> PHTS building | bend radius/rigging envelope/temporary openings | E/O |
| C4D-004 | Dewatering influence zone | F-101 excavation | settlement/groundwater drawdown monitoring | R requirement/E geometry |
| C4D-005 | Shoring influence zone | F-101 perimeter | anchor/tieback conflict with undergrounds and adjacent foundations | E/O |
| C4D-006 | Underground freeze window | plantwide | later heavy foundations/roads must not make corridors inaccessible | E |
| C4D-007 | Remote-handling transfer route | tokamak -> hot cell | permanent clear envelope, shielding, doors, cask docking | R requirement/O OFG geometry |
| C4D-008 | Fire/HVAC zoning | buildings | construction turnover cannot invalidate confinement/fire boundaries | R/O |

Temporary works are now first-class BIM objects. A permanent coordinate is not verified merely because the permanent equipment fits: it must also survive the construction sequence, heavy-lift envelope, transport path, excavation/shoring/dewatering influence, underground installation windows and later remote-maintenance route.

# 6. New mandatory Atlas branches

| Branch | Reason |
| --- | --- |
| ELEC01 / EMC01 | Grounding, bonding, lightning, induced-current loops, cable segregation and electromagnetic compatibility affect physical coordination. |
| RAD01 | Activated-water, neutron/gamma shutdown fields and maintenance dose must become spatial fields. |
| RH01 / HOTCELL01 | Every replaceable activated component requires a removal, transfer, decontamination/repair/storage and return/disposal route. |
| HVAC-CONF01 / FIRE01 | Room-by-room pressure zoning, detritiation, ventilation isolation and fire boundaries must close against tritium and maintenance states. |
| RAMI01 / OPS01 | Loop count, redundancy, isolation, spares and maintenance architecture cannot freeze without availability/operability analysis. |
| SURVEY01 | Atlas local coordinates require controlled transformation to the project survey grid before exact-coordinate claims. |

# 7. Immediate continuation

The next descent is not another isolated PHTS refinement. It must run the new verification branches in parallel: RAD01 + RH01/HOTCELL01 + ELEC01/EMC01 + HVAC-CONF01/FIRE01 + SURVEY01, while PHTS05/FM09/SITE04 remain their shared physical backbone. Every result must propagate backward into blanket, vacuum vessel, tritium, buildings, construction, commissioning and configuration registers.

# Integrated controlled source — OFG_Atlas_VER01_Cross_Atlas_Verification_Audit.docx

Preserved at source granularity. Later explicit canon and change-provenance entries govern conflicts; source text is not silently rewritten.

ONTARIO FUSION GENERATION — ENGINEERING ATLAS

VER01 — CROSS-ATLAS INDEPENDENT VERIFICATION & BACKWARD-PROPAGATION AUDIT

REV 0 · BROADENED RESEARCH PASS · 19 APRIL 2031 CONFIGURATION CUT

# 1. Verification purpose

VER01 audits the completed Engineering Atlas work as an engineering evidence system rather than accepting packet completion as proof of design closure. It tests provenance, applicability, coordinate truth, physical interfaces, multiphysics dependencies, construction implementation and whether provisional engineering surrogates have leaked into canon.

# 2. Research boundary broadened

| Source family | Class | Verification use |
| --- | --- | --- |
| ITER Engineering Basis Handbook | Primary/engineering-basis | Plant layout, nuclear buildings, loads, materials, shielding, safety, assembly, remote handling, electrical/cooling/cryogenic/fuel-cycle integration are treated as one engineering basis. |
| ITER Vacuum Vessel | Primary implementation | VV is confinement barrier, cooled double-wall structure, support for in-vessel components, with ports for RH/diagnostics/heating/fuelling/vacuum. |
| ITER Blanket | Primary implementation | Blanket module geometry varies by position; blanket provides heat removal, shielding, and passages for diagnostics/heating. |
| ITER Remote Handling | Primary implementation | Activated in-vessel maintenance requires integrated transporters, casks, tools, hot-cell interfaces and control rooms; component masses up to tens of tonnes. |
| EU-DEMO WCLL PHTS integration | Peer-reviewed | Blanket/PHTS/IHTS/ESS/PCS are integrated; RELAP5 used for inventories and pressure drops. |
| EU-DEMO WCLL neutronics | Peer-reviewed | 3-D MCNP model evaluates TBR, shielding, nuclear heating, damage and helium production; engineering CAD detail affects results. |
| EU-DEMO tritium management integration | Peer-reviewed | Tritium extraction/inventory/environmental-release systems depend strongly on blanket/coolant architecture. |
| EU-DEMO activated-water valve dose | Peer-reviewed | Activated primary water produces component/area dose implications in pipe chases and isolation valves. |
| EU-DEMO LOFA thermal hydraulics | Peer-reviewed | PHTS transient analysis includes blanket, circuits, OTSG/HX and pump-loss scenarios with actuation logic. |
| CNSC REGDOC-1.1.1 v1.2 | Primary regulatory | Requires site-specific geology, hydrogeology, geotechnical properties, PSHA/response spectra, 3-D geological models and lifecycle re-evaluation. |
| CNSC REGDOC-2.5.2 v2.1 | Primary regulatory analogy | Requires comprehensive PIE loads, pressure-boundary integrity, high-energy-line effects, water hammer, inspection/testing/commissioning; non-water-cooled technologies reviewed case-by-case. |
| CNSC DNNP public summary | Primary project/regulatory | DNNP used a plant-parameter-envelope approach before technology selection; later selected BWRX-300 had to remain within assessed bounds. |
| ASME BPVC III Division 4 | Primary code | Fusion Energy Devices rules exist. |
| RCC-MRx | Primary code family | Rules for mechanical components of research/fusion installations include design, procurement, fabrication, welding and examination. |
| ITER Electrical Design Handbook | Primary engineering | Tokamak electrical design includes induced-current/earthing constraints and avoidance of parallel low-resistance loops. |

# 3. Findings by severity

| ID | Domain | Severity | Finding | Required correction | Status |
| --- | --- | --- | --- | --- | --- |
| AUD-001 | GLOBAL | MAJOR | Many Atlas coordinates are explicitly local/E, but user requirement is exact site coordinate. | Retain local coordinates only as model frame; add mandatory survey-grid transformation, datum, geoid/vertical datum and uncertainty fields before any coordinate is called exact. | OPEN |
| AUD-002 | GLOBAL | MAJOR | Some later packets label 80 blanket segments and 16 sectors C, but current accessible master timeline does not itself prove those geometry decisions. | Keep current controlled-canon status only as inherited story-source canon; require a source-corpus citation/decision-record ID in the canon register. | OPEN-TRACE |
| AUD-003 | BLK | CRITICAL | Earlier linear service-volume/TBR penalty was already downgraded, but any downstream use would be invalid. | Predictive TBR must come only from 3-D neutron/photon transport with CAD-consistent materials, penetrations, gaps and uncertainty. | CORRECTED |
| AUD-004 | PHTS | MAJOR | 15.5 MPa and ~290-328 C are strong DEMO/PWR precedents but not recovered HFRP canon. | Keep as R/E comparison. No equipment pressure class, relief setpoint or wall thickness may inherit them as C. | CORRECTED |
| AUD-005 | PHTS | MAJOR | Four-loop architecture is executable E comparison, not HFRP canon. | All tags/layout based on four loops must carry scenario ID; procurement or building freeze prohibited. | CORRECTED |
| AUD-006 | PHTS | MAJOR | Earlier Atlas focused on tritium in primary water but underrepresented activation products and shutdown dose. | Add activated-water source terms, pipe-chase dose, shielding, access zoning, isolation-valve qualification and maintenance dose fields. | NEW |
| AUD-007 | TRI | CRITICAL | Residence-time screens are not material accountancy. | Require component/species inventory, measurement uncertainty, decay, permeation, trapped inventory, release paths and reconciliation logic. | OPEN |
| AUD-008 | FM | CRITICAL | Reduced spring/ring models validate interfaces only. | No support/foundation qualification until 3-D FE + load combinations + material allowables + fatigue/fracture + SSI + seismic/EM/LOCA inputs exist. | OPEN |
| AUD-009 | SITE | CRITICAL | No OFG site-specific PSHA/response spectrum exists in Atlas. | Correctly remain OPEN. All seismic qualification claims prohibited. | PASS-OPEN |
| AUD-010 | SITE | MAJOR | SITE02/03 synthetic bedrock/GW surfaces are BIM plumbing, not evidence. | Every solid must carry E-SYNTHETIC provenance and be excluded from design acceptance quantities. | CORRECTED |
| AUD-011 | REG | MAJOR | CNSC water-cooled-reactor REGDOCs are not automatically fusion licensing requirements. | Use as high-level Canadian safety/design precedent only; fusion-specific licensing basis remains case-by-case/OPEN. | CORRECTED |
| AUD-012 | RH | CRITICAL | Plant geometry cannot be verified without replacement routes, casks, hot-cell interfaces, tooling envelopes and activated-component logistics. | Create RH verification layer across blanket/divertor/ports/PHTS isolation/buildings. | NEW |
| AUD-013 | ELEC | MAJOR | Electrical/earthing/induced-current coordination is missing from current physical Atlas frontier. | Create ELEC/EMC Atlas and feed constraints into VV/cryostat/piping/support interfaces. | NEW |
| AUD-014 | FIRE/HVAC | CRITICAL | Building HVAC/fire/detritiation are not yet co-verified with tritium inventories and maintenance states. | Create room-by-room confinement/HVAC/fire-zone model with normal/maintenance/accident states. | NEW |
| AUD-015 | CONST | MAJOR | SITE03 correctly added temporary geometry, but verification must include crane/SPMT ground bearing, shoring interaction, underground congestion and workface access. | SITE04 adds 4-D workface envelopes and hold-point provenance. | IN-PROGRESS |
| AUD-016 | CONFIG | CRITICAL | Accessible master timeline contains working-data statuses explicitly subject to later reconciliation. | Atlas cannot silently promote working timeline records to locked canon; every imported row must preserve status and revision provenance. | NEW |

# 4. Discipline coverage audit

| Discipline | Status | Finding |
| --- | --- | --- |
| Plasma physics / scenario | OPEN | Need reference plasma geometry, pulse/dwell, disruptions, heat/particle loads and operating envelope. |
| Neutronics / shielding | PARTIAL | Geometry contract exists; no authoritative OFG Monte Carlo solution yet. |
| Blanket thermal hydraulics | PARTIAL | Water-cooling architecture exists; actual HFRP geometry/materials/conditions unresolved. |
| Tritium / fuel cycle | PARTIAL | Functional topology exists; dynamic inventory/accountancy unresolved. |
| Vacuum / exhaust | PARTIAL | Prior packets exist; must reverify against fuel-cycle and building confinement. |
| Magnets / cryogenics | PARTIAL | Interfaces exist but not reverified in this pass against current blanket/PHTS/site geometry. |
| Structural / mechanics | PARTIAL | Reduced models only; 3-D FE qualification open. |
| Civil / geotechnical / seismic | PARTIAL | Darlington precedent researched; OFG field data and PSHA open. |
| Electrical / grounding / EMC | GAP | New critical work package. |
| I&C / protection / control | PARTIAL | State-machine skeleton exists; sensor/setpoint/redundancy/qualification open. |
| HVAC / confinement / detritiation | GAP | Must be room/state resolved. |
| Fire protection | GAP | Must be hazard/fire-zone/equipment-state resolved. |
| Remote handling / hot cell | GAP-MAJOR | Maintenance route and activated-component logistics not integrated globally. |
| Radiation protection / ALARA | GAP-MAJOR | Activated water and shutdown dose require spatial dose/access model. |
| Materials / irradiation / corrosion | PARTIAL | Needs component-specific property curves and surveillance/qualification basis. |
| Power conversion / BOP | OPEN | Direct/indirect coupling and storage remain unresolved. |
| Water chemistry / radwaste | PARTIAL | Functions exist; equipment capacities and waste routes unresolved. |
| Construction / temporary works | PARTIAL | SITE04 extends workface geometry; full 4-D sequence still ongoing. |
| Commissioning / turnover | PARTIAL | Evidence gates exist; system-by-system test boundary matrix incomplete. |
| Operations / maintenance / RAMI | GAP-MAJOR | Needs operating states, maintenance windows, spares, common-cause and availability model. |
| Configuration / information management | PARTIAL | Registers exist; canonical source IDs and supersession graph need normalization. |

# 5. High-consequence corrections

First, exact-coordinate claims remain prohibited until the Atlas local frame is transformed through a controlled survey record into the project horizontal and vertical datums. Second, the 15.5 MPa / DEMO-like water conditions and four-loop PHTS remain precedent/scenario inputs rather than HFRP canon. Third, no seismic qualification exists without the OFG-specific PSHA/response spectrum and field geotechnical model. Fourth, simplified TBR, tritium-holdup and reduced structural models remain screening tools only.

The audit also identifies two previously underdeveloped physical dependencies: activated-water radiation fields in PHTS pipe chases/valves, and global remote-handling/hot-cell transport. Both can change building layout, shielding, access, maintenance, HVAC and equipment placement.

# 6. Regulatory applicability correction

CNSC REGDOC-1.1.1 and REGDOC-2.5.2 provide authoritative Canadian site/design discipline. However, REGDOC-2.5.2 is written for water-cooled reactor facilities and explicitly states that alternative technologies are reviewed case-by-case. It is therefore an engineering and safety-objective precedent here, not silently the OFG fusion licensing basis.

# 7. Controlled-register audit

The accessible master event timeline explicitly carries rows marked 'WORKING DATASET — SUBJECT TO REV E/F/H/I RECONCILIATION'. VER01 therefore prohibits importing those rows into the Atlas as locked canon without preserving their original status and a reconciliation/supersession record.

# 8. Backward-propagation ledger

| ID | Affected | Old | New | Reason | Dependencies | Status |
| --- | --- | --- | --- | --- | --- | --- |
| REV-AUD-001 | All completed Atlas packets | Implicit completeness by packet completion | Packet completion does not equal design verification; every packet now receives verification status by discipline. | Cross-Atlas audit against ITER/EU-DEMO/CNSC/code precedents. | GLOBAL | ACTIVE |
| REV-AUD-002 | PHTS01-04 | Tritium was dominant radiological coolant concern | Add activated-water radionuclide/shutdown-dose branch and pipe-chase/isolation-valve shielding/access consequences. | EU-DEMO activated-water dose studies. | RAD/HVAC/RH/PHTS | ACTIVE |
| REV-AUD-003 | SITE02/03 | Synthetic surfaces usable for coordination | Explicitly prohibit design acceptance or exact-coordinate claims from synthetic surfaces. | CNSC requires site-specific data/3-D geological models. | SITE/CIVIL/FM | ACTIVE |
| REV-AUD-004 | FM05-08 | Static/reduced SSI screens | Treat only as interface/solver verification; no qualification claim. | CNSC seismic/geotechnical requirements and nuclear SSI practice. | FM/SITE | ACTIVE |
| REV-AUD-005 | BLK02/03 | Service-volume sensitivity | No predictive TBR use; only 3-D CAD-consistent neutron/photon transport may close TBR/shielding. | EU-DEMO heterogeneous MCNP precedent. | BLK/TRI/MAG | ACTIVE |
| REV-AUD-006 | REG basis | Water-cooled NPP REGDOC language used as design precedent | Mark as analogy/high-level Canadian safety precedent for fusion, case-by-case applicability. | CNSC explicit alternative-technology language. | LIC/SAFETY | ACTIVE |
| REV-AUD-007 | Construction/site | Temporary works treated as secondary geometry | 4-D temporary works become controlled spatial constraints with evidence gates. | Darlington/ITER implementation precedent. | SITE/CONST/BIM | ACTIVE |
| REV-AUD-008 | Global plant | Electrical interfaces underdeveloped | Create mandatory ELEC/EMC/grounding Atlas; induced-current and single-point-earthing constraints can affect physical interfaces. | ITER Electrical Design Handbook. | ELEC/FM/PHTS/I&C | NEW |
| REV-AUD-009 | Global plant | Maintenance treated locally | Create global RH/hot-cell route verification and activated-component logistics. | ITER remote handling precedent. | RH/BLK/VV/BUILDINGS | NEW |
| REV-AUD-010 | Controlled registers | Working timeline rows may be consumed as facts | Preserve original Canon_Status and reconciliation warning in every imported event/asset record. | Master event timeline status field. | HIST/CONFIG | NEW |

# 9. Verification disposition

The Atlas is internally useful as a progressively refined engineering model, but it is not yet a construction-issued or licensing-qualified plant definition. The verified portions are the controlled functional relationships, explicit unresolved-state discipline, and a growing set of coordinate-bearing engineering surrogates. The principal blockers are source-trace closure for canon geometry, OFG survey/geotechnical/seismic truth, full neutronics, dynamic tritium accountancy, 3-D structural/SSI qualification, remote-maintenance geometry, building confinement/fire/radiation models, electrical/EMC integration, and RAMI/operations closure.

# Controlled register — VER07_R01_Backward_Propagation.csv

| Change | Affected | Old | New | Basis | Downstream |
| --- | --- | --- | --- | --- | --- |
| R2-001 | Rev1 all volumes | Site described mostly by completion percentage/general state | Replace with time-indexed 2031-04-19 physical/custody/energy/verification state as mandatory object attributes | Source corpus master reference + field log | ALL |
| R2-002 | F101 | Functional zones lacked construction-model object contract | Introduce 64 sector/band coordination cells, 48 port objects, 16 support stations and BIM data contract | Canon 16 sectors + constructability research | V02/V03/V05 |
| R2-003 | Coordinates | Exact XYZ implied as future deliverable | No exact site coordinate may be invented; model may use local datum only until survey/control source or explicit engineering decision exists | Configuration integrity | V02/V05 |
| R2-004 | Commissioning | Generic active commissioning | Attach actual 19 Apr system state: VAC train, cryo train availability, magnet walkdown, diagnostics, ECH, Hot Cell SAT | Field log | V03/V04/V05 |
| R2-005 | Temporary plant | Temporary commissioning equipment treated as secondary | Temporary plant becomes first-class BIM/configuration object with supports, load paths, work orders, custody, test lineup and event evidence | BHT-401 event history + CNSC | V04/V05/V06 |
| R2-006 | Validation | Validation mostly method lists | Every domain now carries story-date relevance and closure state; no system is 'validated' merely because installed | Academic/primary-source validation | ALL |

Rows preserved in this register: 6.

# Controlled register — VER08_R01_V02_Verification_Ledger.csv

| ID | Scope | Result | Basis |
| --- | --- | --- | --- |
| V02-STR-001 | Structural hierarchy | PASS | Object families and required load/input fields defined; numerical qualification remains OPEN |
| V02-ROOM-001 | Room hierarchy | PARTIAL | 64 logical sector service/port volumes instantiated; exact geometry and architectural room numbering OPEN |
| V02-PEN-001 | Penetrations | PARTIAL | Eight penetration classes + 128 sector family reservations; actual count/size/XYZ not invented |
| V02-MEP-001 | MEP connectivity | PARTIAL | Eleven high-level connection chains established; detailed P&IDs/routing OPEN |
| V02-LOAD-001 | Load completeness | PARTIAL | 16 load families established; numerical spectra/magnitudes OPEN |
| V02-RH-001 | Remote handling | PARTIAL | Blanket/divertor/port/top-access route logic established; swept-volume geometry OPEN |
| V02-STATE-001 | Story-date integration | PASS | Room-state rules explicitly couple custody, work authorization, energy and temporary configurations |
| V02-CONFIG-001 | Configuration integrity | PASS | No unsupported exact room/penetration dimensions or coordinates promoted to design fact |

Rows preserved in this register: 8.

# Controlled register — VER09_R01_Executable_Validation_Results.csv

| Test | Nodes_or_count | Edges | Invalid_edges | Condition | Result |
| --- | --- | --- | --- | --- | --- |
| NET-VAC | 10 | 10 | 0 | True | PASS |
| NET-CRYO | 10 | 10 | 0 | True | PASS |
| NET-ELEC | 9 | 11 | 0 | True | PASS |
| NET-HVAC | 7 | 10 | 0 | True | PASS |
| NET-DRAIN | 6 | 5 | 0 | True | PASS |
| COUNT-BLKT | 80 |  |  | True | PASS |
| COUNT-DIV | 48 |  |  | True | PASS |
| COUNT-SECTOR | 16 |  |  | True | PASS |
| COUNT-RH | 32 |  |  | True | PASS |

Rows preserved in this register: 9.

# Controlled register — VER09_R02_Backward_Propagation.csv

| Change | Affected | Old | New | Basis | Downstream |
| --- | --- | --- | --- | --- | --- |
| R2-V03-001 | V01/V02 PORT | Generic upper/lower functions | Instantiate 80 blanket and 48 divertor asset objects tied to 16 upper/lower maintenance sectors | Canonical Backbone RevB | PORT04/RH03 |
| R2-V03-002 | V02 VAC | Single functional VAC edge | Replace with 10-node/10-edge vacuum topology including vessel, manifold, roughing, cryopump, cryostat and instrumentation functions | ITER precedent + story-date VAC train state | VAC02 |
| R2-V03-003 | V02 CRYO | Cryogenic interface only | Replace with 10-node client/distribution topology and story-date Train A/B/C availability | ITER precedent + field-state canon | CRYO03 |
| R2-V03-004 | V02 ELEC | Magnet power functional edge | Replace with transformer/converter/DC feeder/coil/dump/quench/MPS/grounding graph | fusion magnet precedent + canon commissioning state | ELEC03 |
| R2-V03-005 | V02 RH | Four generic RH routes | Create 32 sector-indexed blanket/divertor RH envelopes and retain recovery geometry as closure requirement | Canon maintainability demonstration + ITER RH precedent | RH03 |
| R2-V03-006 | Rev1/Rev2 coordinates | Potential expectation of metric XYZ | Retain toroidal angular sector coordinates but prohibit invented metric XYZ until geodetic/building datum is controlled | source-integrity rule | ALL |

Rows preserved in this register: 6.

# Controlled register — VER10_R01_Executable_and_Engineering_Verification.csv

| ID | Test | CountA | CountB | Invalid | Result |
| --- | --- | --- | --- | --- | --- |
| VER10-PIPE-01 | BHT/PHT graph referential integrity | 68 | 83 | 0 | PASS |
| VER10-PIPE-02 | BHT/PHT graph connectivity | 68 | 83 | - | PASS |
| VER10-PIPE-03 | 16 sector manifold presence | 16 | - | - | PASS |
| VER10-HYD-01 | hydraulic transient scenario coverage | 7 | - | - | PASS structural coverage / numeric OPEN |
| VER10-VAC-01 | vacuum test boundary schedule | 5 | - | - | PASS structural coverage / numeric OPEN |
| VER10-CRYO-01 | TF sector feeder cardinality | 16 | - | - | PASS |
| VER10-HVAC-01 | room-state matrix cardinality | 64 | - | - | PASS 64 logical volumes |
| VER10-RH-01 | RH nominal/recovery state coverage | 15 | - | - | PASS logic coverage |
| VER10-STRUCT-01 | FE domain coverage | 9 | - | - | PASS idealization coverage / numeric OPEN |
| VER10-CONFIG-01 | unsupported numeric values introduced | 0 | - | - | PASS |

Rows preserved in this register: 10.

# Controlled register — VER10_R02_Backward_Propagation.csv

| Change | Affected | Old | New | Basis | Downstream |
| --- | --- | --- | --- | --- | --- |
| V04-001 | V02/V03 MEP/PHT | single functional coolant edge | 16-sector supply/manifold/return/isolation topology + explicit temporary CRS-01 loop | canon blanket count + BHT history + hydraulic-transient research | PIPE02/STRUCT04 |
| V04-002 | V03 VAC02 | functional pump topology | device families + five commissioning test boundaries + restoration/evidence requirements | CNSC REGDOC-2.3.1 + ITER vacuum precedent | VAC03/COMM04 |
| V04-003 | V03 CRYO03 | client graph | feeder/interface schedule; TF sector feeders explicit; PF/CS remain controlled placeholders | ITER cryodistribution/feeders precedent | CRYO04/ELEC04 |
| V04-004 | V02/V03 RH | route envelopes | nominal + four recovery branches in explicit handling state machine | ITER RH precedent + canon maintainability demonstration | RH04 |
| V04-005 | V02 LOAD01/V03 STRUCT03 | load families/interface data | FE idealization + load-combination families + bidirectional pipe/support coupling | CNSC civil/internal-hazard requirements | STRUCT04 |
| V04-006 | V01/V02 room state | general commissioning states | 64-room pressure/fire/confinement matrix linked to story-date pre-tritium/live commissioning state | canon + CNSC configuration control | HVAC03 |
| V04-007 | all prior | temporary equipment treated as object | temporary equipment now also owns test boundary, restoration path, hydraulic transient cases and nonlinear structural event model | BHT event chain + CNSC commissioning rules | ALL |

Rows preserved in this register: 7.

# Controlled register — VER11_R01_Backward_Propagation_Audit.csv

| Change | Affected | Old | New | Reason | Packet |
| --- | --- | --- | --- | --- | --- |
| V05-001 | Rev1 E01 + Rev2 V01-V04 | coordinate datum presented as engineered reconstruction | coordinate register explicitly separates E-design coordinates from survey/canon and forbids silent promotion | earlier E01 already states coordinates are engineered reconstruction | SPAT05 |
| V05-002 | V03/V04 blanket | 80-object count/topology | 80 named instance objects linked to mandatory install evidence and maintenance access | canonical backbone gives five identifiers per sector and install sequence | BLK05 |
| V05-003 | V03/V04 divertor | 48-object count/topology | 48 instance objects with lower-port access and required acceptance evidence | canonical count/campaign/test requirements | DIV05 |
| V05-004 | V04 component decomposition | family-level components | minimum component data contracts for pump/valve/pipe/support/restraint/instrument/cable/anchor/weld | construction/commissioning precedent requires traceable as-built configuration and replacement-level detail | CMP05 |
| V05-005 | V02-V04 support/load model | generic support objects | support taxonomy now defines physical DOF behavior and mandatory stiffness/gap/anchor evidence | structural/transient model cannot close from bounding boxes | SUP05 |
| V05-006 | V04 commissioning boundaries | test boundary fields | ITP/NDE/hold-point and Level-3 field execution evidence become linked objects | CNSC construction/commissioning control requirements | ITP05/WP05 |
| V05-007 | V01-V04 BHT chain | chronological narrative/register | formal directed digital thread preserves requirement->design->screening->FAT->receipt->installation->turnover->test->revision->observation->maintenance->event->evidence/EOC | canonical story backbone | DT05 |

Rows preserved in this register: 7.

# Controlled register — VER11_R02_Model_Consistency_Tests.csv

| ID | Test | Actual | Expected | Result |
| --- | --- | --- | --- | --- |
| VER11-01 | blanket instance cardinality | 80 | 80 | PASS |
| VER11-02 | divertor instance cardinality | 48 | 48 | PASS |
| VER11-03 | blanket sectors | 16 | 16 | PASS |
| VER11-04 | divertor sectors | 16 | 16 | PASS |
| VER11-05 | blankets per sector | 5 | 5 | PASS |
| VER11-06 | divertors per sector | 3 | 3 | PASS |
| VER11-07 | BHT digital thread edges | 19 | 19 | PASS |
| VER11-08 | component data-contract classes | 9 | 9 | PASS |
| VER11-09 | support/restraint classes | 8 | 8 | PASS |
| VER11-10 | unsupported numerical process values introduced | 0 | 0 | PASS |

Rows preserved in this register: 10.

# Controlled register — VER12_R01_Executable_Spatial_Verification_Specification.csv

| ID | Verification | Acceptance_rule | Method | Current_state |
| --- | --- | --- | --- | --- |
| ALG-01 | referential integrity | every parent/interface/support/route reference resolves | graph validation | IMPLEMENTED schema-level |
| ALG-02 | solid clash | no prohibited overlap between permanent solids | 3D B-rep/mesh intersection | BLOCKED detailed geometry |
| ALG-03 | clearance clash | equipment solids do not invade maintenance/egress/inspection envelopes | solid-vs-clearance intersection | BLOCKED detailed geometry |
| ALG-04 | route connectivity | each routed system forms permitted source-to-sink topology | graph + endpoint/type validation | PARTIAL topology available |
| ALG-05 | penetration consistency | route crossing wall/slab has controlled penetration object | topological intersection + penetration lookup | BLOCKED walls/routes |
| ALG-06 | support reachability | support connects supported item to qualified structure/embedded plate | graph + geometry distance/orientation | PARTIAL schema |
| ALG-07 | load-path completeness | equipment/pipe/support loads terminate in structural/foundation object | directed graph acyclicity/reachability | PARTIAL schema |
| ALG-08 | erection path | major component swept volume reaches installed pose without permanent obstruction | motion planning / swept volume | BLOCKED geometry |
| ALG-09 | maintenance path | removable component + tooling/cask reaches service/hot-cell boundary | motion planning / swept volume | BLOCKED geometry |
| ALG-10 | construction-state clash | temporary works and permanent installation compatible at each date/state | 4D state-filtered clash | BLOCKED time-resolved geometry |
| ALG-11 | survey reconciliation | as-built control points within accepted tolerance or deviation disposition exists | point/axis/surface deviation | BLOCKED survey data |
| ALG-12 | fire/flood separation | hazard boundaries and redundant SSC routes respect separation criteria | zone graph + spatial intersection | BLOCKED fire/flood model |

Rows preserved in this register: 12.

# Controlled register — VER12_R02_Backward_Propagation_Audit.csv

| Change | Affected | Old | New | Reason | Packet |
| --- | --- | --- | --- | --- | --- |
| V06-001 | Rev1 E01 | building centres/envelopes used as spatial facts | explicitly controlled as provisional E geometry pending survey/IFC transform | E01 itself says engineered reconstruction | SPAT06 |
| V06-002 | V03/V04 | machine topology lacked local coordinate frames | 16 sector angular frames instantiated around MC-0 without inventing radius/elevation | canonical 16x22.5deg sectorization | MACH06 |
| V06-003 | V03/V05 | maintenance ports represented functionally | 32 upper/lower maintenance interface frames now own azimuth/function/payload but XYZ/profile remain OPEN | canonical 16 upper + 16 lower maintenance sectors | RH06 |
| V06-004 | V04/V05 | constructability stated generally | formal precedence graph added for supports, high-level services, hard constraints, temporary openings, survey closeout | ITER construction precedent + IAEA layout principles | CONS06 |
| V06-005 | V02-V05 | temporary works mostly event-specific | temporary floors/platforms, heavy-lift tooling, openings, scaffold, clean boundaries and BHT temporary system become time-indexed model classes | construction sequencing requires temporary-state geometry | TEMP06 |
| V06-006 | V05 | verification was mostly referential/count based | 12-test spatial verification specification added; blocked tests remain visibly blocked instead of receiving invented PASS results | CAD/BIM-grade closure requires real geometry | VER12 |

Rows preserved in this register: 6.

# Controlled register — VER13_R01_Civil_Spatial_Verification_Results.csv

| ID | Test | Actual | Expected | Result |
| --- | --- | --- | --- | --- |
| VER13-01 | civil hierarchy completeness | 12 | >=10 | PASS |
| VER13-02 | grid/elevation numerical closure | 0 | >0 | BLOCKED - no controlled floor/grid data |
| VER13-03 | penetration instance clash check | 0 | >0 | BLOCKED - no instance geometry |
| VER13-04 | embed capacity/position verification | 0 | >0 | BLOCKED - no embed schedule |
| VER13-05 | F102-F101 transfer swept path | 0 | 1 | BLOCKED - opening/crane/component geometry absent |
| VER13-06 | F101-R101 cask route swept path | 0 | 1 | BLOCKED - route/door/cask geometry absent |
| VER13-07 | major machine erection state coverage | 10 | 10 | PASS logic coverage |
| VER13-08 | concrete construction state coverage | 9 | 9 | PASS logic coverage |
| VER13-09 | unsupported OFG civil dimensions imported from ITER | 0 | 0 | PASS |
| VER13-10 | epistemic status on inherited coordinates | E | E | PASS |

Rows preserved in this register: 10.

# Controlled register — VER13_R02_Backward_Propagation_Audit.csv

| Change | Affected | Old | New | Basis | Packet |
| --- | --- | --- | --- | --- | --- |
| V07-001 | V06 SPAT | functional zones only | civil hierarchy now explicitly requires foundation, pit, bioshield, crown, floors, walls, columns, crane support, embeds, penetrations, joints and drainage | CNSC/IAEA/ITER civil precedent | CIV07 |
| V07-002 | V05/V06 supports | support objects referenced structure generically | support closure now requires specific embed/anchor host and post-pour survey evidence | ITER tens of thousands of embedded plates; construction practice | EMB07 |
| V07-003 | V02-V06 penetrations | penetrations treated as reservations/interfaces | penetration objects now require fire, shielding, confinement, seismic movement, temporary closure and as-built fields | multi-hazard building integration | PEN07 |
| V07-004 | V06 constructability | precedence graph | concrete pour and machine erection become explicit state machines with geometry/evidence gates | ITER construction sequence precedent | CIV07/CONS07 |
| V07-005 | V03-V06 RH | machine-to-Hot Cell route conceptual | F101-R101 becomes federated building interface with cask/door/docking/recovery geometry contract | ITER RH/Hot Cell precedent | FED07 |
| V07-006 | all prior geometry | binary complete/open | five-level information maturity model added so model use is restricted by geometry/evidence maturity | BIM/configuration-control discipline | BIM07 |

Rows preserved in this register: 6.

# Controlled register — VER14_R01_Routed_Plant_Verification_Results.csv

| ID | Test | Actual | Expected | Result |
| --- | --- | --- | --- | --- |
| VER14-01 | BHT blanket logical connections | 160 | 160 | PASS |
| VER14-02 | BHT supply/return sector nodes | 32 | 32 | PASS |
| VER14-03 | maintenance interface nodes | 32 | 32 | PASS |
| VER14-04 | route-family coverage | 10 | 10 | PASS |
| VER14-05 | penetration reservation families | 8 | 8 | PASS |
| VER14-06 | metric route centreline clash test | 0 | >0 | BLOCKED - centreline vertices absent |
| VER14-07 | penetration host intersection test | 0 | >0 | BLOCKED - wall/slab solids and penetration XYZ absent |
| VER14-08 | support reachability/load-path test | 0 | >0 | BLOCKED - support coordinates absent |
| VER14-09 | piping stress analysis | 0 | >0 | BLOCKED - geometry/material/P-T/support data absent |
| VER14-10 | cable separation/fire-area test | 0 | >0 | BLOCKED - cable schedules/routes/fire areas absent |
| VER14-11 | HVAC access/duct clash test | 0 | >0 | BLOCKED - duct/equipment geometry absent |
| VER14-12 | unsupported metric OFG route values invented | 0 | 0 | PASS |

Rows preserved in this register: 12.

# Controlled register — VER14_R02_Backward_Propagation_Audit.csv

| Change | Affected | Old | New | Basis | Packet |
| --- | --- | --- | --- | --- | --- |
| V08-001 | V04-V07 piping | functional topology without formal route object | route object now owns centreline, section, support, penetration, isolation, inspection and hazard envelope fields | ITER/CNSC/IAEA routing precedent | ROUTE08 |
| V08-002 | V07 penetrations | generic penetration contract | eight routed-system reservation families added; closure requires knowing systems on both sides before sealing | ITER penetration installation precedent | PEN08 |
| V08-003 | V05 supports | support taxonomy | supports now bind into piping-stress closure and routed load path; as-built route/support state required for final qualification | CNSC as-built piping qualification principle | PIPE08 |
| V08-004 | V06 construction precedence | supports/high services precedence | expanded into route-priority/reserved-volume hierarchy including irremovable machine interfaces and RH/egress exclusion volumes | ITER systems installation | ROUTE08 |
| V08-005 | V03-V05 electrical/I&C | functional connectivity | cable/tray route constraints now include separation, redundancy, pulling, firestop, ampacity and grounding | nuclear plant layout discipline | ELEC08 |
| V08-006 | V03-V07 HVAC | zone/function model | HVAC route objects now require duct solid, access envelope, fire/confinement crossings, support load path and condensate drain integration | plant-layout/constructability discipline | HVAC08 |
| V08-007 | all routed systems | static final-state representation | route lifecycle now has reserved/support/installed/joined/tested/sealed/surveyed/turnover plus temporary-modified state | historical reconstruction needs time-indexed geometry | CONS08 |

Rows preserved in this register: 7.

# Controlled register — VER15_R01_Fabrication_Equipment_Verification_Results.csv

| ID | Test | Actual | Expected | Result |
| --- | --- | --- | --- | --- |
| VER15-01 | equipment contract fields | 16 | 16 | PASS |
| VER15-02 | nozzle contract fields | 13 | 13 | PASS |
| VER15-03 | fabrication topology classes | 9 | 9 | PASS |
| VER15-04 | support mechanics classes | 9 | 9 | PASS |
| VER15-05 | BHT-401 controlled physical objects | 5 | 5 | PASS |
| VER15-06 | actual nozzle-coordinate closure | 0 | >0 | BLOCKED - vendor/as-built geometry absent |
| VER15-07 | actual spool/weld map closure | 0 | >0 | BLOCKED - fabrication/isometric records absent |
| VER15-08 | support load/stress closure | 0 | >0 | BLOCKED - loads/stiffness/coordinates absent |
| VER15-09 | bellows qualification | 0 | >0 | BLOCKED - movement/pressure/cycle data absent |
| VER15-10 | equipment maintenance swept-volume check | 0 | >0 | BLOCKED - equipment GA absent |
| VER15-11 | BHT-401 physical restraint reconstruction | 0 | 1 | BLOCKED - CRS01-RST-L2 geometry/setting evidence unresolved |
| VER15-12 | unsupported fabrication dimensions invented | 0 | 0 | PASS |

Rows preserved in this register: 12.

# Controlled register — VER15_R02_Backward_Propagation_Audit.csv

| Change | Affected | Old | New | Basis | Packet |
| --- | --- | --- | --- | --- | --- |
| V09-001 | V05/V08 equipment | equipment represented primarily by tags/functions | equipment now requires placement datum, operating/maintenance solids, foundation, mass/COG, nozzles, lift points and evidence | fabrication/maintenance spatial closure | EQ09 |
| V09-002 | V08 routes | route segments without fabrication hierarchy | shop spool/field spool/closure weld/flange/branch/flexible/root/vent-drain objects added | ASME/ITER fabrication precedent | FAB09 |
| V09-003 | V05/V08 supports | support type/DOF conceptual | support mechanics now distinguish anchors, guides, line stops, hangers, springs, snubbers, shoes and integral attachments | pipe-stress engineering | SUP09 |
| V09-004 | V08 flexibility | thermal movement listed as route concern | bellows/flexible interfaces now own movement, pressure thrust, fatigue, stability, installation and structural-differential-movement requirements | ASME + ITER cryoline precedent | FLEX09 |
| V09-005 | BHT-401 thread | temporary skid/spools/restraint known but geometry unresolved | five explicit physical configuration objects created; CRS01-RST-L2 remains hard reconstruction blocker | controlled event evidence chain | BHT09 |
| V09-006 | V07/V08 constructability | route state and civil state separate | spool segmentation now couples transport, field access, tolerance, test boundary, cleanliness, support readiness and maintenance | field fabrication discipline | FAB09 |

Rows preserved in this register: 6.

# Controlled register — CDR05_R01_Canon_Decision_Conflict_Register.csv

| ID | Issue | Evidence | Decision | Status | Reason |
| --- | --- | --- | --- | --- | --- |
| CDR-05-001 | Site coordinate system | Rev1 E01 defines OFG-GRID-2031 and MC-0 numerically | Retain as E reconstruction only; not survey/canon | OPEN verification | prevents fictional coordinates becoming false source fact |
| CDR-05-002 | Blanket identifiers | Backbone explicitly supplies BLK-S01-I1 etc pattern | Promote 80 pattern-generated IDs to C-derived instance register | CONTROLLED | pattern explicitly defined across sixteen sectors |
| CDR-05-003 | Divertor identifiers | Backbone fixes 3 cassettes x 16 sectors but not exact tag syntax | Use DIV-Sxx-Cn as E instance naming | OPEN naming | count/access/process C; tag syntax E |
| CDR-05-004 | BHT check valve/control valve | V04 transient cases require behavior but canon does not establish hardware | Represent as functional hypotheses only, not installed facts | OPEN | requires Rev C drawing/P&ID recovery |
| CDR-05-005 | M-88217 content | Canon says indexed CLOSED/APPROVED but missing record is central story fact | Do not infer performed work, measurements, signatories or actual condition | CONFLICT/INVESTIGATION | record status is not proof of physical execution |

Rows preserved in this register: 5.

# Controlled register — CDR06_R01_Canon_Decision_Conflict_Register.csv

| ID | Issue | Evidence_state | Decision | Status | Reason |
| --- | --- | --- | --- | --- | --- |
| CDR06-001 | F101 internal floors/rooms | not established by supplied canon | Do not copy ITER's seven-storey geometry into OFG | OPEN | ITER is precedent, not OFG dimensional source |
| CDR06-002 | machine radius/pit/bioshield dimensions | not established | Use symbolic R_MACHINE_REF and OPEN profiles | OPEN | prevents false precision |
| CDR06-003 | upper/lower maintenance port XYZ | azimuthal sectorization established, metric positions absent | instantiate frames at sector centre azimuth only | OPEN metric | supports parametric CAD without fabrication fiction |
| CDR06-004 | F101-F102 heavy-lift connection | adjacency and building centres exist; exact opening/crane continuation absent | model transfer interface but keep door/rail/capacity geometry OPEN | OPEN | constructability dependency retained |
| CDR06-005 | temporary opening strategy | real-world ITER precedent supports temporary openings for large plant components | adopt as design/constructability class, not specific OFG opening count | E | must be reconciled against OFG field history |

Rows preserved in this register: 5.

# Controlled register — CDR07_R01_Canon_Decision_Conflict_Register.csv

| ID | Issue | Precedent/source | Decision | Status | Reason |
| --- | --- | --- | --- | --- | --- |
| CDR07-001 | F101 basemat thickness | ITER provides numerical basemat examples only | Do not transfer ITER thickness to OFG | OPEN | site/geotech/loads are project-specific |
| CDR07-002 | bioshield thickness | ITER bioshield is up to 3.2 m | Use only as precedent that shielding wall can be massive and highly penetrated; OFG thickness OPEN | OPEN | OFG HFRP radiation/shielding basis differs |
| CDR07-003 | crane capacity/elevation | ITER uses 1,500-t combined bridge cranes and ~43 m rail elevation | Do not import; OFG crane capacity/elevation must derive from OFG heaviest lift and building geometry | OPEN | constructability must be project-specific |
| CDR07-004 | embedded plate density/count | ITER uses tens of thousands | Adopt embed-instance modeling requirement, not ITER count | E/V | OFG count depends routed systems/equipment |
| CDR07-005 | F101 internal floors | no controlled OFG floor elevations recovered | No invented floor stack; LEVEL objects remain symbolic | OPEN | required for honest BIM status |

Rows preserved in this register: 5.

# Controlled register — CDR08_R01_Canon_Decision_Conflict_Register.csv

| ID | Issue | Evidence | Decision | Status | Reason |
| --- | --- | --- | --- | --- | --- |
| CDR08-001 | PHT/BHT line sizes and routes | not established by controlled corpus | Remain OPEN; no ITER TCWS dimensions imported | OPEN | fusion cooling precedent is not OFG design data |
| CDR08-002 | penetration count | ITER has thousands/TCWS-specific penetrations | Do not import count; model reservation families only | OPEN | OFG architecture differs |
| CDR08-003 | gravity drain slope | IAEA guidance gives generic fall guidance | Treat slope as design requirement field, not silently assign OFG value | OPEN numeric | site/process geometry required |
| CDR08-004 | orthogonal routing | IAEA recommends orderly orthogonal routing where possible | Use as coordination preference, not mandatory geometry | E/V | machine annulus/ports may force non-orthogonal routes |
| CDR08-005 | pressure-boundary separation | CNSC requires greatest practicable separation from electrical/control systems | Promote to federated clash/separation verification requirement | V requirement applied as design principle | fusion licensing application still case-specific |
| CDR08-006 | BHT sector node XYZ | sector topology known but no nozzle coordinates | instantiate logical nodes only; metric coordinates OPEN | OPEN metric | prevents false CAD precision |

Rows preserved in this register: 6.

# Controlled register — CDR09_R01_Canon_Decision_Conflict_Register.csv

| ID | Issue | Evidence | Decision | Status | Reason |
| --- | --- | --- | --- | --- | --- |
| CDR09-001 | applicable OFG piping code class | ASME B31 precedent researched; nuclear-class scope not yet allocated per system | Do not assign B31.1/B31.3/Section III class silently | OPEN | classification/licensing basis required |
| CDR09-002 | bellows numerical movement | ITER values are project-specific | do not import ITER movement/contraction/load values into OFG | OPEN | use only as physical precedent |
| CDR09-003 | support spacing | generic code/handbook values exist | no generic spacing assigned to OFG | OPEN | depends size/material/service/dynamics |
| CDR09-004 | BHT401 restraint behavior | record chain identifies restraint object but exact geometry/DOF not established | retain CRS01-RST-L2 as unresolved physical evidence object | OPEN detail/C identity | central accident-chain sensitivity |
| CDR09-005 | equipment maintenance envelope | class requirements established but vendor GA absent | keep parametric until vendor/field evidence recovered | OPEN metric | prevents false clash PASS |

Rows preserved in this register: 5.

# Controlled register — OFG_B07_Change_Provenance.csv

| Packet | Old | New | Reason | Affected | Status |
| --- | --- | --- | --- | --- | --- |
| A00 §2/§3 | Four BHT trains and 4,714 kg/s/train only; no spatial consequence. | Four-train flow now reserves four independent large-bore F101↔H101 corridors; final diameter remains OPEN/E-prelim. | Physical feasibility of inherited mass flow requires unusually large flow area. | A00,A03,B01,B02,B03 | E qualified; not canon change |
| A03 §3 | Parallel blanket-sector branches collect to hot header and return through cold header. | Machine-side architecture expanded to backplate/sector manifolds → upper hot/cold ring/header → four train branches; branch allocation still OPEN. | ITER + QST manifold precedent. | A03,B02,B04-B06 | E expansion |
| B01 site configuration | H-101 south of F-101 with generic BHT corridor. | H-101 relationship retained, but BHT bridge/gallery now occupies four train lanes with hot/cold vertical separation. | Detailed BHT physical routing. | B01,B02 | E refinement |
| B02 protected zone | MC-BHT-SOUTH generic E945–1055 / N830–950 / Z104–132. | Zone is now internally partitioned into four train axes E930/975/1025/1070 and hot/cold Z123/113 centreline bands. | Tranche C coordination. | B02,B05 | E refinement |
| B03 BIM handoff | Process ports require XYZ, size, class, endpoint. | First BHT port and penetration population now instantiated; DN is explicitly preliminary pending hydraulic/code closure. | Model population begins. | B03,B05 | E partial closure |
| A03 §7 | Pipe/header diameter, transient, stress/support analysis listed as future calculations. | Still unresolved. Coordinate freeze creates stress nodes and reserved sizes but does not claim calculation closure. | Avoid false completion. | A03,B05,B06 | O retained |

Rows preserved in this register: 6.

# Controlled register — D04_Validation_Matrix.csv

| ID | Test | Result | Metric | Criterion | Action |
| --- | --- | --- | --- | --- | --- |
| V-D-001 | Mass/energy balance reproduces inherited 3,300 MWth basis | PASS | 3299.97 MW | 3300 ±1 MW | None |
| V-D-002 | Candidate primary diameter meets preliminary velocity screen | PASS | first passing D=1.6 m, v=3.23 m/s | v ≤4.0 m/s (E screening criterion) | Adopt ≥1.6 m ID reserved corridor pending full hydraulic/code study |
| V-D-003 | Adjacent train corridors preserve gross maintenance separation | PASS | minimum clear 43.4 m | ≥6 m E-screen | None at Freeze C0 |
| V-D-004 | BHT segments avoid protected non-BHT volumes in coarse box model | FAIL | 6 coarse intersections | 0 unresolved hard intersections | Review each coarse intersection; distinguish intended shared interface from prohibited clash |
| V-D-005 | Pairwise large-bore pipe clearance | FAIL | 16 failures | 0 | Adjust centrelines if any |
| V-D-006 | Final pipe stress/support qualification | OPEN | not calculated | Code + transient + seismic + thermal flexibility | Do not freeze supports |
| V-D-007 | Pipe break/jet/whip qualification | OPEN | not calculated | CNSC internal hazard closure | Generate break nodes and barrier/restraint design after stress model |
| V-D-008 | Pump NPSH/head and SG sizing | OPEN | not calculated | Hydraulic + thermal equipment closure | Vendor-equivalent sizing model required |

Rows preserved in this register: 8.

# Controlled register — E09_Validation_Matrix.csv

| ID | Test | Status | Metric | Criterion | Next action |
| --- | --- | --- | --- | --- | --- |
| E-V001 | Energy balance | PASS | 3300.0 MW | 3300 MW inherited basis | None |
| E-V002 | Train trunk velocity screen | PASS | 3.23 m/s | ≤4 m/s E screen | Increase trunk ID/parallelize if failed |
| E-V003 | Sector branch velocity screen | PASS | 3.23 m/s | ≤5 m/s E screen | Resize sector branch |
| E-V004 | Module branch velocity screen | PASS | 4.60 m/s | ≤6 m/s E screen | Resize module branch |
| E-V005 | Total preliminary loop ΔP | SCREEN | 1.70 MPa | No fixed acceptance until pump/system design | Use for pump/HX architecture iteration |
| E-V006 | Preliminary pump shaft power | SCREEN | 13.0 MW/train | Must fit plant house-load and vendor feasibility | Feed electrical/thermal balance |
| E-V007 | Thermal growth of 180 m hot run | FAIL-AS-RIGID | 878 mm free growth | Must be accommodated by layout/support flexibility | Add loops/offsets/sliding guides; run flexibility model |
| E-V008 | 1.6 m full-bore pressure thrust scale | SCREEN | 31.2 MN | No direct allowable; load case input | Use in break/restraint/anchor design |
| E-V009 | Water hammer sensitivity | SCREEN | 2.61 MPa max sensitivity | Transient-specific acceptance | Build method-of-characteristics model |
| E-V010 | NPSH/cavitation validation | OPEN | static pressure head equiv. 2180 m | NPSHa > NPSHr + project margin | Need pump suction pressure/elevation/curve |
| E-V011 | Seismic qualification | OPEN | No site spectrum/model | CNSC/CSA/ASCE qualification | Build structural + subsystem dynamics |
| E-V012 | Fracture/LBB | OPEN | No flaw/leak model | Qualified CNSC methodology if credited | Materials + fracture + leak detection model |
| E-V013 | Activation/shielding | OPEN | No N-16/N-17 source term | Dose/access criteria | Neutronics/activation source model |
| E-V014 | EM disruption loads | OPEN | No HFRP disruption current/load case | Machine disruption envelope | Coupled EM/structural model |

Rows preserved in this register: 14.

# Controlled register — E11_Backward_Propagation_Changes.csv

| Packet | Old | New | Reason | Affected | Status |
| --- | --- | --- | --- | --- | --- |
| D00 | Hydraulic model used a representative 300 m equivalent length. | Replaced by hierarchical train/sector/module network surrogate with explicit distributed/local/equipment losses. | Fundamental fluid-mechanics expansion. | D/E | E supersedes screening assumption. |
| B04/B05 | DN1200/DN1600 reserved-space values; 1.6 m appeared plausible. | 1.6 m trunk remains only a candidate; module/sector diameters and pump power now expose further architecture dependencies. | Network pressure-loss model. | B/C/D/E | E qualified. |
| B05 | Long straight hot/cold corridor centrelines. | 180 m hot-run free thermal growth is ~878 mm at preliminary α and ΔT; rigid straight-line support concept is invalid. | Thermal expansion mechanics. | B05/B06 | E requires redesign. |
| B06 | Support nodes were placeholders. | Support design must solve thermal, pressure, seismic, break, vibration and EM loads; current nodes cannot be frozen. | CNSC + ITER support precedent. | B06/E | OPEN. |
| A03 | BHT system treated primarily thermo-hydraulic/mechanical. | Activation, disruption EM loads, materials/fracture, chemistry and seismic dynamics are now explicit geometry dependencies. | Expanded fundamental-discipline research. | A03 onward | Dependency expansion; canon unchanged. |

Rows preserved in this register: 5.